[image: image1.jpg]


VIAMED

Photo-therapy Light Shield

Q.A. - Packing Checklist Procedure Light Shield

VM3/COP/52.03

	Date: 29-Sep-03
	Revision Date:27-Mar-07
	Issue: 1



1. Unpack the Light shield from its original packing, and check that:

a. The product is the correct item

b. The product is the correct configuration:

i)
PP Full Amber Hood     needs CE0086

ii)
PP Semi Hood   needs CE

iii)
PP Open Light Shield   needs CE

iv)
Special  Full version needs CE0086  Special Open needs CE 

Ensure correct CE mark label is attached to Light Shield  panel and is incorporated on the User  Insert  

2. Check the product to ensure that there are no sharp edges.

3. Check that there are no scratches on the product.

4. Check the neck aperture to ensure that there are no sharp edges.

5. Add the appropriate labels.
Light shield Part no

Label Part Number
PP8400



0195001
PP8509



0195001
PP8510



0195001
PP8533



0195001
PP8559



0195001
PP8560



0195001 
PP8689



0195001 
PP8562



0195001

6. Add the insert leaflet  No 0490049

7. Clean the product and repack.

8. Ensure that there is an adequate amount of packaging material around the product prior to taping up the box.










VM3COP52.03_ Light shield Checklist.doc  27/03/2007  Page 1 of 1

