VIAMED

[image: image1.jpg]



	Date: 29-Sep-03
	Revision Date:27-Mar-07
	Issue: 1



1. Unpack the Ventillation Tube holder its original packing, and check that:

a. The product is the correct item

b. If the product is a special customer specification. Check against original quotation 


Ensure CE mark label  03303135 is attached and is incorporated on the User  Insert 
Add Viamed logo 0195000


2. Check the product to ensure that there are no sharp edges.

3. Check that there are no scratches on the product..

4. Tighten the Lid Hinge screws.

5. Add the appropriate labels.

6. Add the insert leaflet  0490051

7. Clean the product and repack.




8. Ensure that there is an adequate amount of packaging material around the product prior to taping up the box.










VM3COP52.04 Ventilation Tube holder.doc         27/03/2007     Page 1 of 1

