	VIAMED COMPANY OPERATING PROCEDURE

	Heat shield

	VM3/COP/ 52.05

	Date: 27/03/2007
	Revision Date:27-Mar-07
	Issue: 1



Covers all heat shields

PP8100 series: PP8601:PP8620: Nova Disposable “Babyshields”

1. Unpack the Light shield from its original packing, and check that:

2. The product is the correct item

3. The product is the correct configuration. It may be a customer special specification

4. Check the product to ensure that there are no sharp edges.

5. Check that there are no scratches on the product.

6. Add the appropriate labels at the bottom of a long edge on open shields or low down on the back ofclosed or semi-closed shields

7.  All heats shields are CE  no number is required for Class1

8. Add the Insert if required. 

9. Clean the product and repack.

10. Ensure Nova products are clean

11. Ensure that there is an adequate amount of packaging material around the product prior to taping up the box.










VM3COP52.05 Heat shields.doc        27/03/2007                   Page 1 of 1

