	VIAMED COMPANY OPERATING PROCEDURE

	Q.A. Packing Nova Oxygen TentsTitle

	VM3/COP/ 59.01

	Date: 26/03/2007
	Revision Date:22-May-07
	Issue: 1



1. Unpack the Oxygen Hood from its original packing, and check that:

a. The product is the correct item

b. The product is the correct size:

[image: image1.jpg]


[image: image2.jpg]



 Ensure CE mark label is attached to Tent and  is incorporated on the User  Insert

2. Check the product visually for damage.

3. Check that there are no scratches on the product.


4. Add the appropriate labels. Must include CE0086 , Viamed address, and serial number, and barcode 

5. Add the insert leaflet  239001

6. Ensure the product and outer carton are clean.

7. Add labels to original box 

[image: image3.jpg]


[image: image4.jpg]) —




Pt No. 2390020

             Barcode label

Remove label

CE0086 label

Address label

For Individual Oxygen Tents label the Tent with the CE0086 label and address label 










VM3COP 59.01 Nuva.doc         22/05/2007                   Page 1 of 1

