	
	EU Declaration of Conformity
	[image: image2.jpg]DIAGNOSTICS LTD.







European Communities Council Directive 93/42/EEC as amended by 2007/47/EC

Concerning Medical Devices
MD Diagnostics Ltd hereby declares that the products named have been designed, tested and found to comply with the relevant sections of the reference standards.  The products comply with all essential requirements of the Directives.  The product carries the CE Mark:

	General Product Name:
	CO Screen

	Date Placed on the Market:
	November 2015

	Manufacturer:
	MD Diagnostics Ltd

15 Hollingworth Court

Turkey Mill

Ashford Road

Maidstone

Kent

ME14 5PP

United Kingdom

	Intended Use:
	Measurement of Carbon Monoxide levels in exhaled breath

	Sterile:
	No

	Measuring Function:
	Yes: parts per million (ppm); %COHb; 

	Harmonised Standards referenced or applied:
	BS EN 60601-1:2006
BS EN 60601-1-2:2007
BS EN 62304:2006

BS EN ISO 14971:2012
BS EN 1041:2008

BS EN 980:2008

	Conformity Assessment Procedure:
	Council Directive 93/42/EEC; as amended by 2007/47/EC Annex V

	Notified Body:
	SGS United Kingdom Ltd (0120)

	Directive Classification:
	Class IIa under rule 10

	
	

	Signed:
	[image: image1.emf]
	04th November 2015

	
	Martin Marsh
	

	
	Director
	


Issue 5
© MD Diagnostics Ltd
Page 1 of 1

[image: image2.jpg]