DVM Calibration record

	1
	DVM Calibration Index Number
	

	2
	DVM Bar code
	

	3
	Equipment Used
	

	4
	Serial number Test Equipment
	

	5
	Calibration Certificate Number
	

	6
	Test Equipment Calibration Index Number
	

	
	
	

	
	Micro Cal @
	DVM Reading

	7
	0mV +/- 0.1
	

	8
	5mV +/- 0.1
	

	9
	10mV +/- 0.1
	

	10
	15mV +/- 0.1
	

	11
	20mV +/- 0.1
	

	12
	25mV +/- 0.1
	

	13
	30mV +/- 0.1
	

	14
	35mV +/- 0.1
	

	15
	40mv +/- 0.1
	

	16
	Pass / Fail
	

	17
	Tested By
	

	18
	Tested On
	

	19
	Signed
	


1. Enter the details of the unit being tested in boxes 1 – 2

2. Enter the details of the calibrated Micro Cal unit being used to test against the equipment. In to boxes 3 -6

    Ensure the calibrated unit is still inside its calibration period before you begin.

3. set the micro cal to the required settings (7 – 15) and enter the readings on the DVM in the Boxes

4. Assuming the units passes the tests, Add a new Calibration sticker to the unit and date the sticker.
date and sign the form (17 – 19). Scan the form and upload to the issue requesting calibration and complete the Issue.

 If the unit fails the test return the Unit to RS for calibration

Blank DVM Calibration Sheet ID15165.doc

