	Internal Audit Check list

	Calibration Index

	Created:
	17/May 1995
	Audit No 6
	VM3/COP11

VOP11

	Revised:
	16 August 2016
	Last printed 19/08/2009 03:47:32 PM
	Page 1 of 1

	Audit Date
	
	Auditor
	ISO 6.3     7.6



Role ID 80

	Calibration register has been transferred to Intrastats.

Out of calibration test equipment automatically flags when it is requested for use.

	Verify the existence of a calibration register and planned matrix
	Done in Intrastats
	N/A

	Is the register maintained. This can be found on Intrastats in ISO – Calibration Index 

	
	

	Check QA, R + D Room, Workshop etc. for equipment that does not have a Viamed Bar Code CE sticker.

	
	

	Is equipment calibrated within its due period
	Done in Intrastats
	

	Verify that records show any measurements taken. And parameters stated.
	Done in Intrastats
	

	Is the register updated with this information
	Done in Intrastats
	

	Verify that where items which failed calibration are assessed to ascertain potential recall of product. 


	
	

	Are Calibrations traceable to NAMAS Standards.

	
	

	Are In-House calibration procedures listed in the Intrastats Document Index where required.


	
	


Audit 06 Calibration_OUT_OF_DATE_18-10-2011.doc


                       16/08/2016        Page 1 of 1

