	Internal Audit Check list

	Technical Files

	Created:

	17/May 1995
	Audit No 12
	VM3/COP
VOP01

	Revised:
	17 August 2016
	Last printed 30/04/2007 02:13:00 PM
	Page 2 of 2

	Audit Date
	
	Auditor
	ISO



	Paper files are becoming obsolete as electronic documentation supersedes them.

All CE Technical files should be in Intrastats Document Index.
Emails can be found in Gmail, Goldmine and documentation in Intrastats.

	Question
	 Comments
	Response/Answer

	Check the list of current CE Files in Intrastats.

Do all our products have a CE File. Review list and see if any are missing. 

ISO – Tech Files, top dark blue section ad the light blue OBL below. 
	
	

	Check Cross reference in Intrastats - Family Types. ISO – Tech Files

Are all the Products present review
	
	

	Do all files contain the Basic information required. Are there any Red areas.
Cross reference. ISO – Tech files – second icon Cross ref families and files/regulations - ISO BSI Required – Viamed Products – Submit.
Speak to quality controller and ask if there are any problem areas, the system is highly complex and understanding of this is not required by auditor. 
	
	

	Are MDA guidelines are available for classification information. In ISO- Tech Files
	This is an intrastats automatic process when developing a new product. 
	

	Check that form RG2 has been completed and submitted to MDA for any Class I products. ISO Tech Files, the bracketed number is the CE classification. 

This is in the check list for when we develop a new Viamed product.

 
	Check the (1)’s and see if they have the MDA letter present. 
	

	Check the Canadian Medical Devices CMDCAS form is filled in annually. ISO – Tech Files (At present the microstims are our only products that we sell to Canada)

	
	

	Pick one of our Files in the ISO – Tech Files Dark Blue and answer the following

	Have there been any product changes since the last Audit
	
	

	Have Risk assessments been completed on change
	
	

	Have there been any classification changes

	
	

	Any new accessories.

	
	

	Any label changes

	
	

	Any User information changes

	
	

	Any sales leaflet changes

	
	

	Any Data sheet changes

	
	

	Any maintenance or service manual changes

	
	

	Any other major changes effecting CE Files

	
	


Audit 12 CE Files 20160817.doc      17/08/2016                    Page 2 of 2

