	Internal Audit Check list

	VIAMED LTD 

Order Processing Picking Packing & Dispatch 

	Created

	17/May 1995
	Audit No 01
	

	Revised
	22 January 2025
	
	Page 4 of 4

	Audit Date
	
	Auditor
	



	
	Company / ISO Section
	Criteria of ISO Section
	Auditor Comments / Issues

	
	Viamed Ltd ISO13485:2016 6.4.2
	Contamination control
As appropriate, the organization shall plan and document arrangementsfor the control of contaminated 
or potentially contaminated product in order to prevent contamination of the work environment, personnel, or product. For sterile medical devices, the organization shall document requirements for control of contamination with microorganisms or particulate matter and maintain the required cleanliness during assembly or packaging processes.
	

	
	Viamed Ltd ISO13485:2016 7.2.1
	Determination of requirements related to product
The organization shall determine: 
a) requirements specified by the customer, including the requirements for delivery and post delivery activities; 
b) requirements not stated by the customer but necessary for specified or intended use, as known; 
c) applicable regulatory requirements related to the product; 
d) any user training needed to ensure specified performance and safe use of the medical device; 
e) any additional requirements determined by the organization
	

	
	Viamed Ltd ISO13485:2016 7.2.3
	Communication
The organization shall plan and document arrangements for communicating with customers in relation to: 
a) product information; 
b) enquiries, contracts or order handling, including amendments; 
c) customer feedback, including complaints; 
d) advisory notices. 
The organization shall communicate with regulatory authorities in accordance with applicable regulatory requirements.
	

	
	Viamed Ltd ISO13485:2016 7.5.1
	Control of production and service provision
Production and service provision shall be planned, carried out, monitored and controlled to ensure that product conforms to specification. As appropriate, production controls shall include but are not limited to: 
a) documentation of procedures and methods for the control of production (see 4.2.4); 
b) qualification of infrastructure; 
c) implementation of monitoring and measurement of process parameters and product characteristics; 
d) availability and use of monitoring and measuring equipment; 
e) implementation of defined operations for labelling and packaging; 
f) implementation of product release, delivery and post-delivery activities. 
The organization shall establish and maintain a record (see 4.2.5) for each medical device or batch of medical devices that provides traceability to the extent specified in 7.5.9 and identifies the amount manufactured and amount approved for distribution. The record shall be verified and approved.
	

	
	Viamed Ltd ISO13485:2016 7.5.11
	Preservation of product
The organization shall document procedures for preserving the conformity of product to requirements during processing, storage, handling, and distribution. Preservation shall apply to the constituent parts of a medical device. The organization shall protect product from alteration, contamination or damage when exposed to expected conditions and hazards during processing, storage, handling, and distribution by: 
a) designing and constructing suitable packaging and shipping containers; 
b) documenting requirements for special conditions needed if packaging alone cannot provide preservation. 
If special conditions are required, they shall be controlled and recorded (see 4.2.5).
	

	
	Viamed Ltd ISO13485:2016 8.2.4
	Internal audit
The organization shall conduct internal audits at planned intervals to determine whether the quality management system: 
a) conforms to planned and documented arrangements, requirements of this International Standard, quality management system requirements established by the organization, and applicable regulatory requirements; 
b) is effectively implemented and maintained. 
The organization shall document a procedure to describe the responsibilities and requirements for planning and conducting audits and recording and reporting audit results. 
An audit program shall be planned, taking into consideration the status and importance of the processes and area to be audited, as well as the results of previous audits. The audit criteria, scope, interval and methods shall be defined and recorded (see 4.2.5). The selection of auditors and conduct of audits shall ensure objectivity and impartiality of the audit process. Auditors shall not audit their own work. 
Records of the audits and their results, including identification of the processes and areas audited and the conclusions, shall be maintained (see 4.2.5). 
The management responsible for the area being audited shall ensure that any necessary corrections and corrective actions are taken without undue delay to eliminate detected nonconformities and their causes. Follow-up activities shall include the verification of the actions taken and the reporting of verification results. 
NOTE Further information can be found in ISO 19011.
	


	
	Question 
	Y/N

	1
	Review Last years Audit. Update processes if required. 

Are all follow on Issue resolved satisfactory.
	

	2
	Does every Order have official customer paperwork. Check 6 orders at random from the Outstanding Customer Orders list. 
	

	
	Order No. 
	 CID No.
	Customer order number
	Check attached documents for customer paperwork and associated docs
	Does the customer paperwork match the Invoice
	Have these the correct goods scanned to them at shipping
	 Does the account have an email address or other method for invoice delivery
	Initials of the person who entered the order
	Initials of the person who checked the order
	All correct

	1
	
	
	
	
	
	
	
	
	
	

	2
	
	
	
	
	
	
	
	
	
	

	3
	
	
	
	
	
	
	
	
	
	

	4
	
	
	
	
	
	
	
	
	
	

	5
	
	
	
	
	
	
	
	
	
	

	6
	
	
	
	
	
	
	
	
	
	


	3
	Have all Queries been dealt with satisfactorily. Check number of Credit Notes last 6 months and if internal error or customer.
	
	

	4
	Are orders awaiting despatch appropriately packaged and identified.


	
	

	5
	Is appropriate transport arranged, check goods out.


	
	

	6
	Check Ex-works parcels shipping is arranged.


	
	

	7
	Check that the appropriate shipping documents are available for the goods in goods out.


	
	

	8
	Check that the delivery note is attached to the goods.


	
	

	
	
	
	


List Processes Per Title

