F79XXP and F79XXPW - Paediatric Radiopaque series

Paediatric Radiopaque series is intended to be used with patients under 8 years of age and with a body weight included between 11 pounds (5 Kg) and 55 pounds (25 Kg). The defibrillation power should be selected based on patient body weight, as indicated by each defibrillators manufacturer and following the American Heart Association recommendation. Some models present the cable and the terminal connector outside the pouch and they have been intended especially for emergency situations, in order to connect pads to the defibrillator before opening the pouch and save time. Please open the compatibility list for the complete models range. 

MODELS WITH THE CABLE INSIDE THE POUCH

	ref
	compatibility

	F7950P
	Philips, Laerdal Medical, Agilent

	F7951P
	Zoll Medical

	F7952P
	Medtronic Physio Control, Osatu Bexen, Cardioline, Mindray

	F7953P
	Agilent HP, Laerdal

	F7954P
	Schiller, Esaote

	F7955P
	Nihon Kohden, Welch Allyn, Innomed, S&W, Draeger, Artema, MRL

	F7956P
	Schiller (Fred Easy)

	F7958P
	CU Medical Systems

	F7959P
	Cmos Drake

	F7961P
	Nihon Kohden

	F7962P
	Marquette GE, Esaote

	F7965P
	Corpuls (cable length cm 50)

	F7965PXL
	Corpuls (cable length cm 100)

	F7967P
	Schiller

	F7970P
	Laerdal (snap connection)

	F7972P
	Marquette GE (snap connection)

	F7981P
	GE

	F7985P
	Instramed



MODELS WITH THE CABLE OUTSIDE THE POUCH

	ref
	compatibility

	F7950PW
	Philips, Laerdal Medical, Agilent

	F7951PW
	Zoll Medical

	F7952PW
	Medtronic Physio Control, Osatu Bexen, Cardioline, Mindray

	F7953PW
	Agilent HP, Laerdal

	7955PW
	Nihon Kohden, Welch Allyn, Innomed, S&W, Draeger, Artema, MRL

	F7964PW
	Weinmann, Cardiaid

	F7969PW
	Mediana

	F7983PW
	Metsis

	F7984PW
	Instramed


Primary packaging: one pair in pouch
Sale packaging: 5 pouches in carton

