F77XX and F77XXW - Adult Radiotransparent series

Adult Radiotransparent series has been optimized for use in EP labs, haemodynamics, radiographic and angiographic procedures and in emergency rooms. Some models present the cable and the terminal connector outside the pouch and they have been intended especially for emergency situations, in order to connect pads to the defibrillator before opening the pouch and save time. Please open the compatibility list for the complete models range.

MODELS WITH THE CABLE INSIDE THE POUCH

	ref
	compatibility

	F7750
	Philips, Laerdal Medical, Agilent

	F7751
	Zoll Medical

	F7752
	Medtronic Physio Control, Osatu Bexen, Cardioline, Mindray

	F7753
	Agilent, Laerdal

	F7754
	Schiller, Esaote

	F7755
	Nihon Kohden, Welch Allyn, Innomed, S&W, Draeger, Artema, MRL

	F7756
	Schiller

	F7759
	CU Medical Systems, Cmos Drake

	F7761
	Nihon Kohden

	F7762
	Marquette GE, Esaote



MODELS WITH THE CABLE OUTSIDE THE POUCH

	ref
	compatibility

	F7750W
	Philips, Laerdal Medical, Agilent

	F7751W
	Zoll Medical

	F7752W
	Medtronic Physio Control, Osatu Bexen, Cardioline, Mindray

	F7755W
	Nihon Kohden, Welch Allyn, Innomed, S&W, Draeger, Artema, MRL



Primary packaging: one pair in pouch
Sale packaging: 10 pouches in box

