F79XX and F79XXW - Adult Radiopaque series

Adult Radiopaque series is intended for patience with a minimum body weight of 25 Kg (55 pounds). Some models present the cable and the terminal connector outside the pouch and they have been intended especially for emergency situations, in order to connect pads to the defibrillator before opening the pouch and save time. Please open the compatibility list for the complete models range.

MODELS WITH THE CABLE INSIDE THE POUCH

	ref
	compatibility

	F7950
	Philips, Laerdal Medical, Agilent

	F7951
	Zoll Medical

	F7952
	Medtronic Physio Control, Osatu Bexen, Cardioline, Mindray

	F7953
	Agilent HP, Laerdal

	F7954
	Schiller, Esaote

	F7955
	Nihon Kohden, Welch Allyn, Innomed, S&W, Draeger, Artema, MRL

	F7956
	Schiller (Fred Easy)

	F7958
	CU Medical Systems

	F7959
	CU Medical Systems, Cmos Drake

	F7961
	Nihon Kohden

	F7962
	Marquette GE, Esaote

	F7963
	Nihon Kohden

	F7965
	Corpuls

	F7965/PLUS
	Corpuls

	F7967
	Schiller

	F7970
	Laerdal (snap connection)

	F7971
	Medtronic Physiocontrol (snap connection)

	F7972
	Marquette GE (snap connection)

	F7981
	GE

	F7985
	Instramed



MODELS WITH THE CABLE OUTSIDE THE POUCH

	ref
	compatibility

	F7950W
	Philips, Laerdal Medical, Agilent

	F7951W
	Zoll Medical

	F7952W
	Medtronic Physio Control, Osatu Bexen, Cardioline, Mindray

	F7953W
	Agilent HP, Laerdal

	F7954W
	Schiller, Esaote

	F7955W
	Nihon Kohden, Welch Allyn, Innomed, S&W, Draeger, Artema, MRL. Metsis

	F7956W
	Schiller

	F7958W
	CU Medical Systems

	F7959W
	CU Medical Systems, Cmos Drake

	F7960W
	Metrax Primedic

	F7961W
	Nihon Kohden

	F7964W
	Weinmann, Cardiaid

	F7966W
	Defibtech

	F7969W
	Mediana

	F7983W
	Metsis

	F7984W
	Instramed



Primary packaging: one pair in pouch 
Sale packaging: 10 pouches in box

