F79XXPL and F79XXWPL - Paediatric AED series

Paediatric AED (Reduced Energy) series is intended to be used with patients under 8 years of age and with a body weight included between 11 pounds (5 Kg) and 55 pounds (25 Kg). The defibrillation power should be selected based on patient body weight, as indicated by each defibrillators manufacturer and following the American Heart Association recommendation. The power reducer allows the direct connection between pads and AED. Please open the compatibility list for the complete models range.

MODELS WITH THE CABLE INSIDE THE POUCH

	ref
	compatibility

	F7950PL
	Philips, Laerdal Medical, Agilent

	F7952PL
	Medtronic Physio Control

	F7958PL
	CU Medical Systems

	F7959PL
	CU Medical Systems



MODELS WITH THE CABLE OUTSIDE THE POUCH
	ref
	compatibility

	F7950WPL
	Philips, Laerdal Medical, Agilent

	F7952WPL
	Medtronic Physio Control

	F7959WPL
	CU Medical Systems

	F7966WPL
	Defibtech



Primary packaging: one pair in pouch
Sale packaging: 5 pouches in box  
