## Sheet1
Opera	FIAB P/N	Patient type	Version	Cable & Connector	Patient age	Patient weight	Primary packaging pair per pouch	Sales packaging pouches per box	Compatibility	Adhesive ring width, cm	Electrode surface area, cm2	Electrode active area, cm2	Conductive material	Electro-conductive gel	Cable length, cm	Connection	Number of discharges			Unit price	Box price
5510000	F7950	Adult	Radiopaque (standard)	Inside pouch (standard)	> 8 years	> 25 kg	1	10	Philips, Laerdal Medical, Agilent	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	5510000	F7950	€10.90	€109.00
5510001	F7951	Adult	Radiopaque (standard)	Inside pouch (standard)	> 8 years	> 25 kg	1	10	Zoll Medical	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	5510001	F7951	€10.90	€109.00
5510002	F7952	Adult	Radiopaque (standard)	Inside pouch (standard)	> 8 years	> 25 kg	1	10	Medtronic Physio Control, Osatu Bexen, Cardioline, Mindray	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	5510002	F7952	€10.90	€109.00
5510003	F7953	Adult	Radiopaque (standard)	Inside pouch (standard)	> 8 years	> 25 kg	1	10	Agilent HP, Laerdal	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	5510003	F7953	€10.90	€109.00
5510004	F7954	Adult	Radiopaque (standard)	Inside pouch (standard)	> 8 years	> 25 kg	1	10	Schiller, Esaote	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	5510004	F7954	€10.90	€109.00
5510005	F7955	Adult	Radiopaque (standard)	Inside pouch (standard)	> 8 years	> 25 kg	1	10	Nihon Kohden, Welch Allyn, Innomed, S&W, Draeger, Artema, MRL	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	5510005	F7955	€10.90	€109.00
5510006	F7956	Adult	Radiopaque (standard)	Inside pouch (standard)	> 8 years	> 25 kg	1	10	Schiller (Fred Easy)	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	5510006	F7956	€10.90	€109.00
5510008	F7958	Adult	Radiopaque (standard)	Inside pouch (standard)	> 8 years	> 25 kg	1	10	CU Medical Systems	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	5510008	F7958	€10.90	€109.00
5510009	F7959	Adult	Radiopaque (standard)	Inside pouch (standard)	> 8 years	> 25 kg	1	10	CU Medical Systems, Cmos Drake	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	5510009	F7959	€10.90	€109.00
5510011	F7961	Adult	Radiopaque (standard)	Inside pouch (standard)	> 8 years	> 25 kg	1	10	Nihon Kohden	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	5510011	F7961	€10.90	€109.00
5510012	F7962	Adult	Radiopaque (standard)	Inside pouch (standard)	> 8 years	> 25 kg	1	10	Marquette GE, Esaote	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	5510012	F7962	€10.90	€109.00
5510013	F7963	Adult	Radiopaque (standard)	Inside pouch (standard)	> 8 years	> 25 kg	1	10	Nihon Kohden	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	5510013	F7963	€10.90	€109.00
5510015	F7965	Adult	Radiopaque (standard)	Inside pouch (standard)	> 8 years	> 25 kg	1	10	Corpuls	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	5510015	F7965
5510016	F7965/PLUS	Adult	Radiopaque (standard)	Inside pouch (standard)	> 8 years	> 25 kg	1	10	Corpuls	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	5510016	F7965/PLUS
5510018	F7967	Adult	Radiopaque (standard)	Inside pouch (standard)	> 8 years	> 25 kg	1	10	Schiller	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	5510018	F7967
5510021	F7970	Adult	Radiopaque (standard)	Inside pouch (standard)	> 8 years	> 25 kg	1	10	Laerdal (snap connection)	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	5510021	F7970
5510022	F7971	Adult	Radiopaque (standard)	Inside pouch (standard)	> 8 years	> 25 kg	1	10	Medtronic Physiocontrol (snap connection)	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	5510022	F7971
5510023	F7972	Adult	Radiopaque (standard)	Inside pouch (standard)	> 8 years	> 25 kg	1	10	Marquette GE (snap connection)	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	5510023	F7972
5510022	F7981	Adult	Radiopaque (standard)	Inside pouch (standard)	> 8 years	> 25 kg	1	10	GE	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	5510022	F7981
5510036	F7985	Adult	Radiopaque (standard)	Inside pouch (standard)	> 8 years	> 25 kg	1	10	Instramed	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	5510036	F7985

5510050	F7950W	Adult	Radiopaque (standard)	Outside pouch (emergency)	> 8 years	> 25 kg	1	10	Philips, Laerdal Medical, Agilent	0.7	136	100	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	5510050	F7950W	€12.90	€129.00
5510051	F7951W	Adult	Radiopaque (standard)	Outside pouch (emergency)	> 8 years	> 25 kg	1	10	Zoll Medical	0.7	136	100	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	5510051	F7951W	€12.90	€129.00
5510052	F7952W	Adult	Radiopaque (standard)	Outside pouch (emergency)	> 8 years	> 25 kg	1	10	Medtronic Physio Control, Osatu Bexen, Cardioline, Mindray	0.7	136	100	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	5510052	F7952W	€12.90	€129.00
5510053	F7953W	Adult	Radiopaque (standard)	Outside pouch (emergency)	> 8 years	> 25 kg	1	10	Agilent HP, Laerdal	0.7	136	100	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	5510053	F7953W	€12.90	€129.00
5510054	F7954W	Adult	Radiopaque (standard)	Outside pouch (emergency)	> 8 years	> 25 kg	1	10	Schiller, Esaote	0.7	136	100	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	5510054	F7954W	€12.90	€129.00
5510055	F7955W	Adult	Radiopaque (standard)	Outside pouch (emergency)	> 8 years	> 25 kg	1	10	Nihon Kohden, Welch Allyn, Innomed, S&W, Draeger, Artema, MRL. Metsis	0.7	136	100	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	5510055	F7955W	€12.90	€129.00
5510056	F7956W	Adult	Radiopaque (standard)	Outside pouch (emergency)	> 8 years	> 25 kg	1	10	Schiller	0.7	136	100	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	5510056	F7956W	€12.90	€129.00
5510058	F7958W	Adult	Radiopaque (standard)	Outside pouch (emergency)	> 8 years	> 25 kg	1	10	CU Medical Systems	0.7	136	100	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	5510058	F7958W	€12.90	€129.00
5510059	F7959W	Adult	Radiopaque (standard)	Outside pouch (emergency)	> 8 years	> 25 kg	1	10	CU Medical Systems, Cmos Drake	0.7	136	100	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	5510059	F7959W	€12.90	€129.00
5510060	F7960W	Adult	Radiopaque (standard)	Outside pouch (emergency)	> 8 years	> 25 kg	1	10	Metrax Primedic	0.7	136	100	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	5510060	F7960W	€17.90	€179.00
5510061	F7961W	Adult	Radiopaque (standard)	Outside pouch (emergency)	> 8 years	> 25 kg	1	10	Nihon Kohden	0.7	136	100	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	5510061	F7961W	€12.90	€129.00
5510064	F7964W	Adult	Radiopaque (standard)	Outside pouch (emergency)	> 8 years	> 25 kg	1	10	Weinmann, Cardiaid	0.7	136	100	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	5510064	F7964W
5510067	F7966W	Adult	Radiopaque (standard)	Outside pouch (emergency)	> 8 years	> 25 kg	1	10	Defibtech	0.7	136	100	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	5510067	F7966W
5510070	F7969W	Adult	Radiopaque (standard)	Outside pouch (emergency)	> 8 years	> 25 kg	1	10	Mediana	0.7	136	100	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	5510070	F7969W
5510084	F7983W	Adult	Radiopaque (standard)	Outside pouch (emergency)	> 8 years	> 25 kg	1	10	Metsis	0.7	136	100	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	5510084	F7983W
5510085	F7984W	Adult	Radiopaque (standard)	Outside pouch (emergency)	> 8 years	> 25 kg	1	10	Instramed	0.7	136	100	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 360 J	5510085	F7984W

5510100	F7950P	Paediatric	Radiopaque (standard)	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5	Philips, Laerdal Medical, Agilent	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 100 J	5510100	F7950P	€13.90	€69.50
5510101	F7951P	Paediatric	Radiopaque (standard)	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5	Zoll Medical	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 100 J	5510101	F7951P	€13.90	€69.50
5510102	F7952P	Paediatric	Radiopaque (standard)	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5	Medtronic Physio Control, Osatu Bexen, Cardioline, Mindray	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 100 J	5510102	F7952P	€13.90	€69.50
5510103	F7953P	Paediatric	Radiopaque (standard)	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5	Agilent HP, Laerdal	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 100 J	5510103	F7953P	€13.90	€69.50
5510104	F7954P	Paediatric	Radiopaque (standard)	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5	Schiller, Esaote	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 100 J	5510104	F7954P	€13.90	€69.50
5510105	F7955P	Paediatric	Radiopaque (standard)	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5	Nihon Kohden, Welch Allyn, Innomed, S&W, Draeger, Artema, MRL	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 100 J	5510105	F7955P	€13.90	€69.50
5510106	F7956P	Paediatric	Radiopaque (standard)	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5	Schiller (Fred Easy)	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 100 J	5510106	F7956P	€13.90	€69.50
5510108	F7958P	Paediatric	Radiopaque (standard)	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5	CU Medical Systems	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 100 J	5510108	F7958P
5510109	F7959P	Paediatric	Radiopaque (standard)	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5	Cmos Drake	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 100 J	5510109	F7959P	€13.90	€69.50
5510111	F7961P	Paediatric	Radiopaque (standard)	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5	Nihon Kohden	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 100 J	5510111	F7961P	€13.90	€69.50
5510112	F7962P	Paediatric	Radiopaque (standard)	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5	Marquette GE, Esaote	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 100 J	5510112	F7962P	€13.90	€69.50
5510115	F7965P	Paediatric	Radiopaque (standard)	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5	Corpuls (cable length cm 50)	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 100 J	5510115	F7965P
5510116	F7965PXL	Paediatric	Radiopaque (standard)	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5	Corpuls (cable length cm 100)	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 100 J	5510116	F7965PXL
5510118	F7967P	Paediatric	Radiopaque (standard)	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5	Schiller	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 100 J	5510118	F7967P
5510121	F7970P	Paediatric	Radiopaque (standard)	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5	Laerdal (snap connection)	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 100 J	5510121	F7970P
5510123	F7972P	Paediatric	Radiopaque (standard)	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5	Marquette GE (snap connection)	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 100 J	5510123	F7972P
5510132	F7981P	Paediatric	Radiopaque (standard)	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5	GE	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel		Safety anti-shock or clip	50 @ 100 J	5510132	F7981P
5510136	F7985P	Paediatric	Radiopaque (standard)	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5	Instramed	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel				5510136	F7985P

5510150	F7950PW	Paediatric	Radiopaque (standard)	Outside pouch (emergency)	< 8 years	5 kg -25 kg	1	5	Philips, Laerdal Medical, Agilent	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 100 J	5510150	F7950PW	€16.90	€84.50
5510151	F7951PW	Paediatric	Radiopaque (standard)	Outside pouch (emergency)	< 8 years	5 kg -25 kg	1	5	Zoll Medical	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 100 J	5510151	F7951PW	€16.90	€84.50
5510152	F7952PW	Paediatric	Radiopaque (standard)	Outside pouch (emergency)	< 8 years	5 kg -25 kg	1	5	Medtronic Physio Control, Osatu Bexen, Cardioline, Mindray	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 100 J	5510152	F7952PW	€16.90	€84.50
5510153	F7953PW	Paediatric	Radiopaque (standard)	Outside pouch (emergency)	< 8 years	5 kg -25 kg	1	5	Agilent HP, Laerdal	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 100 J	5510153	F7953PW
5510155	F7955PW	Paediatric	Radiopaque (standard)	Outside pouch (emergency)	< 8 years	5 kg -25 kg	1	5	Nihon Kohden, Welch Allyn, Innomed, S&W, Draeger, Artema, MRL	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 100 J	5510155	F7955PW	€16.90	€84.50
5510164	F7964PW	Paediatric	Radiopaque (standard)	Outside pouch (emergency)	< 8 years	5 kg -25 kg	1	5	Weinmann, Cardiaid	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 100 J	5510164	F7964PW
5510170	F7969PW	Paediatric	Radiopaque (standard)	Outside pouch (emergency)	< 8 years	5 kg -25 kg	1	5	Mediana	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 100 J	5510170	F7969PW
5510184	F7983PW	Paediatric	Radiopaque (standard)	Outside pouch (emergency)	< 8 years	5 kg -25 kg	1	5	Metsis	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 100 J	5510184	F7983PW
5510185	F7984PW	Paediatric	Radiopaque (standard)	Outside pouch (emergency)	< 8 years	5 kg -25 kg	1	5	Instramed	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 100 J	5510185	F7984PW

5510200	F7750	Adult	Radiolucent	Inside pouch (standard)	> 8 years	> 25 kg	1	10	Philips, Laerdal Medical, Agilent	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	100	Safety anti-shock or clip	50 @ 360 J	5510200	F7750
5510201	F7751	Adult	Radiolucent	Inside pouch (standard)	> 8 years	> 25 kg	1	10	Zoll Medical	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	100	Safety anti-shock or clip	50 @ 360 J	5510201	F7751
5510202	F7752	Adult	Radiolucent	Inside pouch (standard)	> 8 years	> 25 kg	1	10	Medtronic Physio Control, Osatu Bexen, Cardioline, Mindray	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	100	Safety anti-shock or clip	50 @ 360 J	5510202	F7752
5510203	F7753	Adult	Radiolucent	Inside pouch (standard)	> 8 years	> 25 kg	1	10	Agilent, Laerdal	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	100	Safety anti-shock or clip	50 @ 360 J	5510203	F7753
5510204	F7754	Adult	Radiolucent	Inside pouch (standard)	> 8 years	> 25 kg	1	10	Schiller, Esaote	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	100	Safety anti-shock or clip	50 @ 360 J	5510204	F7754
5510205	F7755	Adult	Radiolucent	Inside pouch (standard)	> 8 years	> 25 kg	1	10	Nihon Kohden, Welch Allyn, Innomed, S&W, Draeger, Artema, MRL	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	100	Safety anti-shock or clip	50 @ 360 J	5510205	F7755
5510206	F7756	Adult	Radiolucent	Inside pouch (standard)	> 8 years	> 25 kg	1	10	Schiller	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	100	Safety anti-shock or clip	50 @ 360 J	5510206	F7756
5510209	F7759	Adult	Radiolucent	Inside pouch (standard)	> 8 years	> 25 kg	1	10	CU Medical Systems, Cmos Drake	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	100	Safety anti-shock or clip	50 @ 360 J	5510209	F7759
5510211	F7761	Adult	Radiolucent	Inside pouch (standard)	> 8 years	> 25 kg	1	10	Nihon Kohden	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	100	Safety anti-shock or clip	50 @ 360 J	5510211	F7761
5510212	F7762	Adult	Radiolucent	Inside pouch (standard)	> 8 years	> 25 kg	1	10	Marquette GE, Esaote	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	100	Safety anti-shock or clip	50 @ 360 J	5510212	F7762

5510250	F7750W	Adult	Radiolucent	Outside pouch (emergency)	> 8 years	> 25 kg	1	10	Philips, Laerdal Medical, Agilent	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	100	Safety anti-shock or clip	50 @ 360 J	5510250	F7750W
5510251	F7751W	Adult	Radiolucent	Outside pouch (emergency)	> 8 years	> 25 kg	1	10	Zoll Medical	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	100	Safety anti-shock or clip	50 @ 360 J	5510251	F7751W
5510252	F7752W	Adult	Radiolucent	Outside pouch (emergency)	> 8 years	> 25 kg	1	10	Medtronic Physio Control, Osatu Bexen, Cardioline, Mindray	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	100	Safety anti-shock or clip	50 @ 360 J	5510252	F7752W
5510255	F7755W	Adult	Radiolucent	Outside pouch (emergency)	> 8 years	> 25 kg	1	10	Nihon Kohden, Welch Allyn, Innomed, S&W, Draeger, Artema, MRL	1.3	148	95	Metal sheet	Low impedance conductive adhesive gel	100	Safety anti-shock or clip	50 @ 360 J	5510255	F7755W

5510300	F7750P	Paediatric	Radiolucent	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5	Philips, Laerdal Medical, Agilent	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	100	Safety anti-shock or clip	50 @ 100 J	5510300	F7750P
5510301	F7751P	Paediatric	Radiolucent	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5	Zoll Medical	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	100	Safety anti-shock or clip	50 @ 100 J	5510301	F7751P
5510302	F7752P	Paediatric	Radiolucent	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5	Medtronic Physio Control, Osatu Bexen, Cardioline, Mindray	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	100	Safety anti-shock or clip	50 @ 100 J	5510302	F7752P
5510303	F7753P	Paediatric	Radiolucent	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5	Agilent, Laerdal	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	100	Safety anti-shock or clip	50 @ 100 J	5510303	F7753P
5510304	F7754P	Paediatric	Radiolucent	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5	Schiller, Esaote	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	100	Safety anti-shock or clip	50 @ 100 J	5510304	F7754P
5510305	F7755P	Paediatric	Radiolucent	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5	Nihon Kohden, Welch Allyn, Innomed, S&W, Draeger, Artema, MRL	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	100	Safety anti-shock or clip	50 @ 100 J	5510305	F7755P

5510352	F7752PW	Paediatric	Radiolucent	Outside pouch (emergency)	< 8 years	5 kg -25 kg	1	5	Medtronic Physio Control, Osatu Bexen, Cardioline, Mindray	1.6	75	40	Metal sheet	Low impedance conductive adhesive gel	100	Safety anti-shock or clip	50 @ 100 J	5510352	F7752PW

5510400	F7950PL	Paediatric	AED (reduced energy)	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5	Philips, Laerdal Medical, Agilent						100	Safety anti-shock or clip	50 @ 100 J	5510400	F7950PL
5510402	F7952PL	Paediatric	AED (reduced energy)	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5	Medtronic Physio Control						100	Safety anti-shock or clip	50 @ 100 J	5510402	F7952PL
5510408	F7958PL	Paediatric	AED (reduced energy)	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5	CU Medical Systems						100	Safety anti-shock or clip	50 @ 100 J	5510408	F7958PL
5510409	F7959PL	Paediatric	AED (reduced energy)	Inside pouch (standard)	< 8 years	5 kg -25 kg	1	5	CU Medical Systems						100	Safety anti-shock or clip	50 @ 100 J	5510409	F7959PL

5510450	F7950WPL	Paediatric	AED (reduced energy)	Outside pouch (emergency)	< 8 years	5 kg -25 kg	1	5	Philips, Laerdal Medical, Agilent						100	Safety anti-shock or clip	50 @ 100 J	5510450	F7950WPL
5510452	F7952WPL	Paediatric	AED (reduced energy)	Outside pouch (emergency)	< 8 years	5 kg -25 kg	1	5	Medtronic Physio Control						100	Safety anti-shock or clip	50 @ 100 J	5510452	F7952WPL
5510459	F7959WPL	Paediatric	AED (reduced energy)	Outside pouch (emergency)	< 8 years	5 kg -25 kg	1	5	CU Medical Systems						100	Safety anti-shock or clip	50 @ 100 J	5510459	F7959WPL
5510467	F7966WPL	Paediatric	AED (reduced energy)	Outside pouch (emergency)	< 8 years	5 kg -25 kg	1	5	Defibtech						100	Safety anti-shock or clip	50 @ 100 J	5510467	F7966WPL

5510587	F7986UW	Adult & Paediatric	Radiopaque (standard)	Outside pouch (emergency)	>1 year	> 5kg or >10Kg	1	10	Mediana	0.8	119	79	Metal sheet	Low impedance conductive adhesive gel	120	Safety anti-shock or clip	50 @ 300 J	5510587	F7986UW