F77XXP and F7752PW - Paediatric Radiotransparent series

Paediatric Radiotransparent series is intended to be used with patients under 8 years of age and with a body weight included between 11 pounds (5 Kg) and 55 pounds (25 Kg) and has been optimized for use in EP labs, haemodynamics, radiographic and angiographic procedures and in emergency rooms. The defibrillation power should be selected based on patient body weight, as indicated by each defibrillators manufacturer and following the American Heart Association recommendation. Some models present the cable and the terminal connector outside the pouch and they have been intended especially for emergency situations, in order to connect pads to the defibrillator before opening the pouch and save time. Please open the compatibility list for the complete models range.

MODELS WITH THE CABLE INSIDE THE POUCH

	ref
	compatibility

	F7750P
	Philips, Laerdal Medical, Agilent

	F7751P
	Zoll Medical

	F7752P
	Medtronic Physio Control, Osatu Bexen, Cardioline, Mindray

	F7753P
	Agilent, Laerdal

	F7754P
	Schiller, Esaote

	F7755P
	Nihon Kohden, Welch Allyn, Innomed, S&W, Draeger, Artema, MRL



MODELS WITH THE CABLE OUTSIDE THE POUCH

	ref
	compatibility

	F7752PW
	Medtronic Physio Control, Osatu Bexen, Cardioline, Mindray



Primary packaging: one pair in pouch 
Sale packaging: 5 pouches in box

