Competency Assessment Questions – Flowsensor Technical Training

Please please refer to any system resources that you have access to in order to locate the information. The training materials will be made available on the system.

If you are unable to find the information, please make notes at the end of this document detailing where you struggled.

1) What 2 methods are used to determine flow in the flowsensors that Viamed supplies?

2) When placed at the patient’s airway, the flowsensor is said to be placed __________?

3) How many times and at what temperature can the SpiroTrue A(PC) be autoclaved?

4) Which model of flowsensor uses the pressure differential method?

5) Can Flowsensor H be cleaned?

6) What is the definition of the term Anenometric?

7) What does the ventilator use the tidal volume measurement for?

8) How many flowsensors are supplied in each box?

Flowsensor A ___	Flowsensor A(PC) ___	Flowsensor H ___

Notes or Comments:

Name: _____________________________ Date: _____________________
Training Feedback Form
Training Course Completed:
Date:	Time/Length: 1/2h	Trainer: Steve Hardaker
Content		Yes	No	Unsure
Was the course content presented in a logical manner?
Was the course content and material complete and comprehensive?
Will this information be useful to you in your job role?
Relevance		Yes	No	Unsure
Do you feel you now have a better understanding of the product/procedure/training area*?
Did the course challenge your thinking and understanding of the product/procedure/training area*?
Do you feel the training is beneficial to your team?
Trainer		Yes	No	Unsure
Did the trainer communicate and explain the material clearly?
Did you feel the instructor was knowledgeable in the area covered?
Did the trainer encourage discussions and questions?
Comments
Do you require any further training in this area?
If so, what would you like this training to cover?
Further comments:
Name:
Date:
Please delete as applicable