	VIAMED COMPANY OPERATING PROCEDURE

	Q.A. Packing Nova Oxygen TentsTitle

	VM3/COP/ 59.01

	Date: 26/03/2007
	Revision Date:6-Jun-07
	Issue: 1



1. Unpack the Oxygen Hood from its original packing, and check that:

a. The product is the correct item

b. The product is the correct size:

c. Remove Nova leaflet

d. Remove Nova label and ensure no residue is left on the hood

[image: image1.jpg]0086



[image: image2.jpg]



[image: image3.jpg]


 Ensure CE 0086 mark label is attached to Tent and  is incorporated on the User  Insert[image: image5.jpg]) —




Add the appropriate labels. ( 0195001 Viamed clear) to top of rear panel panel 

2. Check the product visually for damage.

3. Add the insert leaflet  239001. One per box or if a single order one per hood.

4. Ensure the product and outer carton are clean.

5. Add labels to original box 

[image: image4.jpg]



Pt No. 2390020

             Barcode label

Remove label

CE0086 label

Address label

For Individual Oxygen Tents label the Tent with the CE0086 label and address label 










VM3COP 59.01 Nuva 070606.doc         06/06/2007                   Page 1 of 1

