VIAMED

[image: image1.jpg]



	Date: 29-Sep-03
	Revision Date:5-Jun-07
	Issue: 1



1. Unpack the Ventilation Tube holder its original packing (possibly newspaper), and check that:

a. The product is the correct item

b. If the product is a special customer specification. Check against original quotation 

c. Remove any suppliers references.


Ensure CE mark label  03303135 is attached and is incorporated on the User  Insert 
Add Viamed logo 0195000

2. Check the product to ensure that there are no sharp edges.

3. Check that there are no scratches on the product.

4. Add the appropriate labels.

5. Add the insert leaflet  0490051

6. Clean the product and repack.

7. Ensure that there is an adequate amount of packaging material around the product prior to taping up the box.

Part Numbers

PP8526
Ventilator tubing holder.

14 holes; 6 down each side & 2 on top.

Hole diameter: 15 mm

Slot width:        10 mm

For use with flexible tubing.

PP8716
Ventilator tubing holder.

14 holes; 6 down each side & 2 on top.

Hole diameter: 15 mm

Slot width:        12 mm

For use with rigid tubing.

Ventilator tubing holders can be manufactured to customer’s own designs or requirements.

Please contact Viamed for further details.










VM3COP52.04 Ventilation Tube holder.doc         05/06/2007     Page 1 of 1

