	VIAMED COMPANY OPERATING PROCEDURE

	Heat shield

	VM3/COP/ 52.05

	Date: 27/03/2007
	Revision Date:5-Jun-07
	Issue: 1



Covers all heat shields including including Nova Disposable “Babyshields”

1. Unpack the Light shield from its original packing (possibly newspaper), and check that:

2. The product is the correct item

3. The product is the correct configuration. It may be a customer special specification

4. Check the product to ensure that there are no sharp edges.

5. Check that there are no scratches on the product.

6. Add the appropriate labels at the bottom of a long edge on open shields or low down on the back of closed or semi-closed shields

7.  All heats shields are CE no number is required for Class1 Label 0195000

8. Add the Insert if required. 

9. Clean the product and repack.

10. Ensure Nova products are clean

11. Ensure that there is an adequate amount of packaging material around the product prior to taping up the box.

	Part number
	Description
	Dimensions mm

(l x w x h)

	PP8100
	Heat shield, open ends. 
	254mm x 203mm x 152mm

	PP8103
	Heat shield, open ends
	305mm x 203mm x 152mm

	PP8106
	Heat shield, open ends
	356mm x 203mm x 152mm

	PP8109
	Heat shield, open ends
	381mm x 203mm x 152mm

	PP8112
	Heat shield, open ends
	457mm x 203mm x 152mm

	PP8601
	Heat shield, open ends
	280mm x 355mm x 165mm

	PP8101
	Heat shield, one end closed
	254mm x 203mm x 152mm

	PP8104
	Heat shield, one end closed
	305mm x 203mm x 152mm

	PP8107
	Heat shield, one end closed
	356mm x 203mm x 152mm

	PP8110
	Heat shield, one end closed
	381mm x 203mm x 152mm

	PP8113
	Heat shield, one end closed
	457mm x 203mm x 152mm

	PP8102
	Heat shield, both ends closed
	254mm x 203mm x 152mm

	PP8105
	Heat shield, both ends closed
	305mm x 203mm x 152mm

	PP8108
	Heat shield, both ends closed
	356mm x 203mm x 152mm

	PP8111
	Heat shield, both ends closed
	381mm x 203mm x 152mm

	PP8114
	Heat shield, both ends closed
	457mm x 203mm x 152mm

	PP8620
	Heat shield, both ends closed
	640mm x 340mm x 190mm











VM3COP52.05 Heat shields 070605.doc        05/06/2007                   Page 1 of 1

