[image: image1.jpg]


VIAMED

OXYGEN HOOD

Q.A. - Packing Checklist Procedure

VM3/COP/52.01
	Date: 29-Sep-03
	Revision Date:5-Jun-07
	Issue: 1



1. Unpack the Oxygen Hood from its original packing (possibly newspaper) , and check that:

a. The product is the correct item

b. The product is the correct size:

i)
PP8000 Size 1 Oxygen Hood 
H = 150mm
W = 200mm
L = 165mm

ii)
PP8050 Size 2 Oxygen Hood
H = 185mm
W = 255m
L = 240mm

iii)
PP8060 Size 3 Oxygen Hood
H = 230mm
W = 310mm
L = 300mm

iv)
PP8589 Size 4 Oxygen Hood H = 300mm
W = 400mm
L = 400mm


 Ensure CE mark label is attached to Headbox  rear panel and is incorporated on the User  Insert

2. Add the appropriate labels.
Headbox Pt. No






Label Pt.No.
PP8000
with ports  PP020
Photo Hood  PP8509

0195001
PP9050
with ports  PP8055
Photo Hood  PP8533

0195001
PP8060
with ports  PP8065
Photo Hood  PP8562

0195001 
PP9589 
with ports PP8715




0195001

3. Add the insert leaflet  0490010

4. Check the product is clean  and repack.

5. Remove suppliers data

6. Ensure that there is an adequate amount of packaging material around the product prior to taping up the box.

7. Ensure the knobs are tightened so that the front is secure and will not move in 

8. Accessories optional
PP1968

Connector 22mm to oxygen tubing
0120126

Connector 22mm O.D.  to 22mm male O.D.
1131050

Silicone curtain flap










VM3COP52.01_ Headbox Checklist 070605.doc        05/06/2007        Page 1 of 1

