	Internal Audit Check list

	Viamed Ltd 

Handling & Stock Control

	Created:

	17/May 1995
	Audit No 07
	

	Revised:
	09 May 2025
	
	Page 1 of 10

	Audit Date
	
	Auditor
	



	Company / ISO Section 
	Criteria of ISO Section 
	Auditor Comments / Issues

	Viamed Ltd ISO13485:2016 6.3
	Infrastructure
The organization shall document the requirements for the infrastructure needed to achieve conformity to product requirements, prevent product mix-up and ensure orderly handling of product. 
Infrastructure includes, as appropriate: 
a) buildings, workspace and associated utilities; 
b) process equipment (both hardware and software); 
c) supporting services (such as transport, communication, or information systems). 
The organization shall document requirements for the maintenance activities, including the interval of performing the maintenance activities, when such maintenance activities, or lack thereof, can affect product quality. As appropriate, the requirements shall apply to equipment used in production, the control of the work environment and monitoring and measurement. 
Records of such maintenance shall be maintained
	

	Viamed Ltd ISO13485:2016 6.4.1
	Work environment
The organization shall document the requirements for the work environment needed to achieve conformity to product requirements. 
If the conditions for the work environment can have an adverse effect on product quality, the organization shall document the requirements for the work environment and the procedures to monitor and control the work environment. 
The organization shall: 
a) document requirements for health, cleanliness and clothing of personnel if contact between such personnel and the product or work environment could affect medical device safety or performance; 
b) ensure that all personnel who are required to work temporarily under special environmental conditions within the work environment are competent or supervised by a competent person. 
NOTE Further information can be found in ISO 14644 and ISO 14698
	

	Viamed Ltd ISO13485:2016 6.4.2
	Contamination control
As appropriate, the organization shall plan and document arrangements for the control of contaminated or potentially contaminated product in order to prevent contamination of the work environment, 
personnel, or product. 
For sterile medical devices, the organization shall document requirements for control of contamination with microorganisms or particulate matter and maintain the required cleanliness during assembly or packaging processes.
	

	Viamed Ltd ISO13485:2016 7.1
	Planning of product realization 
The organization shall plan and develop the processes needed for product realization. Planning of product realization shall be consistent with the requirements of the other processes of the quality management system. 
The organization shall document one or more processes for risk management in product realization. 
Records of risk management activities shall be maintained (see 4.2.5). 
In planning product realization, the organization shall determine the following, as appropriate: 
a) quality objectives and requirements for the product; 
b) the need to establish processes and documents (see 4.2.4) and to provide resources specific to the product, including infrastructure and work environment; 
c) required verification, validation, monitoring, measurement, inspection and test, handling, storage, distribution and traceability activities specific to the product together with the criteria for product acceptance; 
d) records needed to provide evidence that the realization processes and resulting product meet requirements (see 4.2.5). 
The output of this planning shall be documented in a form suitable for the organization’s method of operations. 
NOTE Further information can be found in ISO 14971.
	

	Viamed Ltd ISO13485:2016 7.5.1
	Control of production and service provision
Production and service provision shall be planned, carried out, monitored and controlled to ensure that product conforms to specification. As appropriate, production controls shall include but are not limited to: 
a) documentation of procedures and methods for the control of production (see 4.2.4); 
b) qualification of infrastructure; 
c) implementation of monitoring and measurement of process parameters and product characteristics; 
d) availability and use of monitoring and measuring equipment; 
e) implementation of defined operations for labelling and packaging; 
f) implementation of product release, delivery and post-delivery activities. 
The organization shall establish and maintain a record (see 4.2.5) for each medical device or batch of medical devices that provides traceability to the extent specified in 7.5.9 and identifies the amount manufactured and amount approved for distribution. The record shall be verified and approved.
	

	Viamed Ltd ISO13485:2016 7.5.10
	Customer property 
The organization shall identify, verify, protect, and safeguard customer property provided for use or incorporation into the product while it is under the organization’s control or being used by the organization. If any customer property is lost, damaged or otherwise found to be unsuitable for use, the organization shall report this to the customer and maintain records (see 4.2.5).
	

	Viamed Ltd ISO13485:2016 7.5.11
	Preservation of product
The organization shall document procedures for preserving the conformity of product to requirements during processing, storage, handling, and distribution. Preservation shall apply to the constituent parts of a medical device. 
The organization shall protect product from alteration, contamination or damage when exposed to expected conditions and hazards during processing, storage, handling, and distribution by: 
a) designing and constructing suitable packaging and shipping containers; 
b) documenting requirements for special conditions needed if packaging alone cannot provide preservation. 
If special conditions are required, they shall be controlled and recorded (see 4.2.5).
	

	Viamed Ltd ISO13485:2016 7.5.2
	Cleanliness of product
The organization shall document requirements for cleanliness of product or contamination control of product if: 
a) product is cleaned by the organization prior to sterilization or its use; 
b) product is supplied non-sterile and is to be subjected to a cleaning process prior to sterilization or its use; 
c) product cannot be cleaned prior to sterilization or its use, and its cleanliness is of significance in use; 
d) product is supplied to be used non-sterile, and its cleanliness is of significance in use; 
e) process agents are to be removed from product during manufacture. 
If product is cleaned in accordance with a) or b) above, the requirements contained in 6.4.1 do not apply prior to the cleaning process.
	

	Viamed Ltd ISO13485:2016 7.5.8
	Identification
The organization shall document procedures for product identification and identify product by suitable means throughout product realization. 
The organization shall identify product status with respect to monitoring and measurement requirements throughout product realization. Identification of product status shall be maintained throughout production, storage, installation and servicing of product to ensure that only product that has passed the required inspections and tests or released under an authorized concession is dispatched, used or installed. 
If required by applicable regulatory requirements, the organization shall document a system to assign unique device identification to the medical device. 
The organization shall document procedures to ensure that medical devices returned to the organization are identified and distinguished from conforming product.
	

	Viamed Ltd ISO13485:2016 7.5.9.1
	General
The organization shall document procedures for traceability. These procedures shall define the extent of traceability in accordance with applicable regulatory requirements and the records to be maintained (see 4.2.5).
	

	Viamed Ltd ISO13485:2016 8.2.6
	Monitoring and measurement of product
The organization shall monitor and measure the characteristics of the product to verify that product requirements have been met. This shall be carried out at applicable stages of the product realization process in accordance with the planned and documented arrangements and documented procedures. 
Evidence of conformity with the acceptance criteria shall be maintained. The identity of the person authorizing release of product shall be recorded (see 4.2.5). As appropriate, records shall identify the test equipment used to perform measurement activities. 
Product release and service delivery shall not proceed until the planned and documented arrangements have been satisfactorily completed. 
For implantable medical devices, the organization shall record the identity of personnel performing any inspection or testing.
	

	Viamed Ltd ISO13485:2016 8.3.1
	General
The organization shall ensure that product which does not conform to product requirements is identified and controlled to prevent its unintended use or delivery. The organization shall document a procedure to define the controls and related responsibilities and authorities for the identification, 
documentation, segregation, evaluation, and disposition of nonconforming product. The evaluation of nonconformity shall include a determination of the need for an investigation and notification of any external party responsible for the nonconformity. 
Records of the nature of the nonconformities and any subsequent action taken, including the evaluation, any investigation and the rationale for decisions shall be maintained (see 4.2.5)
	

	Viamed Ltd ISO13485:2016 8.3.2
	Actions in response to nonconforming product detected before delivery
The organization shall deal with nonconforming product by one or more of the following ways: 
a) taking action to eliminate the detected nonconformity; 
b) taking action to preclude its original intended use or application; 
c) authorizing its use, release or acceptance under concession. 
The organization shall ensure that nonconforming product is accepted by concession only if the justification is provided, approval is obtained, and applicable regulatory requirements are met. 
Records of the acceptance by concession and the identity of the person authorizing the concession shall be maintained (see 4.2.5).
	


	
	QUESTION:
	RESPONSE
	Y/N

	1
	Check all issues from the previous audit are completed.

	
	

	2
	Check that incoming products are stored correctly on receipt.
	
	

	3
	Check that the in-house stores area is adequate, safe and accessible.

	
	

	4
	Verify that products for repair are suitably boxed prior to movement.

i.e. In ducket with correct paperwork including SRS number.

	
	

	5
	Verify that stock items are suitable packed and labelled for entry into stock.

	
	

	6
	Check that gloves and or hand sanitiser is available and used, where necessary, when returns are received.

	
	

	7
	Check in Intrastats that COSHH data sheets are available for all products.

	
	

	8
	Check that items in a stock locations are correct to Intrastats. 

Verify that the quantity of an item in stock is correct to that in Intrastats. 

Check that the packing and labelling of the finished product is appropriate and will preserve quality to the end user. 

Check 5 items.

1.

2.

3.

4.

5.


	
	

	9
	Check that demonstration and exhibition stock is separate from other stock, and areas labelled correctly.

	
	

	10
	Verify that product in the non-conforming area can only be removed by authorised personnel. Verify that transfer of non-conformance stock is done by use form QC19.

	
	

	11
	Verify that special requirement areas are available should the product require it.

	
	

	12
	Check that completed products are adequately stored. List those checked.

1.

2.

3.

4.

5.


	
	

	13
	Verify that there are adequate storage areas in the workshop for a working stock of assembly components.

	
	

	14
	Check that product movement around the workshop is by ducket only.

	
	

	15
	Are stores and storage areas secure and suitably identified with signs.
List problem areas.

	
	

	16
	Are uncontrolled material and parts identified as such, and in the correct area. 

Check that items in Quarantine have HOLD labels with an issue number, date and initials.

	
	

	17
	Check unentered and pre QA items have labels and/or are in the correct area.


	
	

	18
	Are all parts in the warehouse properly identified with Viamed Location Tracking barcodes. Identify unmarked items.

	
	


List Processes Per Title

09/05/2025      Page 1 of 6

09/05/2025      Page 6 of 6


