	     
	[image: image3.jpg]



	
	Viamed Limited - 15 Station Road - Cross Hills

Keighley - West Yorkshire  BD20 7DT - United Kingdom

Tel: +44 (0)1535 634542     Fax: +44 (0)1535 635582

Email: info@viamed.co.uk   Website: www.viamed.co.uk



Viamed R-23V Oxygen Sensor 
Packaging & Sensor Labelling
0110023 R-23V

	[image: image1.png]VIAMED Medical Oxygen Sensor R-23V
ot 35 82 0110023  sN: V123456 E

e o RO [ (T 1T

Website: www.viamed.co.uk

202504

Alter Holzhafen 18, 23966 Wismar, Germany ~ C € 0123




	[image: image2.png]Medlcal Oxygen Sensor R- 23V

®A©® Y @ﬁzmsmm

[REF] 0110023 s V123456

(01)04036616011877(11)250401(21)V123456

Honeywell Healthcare
“ Solutions GmbH

Alter Holzhafen 18

2

3565 e
nieniescom
v ioEmadsoik Vet wowyimsdssak C€otzs

Depending on the ambient condiions the sensor may require Up 1o 30 MinUtes (o reach signal
stabilty after installation. The sensor contains caustic liquid and lead. In case of leakage avoid
contact with eyes and skin! Recommendd storage emperature: 5°C - 15°C!





	Sensor Label: 90 x 15 mm
	
Packaging Label: 63.5 x 46.6 mm


5

[image: image3.jpg]