	     
	[image: image29.jpg]



	
	Viamed Limited - 15 Station Road - Cross Hills

Keighley - West Yorkshire  BD20 7DT - United Kingdom

Tel: +44 (0)1535 634542     Fax: +44 (0)1535 635582

Email: info@viamed.co.uk   Website: www.viamed.co.uk



Viamed Oxygen Sensors 
Packaging & Sensor Labelling
0110023 R-23V

	[image: image1.png]VIAMED Medical Oxygen Sensor R-23V
ot 35 82 0110023  sN: V123456 E

e o RO [ (T 1T

Website: www.viamed.co.uk

202504

Alter Holzhafen 18, 23966 Wismar, Germany ~ C € 0123




	[image: image2.png]Medlcal Oxygen Sensor R- 23V

®A©® Y @ﬁzmsmm

[REF] 0110023 s V123456

(01)04036616011877(11)250401(21)V123456

Honeywell Healthcare
“ Solutions GmbH

Alter Holzhafen 18

2

3565 e
nieniescom
v ioEmadsoik Vet wowyimsdssak C€otzs

Depending on the ambient condiions the sensor may require Up 1o 30 MinUtes (o reach signal
stabilty after installation. The sensor contains caustic liquid and lead. In case of leakage avoid
contact with eyes and skin! Recommendd storage emperature: 5°C - 15°C!





	Sensor Label: 90 x 15 mm
	
Packaging Label: 63.5 x 46.6 mm


0110040 R-30V

	[image: image3.png]MVIAMED

Tel: +4 (0)1635 634542
Emait info@iamed co.uk
Website: wwwviarmed co.uk

Honeyvell Healthcare:
Salutions GmbH,
23966 Wismar,

Germany
C€o0123

8 1 >

2025-04

Medical Oxygen Sensor R-30V

0110040

SN:I I
V123456




	[image: image4.png]Medlcal Oxygen Sensor R- 30V

®A©® Y @ﬁzozsmm

[REF] 0110040 s V123456

(01)04036616011976(11)250401(21)V123456

“ Solutions GmbH

S e 18
3555 e
it

[

fvnedensh Wi i sk C€oizs

Depending on the ambient condiions the sensor may require Up 1o 30 MinUtes (o reach signal
stabilty after installation. The sensor contains caustic liquid and lead. In case of leakage avoid
contact with eyes and skin! Recommendd storage emperature: 5°C - 15°C!

Tl
Email: i






	Sensor Label Diameter: 39.8 mm
	
Packaging Label: 63.5 x 46.6 mm


0110041 R-41V

	[image: image5.png]VIAMED Medical Oxygen Sensor R-41V

ot 35 82 0110041  sN: V123456

s teoecen PR I DR ||| T[T

Website: www.viamed.co.uk

Alter Holzhafen 18, 23966 Wismar, Germany ~ C € 0123 202504




	[image: image6.png]Medlcal Oxygen Sensor R- 41V

®A©® Y @ﬁzozsmm

[REF] 0110041 s V123456

(01)04036616011921(11)250401(21)V123456

“ Solutions GmbH

S e 18
3555 e
it

[

fvnedensh Wi i sk C€oizs

Depending on the ambient condiions the sensor may require Up 1o 30 MinUtes (o reach signal
stabilty after installation. The sensor contains caustic liquid and lead. In case of leakage avoid
contact with eyes and skin! Recommendd storage emperature: 5°C - 15°C!

Tl
Email: i






	Sensor Label: 90 x 15 mm
	
Packaging Label: 63.5 x 46.6 mm


0110042 R-42V

	[image: image7.png]VIAMED Medical Oxygen Sensor R- 42V

ot 35 82 0110042  sN: V123456

s teoscen PR IR ||| 11T

Website: www.viamed.co.uk

Alter Holzhafen 18, 23966 Wismar, Germany ~ C € 0123 202504




	[image: image8.png]VIAMED Medical Oxygen Sensor R- 42V

ot 35 82 0110042  sN: V123456

s teoscen PR IR ||| 11T

Website: www.viamed.co.uk

Alter Holzhafen 18, 23966 Wismar, Germany ~ C € 0123 202504





	Sensor Label: 90 x 15 mm
	
Packaging Label: 90 x 15 mm


0110043 R-43V

	[image: image9.png]VIAMED Medical Oxygen Sensor R- 43V

ot 35 82 0110043  sN: V123456

s teoecen PR IO ||| T[T

Website: www.viamed.co.uk

Alter Holzhafen 18, 23966 Wismar, Germany ~ C € 0123 202504




	[image: image10.png]Medlcal Oxygen Sensor R- 43V

®A©® Y @ﬁzozsmm

[REF] 0110043 s V123456

(01)04036616011839(11)250401(21)V123456

“ Solutions GmbH

S e 18
3555 e
it

[

fvnedensh Wi i sk C€oizs

Depending on the ambient condiions the sensor may require Up 1o 30 MinUtes (o reach signal
stabilty after installation. The sensor contains caustic liquid and lead. In case of leakage avoid
contact with eyes and skin! Recommendd storage emperature: 5°C - 15°C!

Tl
Email: i






	Sensor Label: 90 x 15 mm
	
Packaging Label: 63.5 x 46.6 mm


0110044 R-44V

	[image: image11.png]VIAMED Medical Oxygen Sensor R-44V

ot 35 82 0110044  sN: V123456

s teoecen PR IO ||| 11T

Website: www.viamed.co.uk

Alter Holzhafen 18, 23966 Wismar, Germany ~ C € 0123 202504




	[image: image12.png]Medlcal Oxygen Sensor R- 44V

®A©® Y @ﬁzozsmm

[REF] 0110044 s V123456

(01)04036616000529(11)250401(21)V123456

“ Solutions GmbH

S e 18
3555 e
it

[

fvnedensh Wi i sk C€oizs

Depending on the ambient condiions the sensor may require Up 1o 30 MinUtes (o reach signal
stabilty after installation. The sensor contains caustic liquid and lead. In case of leakage avoid
contact with eyes and skin! Recommendd storage emperature: 5°C - 15°C!

Tl
Email: i






	Sensor Label: 90 x 15 mm
	
Packaging Label: 63.5 x 46.6 mm


0110045 R-45V

	[image: image13.png]VIAMED Medical Oxygen Sensor R- 46V

ot 35 82 0110045  sN: V123456

s teoecen PR IO ||| T[T

Website: www.viamed.co.uk

Alter Holzhafen 18, 23966 Wismar, Germany ~ C € 0123 202504




	[image: image14.png]Medlcal Oxygen Sensor R- 45V

®A©® Y @ﬁzozsmm

[REF] 0110045 s V123456

(01)04036616011952(11)250401(21)V123456

“ Solutions GmbH

S e 18
3555 e
it

[

fvnedensh Wi i sk C€oizs

Depending on the ambient condiions the sensor may require Up 1o 30 MinUtes (o reach signal
stabilty after installation. The sensor contains caustic liquid and lead. In case of leakage avoid
contact with eyes and skin! Recommendd storage emperature: 5°C - 15°C!

Tl
Email: i






	Sensor Label: 90 x 15 mm
	
Packaging Label: 63.5 x 46.6 mm


0110047 R-47V

	[image: image15.png]VIAMED Medical Oxygen Sensor R-47V

ot 35 82 0110047  sN: V123456

s teoecen PR I ORI ||| 11T

Website: www.viamed.co.uk

Alter Holzhafen 18, 23966 Wismar, Germany ~ C € 0123 202504




	[image: image16.png]Medlcal Oxygen Sensor R- 47V

®A©® Y @ﬁzozsmm

[REF] 0110047 s V123456

(01)04036616011969(11)250401(21)V123456

“ Solutions GmbH

S e 18
3555 e
it

[

fvnedensh Wi i sk C€oizs

Depending on the ambient condiions the sensor may require Up 1o 30 MinUtes (o reach signal
stabilty after installation. The sensor contains caustic liquid and lead. In case of leakage avoid
contact with eyes and skin! Recommendd storage emperature: 5°C - 15°C!

Tl
Email: i






	Sensor Label: 90 x 15 mm
	
Packaging Label: 63.5 x 46.6 mm


0110049 R-49V

	[image: image17.png]VIAMED Medical Oxygen Sensor R-49V
ot 35 82 0110049  sN: V123456 E

e o R [ (T T

Website: www.viamed.co.uk

202504

Alter Holzhafen 18, 23966 Wismar, Germany ~ C € 0123




	[image: image18.png]Medlcal Oxygen Sensor R- 49V

®A©® Y @ﬁzozsmm

[REF] 0110049 s V123456

(01)04036616011938(11)250401(21)V123456

“ Solutions GmbH

S e 18
3555 e
it

[

fvnedensh Wi i sk C€oizs

Depending on the ambient condiions the sensor may require Up 1o 30 MinUtes (o reach signal
stabilty after installation. The sensor contains caustic liquid and lead. In case of leakage avoid
contact with eyes and skin! Recommendd storage emperature: 5°C - 15°C!

Tl
Email: i






	Sensor Label: 90 x 15 mm
	
Packaging Label: 63.5 x 46.6 mm


0110021 R-22MEDV
	[image: image19.png]0110021 SN: V123456
Tl 444 (01535 634542 (NILLTHE T
Email: info@viamed.co.uk Honeywell HS GmbH

Website: www.viamed.co.uk Alter Holzhafen 18, 23966 Wismar, Germany € 0123

202504

VIAMED Medical Oxygen Sensor R- 22MEDV E
aal




	[image: image20.png]Med|ca| Oxygen Sensor R- 22MEDV

@A@ A" @ﬁ 2025-04-01

[REF] 0110021 o V123456

(01)04036616011884(11)250401(21)V123456

[rm——
“ Soutons Gt
Al Holznaten 18
23566 Wismar
v emies com
o ot 135 4542
Smai info@vismed.co.uk  Websie: wviamedco.uk C€o0123

Depending on the ambient condiions The sensor may require Up 1o 30 minutes 1o reach signal
stabilty after installation. The sensor cantains caustic liquid and lead. In case of leakage avold
contact with eyes and skin! Recommended storage temperature: 5°C - 15°C






	Sensor Label: 90 x 15 mm
	
Packaging Label: 63.5 x 46.6 mm


0110018 R-17V
	[image: image21.png]VIAMED Medical Oxygen Sensor R-17V
ot 35 82 0110018  sN: V123456 E

s teoecen PR IO ||| 1111

Website: www.viamed.co.uk

202504

Alter Holzhafen 18, 23966 Wismar, Germany ~ C € 0123




	[image: image22.png]Medlcal Oxygen Sensor R- 17V

®A©® Y @ﬁzozsmm

[REF] 0110018 s V123456

(01)04036616011891(11)250401(21)V123456

“ Solutions GmbH

S e 18
3555 e
it

[

fvnedensh Wi i sk C€oizs

Depending on the ambient condiions the sensor may require Up 1o 30 MinUtes (o reach signal
stabilty after installation. The sensor contains caustic liquid and lead. In case of leakage avoid
contact with eyes and skin! Recommendd storage emperature: 5°C - 15°C!

Tl
Email: i






	Sensor Label: 90 x 15 mm
	
Packaging Label: 63.5 x 46.6 mm


0110019 R-17Vi
	[image: image23.png]VIAMED Medical Oxygen Sensor R-17Vi
ot 35 82 0110019  sN: V123456 E

s teecen PR I ORI ||| 11T

Website: www.viamed.co.uk

202504

Alter Holzhafen 18, 23966 Wismar, Germany ~ C € 0123




	[image: image24.png]Medlcal Oxygen Sensor R- 17V|

®A©® Y @ﬁzozsmm

[REF] 0110019 s V123456

(01)04036616011914(11)250401(21)V123456

“ Solutions GmbH

S e 18
3555 e
i

[

fvnedensh Wi i sk C€oizs

Depending on the ambient condiions the sensor may require Up 1o 30 MinUtes (o reach signal
stabilty after installation. The sensor contains caustic liquid and lead. In case of leakage avoid
contact with eyes and skin! Recommendd storage emperature: 5°C - 15°C!

Tl
Email: i






	Sensor Label: 90 x 15 mm
	
Packaging Label: 63.5 x 46.6 mm


0110020 R-22Vi
	[image: image25.png]VIAMED Medical Oxygen Sensor R- 22Vi
ot 35 82 0110020  sN: V123456 E

s teoecen PR I ORI ||| T

Website: www.viamed.co.uk

202504

Alter Holzhafen 18, 23966 Wismar, Germany ~ C € 0123




	[image: image26.png]Medlcal Oxygen Sensor R- 22V|

®A©® Y @ﬁzozsmm

[REF] 0110020 s V123456

(01)04036616011907(11)250401(21)V123456

“ Solutions GmbH

S e 18
3555 e
i

[

fvnedensh Wi i sk C€oizs

Depending on the ambient condiions the sensor may require Up 1o 30 MinUtes (o reach signal
stabilty after installation. The sensor contains caustic liquid and lead. In case of leakage avoid
contact with eyes and skin! Recommendd storage emperature: 5°C - 15°C!

Tl
Email: i






	Sensor Label: 90 x 15 mm
	
Packaging Label: 63.5 x 46.6 mm


0110039 R-22VA
	[image: image27.png]VIAMED Medical Oxygen Sensor R-22VA
ot 35 82 0110039  sN: V123456 E

s teoecen PR I DR ||| T

Website: www.viamed.co.uk

202504

Alter Holzhafen 18, 23966 Wismar, Germany ~ C € 0123




	[image: image28.png]Medlcal Oxygen Sensor R- 22VA

®A©® Y @ﬁzozsmm

[REF] 0110039 s V123456

(01)04036616011860(11)250401(21)V123456

“ Solutions GmbH

S e 18
3555 e
i

[

fvnedensh Wi i sk C€oizs

Depending on the ambient condiions the sensor may require Up 1o 30 MinUtes (o reach signal
stabilty after installation. The sensor contains caustic liquid and lead. In case of leakage avoid
contact with eyes and skin! Recommendd storage emperature: 5°C - 15°C!

Tl
Email: i






	Sensor Label: 90 x 15 mm
	
Packaging Label: 63.5 x 46.6 mm


Page 5
v.1 22 May 2025

[image: image29.jpg]