Solving the Unmet Need in Long Term Monitoring Oxygen Levels in Children
in the Community
~ 40 paediatric deaths /yr in UK
~Emergency admissions (24,0000)
~ Bed days 80,000
Asthma
(1.1m children)
-55,000 with severe asthma
Chronic lung diseases
Bronchiolitis
10,800 children
There is a need to develop technologies
that can monitor oxygen saturation
of the blood in the community
Cystic fibrosis
10,800 children

---
The project will create a new patient pathway for home monitoring in children
Current technologies
Cumbersome
↑ Patients admitted
↑Demand on A&E
↑Risk of morbidity
   and death
Lack paediatric
 algorithms
Motion creates artefacts
Adult solutions
Toe and finger
 probes limit movement
Low perfusion performance
The solution
The project is to develop a wearable , self-adjustable wireless probe (with appropriate paediatric
software algorithms) that is supported by clinical evidence to support product claims
The benefits
reduced admissions to hospital
improvements in independence and self-management
Enhanced quality of life
Enhanced patient experience
[Speaker Notes: Say that there is evidence that existing technology read 6% to high which might contribute to demand on A&E departments]

---
The Technology
The Technology
The Challenges
Anatomical preference
 ISO Standards
BS EN 60601-1:2006+A12:2014
 Compliance
Evidence needed by commissioners
Use during motion/play
Data collection
What would
the child wear?
Accuracy/ sensitivity
Evidence needed by clinicians

---
Methodology used customer focussed innovation
User and
technical
requirements
Concept
selection
Idea
generation
Design
Inputs
Unmet
need
FOCUS GROUPS x 2
Matrix
prioritisation
Soft prototyping
Team R&D activities
Focus group
OUTPUT
FINALISED
CONCEPT
TO MOVE TO
PHASE II
CLINICAL
STUDY
Forehead
Nose
User
(e.g. anatomical location)
Finger
Ear
Wireless or cable
chest
Technical
Contact with skin
Resolution
Reusable or single use
Believable
Clinical
Accurate monitoring
can be used 24hrs
day & night
EVIDENCE
SpO2 accuracy

---
Partners- Roles and responsibilities
Partners- Roles and responsibilities
Meeting
Meeting
Meeting
Meeting
Meeting
Meeting
NIRI
NIRI
NIRI
NIRI
NIRI
NIRI
Adapting the existing medically approved
device for data collection
Soft prototyping the sensor(s)
Data analysis and algorithm refinement for paediatrics
Defining the technical
inputs
Competitor and IP analysis
Validation focus group
Design and running of focus groups 1 and 2
Conversion of user
needs to design inputs
Concept enrichment -
Benchmark existing pathway
 Final report-
Recruitment of patients and clinicians to focus groups
Test existing algorithm on 10 patient
Ethics approval for benchmarking and testing existing devices
Project management
1 2 3 4 5 6 months

---
Phase II –Path to commercialisation
Clinical
Product development
Commercial support
1 yr
Clinical
Est £120K
Est total cost
~£820K
Product development
Est £600K
Commercial support
Est £100K
Cost estimates might
 vary depending on phase I
Clinical trial design
Clinical Trial
Clinical and QoL outputs
Publication strategy
Support product claims
Algorithm Optimisation
Manufacture of prototypes for clinical
Validation and verification
IP/ patent submissions
Regulation submission preparation
Distribution
plan
Competitor/IP monitoring/ analysis
 Value proposition
Clinical evidence report for DHF
Price sensitivity analysis

---
The project can help improve lives
Any questions ?