## Sheet1
Part Number | Type (P/R/O) | Part Description | Status | Preferred Vendor | Vendor Part No. | Current Pricing | Volume Discount | Min for Order | Purchase Lead Time | Shipping Days | Description for Clarification
VM4220926 | R | VersaStream® CO2 Sampling Line (Inf/High Humid) | In Use | VIAMED VEND | 4420926 | 236.7 |  |  | Awaiting Stock | 1-2 working days
ZZ30001 | R | R-17MED oxygen sensor | In Use | VIAMED VEND | 0110017 | 41.7 |  |  | Ex-Stock | 1-2 working days
ZZ30007 | R | 011026 R26 Sensor | In Use | VIAMED VEND | 0110026 | 68.8 |  |  | Ex-Stock | 1-2 working days
ZZ30002 | R | Oxygen Sensor R-43V (pack of 2) | In Use | VIAMED VEND | 0110043 | 72 |  |  | Ex-Stock | 1-2 working days
ZZ30003 | R | R-45V Oxygen Sensor | In Use | VIAMED VEND | 0110045 | 34 |  |  | Ex-Stock | 1-2 working days
ZZ30005 | R | R-47V Oxygen Sensor ( Transfer to AC7003 ) | In Use | VIAMED VEND | 0110047 | 60 |  |  | Ex-Stock | 1-2 working days
ZZ30006 | R | V0110057 - T7 Oxygen Sensor | In Use | VIAMED VEND | 0110057 | 58.9 |  |  | Awaiting Stock | 1-2 working days
AT60859 | R | O2 Sensor-Dual i/Incu i/V-2200/2100G (2pcs) | In Use | VIAMED VEND | 0110073 | 64 |  |  | Ex-Stock | 1-2 working days
ZZ30008 | R | V0110429 Max 250-E Cell | In Use | VIAMED VEND | 0110429 | 52.3 |  |  | Ex-Stock | 1-2 working days
ZZ30009 | R | V0110431 Max 250A | In Use | VIAMED VEND | 0110431 | 69.7 |  |  | Ex-Stock | 1-2 working days
NV00M102-1 | R | 00M102-1 EnviteC Oxygen Sensor | In Use | VIAMED VEND | 0110572 | 36 |  |  | Potentially 6-8 weeks | 1-2 working days
VM0111235 | R | MaxO2ME Oxygen Analyser Complete | In Use | VIAMED VEND | 0111263 | 483.2 |  |  | Ex-Stock | 1-2 working days
IDM-LSA033 | R | PEEP circuit adapter - single patient use | In Use | VIAMED VEND | 0120141 | 0.72 |  |  |  | 1-2 working days | Single Use Adapter 15 mm I.D./22 mm O.D. To connect NeoPEEP circuit 15 mm I.D./22 mm O.D - 15 mm I.D./22 mm O.D – KC 2124 1 X DISPOSABLE
VM0121182 | R | V Mounting Pole Bracket for MX300-I Analyser | In Use | VIAMED VEND | 0121182 | 27.3 |  |  | Ex-Stock | 1-2 working days
ZZ50000 | R | 0121201 Pole Bracket | In Use | VIAMED VEND | Superseded by 0121182 |  |  |  |  | 1-2 working days
VM0330214 | R | O-ring thin, Tom Thumb | In Use | VIAMED VEND | 0330213 | 1 |  |  | Ex-Stock | 1-2 working days
VM0330213 | R | O-ring thick, Tom Thumb | In Use | VIAMED VEND | 0330214 | 1 |  |  | Ex-Stock | 1-2 working days
NV0120100 | R | VISION ALPHA Tee Piece | In Use | VIAMED VEND | 0120399 | 21.25 |  |  | Ex-Stock | 1-2 working days | `T` adapter. 22mm I.D. - 22mm O.D. – Pack of 5
ZZ30010 | R | Oxygen Fuel Cell with 3-pin Molex Connector | In Use | VIAMED VEND | Please provide image or additional description
PM5900 | R | PM Oxygen Monitor | In Use | VIAMED VEND | Product no longer available due to manufacturer certifications