MOD_Obsolescence _Review_My_Sign_O2_Monitor 18/09/25

	Information/Name/MPN 
	E1001825 MYSIGN O2 MONITOR 

	Confirm that “Honeywell” is the Original Manufacturer 
	The original Manufacturer is: Honeywell Healthcare Solutions GmbH, Germany

	Provide the OEM MHRA Reference Number 
(As shown on the MHRA PARD)
	2022021501240022

	Provide the PARD GMDN for the device
	35219

	Is the equipment available to purchase? (If possible please provide current price ex VAT) 
	Yes. Current price for MySign Kit Viamed part number 0111277 £405.20 ex VAT

	Do you have an end of support date or obsolescent date for the equipment? 
	No 

	Do you have a planned end of production for this model? 
	No

	If no longer available please provide an end of life letter. 
	n/a

	Please provide an Up to date list of Ancillaries (if Applicable) 
	See ‘GBP Price List - Envitec MySign O Oxygen Monitor’

	Provide the latest list of spare parts and prices for the equipment (If applicable) 
	See ‘GBP Price List - Envitec MySign O Oxygen Monitor’

	Provide the latest version of the user and service manual for the equipment 
	See ‘Envitec MySign O Operating Manual - English version’

	Provide the latest material safety data sheet (Battery Safety Data Sheet, UN38.3) 
	See ‘MySign O Battery UN38.3 Test Summary Report’

	Please provide a DofC for this equipment. 
	See ‘Envitec MySign O Declaration of Conformity ID152399’

	Provide a UKCA and/or CE certification for the equipment 
	See ‘Honeywell EC Certificate - MDD ID165619’

	Please Provide the latest EC certificate 
	See ‘Honeywell EC Certificate - MDD ID165619’

	Please provide the latest QMS certificate (ISO 9001& ISO 13485) 
	See ‘Honeywell ISO 13485-2016 Certificate ID140642’

	What software version should the equipment have installed? (if applicable) 
	Latest versions.

Software: 01.96.02-WE.03

Hardware: 01.50

	Have there been any FSN modifications we need to be aware of? 
	No

	Can clinical training be provided for this equipment? Is this certified? How long is the certificate valid for? Can a cost please be provided? 
	Training not available

	Is a clinical refresher training course available? 
	Training not available

	Can technical training be provided to allow in house engineers to maintain this equipment? Is this certified? How long is the certificate valid for? 
	Training not available

	If a technical course is available what is the course length?  What is the maximum number of attendees? Can a cost please be provided? 
	Training not available

	Is a technical refresher training course available? 
	Training not available


