[image: image1.jpg]ARAB HEALTH
2002

Summary of products

Pulse Oximetry Sensors Viamed  Dolphin  Aristo
Finger sensors v v v
Multi-site 'Y’ sensors v v v
Ear sensors v
Extension cables v v v
Adapter cables v v v
D.O.T. Sensors v
Wrap sensors v
Disposables v v ~

Pulse oximetry sensor repair services
Pulse oximeters - Stand alone, hand held, compact PC
Pulse oximetry simulators and testers

Oxygen sensors
Oxygen monitors and analysers

Oxygen hoods
Patient monitors
Infant resuscitation cabinets

Infant resuscitators
Radiant warmers

Phototherapy masks
Phototherapy light shields

ECG cables

Temperature probes

Supra-maximal nerve stimulator

Chart & recorder paper [
VIARMED

Imail infeid




[image: image2.png]




TUBE HOLDER– CE FILE 

Product Description:
Ventilator Tube Holder

Risk Analysis Report.

This product is based on a range of similar products designed by hospitals in the early 1960’s, and has been continually improved in line with medical practices.

Ventilator Tube Holders are clear flat acrylic sheets, bent at right angles in the middle, usually used to hold IV and Ventilator Tubes.

It can be used to support these tubes etc, when babies are in incubators, or additionally ti can be used when babies are under overhead heaters. 

The Tube Holder is a means of maintaining an open working environment for the clinicians, thus not being hampered by overlaying and intrusive tubes when treating babies.

E. Risk Analysis Report_Tube Holder
26/01/2005

Page 1

[image: image1.jpg][image: image2.png]