	Internal Audit Check list

	Repairs & Service

	Created:

	17/May 1995
	Audit No 11
	VM3/COP 05,05.30

VOP14

	Revised:
	04 June 2006
	Last printed 04/06/2006 10:10
	Page 1 of 2

	Audit Date
	
	Auditor
	ISO 7.5   7.5.1



	QUESTION:
	RESPONSE:
	Y/N

	Verify that warranty items are allocated a WR number from the warranty book.
	
	

	Check that the WR number is tied up to the “Failed item” when it is received.
	
	

	Check that all repairs are logged into the Goods Inward book and repair book with SRN number. List 6 repairs
	
	

	Are Repairs logged out of the Repair book;Use same as 1
	
	

	Is the status recorded correctly for open items;list up to 6 open items
	
	

	Are status Tags being used correctly  use same as 3
	
	

	Verify that all details are entered onto the Lotus database.
	
	

	Check that a copy of the SRN is filed in the customer case file.
	
	

	Check that out-of-date warranty repairs have received customer approval prior to any repair work being done.
	
	

	Verify that goods are identified as “Customer Repair”.
	
	

	Check that equipment repairs are segregated from probe repairs and the appropriate form is raised.
	
	

	Verify that the form is correctly filled in with all relevant details.
	
	

	Verify that the completed forms are correctly filled in.
	
	

	Check that the final inspection / test sheets and safety records are completed
	
	

	Verify that copies of completed SRN’s are in the customer files and the database is updated correctly.
	
	

	Check compliance of on-site repairs on SRN (section 7.)
	
	

	Check that anti-static precautions are in place and appropriate checks are recorded.
	
	

	Check that the Viamed Workshop Manual is available to all operatives
	
	

	Check that the correct coloured duckets are being used for “Urgent” repairs and also for “Export” repairs.
	
	

	Verify that the appropriate customers paperwork and Viamed worksheet is correctly filled in
	
	

	Check that the duckets are being worked in priority, and then date order.
	
	

	Verify that testing is done to the correct values as stated on the worksheet and recorded as such.
	
	

	Verify that the certificate corresponds to the values on the worksheet.
	
	

	Check that completed duckets are placed on the repaired probes shelf with all appropriate paperwork
	
	

	Verify that the invoice ties up with all the original paperwork and copies retained in the customer file
	
	

	Verify that service requests are transposed onto a worksheet.
	
	

	Check that services are scheduled within an agreed time frame.
	
	

	Check that the engineer has all available equipment ready.
	
	

	Check that test sheets are available for each service.
	
	

	Check that all information is logged on the test sheet.
	
	

	Check that parts used are detailed on the test sheet
	
	

	Verify that copies are made available to customer.
	
	

	Verify that all paperwork is put into the customer file.
	
	

	Is the SRN system in order
Check SRN's are computerised and filed correctly
	
	

	Are SRN's completed correctly
List any discrepancies on last twenty
	
	

	Do customers orders reference the certificate of conformity when requested
	
	

	If more space is required for answers use the reverse of this form
	
	


Audit 11 Repairs & Service                             04/06/2006                       Page 1 of 2



Audit 11 Repairs & Service    04/06/2006      Page 2 of 2

