[image: image1.jpg]ARAB HEALTH
2002

Summary of products

Pulse Oximetry Sensors Viamed  Dolphin  Aristo
Finger sensors v v v
Multi-site 'Y’ sensors v v v
Ear sensors v
Extension cables v v v
Adapter cables v v v
D.O.T. Sensors v
Wrap sensors v
Disposables v v ~

Pulse oximetry sensor repair services
Pulse oximeters - Stand alone, hand held, compact PC
Pulse oximetry simulators and testers

Oxygen sensors
Oxygen monitors and analysers

Oxygen hoods
Patient monitors
Infant resuscitation cabinets

Infant resuscitators
Radiant warmers

Phototherapy masks
Phototherapy light shields

ECG cables

Temperature probes

Supra-maximal nerve stimulator

Chart & recorder paper [
VIARMED

Imail infeid




[image: image2.png]




TUBE HOLDER – CE FILE

Description of Device.

Generic name of device: Transparent Perspex Ventilator Tube Holder

Model name: Tube Holder

Model number: PP8000 Series

Brief description of device and other devices designed to be used in combination with it:
They are normally manufactured from transparent Acrylic (Perspex), flat and formed at right angles usually used to hold IV and Ventilator Tubes.

It can be used to support these tubes etc, when babies are in incubators, or additionally ti can be used when babies are under overhead heaters. 

The Tube Holder is a means of maintaining an open working environment for the clinicians, thus not being hampered by overlaying and intrusive tubes when treating babies.
Standard sizes are available.

Specials can be manufactured to order.

· Specials are manufactured to the user specification; all follow the basic description.
F. Description of Device_Tube Holder
26/01/2005                                                                                                                              
Page 1


[image: image1.jpg][image: image2.png]