[image: image3.jpg]ARAB HEALTH
2002

Summary of products

Pulse Oximetry Sensors Viamed  Dolphin  Aristo
Finger sensors v v v
Multi-site 'Y’ sensors v v v
Ear sensors v
Extension cables v v v
Adapter cables v v v
D.O.T. Sensors v
Wrap sensors v
Disposables v v ~

Pulse oximetry sensor repair services
Pulse oximeters - Stand alone, hand held, compact PC
Pulse oximetry simulators and testers

Oxygen sensors
Oxygen monitors and analysers

Oxygen hoods
Patient monitors
Infant resuscitation cabinets

Infant resuscitators
Radiant warmers

Phototherapy masks
Phototherapy light shields

ECG cables

Temperature probes

Supra-maximal nerve stimulator

Chart & recorder paper [
VIARMED

Imail infeid




[image: image4.png]



                                 TUBE HOLDER – CE FILE

Instructions for Use

Ventilator Tube Holder
[image: image1.jpg]



This is a very simple device – a piece of Perspex designed to support a combination of tubes and cables etc. 

The base part of the device can be held down by any suitable appropriate method.

The tubes and cables etc. can then be supported in the various holes on the upright part of the holder.

Cleaning / Disinfection of Ventilator Tube Holder.

Viamed Ltd recommends adherence to local hospital protocols and disinfection fluid instructions for use. Disinfection must be achieved by use of a hospital-authorised disinfectant.

Unless the device has been contaminated with body fluid, it is usually adequate to clean thoroughly with neutral detergent, then rinse and dry.  If there is contamination the device must be cleaned thoroughly prior to disinfection to remove all organic matter and other residue.  If the disinfectant contains bleach (sodium hypochlorite), the minimum concentration recommended should be used to prevent discolouring and crazing. 

In the absence of manufacturers advice the following strengths can be used as a guide:

· Heavy contamination with blood - 10000 ppm available chlorine.

· Without gross contamination   -1000 ppm available chlorine. 

· Special attention should be paid to rinsing the surface until it is completely free of the solution. 

· It must be cleaned off with neutral detergent, rinsed thoroughly and dried.

	[image: image2.png]



Warning.
	· Cracked surfaces can harbour contamination.

· Do not use glutaraldehyde or phenolics, due to their toxicity.

· Do not use organic solvents, as they will cause crazing.


F. Instructions for Use_Tube Holder


28/01/2005                                                                                                                                             Page 1



[image: image3.jpg][image: image4.png]