[image: image1.jpg]ARAB HEALTH
2002

Summary of products

Pulse Oximetry Sensors Viamed  Dolphin  Aristo
Finger sensors v v v
Multi-site 'Y’ sensors v v v
Ear sensors v
Extension cables v v v
Adapter cables v v v
D.O.T. Sensors v
Wrap sensors v
Disposables v v ~

Pulse oximetry sensor repair services
Pulse oximeters - Stand alone, hand held, compact PC
Pulse oximetry simulators and testers

Oxygen sensors
Oxygen monitors and analysers

Oxygen hoods
Patient monitors
Infant resuscitation cabinets

Infant resuscitators
Radiant warmers

Phototherapy masks
Phototherapy light shields

ECG cables

Temperature probes

Supra-maximal nerve stimulator

Chart & recorder paper [
VIARMED

Imail infeid




[image: image2.png]



                                    Ventilation Tube Holder

Cleaning Information

Cleaning/Disinfecting   Viamed Ventilation Tube Holders 

These note are for guidance only and Viamed recomends adherence to local hospital protocols and routines  and  disinfection fuid manufacturers instructions

Unless the device has been contaminated with body fluid it is usually adequate to clean thoroughly with neutral detergent, then rinse and dry.

If there is contamination the device  must be cleaned thoroughly prior to disinfection to remove all organic matter and other residue.

Disinfection must be achieved by use of  a Hospital authorised disinfectant.

The manufacturer's instructions for the use of their chemical disinfection agent must be followed carefully.

If the disinfectant contains bleach ( Sodium Hypochlorite ) the minimum  strentghs recomended shouild be used to prevent discolouring and crazing of the materials 

In the absence of Manufacturers advice the following strengths can be used as a guide

Heavy contamination with blood -  10000  ppm available chlorine

Without gross contamination   -  1000  ppm available chlorine 

Special attention should be paid to rinsing the surface until it is completely free of the solution. It must be cleaned off with neutral detergent, rinsed thoroughly and dried.

Due to toxicity do not use glutaraldehyde or phenolics. 

Do not use organic solvents, as they will cause crazing.

Warning

Cracked surfaces can harbour contamination

W:\COMPANY\CEMARK\PLastics WP\Vent Tube Holder\(F) Cleaning Instructions Vent Tube holder.doc
J S Lamb                Page 1
August 28, 2002

[image: image1.jpg][image: image2.png]