## Workspace (4)
Row ID | Supplier | Sub Category | Product Type | Product Name | MPC | Date Added to Framework | Description | Framework Price (£) | Notes
300000169566738 | Viamed Limited | Neuromuscular Blockade Monitoring | Core | TOF 3D Neuromuscular Monitor | 2510091 | 2024-06-17 | TOF 3D Neuromuscular Monitor | 1400
300000169567065 | Viamed Limited | Lot 1 - PAM Accessories | Accessory | TOF 3D USB Interface Cable (2520115) | 5750103 | 2024-06-17 | TOF 3D USB Interface Cable (2520115) | 185
300000169567070 | Viamed Limited | Lot 1 - PAM Accessories | Accessory | TOF 3D Sealing Covers for Main Patient Cable (pack of 3) (2530120) | 5750116 | 2024-06-17 | TOF 3D Sealing Covers for Main Patient Cable (pack of 3) (2530120) | 28.2
300000169567073 | Viamed Limited | Lot 1 - PAM Accessories | Accessory | TOF 3D Sealing Covers for Data Interface Socket (pack of 3) (2530121) | 5750109 | 2024-06-17 | TOF 3D Sealing Covers for Data Interface Socket (pack of 3) (2530121) | 28.2
300000169566740 | Viamed Limited | Lot 1 - PAM Accessories | Accessory | TOF 3D Hand Adapter | 2520110 | 2024-06-17 | TOF 3D Hand Adapter REF: 5750100 (2520110) Includes 2 x 2520118 silicone straps. For use with: 2510104 Acceleration (AMG) Transducer and/or 2510105 Skin Temperature Sensor | 38.5
300000169566742 | Viamed Limited | Lot 1 - PAM Accessories | Accessory | TOF 3D Thumb Adapters (Box of 50) | 2520111 | 2024-06-17 | TOF 3D Thumb Adapters (Box of 50) REF: 5750101 (2520111) For use with 2510104 Acceleration (AMG) Transducer | 45
300000169566744 | Viamed Limited | Lot 1 - PAM Accessories | Accessory | TOF 3D Eye Adapters (pack of 50) | 2520112 | 2024-06-17 | TOF 3D Eye Adapters (pack of 50) REF: 5750102 (2520112) For use with 2510104 Acceleration (AMG) Transducer | 82
300000169566746 | Viamed Limited | Lot 1 - PAM Accessories | Accessory | TOF 3D Patient Cable Assembly (2510101) | 5750104 | 2024-06-17 | TOF 3D Patient Cable Assembly (2510101) | 400
300000169566748 | Viamed Limited | Lot 1 - PAM Accessories | Accessory | TOF 3D Main Patient Cable (2510102) | 5750108 | 2024-06-17 | TOF 3D Main Patient Cable (2510102) | 180
300000169566750 | Viamed Limited | Lot 1 - PAM Accessories | Accessory | TOF 3D Stimulation Cable with pinch clamps (2510103) | 5750107 | 2024-06-17 | TOF 3D Stimulation Cable with pinch clamps (2510103) | 110
300000169566752 | Viamed Limited | Lot 1 - PAM Accessories | Accessory | TOF 3D Acceleration (AMG) Transducer (2510104) | 5750105 | 2024-06-17 | TOF 3D Acceleration (AMG) Transducer (2510104) | 185
300000169566754 | Viamed Limited | Lot 1 - PAM Accessories | Accessory | TOF 3D Skin Temperature Sensor (2510105) | 5750106 | 2024-06-17 | TOF 3D Skin Temperature Sensor (2510105) | 170
300000169566756 | Viamed Limited | Lot 1 - PAM Accessories | Accessory | TOF 3D Hand Adapter (2520110) | 5750100 | 2024-06-17 | TOF 3D Hand Adapter (2520110) | 38.5
300000169566877 | Viamed Limited | Lot 1 - PAM Accessories | Accessory | TOF 3D Thumb Adapters (Box of 50) (2520111) | 5750101 | 2024-06-17 | TOF 3D Thumb Adapters (Box of 50) (2520111) | 45
300000169566880 | Viamed Limited | Lot 1 - PAM Accessories | Accessory | TOF 3D Eye Adapters (pack of 50) (2520112) | 5750102 | 2024-06-17 | TOF 3D Eye Adapters (pack of 50) (2520112) | 82
300000169566883 | Viamed Limited | Lot 1 - PAM Accessories | Accessory | TOF 3D Pole Mount (Premium) (2520113) | 5750110 Variant A | 2024-06-17 | TOF 3D Pole Mount (Premium) (2520113) | 66.75
300000169566886 | Viamed Limited | Lot 1 - PAM Accessories | Accessory | TOF 3D Hand Adapter Silicone Straps. Pack of 10 (2520118) | 5750122 | 2024-06-17 | TOF 3D Hand Adapter Silicone Straps. Pack of 10 (2520118) | 54
|  |  | Accessory | TOF 3D MMG Sensor Hand Adapter (2810106) | 5750126 | 2025-12-11 | TOF 3D MMG Sensor Hand Adapter (2810106) | 875 | New Addition
|  |  | Accessory | TOF 3D MMG Sensor Silicone Straps. Pack of 10 (2520120) | 5750127 | 2025-12-11 | TOF 3D MMG Sensor Silicone Straps. Pack of 10 (2520120) | 238 | New Addition
300000170354496 | Viamed Limited | Lot 1 - PAM Accessories | Accessory | Single Use EEG Sensor for Measurement of the Bispectral Index - Adult | 4610010 | 2024-07-11 |  | 265 | Superseded by 4610030
300000170354530 | Viamed Limited | Lot 1 - PAM Accessories | Accessory | Single Use EEG Sensor for Measurement of the Bispectral Index - Paediatric | 4610011 | 2024-07-11 |  | 265 | Superseded by 4610031
300000170354548 | Viamed Limited | Lot 1 - PAM Accessories | Accessory | Single Use EEG Sensor for Measurement of the Bispectral Index - Bilateral | 4610012 | 2024-07-11 |  | 700 | Discontinued
300000170354582 | Viamed Limited | Lot 1 - PAM Accessories | Accessory | Single Use EEG Entropy Sensor | 4610013 | 2024-07-11 |  | 265 | Superseded by 4610032
300000170401392 | Viamed Limited | Lot 1 - PAM Accessories | Accessory | Single Use EEG Entropy Sensor | 4610014 | 2024-07-12 |  | 270 | Discontinued
300000170354496 | Viamed Limited | Lot 1 - PAM Accessories | Accessory | Single Use EEG Sensor for Measurement of the Bispectral Index - Adult REF: B-BIS-4A Box of 10 (4610030) | B-BIS-4A | 2025-12-11 | Single Use EEG Sensor for Measurement of the Bispectral Index - Adult REF: B-BIS-4A Box of 10 | 90.1 | New Addition
300000170354530 | Viamed Limited | Lot 1 - PAM Accessories | Accessory | Single Use EEG Sensor for Measurement of the Bispectral Index - Paediatric REF: B-BIS-4P Box of 10 (4610031) | B-BIS-4P | 2025-12-11 | Single Use EEG Sensor for Measurement of the Bispectral Index - Paediatric B-BIS-4P Box of 10 | 90.1 | New Addition
300000170354548 | Viamed Limited | Lot 1 - PAM Accessories | Accessory | Single Use EEG Entropy Index Sensors. REF: 9903030901 Box of 10 (4610032) | 9903030901 | 2025-12-11 | Single Use EEG Entropy Index Sensors. Ref. 9903030901 Box of 10 | 90.1 | New Addition