[image: image1.jpg]ARAB HEALTH
2002

Summary of products

Pulse Oximetry Sensors Viamed  Dolphin  Aristo
Finger sensors v v v
Multi-site 'Y’ sensors v v v
Ear sensors v
Extension cables v v v
Adapter cables v v v
D.O.T. Sensors v
Wrap sensors v
Disposables v v ~

Pulse oximetry sensor repair services
Pulse oximeters - Stand alone, hand held, compact PC
Pulse oximetry simulators and testers

Oxygen sensors
Oxygen monitors and analysers

Oxygen hoods
Patient monitors
Infant resuscitation cabinets

Infant resuscitators
Radiant warmers

Phototherapy masks
Phototherapy light shields

ECG cables

Temperature probes

Supra-maximal nerve stimulator

Chart & recorder paper [
VIARMED

Imail infeid




[image: image2.png]



                                                TUBE HOLDER – CE FILE 

Work Instructions & Test Methods.

1) Use appropriate drawing and mark out position of bends, and where appropriate, all relative holes and accompanying slots

2) Using heater and jigs bend Perspex along drawn line.

3) Where appropriate, cut out slots / holes to marked out lines

4) Smooth down all edges with fine emery cloth and flame polish.

5) Smooth all edges.

6) Check that no imperfections are present

7) Check the finished item against the customer requirements

8) Clean, polish and wrap.

JK. Work Instructions_Tube Holder


26/01/2005                                                                                                                                             Page 1



[image: image1.jpg][image: image2.png]