## Slide 1
REF number/type | Description | Labelling
REF: 011-00119 Type: AR-275PRA | Reusable rectal/esophageal temperature probe, Adult, phone plug right-angled | Box label:

## Slide 2
REF number/type | Description | Labelling
REF: 011-00119 Type: AR-275PRA | Reusable rectal/esophageal temperature probe, Adult, phone plug right-angled | Flag label (front): Flag label (back):

## Slide 3
REF number/type | Description | Labelling
REF: 011-01401 Type: AR-275PHA | Reusable rectal/esophageal temperature probe, Philips compatible connector | Box label:

## Slide 4
REF number/type | Description | Labelling
REF: 011-01401 Type: AR-275PHA | Reusable rectal/esophageal temperature probe, Philips compatible connector | Product label (front side): Product label (back side):

## Slide 5
REF number/type | Description | Labelling
REF: 011-01402 Type: PR-275PHA | Reusable rectal/esophageal temperature probe, Philips compatible connector | Box label:

## Slide 6
REF number/type | Description | Labelling
REF: 011-01402 Type: PR-275PHA | Reusable rectal/esophageal temperature probe, Philips compatible connector | Product label (front side): Product label (back side):

## Slide 7
REF number/type | Description | Labelling
REF: 011-01405 Type: SPR-275PHA | Reusable Skin temperature probe, Philips compatible connector | Box label:

## Slide 8
REF number/type | Description | Labelling
REF: 011-01405 Type: SPR-275PHA | Reusable Skin temperature probe, Philips compatible connector | Product label (front side): Product label (back side):

## Slide 9
REF number/type | Description | Labelling
REF: 013-00080 Type: GP-75-9P | General purpose probe, single-use, non-sterile, 9 FR, Molex connector | Box label:

## Slide 10
REF number/type | Description | Labelling
REF:013-00080 Type: GP-75-9P | General purpose probe, single-use, non-sterile, 9 FR, Molex connector | Pouch label (direct printing):

## Slide 11
REF number/type | Description | Labelling
REF: 013-00081 Type: GP-75-12P | General purpose probe, single-use, non-sterile, 12 FR, Molex connector | Box label:

## Slide 12
REF number/type | Description | Labelling
REF: 013-00081 Type: GP-75-12P | General purpose probe, single-use, non-sterile, 12 FR, Molex connector | Pouch label (direct printing):

## Slide 13
REF number/type | Description | Labelling
REF: 013-00082 Type: SD-75P | Skin probe, single-use, non-sterile, Molex connector | Box label:

## Slide 14
REF number/type | Description | Labelling
REF: 013-00082 Type: SD-75P | Skin probe, single-use, non-sterile, Molex connector | Pouch label (direct printing):

## Slide 15
REF number/type | Description | Labelling
REF: 013-00071 Type: GP-75-12G | General purpose temperature probe, single-use, non-sterile, 12 FR, Molex connector | Box label:

## Slide 16
REF number/type | Description | Labelling
REF: 013-00071 Type: GP-75-12G | General purpose temperature probe, single-use, non-sterile, 12 FR, Molex connector | Pouch label (direct printing):

## Slide 17
REF number/type | Description | Labelling
REF: 013-00072 Type: SD-75G | Skin temperature probe, single-use, non-sterile, Molex connector | Box label:

## Slide 18
REF number/type | Description | Labelling
REF: 013-00072 Type: SD-75G | Skin temperature probe, single-use, non-sterile, Molex connector | Pouch label (direct printing):

## Slide 19
REF number/type | Description | Labelling
REF: 013-00073 Type: TD-75G | Tympanic temperature probe, single-use, non-sterile, Molex connector | Box label:

## Slide 20
REF number/type | Description | Labelling
REF: 013-00073 Type: TD-75G | Tympanic temperature probe, single-use, non-sterile, Molex connector | Pouch label (direct printing):

## Slide 21
REF number/type | Description | Labelling
REF: 013-00090 Type: GP-75-9M | General purpose temperature probe, single-use, non-sterile, 9 FR, Molex connector | Box label:

## Slide 22
REF number/type | Description | Labelling
REF: 013-00090 Type: GP-75-9M | General purpose temperature probe, single-use, non-sterile, 9 FR, Molex connector | Pouch label (direct printing):

## Slide 23
REF number/type | Description | Labelling
REF: 013-00091 Type: GP-75-12M | General purpose temperature probe, single-use, non-sterile, 12 FR, Molex connector | Box label:

## Slide 24
REF number/type | Description | Labelling
REF: 013-00091 Type: GP-75-12M | General purpose temperature probe, single-use, non-sterile, 12 FR, Molex connector | Pouch label (direct printing):

## Slide 25
REF number/type | Description | Labelling
REF: 013-00092 Type: SD-75M | Skin temperature probe, single-use, non-sterile, Molex connector | Box label:

## Slide 26
REF number/type | Description | Labelling
REF: 013-00092 Type: SD-75M | Skin temperature probe, single-use, non-sterile, Molex connector | Pouch label (direct printing):

## Slide 27
REF number/type | Description | Labelling
REF: 013-00093 Type: TD-75M | Tympanic temperature probe, single-use, non-sterile, Molex connector | Box label:

## Slide 28
REF number/type | Description | Labelling
REF: 013-00093 Type: TD-75M | Tympanic temperature probe, single-use, non-sterile, Molex connector | Pouch label (direct printing):

## Slide 29
REF number/type | Description | Labelling
REF: 013-00162 Type: EC-30-PM | Extension cable for single-use probes, 3.0 m, Molex connector and Philips compatible monitor connector | Box label:

## Slide 30
REF number/type | Description | Labelling
REF: 013-00162 Type: EC-30-PM | Extension cable for single-use probes, 3.0 m, Molex connector and Philips compatible monitor connector | Flag label (front): Flag label (back):

## Slide 31
REF number/type | Description | Labelling
REF: 013-00163 Type: EC-15-PM | Extension cable for single-use probes, 1.5 m, Molex connector and Philips compatible monitor connector | Box label:

## Slide 32
REF number/type | Description | Labelling
REF: 013-00163 Type: EC-15-PM | Extension cable for single-use probes, 1.5 m, Molex connector and Philips compatible monitor connector | Flag label (front): Flag label (back):

## Slide 33
REF number/type | Description | Labelling
REF: 013-00110 Type: EC-20-PRM-G | Extension cable for single-use probes, 2.0 m, Molex connector and right-angled monitor connector | Box label:

## Slide 34
REF number/type | Description | Labelling
REF: 013-00110 Type: EC-20-PRM-G | Extension cable for single-use probes, 2.0 m, Molex connector and right-angled monitor connector | Flag label (front): Flag label (back):