	                Design Process Documentation Checklist            QC 29

	PROJECT:     Perspex Cot Lid

                                                          

	SPECIFICATION
	Yes/No/NA

	
	

	Specification/brief available and enclosed?
	N/A

	Service report produced and enclosed?
	N/A

	Job entered into Job Log?
	N/A

	Preliminary activity assigned on Job Progress form & enclosed?
	N/A

	Design Compliance MDD completed and enclosed?
	Yes - Sect  C

	Appropriate standards available?
	N/A

	Preliminary drawings completed and enclosed?
	Yes

	
	

	
	

	
	

	CONSTRUCTION
	Yes/No/NA

	
	

	Working drawings enclosed?
	Yes

	Materials information recorded on Service Report?
	N/A

	Progress meetings / reports and personnel involved recorded on Job Progress Form?
	N/A

	All Design changes recorded?
	Yes

	Final Inspection and test results recorded on Service Report?
	N/A

	Final costings recorded on Service Report
	N/A

	Post trial minor modifications recorded on additional Job Progress forms?
	N/A

	Photographs enclosed?
	Yes

	Project Validation form completed and enclosed?
	N/A

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	

	
	


