Section 1: General information

| Manufacturer Details |  |
| --- | --- |
| Manufacturer name | Maxtec |
| Manufacturer Country | United States |

| Distributor Details (if applicable) |  | Only applicable where provider of device is not manufacturer |
| --- | --- | --- |
| Distributor name | Viamed Ltd. |  |
| Distributor Country | United Kingdom |  |

| Product Provided |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Name | Model | Class | Shelf Life | Medical Device | Category |
| MaxO2+AE Oxygen Analyser (Part Number: 0111261) | R217P72 | Class IIa | 2 years for the included sensor but 7 years service life | ☒ | Non-Sterile Hardware |
| MAX-250E Oxygen Sensor (Part Number: 0110429) | R125P03-002 | Class IIa | 2 years | ☐ | Non-Sterile Hardware |
| Perfusion Adapter (Part Number: 0120112) | R103P90 | Class I | n/a | ☐ | Non-Sterile Hardware |
|  |  | Choose an item. |  | ☐ | Choose an item. |
|  |  | Choose an item. |  | ☐ | Choose an item. |
|  |  | Choose an item. |  | ☐ | Choose an item. |

| Conformity Mark of Device |  | N/A ☐ |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| UKCA | ☐ | CE (MDD) |  | ☒ | CE(MDR) | ☐ |
| Other (Please Specify) |  |  |  |  |  |  |

| Packaging & Storage |  |
| --- | --- |
| Non-sterile Packaging. MaxO2+AE is supplied in a cardboard box MAX-250E is supplied in a blister pack, backed by cardboard. Perfusion Adapter is supplier in a plastic bag. |  |

For Medical Devices fill in section 2 and for non-medical devices skip straight to section 3.

| Documents Provided | For medical devices the following should be provided if applicable/ available |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Labels | ☒ | Conformity Certificate | ☐ | Price List | ☒ |
| IFU/ Brochure | ☒ | Declaration of Conformity | ☒ | Supplier Agreement | ☒ |

Section 2: Regulatory Information

UK

The following information is required for the sale of Medical Devices into the United Kingdom as per UK Medical Device Regulations (UKCA)

| Imported Products | N/A☐ |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| UK Responsible Person Details |  |  |  |  |  |
| Name |  | Emergo Consulting (UK) Limited |  |  |  |
| Contact Information |  | 01223 772671 https://www.emergobyul.com/about/locations |  |  |  |
| Have Products been registered with the MHRA? |  |  |  |  | Yes ☒ No ☐ In progress ☐ |
| UK Manufacturer | N/A☒ |  |  |  |  |
| Have Products been registered with the MHRA? |  |  |  |  | Yes ☐ No ☐ In progress ☐ |

EU

The following information is required for the sale of Medical Devices into the European Union as per the EU Medical Device Regulations 2017-745 (MDR)and the Medical Device Directive 93/42/EEC (MDD) for manufacturers outside the EU.

| Authorised Representative |  | N/A ☐ |
| --- | --- | --- |
| Name | Emergo Europe |  |  |
| Contact Information | 0031 70 345 8570 https://www.emergobyul.com/about/locations |  |  |

Section 3: Further Applicable Markets

Please provide below the manufacturer’s preference for the sale of devices into countries other than that of the distributor.

| Chalice’s Discretion (Chalice will sell products to all applicable countries where orders are received) |  | ☐ |
| --- | --- | --- |
| Supplier Preference (Supplier will designate countries approved for sale and be informed when order requests are received from undesignated territories) |  | ☐ |
| Other (Please detail) |  |  |

A list of Countries Chalice Medical currently distribute into is available upon request.

| Approved Countries | N/A ☐ |  |
| --- | --- | --- |
| Approved Countries |  |  |
| Prohibited Countries |  |  |

| Form Filled in by (signed): |  | Date: |  |
| --- | --- | --- | --- |

Section 4: Approval (to be completed by Chalice Medical)

| Product Approved | Yes ☐ No ☐ |  |  |
| --- | --- | --- | --- |
| If no, state why. |  |  |  |

| Supplier Agreement detailed on SAGL |  | ☐ | Product added to DPSS | ☐ | Product added to ERP System | ☐ |
| --- | --- | --- | --- | --- | --- | --- |
| IPC Code(s) |  |  |  |  |  |  |

| Quality Team (signed): |  | Date: |  |
| --- | --- | --- | --- |

Once approved a supplier agreement is to be issued/ updated.