	

Internal Audit Check list



	VIAMED LTD

Design

	Created:

	17/May 1995
	Audit No 03
	

	
	
	
	Page 7 of 7

	Audit Date
	
	Auditor
	



	Viamed Ltd ISO13485:2016 4.2.3 Medical device file
	Documentation requirements
For each medical device type or medical device family, the organization shall establish and maintain one or more files either containing or referencing documents generated to demonstrate conformity with the requirement of this International Standard and compliance with applicable regulatory requirements. 
The content of the file(s) shall include, but is not limited to: 
a) general description of the medical device, intended use/purpose, and labelling, including any instructions for use; 
b) specifications for product; 
c) specifications or procedures for manufacturing, packaging, storage, handling and distribution; 
d) procedures for measuring and monitoring; 
e) as appropriate, requirements for installation; 
f) as appropriate, procedures for servicing.
	

	Viamed Ltd ISO13485:2016 7.1
	Planning of product realization 
The organization shall plan and develop the processes needed for product realization. Planning of product realization shall be consistent with the requirements of the other processes of the quality management system. The organization shall document one or more processes for risk management in product realization. Records of risk management activities shall be maintained (see 4.2.5). 
In planning product realization, the organization shall determine the following, as appropriate: 
a) quality objectives and requirements for the product; 
b) the need to establish processes and documents (see 4.2.4) and to provide resources specific to the product, including infrastructure and work environment; 
c) required verification, validation, monitoring, measurement, inspection and test, handling, 
storage, distribution and traceability activities specific to the product together with the criteria for product acceptance; 
d) records needed to provide evidence that the realization processes and resulting product meet requirements (see 4.2.5). 
The output of this planning shall be documented in a form suitable for the organization’s method of  operations. 
NOTE Further information can be found in ISO 14971.
	

	Viamed Ltd ISO13485:2016 7.3.1
	General
The organization shall document procedures for design and development
	

	Viamed Ltd ISO13485:2016 7.3.10
	Design and development files
The organization shall maintain a design and development file for each medical device type or medical device family. This file shall include or reference records generated to demonstrate conformity to the requirements for design and development and records for design and development changes.
	

	Viamed Ltd ISO13485:2016 7.3.2
	Design and development planning
The organization shall plan and control the design and development of product. As appropriate, design and development planning documents shall be maintained and updated as the design and development progresses. 
During design and development planning, the organization shall document: 
a) the design and development stages; 
b) the review(s) needed at each design and development stage; 
c) the verification, validation, and design transfer activities that are appropriate at each design and 
development stage; 
d) the responsibilities and authorities for design and development; 
e) the methods to ensure traceability of design and development outputs to design and development inputs; 
f) the resources needed including necessary competence of personnel
	

	Viamed Ltd ISO13485:2016 7.3.3
	Design and development inputs
Inputs relating to product requirements shall be determined and records maintained (see 4.2.5). These 
inputs shall include: 
a) functional, performance, usability and safety requirements, according to the intended use; 
b) applicable regulatory requirements and standards; 
c) applicable output(s) of risk management; 
d) as appropriate, information derived from previous similar designs; 
e) other requirements essential for design and development of the product and processes. 
These inputs shall be reviewed for adequacy and approved. 
Requirements shall be complete, unambiguous, able to be verified or validated, and not in conflict with each other. 
NOTE Further information can be found in IEC 62366–1. 
	

	Viamed Ltd ISO13485:2016 7.3.4
	Design and development outputs
Design and development outputs shall: 
a) meet the input requirements for design and development; 
b) provide appropriate information for purchasing, production and service provision; 
c) contain or reference product acceptance criteria; 
d) specify the characteristics of the product that are essential for its safe and proper use. 
The outputs of design and development shall be in a form suitable for verification against the design and development inputs and shall be approved prior to release. 
Records of the design and development outputs shall be maintained (see 4.2.5).
	

	Viamed Ltd ISO13485:2016 7.3.5
	Design and development review
At suitable stages, systematic reviews of design and development shall be performed in accordance 
with planned and documented arrangements to: 
a) evaluate the ability of the results of design and development to meet requirements; 
b) identify and propose necessary actions. 
Participants in such reviews shall include representatives of functions concerned with the design and 
development stage being reviewed, as well as other specialist personnel. 
Records of the results of the reviews and any necessary actions shall be maintained and include the 
identification of the design under review, the participants involved and the date of the review (see 4.2.5).
	

	Viamed Ltd ISO13485:2016 7.3.6
	Design and development verification
Design and development verification shall be performed in accordance with planned and documented  arrangements to ensure that the design and development outputs have met the design and development input requirements. 
The organization shall document verification plans that include methods, acceptance criteria and, as appropriate, statistical techniques with rationale for sample size. 
If the intended use requires that the medical device be connected to, or have an interface with, other medical device(s), verification shall include confirmation that the design outputs meet design inputs when so connected or interfaced. 

Records of the results and conclusions of the verification and necessary actions shall be maintained (see 4.2.4 and 4.2.5).
	

	Viamed Ltd ISO13485:2016 7.3.7
	Design and development validation
Design and development validation shall be performed in accordance with planned and documented arrangements to ensure that the resulting product is capable of meeting the requirements for the specified application or intended use. 
The organization shall document validation plans that include methods, acceptance criteria, and, as appropriate, statistical techniques with rationale for sample size. 
Design validation shall be conducted on representative product. Representative product includes initial production units, batches or their equivalents. The rationale for the choice of product used for validation shall be recorded (see 4.2.5). 
As part of design and development validation, the organization shall perform clinical evaluations or performance evaluations of the medical device in accordance with applicable regulatory requirements. 
A medical device used for clinical evaluation or performance evaluation is not considered to be released for use to the customer. 
If the intended use requires that the medical device be connected to, or have an interface with, other medical device(s), validation shall include confirmation that the requirements for the specified application or intended use have been met when so connected or interfaced. 
Validation shall be completed prior to release for use of the product to the customer. 
Records of the results and conclusion of validation and necessary actions shall be maintained (see 4.2.4 and 4.2.5). 
	

	Viamed Ltd ISO13485:2016 7.3.8
	Design and development transfer
The organization shall document procedures for transfer of design and development outputs to manufacturing. These procedures shall ensure that design and development outputs are verified as suitable for manufacturing before becoming final production specifications and that production capability can meet product requirements. 
Results and conclusions of the transfer shall be recorded (see 4.2.5).
	

	Viamed Ltd ISO13485:2016 7.3.9
	Control of design and development changes
The organization shall document procedures to control design and development changes. The organization shall determine the significance of the change to function, performance, usability, safety and applicable regulatory requirements for the medical device and its intended use. 
Design and development changes shall be identified. Before implementation, the changes shall be: 
a) reviewed; 
b) verified; 
c) validated, as appropriate; 
d) approved. 
The review of design and development changes shall include evaluation of the effect of the changes on 
constituent parts and product in process or already delivered, inputs or outputs of risk management and product realization processes. Records of changes, their review and any necessary actions shall be maintained (see 4.2.5).
	

	Viamed Ltd ISO13485:2016 7.5.6
	Validation of processes for production and service provision
The organization shall validate any processes for production and service provision where the resulting output cannot be or is not verified by subsequent monitoring or measurement and, as a consequence, deficiencies become apparent only after the product is in use or the service has been delivered. 
Validation shall demonstrate the ability of these processes to achieve planned results consistently. 
The organization shall document procedures for validation of processes including: 
a) defined criteria for review and approval of the processes; 
b) equipment qualification and qualification of personnel; 
c) use of specific methods, procedures and acceptance criteria; 
d) as appropriate, statistical techniques with rationale for sample sizes 
e) requirements for records (see 4.2.5); 
f) revalidation, including criteria for revalidation; 
g) approval of changes to the processes. 
The organization shall document procedures for the validation of the application of computer software used in production and service provision. Such software applications shall be validated prior to initial use and, as appropriate, after changes to such software or its application. The specific approach and 
activities associated with software validation and revalidation shall be proportionate to the risk associated with the use of the software including the effect on the ability of the product to conform to specifications. 
Records of the results and conclusion of validation and necessary actions from the validation shall be maintained (see 4.2.4 and 4.2.5).
	


	
	QUESTION:
	RESPONSE:
	Y/N

	1
	Review Last years Audit. Update processes if required. 

Are all follow on Issue resolved satisfactory.
	
	

	2
	Technical File Reviewed ID:


	
	

	3
	Check that the final design responsibility is a Sole Authority.
	Top management VOP 17
	

	4
	Check that all products are C.E. marked and Viamed products have a C.E. file.


	Intrastats
	

	5
	Pick 5 Products from the Files product list


	
	

	6
	Declaration on Conformance Certificates present


	
	

	7
	Verify that EMC testing has been identified where required.


	
	

	8
	Are the latest BS ISO MDD requirements are available List DOC IDs

	
	

	9
	Check that product classification is done to MDD principles.
	
	

	10
	Verify that each design was initiated from a job description & specification 


	
	

	11
	Has each design has received a job number and a job progress form 


	
	

	12
	Verify the existence of a design documentation checklist.


	
	

	13
	Check that estimated times have been noted. Electronic timing being introduced


	
	

	14
	Have final testing requirements, and test criteria, been identified


	
	

	15
	Have concession notes have been raised on non-approved suppliers


	
	

	16
	Check that current status is identified on a regular basis.


	
	

	17
	Verify that design reviews are undertaken and that records are retained


	
	

	18
	Check that any amendments to design are logged 


	
	

	19
	Check that design output records are verified against design input


	
	

	20
	Does design verification comply with COP 16 - 7.7.1 - .4


	
	

	21
	Check that clinical trials have been carried out and relevant records retained


	
	

	22
	Verify that design validation has been carried out as required by form QC30


	
	

	23
	Check that any design changes have been identified, recorded and approved


	
	

	24
	Check that CE files are complete, correct and maintained


	
	

	25
	Are design components kept separate from stock and adequately stored


	
	

	26
	Are design component stocks labelled


	
	

	27
	Check the existence of design compliance forms 


	
	

	28
	Check that these files are maintained


	
	


List Processes Per Title
            16/02/2026                    Page 7 of 7            


