VM3COP37.57 0110525 KE-25 Oxygen Sensor Packaging Procedure

| Tools required: |  |  |
| --- | --- | --- |
|  |  | Description: |
|  |  | Heat sealer |
| Parts list: |  |  |
|  | Part number: | Description: |
|  | 0150012 | Oxygen sensor box |
|  | 0150020 | Oxygen sensor barrier bag |
|  | 9992515 | Label – Medical Oxygen sensor Viamed |

| - Take the KE-25 Oxygen sensor and place it in an Oxygen sensor barrier bag. Use the heat sealer to seal the bag. |  |
| --- | --- |
| - Take the sealed sensor and package it in a sensor box. |  |
| - Affix the box label to the box by wrapping from the top to the bottom, ensuring the label is straight and without air bubbles or creases. |  |
| - Affix the serial number label to the front of the box in the space provided. |  |