## Neuromuscular Blockade Monitori
Statement of Requirements - Neuromuscular Blockade Monitoring
NHS Supply Chain Patient Monitoring Category Team Contact Details
Category Buyer | Jordi Catalan
Email | jordi.catalan@supplychain.nhs.uk
Telephone Number | 01156 786 569
Procurement Assistant | Dan Hannan
Email | dan.hannan@supplychain.nhs.uk
Telephone Number | 0115 857 9168
Trust Information
Hospital site | York Hopsital
Department/s | Theatres
Clinical Contact | Dr Pollard / Faith Bello
Email | andrew.pollard3@nhs.net / faith.bello1@nhs.net
Telephone Number | 01904 725278 / 01904721338
Procurement Contact | Garry Newton
Email | garry.newton@york.nhs.uk
Telephone Number | 1904724355
Quantity Required | 20
Expected Order Date (DD/MM/YY) | 2026-05-01
Expected Delivery Date (DD/MM/YY) Please allow as a minimum 6- 8 weeks from receipt of order | 2026-06-01
Framework Agreement Minimum Specification - Neuromuscular Blockade Monitoring
Medical Devices Regulation 2017/745 (as amended) All products must have their CE marking evident on the product and/or packaging Or UK MDR 2002 All products must have their UKCA marking evident on the product and/or packaging
BS EN IEC 60601-2-2:2018 Medical electrical equipment. Particular requirements for the basic safety and essential performance of high frequency surgical equipment and high frequency surgical accessories
Have a display area capable of displaying all digital parameters simultaneously
Be suitable for use with paediatric, adult and neonatal patients
Be able to be configured to various mounting solutions e.g. wall, floor or ceiling
Where applicable, mounting options must have a patient accessory and sensor storage device (i.e. basket or hook) to prevent patient cables/sensors falling to the floor
Have a digital display screen
Have adult sensors
Be able to be powered by a UK mains electricity supply and/or battery
Be able to be used as a standalone device
Have an adjustable stimulation current between 10-60mA
Be able to be placed at the OR table, IV pole or standard rail
Have a battery life indicator
Be capable of measuring and displaying at least one of the following with the others available as an option to purchase: 1 TOF (Train of Four), Automatic TOF, PTC, Single Twitch (0,1;1hz).
1. Further Options |  | Trust to complete | Supplier to complete (Comply with specification Y/N)
Will the system be used on Neonatal Patients? |  | NO | Y | Yes complies with the trust request
Will the system be used on Adult Patients? |  | YES | Y | Yes complies with the trust request
Will the system be used on Paediatric Patients? |  | Desirable | N | Only clinically tested on 18 years+ patients
What size display screen is required? (min and max size) |  | No Spec | Y | Yes complies with the trust request
Do you require automated readings at predetermined times? |  | No | Y | Yes complies with the trust request
How many and which parameters do you wish to have displayed simultaneously: |  | Current parameter | Y | Yes complies with the trust request
Do you require wave form display of parameters? |  | No | Y | Yes complies with the trust request
Do you require digital display of parameters? |  | Yes | Y | Yes complies with the trust request
Do you require graphical trend display of parameters? |  | No | Y | Yes complies with the trust request
Do you require integrated memory for patient information. If so, how large a memory capability is required? |  | No | Y | Yes complies with the trust request
2. Accessories |  | Trust to complete | Supplier to complete (Comply with specification Y/N)
How will the monitor be mounted? (IV Pole, standard rail, other) |  | IV Pole, or Other | Y | IV pole mount available
Do you require integral battery? |  | Yes | N | Supplied with 4x Standard AA batteries, provide 1500 hours of constant TOF stimulation. Rechargable AA batteries can be used.
Do you require a rechargeable integral battery? |  | Yes | N | Supplied with 4x Standard AA batteries, provide 1500 hours of constant TOF stimulation. Rechargable AA batteries can be used.
Do you want a monitor with battery life indicator? |  | Yes | Y | Yes complies with the trust request
3. Connectivity/Compatability |  | Trust to complete | Supplier to complete (Comply with specification Y/N)
Do you require the ability to pre configure the screen display to suit different patient types? |  | No | Y | Yes complies with the trust request
Do you require the ability to move to specified date/time in trend displays? |  | No | Y | Yes complies with the trust request
Do you require interface into a Clinical Information System/Patient Records System? |  | No | Y | Yes complies with the trust request
If yes, please identify the system in use or planned? |  | NA | NA
Will the monitor be networked to a Central Station? |  | No | Y | Yes complies with the trust request
4.Safety |  | Trust to complete | Supplier to complete (Comply with specification Y/N)
Do you require automated recording of parameters when alarms are triggered? |  | No | Y | Yes complies with the trust request
Do you require audible and visual alarm functions? |  | No | Y | Yes complies with the trust request
What cleaning product is used by the trust currently for decontamination and routine cleaning of Patient Monitoring Equipment? |  | Clinell | Y | Yes complies with the trust request
Should the supplier's product offer not be compatible with your current decontamination solution, would the hospital/trust change from the product currently used? |  | Maybe | Y | Yes complies with the trust request
Is there a maximum product weight limit for the equipment? |  | No | Y | Yes complies with the trust request
5. POS Maintenance |  | Trust to complete (if required) | Supplier to complete
Do you require POS Maintenance? |  | Yes | Y | Yes complies with the trust request
If so, how many years cover do you require? |  | 5 Years (or lifespan of devices) | Y | Yes complies with the trust request
What level of cover do you require? |  |  | Functional Check | Quotation for 1 unit attached.
If other, please state
What is your payment preference for POS Maintenance? (i.e - upfront or annually in advance) |  | Annually in advance | Y | Yes complies with the trust request: Quote on QVM162454 per unit.
If other, please state
*Suppliers - Please ensure that if you are on the NHS SC maintenance framework then the point of sale quotation is in line with the prices and discounts offered through this route, and the quotation clearly shows the post-warranty price alongside the POS price enabling the customer to see the savings available.*
6. Additional Trust Specification Requirments (If required) |  | Supplier to complete (Comply with specification Y/N)
Must have a means of QUANTITATIVE assessment of Neuromuscular function |  | Y |  | Yes complies with the trust request
Consideration of alternative site to monitor other than Ulnar not a necessity but a consideration. |  | Y |  | Yes complies with the trust request
Level of cover depends on what EME is allowed to repair inhouse. |  | Y |  | Yes complies with the trust request, Thumb Adapters can also be used on Toes.
Trust to add any other requirements
Trust to add any other requirements
Trust to add any other requirements