## Optionen (hidden)
Auto+Ausblenden+Werte+BlattAusblenden | Titel | Wert | Lookup
Option | Debitor | Vandagraph
Option | Debitornummer | D17401
Option | Seriennummer | M01 102551..M01 102650
Option | Referenz (VB-Nr.) | 115627
Option | Artikelnr. | *
Option | Artikel-Referenznr. | *

## Tabelle1
Auto+Ausblenden+Formulas=Tabelle4,Tabelle5,Tabelle6 | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen | Anpassen | Anpassen | Ausblenden | Anpassen | Ausblenden | Anpassen
[9 empty] | Vandagraph PART No. |  | 8010008
Auto
|  | ID | ProductNumber | Nav. Nr. | Datum | SENSORTYP | LABELNR | LUFTWERT1 | LUFTWERT1 | OFFSET1 | OFFSET1 | LUFTWERT2 | OFFSET2 | WERTUNG
[8 empty] | µV | µV | µV | µV | µV | µV
| "retrace Produktion","","product","ID","2143510" | 2143510 | 1001570 | 1001570 | 2015-01-21 10:59 | OOD103 | M01 102551 | 11.66E+0 | #VALUE! | 82.33E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143511" | 2143511 | 1001570 | 1001570 | 2015-01-21 10:59 | OOD103 | M01 102552 | 11.67E+0 | #VALUE! | 61.32E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143512" | 2143512 | 1001570 | 1001570 | 2015-01-21 10:59 | OOD103 | M01 102553 | 11.60E+0 | #VALUE! | 66.82E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143513" | 2143513 | 1001570 | 1001570 | 2015-01-21 10:59 | OOD103 | M01 102554 | 11.95E+0 | #VALUE! | 81.35E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143514" | 2143514 | 1001570 | 1001570 | 2015-01-21 10:59 | OOD103 | M01 102555 | 12.04E+0 | #VALUE! | 111.91E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143515" | 2143515 | 1001570 | 1001570 | 2015-01-21 10:59 | OOD103 | M01 102556 | 11.75E+0 | #VALUE! | 71.86E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143516" | 2143516 | 1001570 | 1001570 | 2015-01-21 10:59 | OOD103 | M01 102557 | 11.71E+0 | #VALUE! | 70.82E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143518" | 2143518 | 1001570 | 1001570 | 2015-01-21 10:59 | OOD103 | M01 102558 | 11.82E+0 | #VALUE! | 73.88E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143519" | 2143519 | 1001570 | 1001570 | 2015-01-21 10:59 | OOD103 | M01 102559 | 11.47E+0 | #VALUE! | 60.77E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143520" | 2143520 | 1001570 | 1001570 | 2015-01-21 10:59 | OOD103 | M01 102560 | 11.76E+0 | #VALUE! | 71.55E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143521" | 2143521 | 1001570 | 1001570 | 2015-01-21 10:59 | OOD103 | M01 102561 | 11.49E+0 | #VALUE! | 61.26E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143522" | 2143522 | 1001570 | 1001570 | 2015-01-21 10:59 | OOD103 | M01 102562 | 11.83E+0 | #VALUE! | 67.23E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143523" | 2143523 | 1001570 | 1001570 | 2015-01-21 10:59 | OOD103 | M01 102563 | 11.52E+0 | #VALUE! | 102.36E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143524" | 2143524 | 1001570 | 1001570 | 2015-01-21 10:59 | OOD103 | M01 102564 | 12.15E+0 | #VALUE! | 69.82E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143525" | 2143525 | 1001570 | 1001570 | 2015-01-21 10:59 | OOD103 | M01 102565 | 11.44E+0 | #VALUE! | 59.47E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143526" | 2143526 | 1001570 | 1001570 | 2015-01-21 11:02 | OOD103 | M01 102566 | 11.66E+0 | #VALUE! | 75.10E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143527" | 2143527 | 1001570 | 1001570 | 2015-01-21 11:02 | OOD103 | M01 102567 | 11.54E+0 | #VALUE! | 57.60E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143528" | 2143528 | 1001570 | 1001570 | 2015-01-21 11:02 | OOD103 | M01 102568 | 11.51E+0 | #VALUE! | 60.54E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143529" | 2143529 | 1001570 | 1001570 | 2015-01-21 11:02 | OOD103 | M01 102569 | 11.21E+0 | #VALUE! | 56.22E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143530" | 2143530 | 1001570 | 1001570 | 2015-01-21 11:02 | OOD103 | M01 102570 | 11.45E+0 | #VALUE! | 63.30E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143531" | 2143531 | 1001570 | 1001570 | 2015-01-21 11:02 | OOD103 | M01 102571 | 11.73E+0 | #VALUE! | 61.08E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143532" | 2143532 | 1001570 | 1001570 | 2015-01-21 11:02 | OOD103 | M01 102572 | 11.51E+0 | #VALUE! | 63.66E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143534" | 2143534 | 1001570 | 1001570 | 2015-01-21 11:02 | OOD103 | M01 102573 | 11.80E+0 | #VALUE! | 69.52E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143535" | 2143535 | 1001570 | 1001570 | 2015-01-21 11:02 | OOD103 | M01 102574 | 12.15E+0 | #VALUE! | 69.14E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143536" | 2143536 | 1001570 | 1001570 | 2015-01-21 11:02 | OOD103 | M01 102575 | 11.72E+0 | #VALUE! | 69.88E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143537" | 2143537 | 1001570 | 1001570 | 2015-01-21 11:02 | OOD103 | M01 102576 | 11.58E+0 | #VALUE! | 59.64E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143538" | 2143538 | 1001570 | 1001570 | 2015-01-21 11:02 | OOD103 | M01 102577 | 11.54E+0 | #VALUE! | 71.46E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143539" | 2143539 | 1001570 | 1001570 | 2015-01-21 11:02 | OOD103 | M01 102578 | 11.66E+0 | #VALUE! | 65.81E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143541" | 2143541 | 1001570 | 1001570 | 2015-01-21 11:02 | OOD103 | M01 102579 | 11.38E+0 | #VALUE! | 65.11E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143542" | 2143542 | 1001570 | 1001570 | 2015-01-21 11:07 | OOD103 | M01 102580 | 11.81E+0 | #VALUE! | 90.61E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143543" | 2143543 | 1001570 | 1001570 | 2015-01-21 11:07 | OOD103 | M01 102581 | 11.88E+0 | #VALUE! | 77.36E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143544" | 2143544 | 1001570 | 1001570 | 2015-01-21 11:07 | OOD103 | M01 102582 | 11.73E+0 | #VALUE! | 70.43E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143545" | 2143545 | 1001570 | 1001570 | 2015-01-21 11:07 | OOD103 | M01 102583 | 11.69E+0 | #VALUE! | 67.57E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143546" | 2143546 | 1001570 | 1001570 | 2015-01-21 11:07 | OOD103 | M01 102584 | 11.67E+0 | #VALUE! | 70.05E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143548" | 2143548 | 1001570 | 1001570 | 2015-01-21 11:07 | OOD103 | M01 102585 | 11.79E+0 | #VALUE! | 71.74E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143550" | 2143550 | 1001570 | 1001570 | 2015-01-21 11:07 | OOD103 | M01 102586 | 11.74E+0 | #VALUE! | 71.58E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143551" | 2143551 | 1001570 | 1001570 | 2015-01-21 11:07 | OOD103 | M01 102587 | 11.73E+0 | #VALUE! | 64.84E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143552" | 2143552 | 1001570 | 1001570 | 2015-01-21 11:07 | OOD103 | M01 102588 | 11.70E+0 | #VALUE! | 68.66E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143553" | 2143553 | 1001570 | 1001570 | 2015-01-21 11:07 | OOD103 | M01 102589 | 12.19E+0 | #VALUE! | 85.08E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143554" | 2143554 | 1001570 | 1001570 | 2015-01-21 11:07 | OOD103 | M01 102590 | 11.67E+0 | #VALUE! | 69.37E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143555" | 2143555 | 1001570 | 1001570 | 2015-01-21 11:07 | OOD103 | M01 102591 | 12.05E+0 | #VALUE! | 84.56E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143556" | 2143556 | 1001570 | 1001570 | 2015-01-21 11:07 | OOD103 | M01 102592 | 11.68E+0 | #VALUE! | 80.16E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143557" | 2143557 | 1001570 | 1001570 | 2015-01-21 11:07 | OOD103 | M01 102593 | 11.35E+0 | #VALUE! | 72.35E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143576" | 2143576 | 1001570 | 1001570 | 2015-01-21 11:11 | OOD103 | M01 102594 | 11.68E+0 | #VALUE! | 75.96E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143577" | 2143577 | 1001570 | 1001570 | 2015-01-21 11:11 | OOD103 | M01 102595 | 11.37E+0 | #VALUE! | 69.49E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143578" | 2143578 | 1001570 | 1001570 | 2015-01-21 11:11 | OOD103 | M01 102596 | 11.66E+0 | #VALUE! | 95.59E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143579" | 2143579 | 1001570 | 1001570 | 2015-01-21 11:11 | OOD103 | M01 102597 | 11.56E+0 | #VALUE! | 66.56E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143580" | 2143580 | 1001570 | 1001570 | 2015-01-21 11:11 | OOD103 | M01 102598 | 11.82E+0 | #VALUE! | 102.56E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143582" | 2143582 | 1001570 | 1001570 | 2015-01-21 11:11 | OOD103 | M01 102599 | 11.55E+0 | #VALUE! | 66.18E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143583" | 2143583 | 1001570 | 1001570 | 2015-01-21 11:11 | OOD103 | M01 102600 | 11.89E+0 | #VALUE! | 77.33E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143584" | 2143584 | 1001570 | 1001570 | 2015-01-21 11:11 | OOD103 | M01 102601 | 11.78E+0 | #VALUE! | 78.32E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143585" | 2143585 | 1001570 | 1001570 | 2015-01-21 11:11 | OOD103 | M01 102602 | 12.09E+0 | #VALUE! | 70.92E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143586" | 2143586 | 1001570 | 1001570 | 2015-01-21 11:11 | OOD103 | M01 102603 | 11.47E+0 | #VALUE! | 69.48E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143587" | 2143587 | 1001570 | 1001570 | 2015-01-21 11:11 | OOD103 | M01 102604 | 11.50E+0 | #VALUE! | 68.53E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143588" | 2143588 | 1001570 | 1001570 | 2015-01-21 11:11 | OOD103 | M01 102605 | 11.85E+0 | #VALUE! | 85.32E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143589" | 2143589 | 1001570 | 1001570 | 2015-01-21 11:11 | OOD103 | M01 102606 | 11.78E+0 | #VALUE! | 70.03E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143590" | 2143590 | 1001570 | 1001570 | 2015-01-21 11:17 | OOD103 | M01 102607 | 11.37E+0 | #VALUE! | 76.55E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143591" | 2143591 | 1001570 | 1001570 | 2015-01-21 11:17 | OOD103 | M01 102608 | 11.32E+0 | #VALUE! | 64.47E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143592" | 2143592 | 1001570 | 1001570 | 2015-01-21 11:17 | OOD103 | M01 102609 | 11.42E+0 | #VALUE! | 62.20E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143593" | 2143593 | 1001570 | 1001570 | 2015-01-21 11:17 | OOD103 | M01 102610 | 11.39E+0 | #VALUE! | 58.64E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143594" | 2143594 | 1001570 | 1001570 | 2015-01-21 11:17 | OOD103 | M01 102611 | 11.48E+0 | #VALUE! | 63.75E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143595" | 2143595 | 1001570 | 1001570 | 2015-01-21 11:17 | OOD103 | M01 102612 | 11.66E+0 | #VALUE! | 66.56E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143596" | 2143596 | 1001570 | 1001570 | 2015-01-21 11:17 | OOD103 | M01 102613 | 11.50E+0 | #VALUE! | 81.92E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143598" | 2143598 | 1001570 | 1001570 | 2015-01-21 11:17 | OOD103 | M01 102614 | 10.58E+0 | #VALUE! | 69.73E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143599" | 2143599 | 1001570 | 1001570 | 2015-01-21 11:17 | OOD103 | M01 102615 | 11.53E+0 | #VALUE! | 60.25E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143600" | 2143600 | 1001570 | 1001570 | 2015-01-21 11:17 | OOD103 | M01 102616 | 11.54E+0 | #VALUE! | 70.78E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143601" | 2143601 | 1001570 | 1001570 | 2015-01-21 11:17 | OOD103 | M01 102617 | 11.87E+0 | #VALUE! | 66.52E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143602" | 2143602 | 1001570 | 1001570 | 2015-01-21 11:17 | OOD103 | M01 102618 | 11.65E+0 | #VALUE! | 78.25E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143603" | 2143603 | 1001570 | 1001570 | 2015-01-21 11:17 | OOD103 | M01 102619 | 11.68E+0 | #VALUE! | 68.16E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143604" | 2143604 | 1001570 | 1001570 | 2015-01-21 11:17 | OOD103 | M01 102620 | 11.73E+0 | #VALUE! | 95.46E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143605" | 2143605 | 1001570 | 1001570 | 2015-01-21 11:17 | OOD103 | M01 102621 | 11.18E+0 | #VALUE! | 64.13E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143606" | 2143606 | 1001570 | 1001570 | 2015-01-21 11:20 | OOD103 | M01 102622 | 11.71E+0 | #VALUE! | 79.88E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143607" | 2143607 | 1001570 | 1001570 | 2015-01-21 11:20 | OOD103 | M01 102623 | 11.52E+0 | #VALUE! | 56.86E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143608" | 2143608 | 1001570 | 1001570 | 2015-01-21 11:20 | OOD103 | M01 102624 | 11.73E+0 | #VALUE! | 63.23E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143609" | 2143609 | 1001570 | 1001570 | 2015-01-21 11:20 | OOD103 | M01 102625 | 11.79E+0 | #VALUE! | 75.23E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143610" | 2143610 | 1001570 | 1001570 | 2015-01-21 11:20 | OOD103 | M01 102626 | 11.85E+0 | #VALUE! | 66.44E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143611" | 2143611 | 1001570 | 1001570 | 2015-01-21 11:20 | OOD103 | M01 102627 | 11.52E+0 | #VALUE! | 69.23E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143612" | 2143612 | 1001570 | 1001570 | 2015-01-21 11:20 | OOD103 | M01 102628 | 11.78E+0 | #VALUE! | 72.05E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143614" | 2143614 | 1001570 | 1001570 | 2015-01-21 11:20 | OOD103 | M01 102629 | 11.69E+0 | #VALUE! | 96.16E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143615" | 2143615 | 1001570 | 1001570 | 2015-01-21 11:20 | OOD103 | M01 102630 | 11.59E+0 | #VALUE! | 61.95E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143616" | 2143616 | 1001570 | 1001570 | 2015-01-21 11:20 | OOD103 | M01 102631 | 11.54E+0 | #VALUE! | 68.52E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143617" | 2143617 | 1001570 | 1001570 | 2015-01-21 11:20 | OOD103 | M01 102632 | 11.53E+0 | #VALUE! | 53.08E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143618" | 2143618 | 1001570 | 1001570 | 2015-01-21 11:20 | OOD103 | M01 102633 | 11.43E+0 | #VALUE! | 60.46E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143619" | 2143619 | 1001570 | 1001570 | 2015-01-21 11:20 | OOD103 | M01 102634 | 11.28E+0 | #VALUE! | 57.65E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143620" | 2143620 | 1001570 | 1001570 | 2015-01-21 11:20 | OOD103 | M01 102635 | 11.52E+0 | #VALUE! | 68.62E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143621" | 2143621 | 1001570 | 1001570 | 2015-01-21 11:20 | OOD103 | M01 102636 | 11.58E+0 | #VALUE! | 60.36E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143622" | 2143622 | 1001570 | 1001570 | 2015-01-21 11:25 | OOD103 | M01 102637 | 11.87E+0 | #VALUE! | 106.63E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143623" | 2143623 | 1001570 | 1001570 | 2015-01-21 11:25 | OOD103 | M01 102638 | 11.83E+0 | #VALUE! | 70.85E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143625" | 2143625 | 1001570 | 1001570 | 2015-01-21 11:25 | OOD103 | M01 102639 | 11.23E+0 | #VALUE! | 69.63E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143626" | 2143626 | 1001570 | 1001570 | 2015-01-21 11:25 | OOD103 | M01 102640 | 11.52E+0 | #VALUE! | 66.16E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143627" | 2143627 | 1001570 | 1001570 | 2015-01-21 11:25 | OOD103 | M01 102641 | 11.25E+0 | #VALUE! | 68.74E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143628" | 2143628 | 1001570 | 1001570 | 2015-01-21 11:25 | OOD103 | M01 102642 | 11.52E+0 | #VALUE! | 73.08E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143630" | 2143630 | 1001570 | 1001570 | 2015-01-21 11:25 | OOD103 | M01 102643 | 11.64E+0 | #VALUE! | 69.32E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143631" | 2143631 | 1001570 | 1001570 | 2015-01-21 11:25 | OOD103 | M01 102644 | 12.11E+0 | #VALUE! | 79.70E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143632" | 2143632 | 1001570 | 1001570 | 2015-01-21 11:25 | OOD103 | M01 102645 | 11.45E+0 | #VALUE! | 69.88E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143633" | 2143633 | 1001570 | 1001570 | 2015-01-21 11:25 | OOD103 | M01 102646 | 11.72E+0 | #VALUE! | 63.93E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143634" | 2143634 | 1001570 | 1001570 | 2015-01-21 11:25 | OOD103 | M01 102647 | 11.55E+0 | #VALUE! | 69.72E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143635" | 2143635 | 1001570 | 1001570 | 2015-01-21 11:25 | OOD103 | M01 102648 | 11.39E+0 | #VALUE! | 74.44E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143636" | 2143636 | 1001570 | 1001570 | 2015-01-21 11:25 | OOD103 | M01 102649 | 10.82E+0 | #VALUE! | 63.31E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2143637" | 2143637 | 1001570 | 1001570 | 2015-01-21 11:25 | OOD103 | M01 102650 | 11.49E+0 | #VALUE! | 68.90E-3 | #VALUE! |  |  | +

## Tabelle5 (hidden)
Auto+Ausblenden+Formulas=Tabelle5,Tabelle6+FormulasOnly | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen | Anpassen | Anpassen | Ausblenden | Anpassen | Ausblenden | Anpassen
[9 empty] | =CONCATENATE(Optionen!C2," PART No.") |  | =NL("Zeilen","Artikelreferenz","Referenznr.","Datenquelle=","Echtserver Wismar","Artikelnr.",E6,"Referenzartennr.",Optionen!C3,"Referenznr.",Optionen!C7)
|  | ID | ProductNumber | Nav. Nr. | Datum | SENSORTYP | LABELNR | LUFTWERT1 | LUFTWERT1 | OFFSET1 | OFFSET1 | LUFTWERT2 | OFFSET2 | WERTUNG
[8 empty] | µV | µV | µV | µV | µV | µV
| =NL("Zeilen","product",,"Datenquelle=","retrace Produktion","CustomerID",Optionen!C2,"ProductSerial",Optionen!C4,"Reference",Optionen!C5,"ProductNumber",Optionen!C6) | =NF($B6,"ID") | =NF(B6,"ProductNumber") | =SUBSTITUTE(D6," ","-") | =NF($B6,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B6,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C6,"Test","Luftwert","time",F6) | =VALUE(SUBSTITUTE(I6,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C6,"Test","mV N2","time",F6) | =VALUE(SUBSTITUTE(K6,".",","))*1000 |  |  | +

## Tabelle6 (hidden)
Auto+Ausblenden+Formulas=Tabelle5,Tabelle6+FormulasOnly | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen | Anpassen | Anpassen | Ausblenden | Anpassen | Ausblenden | Anpassen
[9 empty] | =VERKETTEN(Optionen!C2;" PART No.") |  | =NL("Zeilen";"Artikelreferenz";"Referenznr.";"Datenquelle=";"Echtserver Wismar";"Artikelnr.";E6;"Referenzartennr.";Optionen!C3;"Referenznr.";Optionen!C7)
|  | ID | ProductNumber | Nav. Nr. | Datum | SENSORTYP | LABELNR | LUFTWERT1 | LUFTWERT1 | OFFSET1 | OFFSET1 | LUFTWERT2 | OFFSET2 | WERTUNG
[8 empty] | µV | µV | µV | µV | µV | µV
| =NL("Zeilen";"product";;"Datenquelle=";"retrace Produktion";"CustomerID";Optionen!C2;"ProductSerial";Optionen!C4;"Reference";Optionen!C5;"ProductNumber";Optionen!C6) | =NF($B6;"ID") | =NF(B6;"ProductNumber") | =WECHSELN(D6;" ";"-") | =NF($B6;"Time") | =NL("Zeilen";"Artikel";"Beschreibung 2";"Datenquelle=";"Echtserver Wismar";"Nr.";$E$6) | =NF($B6;"ProductSerial") | =NL("Zeilen";"testprotocol";"Value";"Datenquelle=";"retrace Produktion";"ProductID";C6;"Test";"Luftwert";"time";F6) | =WERT(WECHSELN(I6;".";","))*1000 | =NL("Zeilen";"testprotocol";"Value";"Datenquelle=";"retrace Produktion";"ProductID";C6;"Test";"mV N2";"time";F6) | =WERT(WECHSELN(K6;".";","))*1000 |  |  | +

## Tabelle4 (hidden)
Auto+Ausblenden+Formulas=Tabelle4,Tabelle5,Tabelle6+FormulasOnly | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen | Anpassen | Anpassen | Ausblenden | Anpassen | Ausblenden | Anpassen
[9 empty] | =CONCATENATE(Optionen!C2," PART No.") |  | =NL("Zeilen","Artikelreferenz","Referenznr.","Datenquelle=","Echtserver Wismar","Artikelnr.",E15,"Referenzartennr.",Optionen!C3,"Referenznr.",Optionen!C7)
Auto | [8 empty] | =CONCATENATE(Optionen!C3," PART No.") |  | ="8010001"
Auto | [8 empty] | =CONCATENATE(Optionen!C4," PART No.") |  | ="8010006"
Auto | [8 empty] | =CONCATENATE(Optionen!C5," PART No.") |  | ="8010008"
Auto | [8 empty] | =CONCATENATE(Optionen!C6," PART No.") |  | ="8010014"
Auto | [8 empty] | =CONCATENATE(Optionen!C7," PART No.") |  | ="8010015"
Auto | [8 empty] | =CONCATENATE(Optionen!C8," PART No.") |  | ="8010016"
Auto | [8 empty] | =CONCATENATE(Optionen!C9," PART No.") |  | ="8010018"
Auto | [8 empty] | =CONCATENATE(Optionen!C10," PART No.") |  | ="8010019"
Auto | [8 empty] | =CONCATENATE(Optionen!C11," PART No.") |  | ="8010020"
|  | ID | ProductNumber | Nav. Nr. | Datum | SENSORTYP | LABELNR | LUFTWERT1 | LUFTWERT1 | OFFSET1 | OFFSET1 | LUFTWERT2 | OFFSET2 | WERTUNG
[8 empty] | µV | µV | µV | µV | µV | µV
| =NL("Zeilen","product",,"Datenquelle=","retrace Produktion","CustomerID",Optionen!C2,"ProductSerial",Optionen!C4,"Reference",Optionen!C5,"ProductNumber",Optionen!C6) | =NF($B15,"ID") | =NF(B15,"ProductNumber") | =SUBSTITUTE(D15," ","-") | =NF($B15,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B15,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C15,"Test","Luftwert","time",F15) | =VALUE(SUBSTITUTE(I15,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C15,"Test","mV N2","time",F15) | =VALUE(SUBSTITUTE(K15,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143511""" | =NF($B16,"ID") | =NF(B16,"ProductNumber") | =SUBSTITUTE(D16," ","-") | =NF($B16,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B16,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C16,"Test","Luftwert","time",F16) | =VALUE(SUBSTITUTE(I16,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C16,"Test","mV N2","time",F16) | =VALUE(SUBSTITUTE(K16,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143512""" | =NF($B17,"ID") | =NF(B17,"ProductNumber") | =SUBSTITUTE(D17," ","-") | =NF($B17,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B17,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C17,"Test","Luftwert","time",F17) | =VALUE(SUBSTITUTE(I17,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C17,"Test","mV N2","time",F17) | =VALUE(SUBSTITUTE(K17,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143513""" | =NF($B18,"ID") | =NF(B18,"ProductNumber") | =SUBSTITUTE(D18," ","-") | =NF($B18,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B18,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C18,"Test","Luftwert","time",F18) | =VALUE(SUBSTITUTE(I18,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C18,"Test","mV N2","time",F18) | =VALUE(SUBSTITUTE(K18,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143514""" | =NF($B19,"ID") | =NF(B19,"ProductNumber") | =SUBSTITUTE(D19," ","-") | =NF($B19,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B19,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C19,"Test","Luftwert","time",F19) | =VALUE(SUBSTITUTE(I19,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C19,"Test","mV N2","time",F19) | =VALUE(SUBSTITUTE(K19,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143515""" | =NF($B20,"ID") | =NF(B20,"ProductNumber") | =SUBSTITUTE(D20," ","-") | =NF($B20,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B20,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C20,"Test","Luftwert","time",F20) | =VALUE(SUBSTITUTE(I20,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C20,"Test","mV N2","time",F20) | =VALUE(SUBSTITUTE(K20,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143516""" | =NF($B21,"ID") | =NF(B21,"ProductNumber") | =SUBSTITUTE(D21," ","-") | =NF($B21,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B21,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C21,"Test","Luftwert","time",F21) | =VALUE(SUBSTITUTE(I21,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C21,"Test","mV N2","time",F21) | =VALUE(SUBSTITUTE(K21,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143518""" | =NF($B22,"ID") | =NF(B22,"ProductNumber") | =SUBSTITUTE(D22," ","-") | =NF($B22,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B22,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C22,"Test","Luftwert","time",F22) | =VALUE(SUBSTITUTE(I22,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C22,"Test","mV N2","time",F22) | =VALUE(SUBSTITUTE(K22,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143519""" | =NF($B23,"ID") | =NF(B23,"ProductNumber") | =SUBSTITUTE(D23," ","-") | =NF($B23,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B23,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C23,"Test","Luftwert","time",F23) | =VALUE(SUBSTITUTE(I23,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C23,"Test","mV N2","time",F23) | =VALUE(SUBSTITUTE(K23,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143520""" | =NF($B24,"ID") | =NF(B24,"ProductNumber") | =SUBSTITUTE(D24," ","-") | =NF($B24,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B24,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C24,"Test","Luftwert","time",F24) | =VALUE(SUBSTITUTE(I24,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C24,"Test","mV N2","time",F24) | =VALUE(SUBSTITUTE(K24,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143521""" | =NF($B25,"ID") | =NF(B25,"ProductNumber") | =SUBSTITUTE(D25," ","-") | =NF($B25,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B25,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C25,"Test","Luftwert","time",F25) | =VALUE(SUBSTITUTE(I25,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C25,"Test","mV N2","time",F25) | =VALUE(SUBSTITUTE(K25,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143522""" | =NF($B26,"ID") | =NF(B26,"ProductNumber") | =SUBSTITUTE(D26," ","-") | =NF($B26,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B26,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C26,"Test","Luftwert","time",F26) | =VALUE(SUBSTITUTE(I26,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C26,"Test","mV N2","time",F26) | =VALUE(SUBSTITUTE(K26,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143523""" | =NF($B27,"ID") | =NF(B27,"ProductNumber") | =SUBSTITUTE(D27," ","-") | =NF($B27,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B27,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C27,"Test","Luftwert","time",F27) | =VALUE(SUBSTITUTE(I27,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C27,"Test","mV N2","time",F27) | =VALUE(SUBSTITUTE(K27,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143524""" | =NF($B28,"ID") | =NF(B28,"ProductNumber") | =SUBSTITUTE(D28," ","-") | =NF($B28,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B28,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C28,"Test","Luftwert","time",F28) | =VALUE(SUBSTITUTE(I28,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C28,"Test","mV N2","time",F28) | =VALUE(SUBSTITUTE(K28,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143525""" | =NF($B29,"ID") | =NF(B29,"ProductNumber") | =SUBSTITUTE(D29," ","-") | =NF($B29,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B29,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C29,"Test","Luftwert","time",F29) | =VALUE(SUBSTITUTE(I29,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C29,"Test","mV N2","time",F29) | =VALUE(SUBSTITUTE(K29,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143526""" | =NF($B30,"ID") | =NF(B30,"ProductNumber") | =SUBSTITUTE(D30," ","-") | =NF($B30,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B30,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C30,"Test","Luftwert","time",F30) | =VALUE(SUBSTITUTE(I30,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C30,"Test","mV N2","time",F30) | =VALUE(SUBSTITUTE(K30,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143527""" | =NF($B31,"ID") | =NF(B31,"ProductNumber") | =SUBSTITUTE(D31," ","-") | =NF($B31,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B31,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C31,"Test","Luftwert","time",F31) | =VALUE(SUBSTITUTE(I31,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C31,"Test","mV N2","time",F31) | =VALUE(SUBSTITUTE(K31,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143528""" | =NF($B32,"ID") | =NF(B32,"ProductNumber") | =SUBSTITUTE(D32," ","-") | =NF($B32,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B32,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C32,"Test","Luftwert","time",F32) | =VALUE(SUBSTITUTE(I32,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C32,"Test","mV N2","time",F32) | =VALUE(SUBSTITUTE(K32,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143529""" | =NF($B33,"ID") | =NF(B33,"ProductNumber") | =SUBSTITUTE(D33," ","-") | =NF($B33,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B33,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C33,"Test","Luftwert","time",F33) | =VALUE(SUBSTITUTE(I33,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C33,"Test","mV N2","time",F33) | =VALUE(SUBSTITUTE(K33,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143530""" | =NF($B34,"ID") | =NF(B34,"ProductNumber") | =SUBSTITUTE(D34," ","-") | =NF($B34,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B34,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C34,"Test","Luftwert","time",F34) | =VALUE(SUBSTITUTE(I34,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C34,"Test","mV N2","time",F34) | =VALUE(SUBSTITUTE(K34,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143531""" | =NF($B35,"ID") | =NF(B35,"ProductNumber") | =SUBSTITUTE(D35," ","-") | =NF($B35,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B35,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C35,"Test","Luftwert","time",F35) | =VALUE(SUBSTITUTE(I35,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C35,"Test","mV N2","time",F35) | =VALUE(SUBSTITUTE(K35,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143532""" | =NF($B36,"ID") | =NF(B36,"ProductNumber") | =SUBSTITUTE(D36," ","-") | =NF($B36,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B36,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C36,"Test","Luftwert","time",F36) | =VALUE(SUBSTITUTE(I36,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C36,"Test","mV N2","time",F36) | =VALUE(SUBSTITUTE(K36,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143534""" | =NF($B37,"ID") | =NF(B37,"ProductNumber") | =SUBSTITUTE(D37," ","-") | =NF($B37,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B37,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C37,"Test","Luftwert","time",F37) | =VALUE(SUBSTITUTE(I37,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C37,"Test","mV N2","time",F37) | =VALUE(SUBSTITUTE(K37,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143535""" | =NF($B38,"ID") | =NF(B38,"ProductNumber") | =SUBSTITUTE(D38," ","-") | =NF($B38,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B38,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C38,"Test","Luftwert","time",F38) | =VALUE(SUBSTITUTE(I38,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C38,"Test","mV N2","time",F38) | =VALUE(SUBSTITUTE(K38,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143536""" | =NF($B39,"ID") | =NF(B39,"ProductNumber") | =SUBSTITUTE(D39," ","-") | =NF($B39,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B39,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C39,"Test","Luftwert","time",F39) | =VALUE(SUBSTITUTE(I39,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C39,"Test","mV N2","time",F39) | =VALUE(SUBSTITUTE(K39,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143537""" | =NF($B40,"ID") | =NF(B40,"ProductNumber") | =SUBSTITUTE(D40," ","-") | =NF($B40,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B40,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C40,"Test","Luftwert","time",F40) | =VALUE(SUBSTITUTE(I40,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C40,"Test","mV N2","time",F40) | =VALUE(SUBSTITUTE(K40,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143538""" | =NF($B41,"ID") | =NF(B41,"ProductNumber") | =SUBSTITUTE(D41," ","-") | =NF($B41,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B41,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C41,"Test","Luftwert","time",F41) | =VALUE(SUBSTITUTE(I41,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C41,"Test","mV N2","time",F41) | =VALUE(SUBSTITUTE(K41,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143539""" | =NF($B42,"ID") | =NF(B42,"ProductNumber") | =SUBSTITUTE(D42," ","-") | =NF($B42,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B42,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C42,"Test","Luftwert","time",F42) | =VALUE(SUBSTITUTE(I42,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C42,"Test","mV N2","time",F42) | =VALUE(SUBSTITUTE(K42,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143541""" | =NF($B43,"ID") | =NF(B43,"ProductNumber") | =SUBSTITUTE(D43," ","-") | =NF($B43,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B43,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C43,"Test","Luftwert","time",F43) | =VALUE(SUBSTITUTE(I43,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C43,"Test","mV N2","time",F43) | =VALUE(SUBSTITUTE(K43,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143542""" | =NF($B44,"ID") | =NF(B44,"ProductNumber") | =SUBSTITUTE(D44," ","-") | =NF($B44,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B44,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C44,"Test","Luftwert","time",F44) | =VALUE(SUBSTITUTE(I44,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C44,"Test","mV N2","time",F44) | =VALUE(SUBSTITUTE(K44,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143543""" | =NF($B45,"ID") | =NF(B45,"ProductNumber") | =SUBSTITUTE(D45," ","-") | =NF($B45,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B45,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C45,"Test","Luftwert","time",F45) | =VALUE(SUBSTITUTE(I45,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C45,"Test","mV N2","time",F45) | =VALUE(SUBSTITUTE(K45,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143544""" | =NF($B46,"ID") | =NF(B46,"ProductNumber") | =SUBSTITUTE(D46," ","-") | =NF($B46,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B46,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C46,"Test","Luftwert","time",F46) | =VALUE(SUBSTITUTE(I46,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C46,"Test","mV N2","time",F46) | =VALUE(SUBSTITUTE(K46,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143545""" | =NF($B47,"ID") | =NF(B47,"ProductNumber") | =SUBSTITUTE(D47," ","-") | =NF($B47,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B47,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C47,"Test","Luftwert","time",F47) | =VALUE(SUBSTITUTE(I47,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C47,"Test","mV N2","time",F47) | =VALUE(SUBSTITUTE(K47,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143546""" | =NF($B48,"ID") | =NF(B48,"ProductNumber") | =SUBSTITUTE(D48," ","-") | =NF($B48,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B48,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C48,"Test","Luftwert","time",F48) | =VALUE(SUBSTITUTE(I48,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C48,"Test","mV N2","time",F48) | =VALUE(SUBSTITUTE(K48,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143548""" | =NF($B49,"ID") | =NF(B49,"ProductNumber") | =SUBSTITUTE(D49," ","-") | =NF($B49,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B49,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C49,"Test","Luftwert","time",F49) | =VALUE(SUBSTITUTE(I49,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C49,"Test","mV N2","time",F49) | =VALUE(SUBSTITUTE(K49,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143550""" | =NF($B50,"ID") | =NF(B50,"ProductNumber") | =SUBSTITUTE(D50," ","-") | =NF($B50,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B50,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C50,"Test","Luftwert","time",F50) | =VALUE(SUBSTITUTE(I50,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C50,"Test","mV N2","time",F50) | =VALUE(SUBSTITUTE(K50,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143551""" | =NF($B51,"ID") | =NF(B51,"ProductNumber") | =SUBSTITUTE(D51," ","-") | =NF($B51,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B51,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C51,"Test","Luftwert","time",F51) | =VALUE(SUBSTITUTE(I51,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C51,"Test","mV N2","time",F51) | =VALUE(SUBSTITUTE(K51,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143552""" | =NF($B52,"ID") | =NF(B52,"ProductNumber") | =SUBSTITUTE(D52," ","-") | =NF($B52,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B52,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C52,"Test","Luftwert","time",F52) | =VALUE(SUBSTITUTE(I52,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C52,"Test","mV N2","time",F52) | =VALUE(SUBSTITUTE(K52,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143553""" | =NF($B53,"ID") | =NF(B53,"ProductNumber") | =SUBSTITUTE(D53," ","-") | =NF($B53,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B53,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C53,"Test","Luftwert","time",F53) | =VALUE(SUBSTITUTE(I53,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C53,"Test","mV N2","time",F53) | =VALUE(SUBSTITUTE(K53,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143554""" | =NF($B54,"ID") | =NF(B54,"ProductNumber") | =SUBSTITUTE(D54," ","-") | =NF($B54,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B54,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C54,"Test","Luftwert","time",F54) | =VALUE(SUBSTITUTE(I54,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C54,"Test","mV N2","time",F54) | =VALUE(SUBSTITUTE(K54,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143555""" | =NF($B55,"ID") | =NF(B55,"ProductNumber") | =SUBSTITUTE(D55," ","-") | =NF($B55,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B55,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C55,"Test","Luftwert","time",F55) | =VALUE(SUBSTITUTE(I55,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C55,"Test","mV N2","time",F55) | =VALUE(SUBSTITUTE(K55,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143556""" | =NF($B56,"ID") | =NF(B56,"ProductNumber") | =SUBSTITUTE(D56," ","-") | =NF($B56,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B56,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C56,"Test","Luftwert","time",F56) | =VALUE(SUBSTITUTE(I56,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C56,"Test","mV N2","time",F56) | =VALUE(SUBSTITUTE(K56,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143557""" | =NF($B57,"ID") | =NF(B57,"ProductNumber") | =SUBSTITUTE(D57," ","-") | =NF($B57,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B57,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C57,"Test","Luftwert","time",F57) | =VALUE(SUBSTITUTE(I57,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C57,"Test","mV N2","time",F57) | =VALUE(SUBSTITUTE(K57,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143576""" | =NF($B58,"ID") | =NF(B58,"ProductNumber") | =SUBSTITUTE(D58," ","-") | =NF($B58,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B58,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C58,"Test","Luftwert","time",F58) | =VALUE(SUBSTITUTE(I58,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C58,"Test","mV N2","time",F58) | =VALUE(SUBSTITUTE(K58,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143577""" | =NF($B59,"ID") | =NF(B59,"ProductNumber") | =SUBSTITUTE(D59," ","-") | =NF($B59,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B59,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C59,"Test","Luftwert","time",F59) | =VALUE(SUBSTITUTE(I59,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C59,"Test","mV N2","time",F59) | =VALUE(SUBSTITUTE(K59,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143578""" | =NF($B60,"ID") | =NF(B60,"ProductNumber") | =SUBSTITUTE(D60," ","-") | =NF($B60,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B60,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C60,"Test","Luftwert","time",F60) | =VALUE(SUBSTITUTE(I60,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C60,"Test","mV N2","time",F60) | =VALUE(SUBSTITUTE(K60,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143579""" | =NF($B61,"ID") | =NF(B61,"ProductNumber") | =SUBSTITUTE(D61," ","-") | =NF($B61,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B61,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C61,"Test","Luftwert","time",F61) | =VALUE(SUBSTITUTE(I61,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C61,"Test","mV N2","time",F61) | =VALUE(SUBSTITUTE(K61,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143580""" | =NF($B62,"ID") | =NF(B62,"ProductNumber") | =SUBSTITUTE(D62," ","-") | =NF($B62,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B62,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C62,"Test","Luftwert","time",F62) | =VALUE(SUBSTITUTE(I62,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C62,"Test","mV N2","time",F62) | =VALUE(SUBSTITUTE(K62,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143582""" | =NF($B63,"ID") | =NF(B63,"ProductNumber") | =SUBSTITUTE(D63," ","-") | =NF($B63,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B63,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C63,"Test","Luftwert","time",F63) | =VALUE(SUBSTITUTE(I63,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C63,"Test","mV N2","time",F63) | =VALUE(SUBSTITUTE(K63,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143583""" | =NF($B64,"ID") | =NF(B64,"ProductNumber") | =SUBSTITUTE(D64," ","-") | =NF($B64,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B64,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C64,"Test","Luftwert","time",F64) | =VALUE(SUBSTITUTE(I64,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C64,"Test","mV N2","time",F64) | =VALUE(SUBSTITUTE(K64,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143584""" | =NF($B65,"ID") | =NF(B65,"ProductNumber") | =SUBSTITUTE(D65," ","-") | =NF($B65,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B65,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C65,"Test","Luftwert","time",F65) | =VALUE(SUBSTITUTE(I65,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C65,"Test","mV N2","time",F65) | =VALUE(SUBSTITUTE(K65,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143585""" | =NF($B66,"ID") | =NF(B66,"ProductNumber") | =SUBSTITUTE(D66," ","-") | =NF($B66,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B66,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C66,"Test","Luftwert","time",F66) | =VALUE(SUBSTITUTE(I66,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C66,"Test","mV N2","time",F66) | =VALUE(SUBSTITUTE(K66,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143586""" | =NF($B67,"ID") | =NF(B67,"ProductNumber") | =SUBSTITUTE(D67," ","-") | =NF($B67,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B67,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C67,"Test","Luftwert","time",F67) | =VALUE(SUBSTITUTE(I67,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C67,"Test","mV N2","time",F67) | =VALUE(SUBSTITUTE(K67,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143587""" | =NF($B68,"ID") | =NF(B68,"ProductNumber") | =SUBSTITUTE(D68," ","-") | =NF($B68,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B68,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C68,"Test","Luftwert","time",F68) | =VALUE(SUBSTITUTE(I68,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C68,"Test","mV N2","time",F68) | =VALUE(SUBSTITUTE(K68,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143588""" | =NF($B69,"ID") | =NF(B69,"ProductNumber") | =SUBSTITUTE(D69," ","-") | =NF($B69,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B69,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C69,"Test","Luftwert","time",F69) | =VALUE(SUBSTITUTE(I69,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C69,"Test","mV N2","time",F69) | =VALUE(SUBSTITUTE(K69,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143589""" | =NF($B70,"ID") | =NF(B70,"ProductNumber") | =SUBSTITUTE(D70," ","-") | =NF($B70,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B70,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C70,"Test","Luftwert","time",F70) | =VALUE(SUBSTITUTE(I70,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C70,"Test","mV N2","time",F70) | =VALUE(SUBSTITUTE(K70,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143590""" | =NF($B71,"ID") | =NF(B71,"ProductNumber") | =SUBSTITUTE(D71," ","-") | =NF($B71,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B71,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C71,"Test","Luftwert","time",F71) | =VALUE(SUBSTITUTE(I71,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C71,"Test","mV N2","time",F71) | =VALUE(SUBSTITUTE(K71,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143591""" | =NF($B72,"ID") | =NF(B72,"ProductNumber") | =SUBSTITUTE(D72," ","-") | =NF($B72,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B72,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C72,"Test","Luftwert","time",F72) | =VALUE(SUBSTITUTE(I72,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C72,"Test","mV N2","time",F72) | =VALUE(SUBSTITUTE(K72,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143592""" | =NF($B73,"ID") | =NF(B73,"ProductNumber") | =SUBSTITUTE(D73," ","-") | =NF($B73,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B73,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C73,"Test","Luftwert","time",F73) | =VALUE(SUBSTITUTE(I73,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C73,"Test","mV N2","time",F73) | =VALUE(SUBSTITUTE(K73,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143593""" | =NF($B74,"ID") | =NF(B74,"ProductNumber") | =SUBSTITUTE(D74," ","-") | =NF($B74,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B74,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C74,"Test","Luftwert","time",F74) | =VALUE(SUBSTITUTE(I74,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C74,"Test","mV N2","time",F74) | =VALUE(SUBSTITUTE(K74,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143594""" | =NF($B75,"ID") | =NF(B75,"ProductNumber") | =SUBSTITUTE(D75," ","-") | =NF($B75,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B75,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C75,"Test","Luftwert","time",F75) | =VALUE(SUBSTITUTE(I75,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C75,"Test","mV N2","time",F75) | =VALUE(SUBSTITUTE(K75,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143595""" | =NF($B76,"ID") | =NF(B76,"ProductNumber") | =SUBSTITUTE(D76," ","-") | =NF($B76,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B76,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C76,"Test","Luftwert","time",F76) | =VALUE(SUBSTITUTE(I76,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C76,"Test","mV N2","time",F76) | =VALUE(SUBSTITUTE(K76,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143596""" | =NF($B77,"ID") | =NF(B77,"ProductNumber") | =SUBSTITUTE(D77," ","-") | =NF($B77,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B77,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C77,"Test","Luftwert","time",F77) | =VALUE(SUBSTITUTE(I77,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C77,"Test","mV N2","time",F77) | =VALUE(SUBSTITUTE(K77,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143598""" | =NF($B78,"ID") | =NF(B78,"ProductNumber") | =SUBSTITUTE(D78," ","-") | =NF($B78,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B78,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C78,"Test","Luftwert","time",F78) | =VALUE(SUBSTITUTE(I78,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C78,"Test","mV N2","time",F78) | =VALUE(SUBSTITUTE(K78,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143599""" | =NF($B79,"ID") | =NF(B79,"ProductNumber") | =SUBSTITUTE(D79," ","-") | =NF($B79,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B79,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C79,"Test","Luftwert","time",F79) | =VALUE(SUBSTITUTE(I79,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C79,"Test","mV N2","time",F79) | =VALUE(SUBSTITUTE(K79,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143600""" | =NF($B80,"ID") | =NF(B80,"ProductNumber") | =SUBSTITUTE(D80," ","-") | =NF($B80,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B80,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C80,"Test","Luftwert","time",F80) | =VALUE(SUBSTITUTE(I80,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C80,"Test","mV N2","time",F80) | =VALUE(SUBSTITUTE(K80,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143601""" | =NF($B81,"ID") | =NF(B81,"ProductNumber") | =SUBSTITUTE(D81," ","-") | =NF($B81,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B81,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C81,"Test","Luftwert","time",F81) | =VALUE(SUBSTITUTE(I81,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C81,"Test","mV N2","time",F81) | =VALUE(SUBSTITUTE(K81,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143602""" | =NF($B82,"ID") | =NF(B82,"ProductNumber") | =SUBSTITUTE(D82," ","-") | =NF($B82,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B82,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C82,"Test","Luftwert","time",F82) | =VALUE(SUBSTITUTE(I82,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C82,"Test","mV N2","time",F82) | =VALUE(SUBSTITUTE(K82,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143603""" | =NF($B83,"ID") | =NF(B83,"ProductNumber") | =SUBSTITUTE(D83," ","-") | =NF($B83,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B83,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C83,"Test","Luftwert","time",F83) | =VALUE(SUBSTITUTE(I83,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C83,"Test","mV N2","time",F83) | =VALUE(SUBSTITUTE(K83,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143604""" | =NF($B84,"ID") | =NF(B84,"ProductNumber") | =SUBSTITUTE(D84," ","-") | =NF($B84,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B84,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C84,"Test","Luftwert","time",F84) | =VALUE(SUBSTITUTE(I84,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C84,"Test","mV N2","time",F84) | =VALUE(SUBSTITUTE(K84,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143605""" | =NF($B85,"ID") | =NF(B85,"ProductNumber") | =SUBSTITUTE(D85," ","-") | =NF($B85,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B85,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C85,"Test","Luftwert","time",F85) | =VALUE(SUBSTITUTE(I85,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C85,"Test","mV N2","time",F85) | =VALUE(SUBSTITUTE(K85,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143606""" | =NF($B86,"ID") | =NF(B86,"ProductNumber") | =SUBSTITUTE(D86," ","-") | =NF($B86,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B86,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C86,"Test","Luftwert","time",F86) | =VALUE(SUBSTITUTE(I86,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C86,"Test","mV N2","time",F86) | =VALUE(SUBSTITUTE(K86,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143607""" | =NF($B87,"ID") | =NF(B87,"ProductNumber") | =SUBSTITUTE(D87," ","-") | =NF($B87,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B87,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C87,"Test","Luftwert","time",F87) | =VALUE(SUBSTITUTE(I87,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C87,"Test","mV N2","time",F87) | =VALUE(SUBSTITUTE(K87,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143608""" | =NF($B88,"ID") | =NF(B88,"ProductNumber") | =SUBSTITUTE(D88," ","-") | =NF($B88,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B88,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C88,"Test","Luftwert","time",F88) | =VALUE(SUBSTITUTE(I88,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C88,"Test","mV N2","time",F88) | =VALUE(SUBSTITUTE(K88,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143609""" | =NF($B89,"ID") | =NF(B89,"ProductNumber") | =SUBSTITUTE(D89," ","-") | =NF($B89,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B89,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C89,"Test","Luftwert","time",F89) | =VALUE(SUBSTITUTE(I89,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C89,"Test","mV N2","time",F89) | =VALUE(SUBSTITUTE(K89,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143610""" | =NF($B90,"ID") | =NF(B90,"ProductNumber") | =SUBSTITUTE(D90," ","-") | =NF($B90,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B90,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C90,"Test","Luftwert","time",F90) | =VALUE(SUBSTITUTE(I90,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C90,"Test","mV N2","time",F90) | =VALUE(SUBSTITUTE(K90,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143611""" | =NF($B91,"ID") | =NF(B91,"ProductNumber") | =SUBSTITUTE(D91," ","-") | =NF($B91,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B91,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C91,"Test","Luftwert","time",F91) | =VALUE(SUBSTITUTE(I91,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C91,"Test","mV N2","time",F91) | =VALUE(SUBSTITUTE(K91,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143612""" | =NF($B92,"ID") | =NF(B92,"ProductNumber") | =SUBSTITUTE(D92," ","-") | =NF($B92,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B92,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C92,"Test","Luftwert","time",F92) | =VALUE(SUBSTITUTE(I92,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C92,"Test","mV N2","time",F92) | =VALUE(SUBSTITUTE(K92,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143614""" | =NF($B93,"ID") | =NF(B93,"ProductNumber") | =SUBSTITUTE(D93," ","-") | =NF($B93,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B93,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C93,"Test","Luftwert","time",F93) | =VALUE(SUBSTITUTE(I93,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C93,"Test","mV N2","time",F93) | =VALUE(SUBSTITUTE(K93,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143615""" | =NF($B94,"ID") | =NF(B94,"ProductNumber") | =SUBSTITUTE(D94," ","-") | =NF($B94,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B94,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C94,"Test","Luftwert","time",F94) | =VALUE(SUBSTITUTE(I94,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C94,"Test","mV N2","time",F94) | =VALUE(SUBSTITUTE(K94,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143616""" | =NF($B95,"ID") | =NF(B95,"ProductNumber") | =SUBSTITUTE(D95," ","-") | =NF($B95,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B95,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C95,"Test","Luftwert","time",F95) | =VALUE(SUBSTITUTE(I95,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C95,"Test","mV N2","time",F95) | =VALUE(SUBSTITUTE(K95,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143617""" | =NF($B96,"ID") | =NF(B96,"ProductNumber") | =SUBSTITUTE(D96," ","-") | =NF($B96,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B96,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C96,"Test","Luftwert","time",F96) | =VALUE(SUBSTITUTE(I96,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C96,"Test","mV N2","time",F96) | =VALUE(SUBSTITUTE(K96,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143618""" | =NF($B97,"ID") | =NF(B97,"ProductNumber") | =SUBSTITUTE(D97," ","-") | =NF($B97,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B97,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C97,"Test","Luftwert","time",F97) | =VALUE(SUBSTITUTE(I97,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C97,"Test","mV N2","time",F97) | =VALUE(SUBSTITUTE(K97,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143619""" | =NF($B98,"ID") | =NF(B98,"ProductNumber") | =SUBSTITUTE(D98," ","-") | =NF($B98,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B98,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C98,"Test","Luftwert","time",F98) | =VALUE(SUBSTITUTE(I98,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C98,"Test","mV N2","time",F98) | =VALUE(SUBSTITUTE(K98,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143620""" | =NF($B99,"ID") | =NF(B99,"ProductNumber") | =SUBSTITUTE(D99," ","-") | =NF($B99,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B99,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C99,"Test","Luftwert","time",F99) | =VALUE(SUBSTITUTE(I99,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C99,"Test","mV N2","time",F99) | =VALUE(SUBSTITUTE(K99,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143621""" | =NF($B100,"ID") | =NF(B100,"ProductNumber") | =SUBSTITUTE(D100," ","-") | =NF($B100,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B100,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C100,"Test","Luftwert","time",F100) | =VALUE(SUBSTITUTE(I100,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C100,"Test","mV N2","time",F100) | =VALUE(SUBSTITUTE(K100,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143622""" | =NF($B101,"ID") | =NF(B101,"ProductNumber") | =SUBSTITUTE(D101," ","-") | =NF($B101,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B101,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C101,"Test","Luftwert","time",F101) | =VALUE(SUBSTITUTE(I101,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C101,"Test","mV N2","time",F101) | =VALUE(SUBSTITUTE(K101,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143623""" | =NF($B102,"ID") | =NF(B102,"ProductNumber") | =SUBSTITUTE(D102," ","-") | =NF($B102,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B102,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C102,"Test","Luftwert","time",F102) | =VALUE(SUBSTITUTE(I102,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C102,"Test","mV N2","time",F102) | =VALUE(SUBSTITUTE(K102,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143625""" | =NF($B103,"ID") | =NF(B103,"ProductNumber") | =SUBSTITUTE(D103," ","-") | =NF($B103,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B103,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C103,"Test","Luftwert","time",F103) | =VALUE(SUBSTITUTE(I103,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C103,"Test","mV N2","time",F103) | =VALUE(SUBSTITUTE(K103,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143626""" | =NF($B104,"ID") | =NF(B104,"ProductNumber") | =SUBSTITUTE(D104," ","-") | =NF($B104,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B104,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C104,"Test","Luftwert","time",F104) | =VALUE(SUBSTITUTE(I104,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C104,"Test","mV N2","time",F104) | =VALUE(SUBSTITUTE(K104,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143627""" | =NF($B105,"ID") | =NF(B105,"ProductNumber") | =SUBSTITUTE(D105," ","-") | =NF($B105,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B105,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C105,"Test","Luftwert","time",F105) | =VALUE(SUBSTITUTE(I105,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C105,"Test","mV N2","time",F105) | =VALUE(SUBSTITUTE(K105,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143628""" | =NF($B106,"ID") | =NF(B106,"ProductNumber") | =SUBSTITUTE(D106," ","-") | =NF($B106,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B106,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C106,"Test","Luftwert","time",F106) | =VALUE(SUBSTITUTE(I106,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C106,"Test","mV N2","time",F106) | =VALUE(SUBSTITUTE(K106,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143630""" | =NF($B107,"ID") | =NF(B107,"ProductNumber") | =SUBSTITUTE(D107," ","-") | =NF($B107,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B107,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C107,"Test","Luftwert","time",F107) | =VALUE(SUBSTITUTE(I107,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C107,"Test","mV N2","time",F107) | =VALUE(SUBSTITUTE(K107,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143631""" | =NF($B108,"ID") | =NF(B108,"ProductNumber") | =SUBSTITUTE(D108," ","-") | =NF($B108,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B108,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C108,"Test","Luftwert","time",F108) | =VALUE(SUBSTITUTE(I108,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C108,"Test","mV N2","time",F108) | =VALUE(SUBSTITUTE(K108,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143632""" | =NF($B109,"ID") | =NF(B109,"ProductNumber") | =SUBSTITUTE(D109," ","-") | =NF($B109,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B109,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C109,"Test","Luftwert","time",F109) | =VALUE(SUBSTITUTE(I109,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C109,"Test","mV N2","time",F109) | =VALUE(SUBSTITUTE(K109,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143633""" | =NF($B110,"ID") | =NF(B110,"ProductNumber") | =SUBSTITUTE(D110," ","-") | =NF($B110,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B110,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C110,"Test","Luftwert","time",F110) | =VALUE(SUBSTITUTE(I110,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C110,"Test","mV N2","time",F110) | =VALUE(SUBSTITUTE(K110,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143634""" | =NF($B111,"ID") | =NF(B111,"ProductNumber") | =SUBSTITUTE(D111," ","-") | =NF($B111,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B111,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C111,"Test","Luftwert","time",F111) | =VALUE(SUBSTITUTE(I111,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C111,"Test","mV N2","time",F111) | =VALUE(SUBSTITUTE(K111,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143635""" | =NF($B112,"ID") | =NF(B112,"ProductNumber") | =SUBSTITUTE(D112," ","-") | =NF($B112,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B112,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C112,"Test","Luftwert","time",F112) | =VALUE(SUBSTITUTE(I112,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C112,"Test","mV N2","time",F112) | =VALUE(SUBSTITUTE(K112,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143636""" | =NF($B113,"ID") | =NF(B113,"ProductNumber") | =SUBSTITUTE(D113," ","-") | =NF($B113,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B113,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C113,"Test","Luftwert","time",F113) | =VALUE(SUBSTITUTE(I113,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C113,"Test","mV N2","time",F113) | =VALUE(SUBSTITUTE(K113,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2143637""" | =NF($B114,"ID") | =NF(B114,"ProductNumber") | =SUBSTITUTE(D114," ","-") | =NF($B114,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$15) | =NF($B114,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C114,"Test","Luftwert","time",F114) | =VALUE(SUBSTITUTE(I114,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C114,"Test","mV N2","time",F114) | =VALUE(SUBSTITUTE(K114,".",","))*1000 |  |  | +