## Optionen (hidden)
Auto+Ausblenden+Werte+BlattAusblenden | Titel | Wert | Lookup
Option | Debitor | Vandagraph
Option | Debitornummer | D17401
Option | Seriennummer | S01 105501..S01 105600
Option | Referenz (VB-Nr.) | 115635
Option | Artikelnr. | *
Option | Artikel-Referenznr. | *

## Tabelle1
Auto+Ausblenden+Formulas=Tabelle2,Tabelle5,Tabelle6 | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen | Anpassen | Anpassen | Ausblenden | Anpassen | Ausblenden | Anpassen
[9 empty] | Vandagraph PART No. |  | 8010007
|  | ID | ProductNumber | Nav. Nr. | Datum | SENSORTYP | LABELNR | LUFTWERT1 | LUFTWERT1 | OFFSET1 | OFFSET1 | LUFTWERT2 | OFFSET2 | WERTUNG
[8 empty] | µV | µV | µV | µV | µV | µV
| "retrace Produktion","","product","ID","2153695" | 2153695 | 1001581 | 1001581 | 2015-02-05 09:00 | OOD103-1V | S01 105501 | 11.50E+0 | #VALUE! | 61.58E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153696" | 2153696 | 1001581 | 1001581 | 2015-02-05 09:00 | OOD103-1V | S01 105502 | 11.10E+0 | #VALUE! | 59.87E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153697" | 2153697 | 1001581 | 1001581 | 2015-02-05 09:00 | OOD103-1V | S01 105503 | 11.50E+0 | #VALUE! | 53.32E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153701" | 2153701 | 1001581 | 1001581 | 2015-02-05 09:00 | OOD103-1V | S01 105504 | 10.95E+0 | #VALUE! | 60.30E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153702" | 2153702 | 1001581 | 1001581 | 2015-02-05 09:00 | OOD103-1V | S01 105505 | 10.80E+0 | #VALUE! | 56.52E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153703" | 2153703 | 1001581 | 1001581 | 2015-02-05 09:00 | OOD103-1V | S01 105506 | 11.00E+0 | #VALUE! | 63.12E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153704" | 2153704 | 1001581 | 1001581 | 2015-02-05 09:00 | OOD103-1V | S01 105507 | 11.39E+0 | #VALUE! | 62.03E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153705" | 2153705 | 1001581 | 1001581 | 2015-02-05 09:00 | OOD103-1V | S01 105508 | 11.12E+0 | #VALUE! | 60.21E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153706" | 2153706 | 1001581 | 1001581 | 2015-02-05 09:00 | OOD103-1V | S01 105509 | 11.26E+0 | #VALUE! | 64.13E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153707" | 2153707 | 1001581 | 1001581 | 2015-02-05 09:00 | OOD103-1V | S01 105510 | 10.52E+0 | #VALUE! | 54.26E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153709" | 2153709 | 1001581 | 1001581 | 2015-02-05 09:00 | OOD103-1V | S01 105511 | 11.47E+0 | #VALUE! | 70.97E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153711" | 2153711 | 1001581 | 1001581 | 2015-02-05 09:09 | OOD103-1V | S01 105512 | 11.45E+0 | #VALUE! | 61.21E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153712" | 2153712 | 1001581 | 1001581 | 2015-02-05 09:09 | OOD103-1V | S01 105513 | 10.39E+0 | #VALUE! | 60.27E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153713" | 2153713 | 1001581 | 1001581 | 2015-02-05 09:09 | OOD103-1V | S01 105514 | 9.80E+0 | #VALUE! | 59.78E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153714" | 2153714 | 1001581 | 1001581 | 2015-02-05 09:09 | OOD103-1V | S01 105515 | 10.15E+0 | #VALUE! | 69.00E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153715" | 2153715 | 1001581 | 1001581 | 2015-02-05 09:09 | OOD103-1V | S01 105516 | 10.44E+0 | #VALUE! | 66.62E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153716" | 2153716 | 1001581 | 1001581 | 2015-02-05 09:09 | OOD103-1V | S01 105517 | 10.23E+0 | #VALUE! | 53.43E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153717" | 2153717 | 1001581 | 1001581 | 2015-02-05 09:09 | OOD103-1V | S01 105518 | 11.28E+0 | #VALUE! | 60.72E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153718" | 2153718 | 1001581 | 1001581 | 2015-02-05 09:09 | OOD103-1V | S01 105519 | 10.56E+0 | #VALUE! | 63.65E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153719" | 2153719 | 1001581 | 1001581 | 2015-02-05 09:09 | OOD103-1V | S01 105520 | 10.62E+0 | #VALUE! | 60.99E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153721" | 2153721 | 1001581 | 1001581 | 2015-02-05 09:09 | OOD103-1V | S01 105521 | 11.34E+0 | #VALUE! | 57.65E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153722" | 2153722 | 1001581 | 1001581 | 2015-02-05 09:09 | OOD103-1V | S01 105522 | 11.18E+0 | #VALUE! | 60.67E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153723" | 2153723 | 1001581 | 1001581 | 2015-02-05 09:09 | OOD103-1V | S01 105523 | 11.34E+0 | #VALUE! | 75.65E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153724" | 2153724 | 1001581 | 1001581 | 2015-02-05 09:09 | OOD103-1V | S01 105524 | 9.83E+0 | #VALUE! | 75.51E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153743" | 2153743 | 1001581 | 1001581 | 2015-02-05 09:16 | OOD103-1V | S01 105525 | 11.40E+0 | #VALUE! | 68.37E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153744" | 2153744 | 1001581 | 1001581 | 2015-02-05 09:16 | OOD103-1V | S01 105526 | 11.12E+0 | #VALUE! | 52.82E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153745" | 2153745 | 1001581 | 1001581 | 2015-02-05 09:16 | OOD103-1V | S01 105527 | 11.46E+0 | #VALUE! | 68.59E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153746" | 2153746 | 1001581 | 1001581 | 2015-02-05 09:16 | OOD103-1V | S01 105528 | 11.28E+0 | #VALUE! | 52.78E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153747" | 2153747 | 1001581 | 1001581 | 2015-02-05 09:16 | OOD103-1V | S01 105529 | 10.41E+0 | #VALUE! | 64.27E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153748" | 2153748 | 1001581 | 1001581 | 2015-02-05 09:16 | OOD103-1V | S01 105530 | 9.92E+0 | #VALUE! | 73.32E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153750" | 2153750 | 1001581 | 1001581 | 2015-02-05 09:16 | OOD103-1V | S01 105531 | 10.53E+0 | #VALUE! | 66.28E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153751" | 2153751 | 1001581 | 1001581 | 2015-02-05 09:16 | OOD103-1V | S01 105532 | 10.28E+0 | #VALUE! | 60.15E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153752" | 2153752 | 1001581 | 1001581 | 2015-02-05 09:16 | OOD103-1V | S01 105533 | 11.37E+0 | #VALUE! | 55.46E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153753" | 2153753 | 1001581 | 1001581 | 2015-02-05 09:16 | OOD103-1V | S01 105534 | 11.46E+0 | #VALUE! | 64.20E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153754" | 2153754 | 1001581 | 1001581 | 2015-02-05 09:16 | OOD103-1V | S01 105535 | 11.19E+0 | #VALUE! | 56.69E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153755" | 2153755 | 1001581 | 1001581 | 2015-02-05 09:16 | OOD103-1V | S01 105536 | 11.24E+0 | #VALUE! | 51.85E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153756" | 2153756 | 1001581 | 1001581 | 2015-02-05 09:16 | OOD103-1V | S01 105537 | 10.50E+0 | #VALUE! | 71.04E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153757" | 2153757 | 1001581 | 1001581 | 2015-02-05 09:16 | OOD103-1V | S01 105538 | 11.43E+0 | #VALUE! | 58.33E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153775" | 2153775 | 1001581 | 1001581 | 2015-02-05 09:22 | OOD103-1V | S01 105539 | 11.55E+0 | #VALUE! | 67.27E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153776" | 2153776 | 1001581 | 1001581 | 2015-02-05 09:22 | OOD103-1V | S01 105540 | 10.82E+0 | #VALUE! | 62.84E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153778" | 2153778 | 1001581 | 1001581 | 2015-02-05 09:22 | OOD103-1V | S01 105541 | 11.30E+0 | #VALUE! | 58.25E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153779" | 2153779 | 1001581 | 1001581 | 2015-02-05 09:22 | OOD103-1V | S01 105542 | 11.13E+0 | #VALUE! | 62.45E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153780" | 2153780 | 1001581 | 1001581 | 2015-02-05 09:22 | OOD103-1V | S01 105543 | 10.24E+0 | #VALUE! | 58.40E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153781" | 2153781 | 1001581 | 1001581 | 2015-02-05 09:22 | OOD103-1V | S01 105544 | 10.80E+0 | #VALUE! | 65.43E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153782" | 2153782 | 1001581 | 1001581 | 2015-02-05 09:22 | OOD103-1V | S01 105545 | 11.23E+0 | #VALUE! | 51.22E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153783" | 2153783 | 1001581 | 1001581 | 2015-02-05 09:22 | OOD103-1V | S01 105546 | 11.55E+0 | #VALUE! | 57.49E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153784" | 2153784 | 1001581 | 1001581 | 2015-02-05 09:22 | OOD103-1V | S01 105547 | 11.25E+0 | #VALUE! | 58.50E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153785" | 2153785 | 1001581 | 1001581 | 2015-02-05 09:22 | OOD103-1V | S01 105548 | 11.43E+0 | #VALUE! | 55.16E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153786" | 2153786 | 1001581 | 1001581 | 2015-02-05 09:22 | OOD103-1V | S01 105549 | 11.44E+0 | #VALUE! | 56.00E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153787" | 2153787 | 1001581 | 1001581 | 2015-02-05 09:22 | OOD103-1V | S01 105550 | 11.71E+0 | #VALUE! | 61.13E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153788" | 2153788 | 1001581 | 1001581 | 2015-02-05 09:22 | OOD103-1V | S01 105551 | 10.57E+0 | #VALUE! | 66.23E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153789" | 2153789 | 1001581 | 1001581 | 2015-02-05 09:22 | OOD103-1V | S01 105552 | 11.03E+0 | #VALUE! | 57.25E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153807" | 2153807 | 1001581 | 1001581 | 2015-02-05 09:27 | OOD103-1V | S01 105553 | 11.25E+0 | #VALUE! | 63.49E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153808" | 2153808 | 1001581 | 1001581 | 2015-02-05 09:27 | OOD103-1V | S01 105554 | 11.36E+0 | #VALUE! | 60.14E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153809" | 2153809 | 1001581 | 1001581 | 2015-02-05 09:27 | OOD103-1V | S01 105555 | 11.24E+0 | #VALUE! | 61.49E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153810" | 2153810 | 1001581 | 1001581 | 2015-02-05 09:27 | OOD103-1V | S01 105556 | 11.25E+0 | #VALUE! | 64.52E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153811" | 2153811 | 1001581 | 1001581 | 2015-02-05 09:27 | OOD103-1V | S01 105557 | 10.74E+0 | #VALUE! | 67.82E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153812" | 2153812 | 1001581 | 1001581 | 2015-02-05 09:27 | OOD103-1V | S01 105558 | 11.06E+0 | #VALUE! | 62.02E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153813" | 2153813 | 1001581 | 1001581 | 2015-02-05 09:27 | OOD103-1V | S01 105559 | 11.32E+0 | #VALUE! | 56.98E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153814" | 2153814 | 1001581 | 1001581 | 2015-02-05 09:27 | OOD103-1V | S01 105560 | 11.48E+0 | #VALUE! | 56.87E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153815" | 2153815 | 1001581 | 1001581 | 2015-02-05 09:27 | OOD103-1V | S01 105561 | 11.11E+0 | #VALUE! | 51.02E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153816" | 2153816 | 1001581 | 1001581 | 2015-02-05 09:27 | OOD103-1V | S01 105562 | 11.56E+0 | #VALUE! | 62.28E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153817" | 2153817 | 1001581 | 1001581 | 2015-02-05 09:27 | OOD103-1V | S01 105563 | 11.34E+0 | #VALUE! | 58.15E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153818" | 2153818 | 1001581 | 1001581 | 2015-02-05 09:27 | OOD103-1V | S01 105564 | 11.51E+0 | #VALUE! | 65.26E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153819" | 2153819 | 1001581 | 1001581 | 2015-02-05 09:27 | OOD103-1V | S01 105565 | 11.47E+0 | #VALUE! | 63.45E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153820" | 2153820 | 1001581 | 1001581 | 2015-02-05 09:27 | OOD103-1V | S01 105566 | 11.50E+0 | #VALUE! | 66.85E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153821" | 2153821 | 1001581 | 1001581 | 2015-02-05 09:27 | OOD103-1V | S01 105567 | 10.18E+0 | #VALUE! | 63.32E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153823" | 2153823 | 1001581 | 1001581 | 2015-02-05 09:41 | OOD103-1V | S01 105568 | 11.67E+0 | #VALUE! | 61.13E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153824" | 2153824 | 1001581 | 1001581 | 2015-02-05 09:41 | OOD103-1V | S01 105569 | 11.12E+0 | #VALUE! | 59.80E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153825" | 2153825 | 1001581 | 1001581 | 2015-02-05 09:41 | OOD103-1V | S01 105570 | 11.29E+0 | #VALUE! | 58.71E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153826" | 2153826 | 1001581 | 1001581 | 2015-02-05 09:41 | OOD103-1V | S01 105571 | 11.29E+0 | #VALUE! | 66.80E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153827" | 2153827 | 1001581 | 1001581 | 2015-02-05 09:41 | OOD103-1V | S01 105572 | 10.76E+0 | #VALUE! | 66.62E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153828" | 2153828 | 1001581 | 1001581 | 2015-02-05 09:41 | OOD103-1V | S01 105573 | 11.18E+0 | #VALUE! | 48.79E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153829" | 2153829 | 1001581 | 1001581 | 2015-02-05 09:41 | OOD103-1V | S01 105574 | 11.07E+0 | #VALUE! | 58.99E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153830" | 2153830 | 1001581 | 1001581 | 2015-02-05 09:41 | OOD103-1V | S01 105575 | 11.54E+0 | #VALUE! | 59.21E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153831" | 2153831 | 1001581 | 1001581 | 2015-02-05 09:41 | OOD103-1V | S01 105576 | 10.51E+0 | #VALUE! | 62.66E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153832" | 2153832 | 1001581 | 1001581 | 2015-02-05 09:41 | OOD103-1V | S01 105577 | 11.32E+0 | #VALUE! | 58.84E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153833" | 2153833 | 1001581 | 1001581 | 2015-02-05 09:41 | OOD103-1V | S01 105578 | 11.35E+0 | #VALUE! | 60.71E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153834" | 2153834 | 1001581 | 1001581 | 2015-02-05 09:41 | OOD103-1V | S01 105579 | 11.50E+0 | #VALUE! | 64.84E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153835" | 2153835 | 1001581 | 1001581 | 2015-02-05 09:41 | OOD103-1V | S01 105580 | 11.32E+0 | #VALUE! | 56.32E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153836" | 2153836 | 1001581 | 1001581 | 2015-02-05 09:41 | OOD103-1V | S01 105581 | 11.22E+0 | #VALUE! | 70.89E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153837" | 2153837 | 1001581 | 1001581 | 2015-02-05 09:41 | OOD103-1V | S01 105582 | 10.44E+0 | #VALUE! | 66.12E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153856" | 2153856 | 1001581 | 1001581 | 2015-02-05 09:52 | OOD103-1V | S01 105583 | 11.51E+0 | #VALUE! | 59.68E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153857" | 2153857 | 1001581 | 1001581 | 2015-02-05 09:52 | OOD103-1V | S01 105584 | 10.31E+0 | #VALUE! | 60.81E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153858" | 2153858 | 1001581 | 1001581 | 2015-02-05 09:52 | OOD103-1V | S01 105585 | 11.35E+0 | #VALUE! | 67.35E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153859" | 2153859 | 1001581 | 1001581 | 2015-02-05 09:52 | OOD103-1V | S01 105586 | 11.04E+0 | #VALUE! | 71.00E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153860" | 2153860 | 1001581 | 1001581 | 2015-02-05 09:52 | OOD103-1V | S01 105587 | 10.67E+0 | #VALUE! | 67.85E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153861" | 2153861 | 1001581 | 1001581 | 2015-02-05 09:52 | OOD103-1V | S01 105588 | 10.94E+0 | #VALUE! | 55.65E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153862" | 2153862 | 1001581 | 1001581 | 2015-02-05 09:52 | OOD103-1V | S01 105589 | 10.63E+0 | #VALUE! | 64.70E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153863" | 2153863 | 1001581 | 1001581 | 2015-02-05 09:52 | OOD103-1V | S01 105590 | 11.51E+0 | #VALUE! | 58.38E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153864" | 2153864 | 1001581 | 1001581 | 2015-02-05 09:52 | OOD103-1V | S01 105591 | 11.22E+0 | #VALUE! | 62.77E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153865" | 2153865 | 1001581 | 1001581 | 2015-02-05 09:52 | OOD103-1V | S01 105592 | 10.33E+0 | #VALUE! | 74.47E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153866" | 2153866 | 1001581 | 1001581 | 2015-02-05 09:52 | OOD103-1V | S01 105593 | 10.55E+0 | #VALUE! | 72.83E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153867" | 2153867 | 1001581 | 1001581 | 2015-02-05 09:52 | OOD103-1V | S01 105594 | 11.32E+0 | #VALUE! | 62.24E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153868" | 2153868 | 1001581 | 1001581 | 2015-02-05 09:52 | OOD103-1V | S01 105595 | 11.45E+0 | #VALUE! | 66.81E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153869" | 2153869 | 1001581 | 1001581 | 2015-02-05 09:52 | OOD103-1V | S01 105596 | 9.74E+0 | #VALUE! | 77.97E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153871" | 2153871 | 1001581 | 1001581 | 2015-02-05 10:01 | OOD103-1V | S01 105597 | 11.22E+0 | #VALUE! | 56.75E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153872" | 2153872 | 1001581 | 1001581 | 2015-02-05 10:01 | OOD103-1V | S01 105598 | 11.47E+0 | #VALUE! | 51.32E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153873" | 2153873 | 1001581 | 1001581 | 2015-02-05 10:01 | OOD103-1V | S01 105599 | 11.43E+0 | #VALUE! | 56.72E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2153874" | 2153874 | 1001581 | 1001581 | 2015-02-05 10:01 | OOD103-1V | S01 105600 | 10.58E+0 | #VALUE! | 66.61E-3 | #VALUE! |  |  | +

## Tabelle5 (hidden)
Auto+Ausblenden+Formulas=Tabelle5,Tabelle6+FormulasOnly | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen | Anpassen | Anpassen | Ausblenden | Anpassen | Ausblenden | Anpassen
[9 empty] | =CONCATENATE(Optionen!C2," PART No.") |  | =NL("Zeilen","Artikelreferenz","Referenznr.","Datenquelle=","Echtserver Wismar","Artikelnr.",E6,"Referenzartennr.",Optionen!C3,"Referenznr.",Optionen!C7)
|  | ID | ProductNumber | Nav. Nr. | Datum | SENSORTYP | LABELNR | LUFTWERT1 | LUFTWERT1 | OFFSET1 | OFFSET1 | LUFTWERT2 | OFFSET2 | WERTUNG
[8 empty] | µV | µV | µV | µV | µV | µV
| =NL("Zeilen","product",,"Datenquelle=","retrace Produktion","CustomerID",Optionen!C2,"ProductSerial",Optionen!C4,"Reference",Optionen!C5,"ProductNumber",Optionen!C6) | =NF($B6,"ID") | =NF(B6,"ProductNumber") | =SUBSTITUTE(D6," ","-") | =NF($B6,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B6,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C6,"Test","Luftwert","time",F6) | =VALUE(SUBSTITUTE(I6,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C6,"Test","mV N2","time",F6) | =VALUE(SUBSTITUTE(K6,".",","))*1000 |  |  | +

## Tabelle6 (hidden)
Auto+Ausblenden+Formulas=Tabelle5,Tabelle6+FormulasOnly | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen | Anpassen | Anpassen | Ausblenden | Anpassen | Ausblenden | Anpassen
[9 empty] | =VERKETTEN(Optionen!C2;" PART No.") |  | =NL("Zeilen";"Artikelreferenz";"Referenznr.";"Datenquelle=";"Echtserver Wismar";"Artikelnr.";E6;"Referenzartennr.";Optionen!C3;"Referenznr.";Optionen!C7)
|  | ID | ProductNumber | Nav. Nr. | Datum | SENSORTYP | LABELNR | LUFTWERT1 | LUFTWERT1 | OFFSET1 | OFFSET1 | LUFTWERT2 | OFFSET2 | WERTUNG
[8 empty] | µV | µV | µV | µV | µV | µV
| =NL("Zeilen";"product";;"Datenquelle=";"retrace Produktion";"CustomerID";Optionen!C2;"ProductSerial";Optionen!C4;"Reference";Optionen!C5;"ProductNumber";Optionen!C6) | =NF($B6;"ID") | =NF(B6;"ProductNumber") | =WECHSELN(D6;" ";"-") | =NF($B6;"Time") | =NL("Zeilen";"Artikel";"Beschreibung 2";"Datenquelle=";"Echtserver Wismar";"Nr.";$E$6) | =NF($B6;"ProductSerial") | =NL("Zeilen";"testprotocol";"Value";"Datenquelle=";"retrace Produktion";"ProductID";C6;"Test";"Luftwert";"time";F6) | =WERT(WECHSELN(I6;".";","))*1000 | =NL("Zeilen";"testprotocol";"Value";"Datenquelle=";"retrace Produktion";"ProductID";C6;"Test";"mV N2";"time";F6) | =WERT(WECHSELN(K6;".";","))*1000 |  |  | +

## Tabelle2 (hidden)
Auto+Ausblenden+Formulas=Tabelle2,Tabelle5,Tabelle6+FormulasOnly | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen | Anpassen | Anpassen | Ausblenden | Anpassen | Ausblenden | Anpassen
[9 empty] | =CONCATENATE(Optionen!C2," PART No.") |  | =NL("Zeilen","Artikelreferenz","Referenznr.","Datenquelle=","Echtserver Wismar","Artikelnr.",E6,"Referenzartennr.",Optionen!C3,"Referenznr.",Optionen!C7)
|  | ID | ProductNumber | Nav. Nr. | Datum | SENSORTYP | LABELNR | LUFTWERT1 | LUFTWERT1 | OFFSET1 | OFFSET1 | LUFTWERT2 | OFFSET2 | WERTUNG
[8 empty] | µV | µV | µV | µV | µV | µV
| =NL("Zeilen","product",,"Datenquelle=","retrace Produktion","CustomerID",Optionen!C2,"ProductSerial",Optionen!C4,"Reference",Optionen!C5,"ProductNumber",Optionen!C6) | =NF($B6,"ID") | =NF(B6,"ProductNumber") | =SUBSTITUTE(D6," ","-") | =NF($B6,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B6,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C6,"Test","Luftwert","time",F6) | =VALUE(SUBSTITUTE(I6,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C6,"Test","mV N2","time",F6) | =VALUE(SUBSTITUTE(K6,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153696""" | =NF($B7,"ID") | =NF(B7,"ProductNumber") | =SUBSTITUTE(D7," ","-") | =NF($B7,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B7,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C7,"Test","Luftwert","time",F7) | =VALUE(SUBSTITUTE(I7,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C7,"Test","mV N2","time",F7) | =VALUE(SUBSTITUTE(K7,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153697""" | =NF($B8,"ID") | =NF(B8,"ProductNumber") | =SUBSTITUTE(D8," ","-") | =NF($B8,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B8,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C8,"Test","Luftwert","time",F8) | =VALUE(SUBSTITUTE(I8,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C8,"Test","mV N2","time",F8) | =VALUE(SUBSTITUTE(K8,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153701""" | =NF($B9,"ID") | =NF(B9,"ProductNumber") | =SUBSTITUTE(D9," ","-") | =NF($B9,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B9,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C9,"Test","Luftwert","time",F9) | =VALUE(SUBSTITUTE(I9,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C9,"Test","mV N2","time",F9) | =VALUE(SUBSTITUTE(K9,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153702""" | =NF($B10,"ID") | =NF(B10,"ProductNumber") | =SUBSTITUTE(D10," ","-") | =NF($B10,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B10,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C10,"Test","Luftwert","time",F10) | =VALUE(SUBSTITUTE(I10,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C10,"Test","mV N2","time",F10) | =VALUE(SUBSTITUTE(K10,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153703""" | =NF($B11,"ID") | =NF(B11,"ProductNumber") | =SUBSTITUTE(D11," ","-") | =NF($B11,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B11,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C11,"Test","Luftwert","time",F11) | =VALUE(SUBSTITUTE(I11,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C11,"Test","mV N2","time",F11) | =VALUE(SUBSTITUTE(K11,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153704""" | =NF($B12,"ID") | =NF(B12,"ProductNumber") | =SUBSTITUTE(D12," ","-") | =NF($B12,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B12,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C12,"Test","Luftwert","time",F12) | =VALUE(SUBSTITUTE(I12,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C12,"Test","mV N2","time",F12) | =VALUE(SUBSTITUTE(K12,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153705""" | =NF($B13,"ID") | =NF(B13,"ProductNumber") | =SUBSTITUTE(D13," ","-") | =NF($B13,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B13,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C13,"Test","Luftwert","time",F13) | =VALUE(SUBSTITUTE(I13,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C13,"Test","mV N2","time",F13) | =VALUE(SUBSTITUTE(K13,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153706""" | =NF($B14,"ID") | =NF(B14,"ProductNumber") | =SUBSTITUTE(D14," ","-") | =NF($B14,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B14,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C14,"Test","Luftwert","time",F14) | =VALUE(SUBSTITUTE(I14,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C14,"Test","mV N2","time",F14) | =VALUE(SUBSTITUTE(K14,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153707""" | =NF($B15,"ID") | =NF(B15,"ProductNumber") | =SUBSTITUTE(D15," ","-") | =NF($B15,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B15,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C15,"Test","Luftwert","time",F15) | =VALUE(SUBSTITUTE(I15,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C15,"Test","mV N2","time",F15) | =VALUE(SUBSTITUTE(K15,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153709""" | =NF($B16,"ID") | =NF(B16,"ProductNumber") | =SUBSTITUTE(D16," ","-") | =NF($B16,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B16,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C16,"Test","Luftwert","time",F16) | =VALUE(SUBSTITUTE(I16,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C16,"Test","mV N2","time",F16) | =VALUE(SUBSTITUTE(K16,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153711""" | =NF($B17,"ID") | =NF(B17,"ProductNumber") | =SUBSTITUTE(D17," ","-") | =NF($B17,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B17,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C17,"Test","Luftwert","time",F17) | =VALUE(SUBSTITUTE(I17,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C17,"Test","mV N2","time",F17) | =VALUE(SUBSTITUTE(K17,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153712""" | =NF($B18,"ID") | =NF(B18,"ProductNumber") | =SUBSTITUTE(D18," ","-") | =NF($B18,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B18,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C18,"Test","Luftwert","time",F18) | =VALUE(SUBSTITUTE(I18,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C18,"Test","mV N2","time",F18) | =VALUE(SUBSTITUTE(K18,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153713""" | =NF($B19,"ID") | =NF(B19,"ProductNumber") | =SUBSTITUTE(D19," ","-") | =NF($B19,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B19,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C19,"Test","Luftwert","time",F19) | =VALUE(SUBSTITUTE(I19,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C19,"Test","mV N2","time",F19) | =VALUE(SUBSTITUTE(K19,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153714""" | =NF($B20,"ID") | =NF(B20,"ProductNumber") | =SUBSTITUTE(D20," ","-") | =NF($B20,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B20,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C20,"Test","Luftwert","time",F20) | =VALUE(SUBSTITUTE(I20,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C20,"Test","mV N2","time",F20) | =VALUE(SUBSTITUTE(K20,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153715""" | =NF($B21,"ID") | =NF(B21,"ProductNumber") | =SUBSTITUTE(D21," ","-") | =NF($B21,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B21,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C21,"Test","Luftwert","time",F21) | =VALUE(SUBSTITUTE(I21,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C21,"Test","mV N2","time",F21) | =VALUE(SUBSTITUTE(K21,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153716""" | =NF($B22,"ID") | =NF(B22,"ProductNumber") | =SUBSTITUTE(D22," ","-") | =NF($B22,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B22,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C22,"Test","Luftwert","time",F22) | =VALUE(SUBSTITUTE(I22,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C22,"Test","mV N2","time",F22) | =VALUE(SUBSTITUTE(K22,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153717""" | =NF($B23,"ID") | =NF(B23,"ProductNumber") | =SUBSTITUTE(D23," ","-") | =NF($B23,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B23,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C23,"Test","Luftwert","time",F23) | =VALUE(SUBSTITUTE(I23,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C23,"Test","mV N2","time",F23) | =VALUE(SUBSTITUTE(K23,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153718""" | =NF($B24,"ID") | =NF(B24,"ProductNumber") | =SUBSTITUTE(D24," ","-") | =NF($B24,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B24,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C24,"Test","Luftwert","time",F24) | =VALUE(SUBSTITUTE(I24,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C24,"Test","mV N2","time",F24) | =VALUE(SUBSTITUTE(K24,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153719""" | =NF($B25,"ID") | =NF(B25,"ProductNumber") | =SUBSTITUTE(D25," ","-") | =NF($B25,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B25,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C25,"Test","Luftwert","time",F25) | =VALUE(SUBSTITUTE(I25,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C25,"Test","mV N2","time",F25) | =VALUE(SUBSTITUTE(K25,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153721""" | =NF($B26,"ID") | =NF(B26,"ProductNumber") | =SUBSTITUTE(D26," ","-") | =NF($B26,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B26,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C26,"Test","Luftwert","time",F26) | =VALUE(SUBSTITUTE(I26,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C26,"Test","mV N2","time",F26) | =VALUE(SUBSTITUTE(K26,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153722""" | =NF($B27,"ID") | =NF(B27,"ProductNumber") | =SUBSTITUTE(D27," ","-") | =NF($B27,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B27,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C27,"Test","Luftwert","time",F27) | =VALUE(SUBSTITUTE(I27,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C27,"Test","mV N2","time",F27) | =VALUE(SUBSTITUTE(K27,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153723""" | =NF($B28,"ID") | =NF(B28,"ProductNumber") | =SUBSTITUTE(D28," ","-") | =NF($B28,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B28,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C28,"Test","Luftwert","time",F28) | =VALUE(SUBSTITUTE(I28,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C28,"Test","mV N2","time",F28) | =VALUE(SUBSTITUTE(K28,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153724""" | =NF($B29,"ID") | =NF(B29,"ProductNumber") | =SUBSTITUTE(D29," ","-") | =NF($B29,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B29,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C29,"Test","Luftwert","time",F29) | =VALUE(SUBSTITUTE(I29,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C29,"Test","mV N2","time",F29) | =VALUE(SUBSTITUTE(K29,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153743""" | =NF($B30,"ID") | =NF(B30,"ProductNumber") | =SUBSTITUTE(D30," ","-") | =NF($B30,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B30,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C30,"Test","Luftwert","time",F30) | =VALUE(SUBSTITUTE(I30,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C30,"Test","mV N2","time",F30) | =VALUE(SUBSTITUTE(K30,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153744""" | =NF($B31,"ID") | =NF(B31,"ProductNumber") | =SUBSTITUTE(D31," ","-") | =NF($B31,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B31,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C31,"Test","Luftwert","time",F31) | =VALUE(SUBSTITUTE(I31,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C31,"Test","mV N2","time",F31) | =VALUE(SUBSTITUTE(K31,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153745""" | =NF($B32,"ID") | =NF(B32,"ProductNumber") | =SUBSTITUTE(D32," ","-") | =NF($B32,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B32,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C32,"Test","Luftwert","time",F32) | =VALUE(SUBSTITUTE(I32,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C32,"Test","mV N2","time",F32) | =VALUE(SUBSTITUTE(K32,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153746""" | =NF($B33,"ID") | =NF(B33,"ProductNumber") | =SUBSTITUTE(D33," ","-") | =NF($B33,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B33,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C33,"Test","Luftwert","time",F33) | =VALUE(SUBSTITUTE(I33,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C33,"Test","mV N2","time",F33) | =VALUE(SUBSTITUTE(K33,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153747""" | =NF($B34,"ID") | =NF(B34,"ProductNumber") | =SUBSTITUTE(D34," ","-") | =NF($B34,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B34,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C34,"Test","Luftwert","time",F34) | =VALUE(SUBSTITUTE(I34,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C34,"Test","mV N2","time",F34) | =VALUE(SUBSTITUTE(K34,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153748""" | =NF($B35,"ID") | =NF(B35,"ProductNumber") | =SUBSTITUTE(D35," ","-") | =NF($B35,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B35,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C35,"Test","Luftwert","time",F35) | =VALUE(SUBSTITUTE(I35,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C35,"Test","mV N2","time",F35) | =VALUE(SUBSTITUTE(K35,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153750""" | =NF($B36,"ID") | =NF(B36,"ProductNumber") | =SUBSTITUTE(D36," ","-") | =NF($B36,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B36,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C36,"Test","Luftwert","time",F36) | =VALUE(SUBSTITUTE(I36,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C36,"Test","mV N2","time",F36) | =VALUE(SUBSTITUTE(K36,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153751""" | =NF($B37,"ID") | =NF(B37,"ProductNumber") | =SUBSTITUTE(D37," ","-") | =NF($B37,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B37,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C37,"Test","Luftwert","time",F37) | =VALUE(SUBSTITUTE(I37,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C37,"Test","mV N2","time",F37) | =VALUE(SUBSTITUTE(K37,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153752""" | =NF($B38,"ID") | =NF(B38,"ProductNumber") | =SUBSTITUTE(D38," ","-") | =NF($B38,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B38,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C38,"Test","Luftwert","time",F38) | =VALUE(SUBSTITUTE(I38,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C38,"Test","mV N2","time",F38) | =VALUE(SUBSTITUTE(K38,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153753""" | =NF($B39,"ID") | =NF(B39,"ProductNumber") | =SUBSTITUTE(D39," ","-") | =NF($B39,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B39,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C39,"Test","Luftwert","time",F39) | =VALUE(SUBSTITUTE(I39,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C39,"Test","mV N2","time",F39) | =VALUE(SUBSTITUTE(K39,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153754""" | =NF($B40,"ID") | =NF(B40,"ProductNumber") | =SUBSTITUTE(D40," ","-") | =NF($B40,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B40,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C40,"Test","Luftwert","time",F40) | =VALUE(SUBSTITUTE(I40,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C40,"Test","mV N2","time",F40) | =VALUE(SUBSTITUTE(K40,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153755""" | =NF($B41,"ID") | =NF(B41,"ProductNumber") | =SUBSTITUTE(D41," ","-") | =NF($B41,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B41,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C41,"Test","Luftwert","time",F41) | =VALUE(SUBSTITUTE(I41,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C41,"Test","mV N2","time",F41) | =VALUE(SUBSTITUTE(K41,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153756""" | =NF($B42,"ID") | =NF(B42,"ProductNumber") | =SUBSTITUTE(D42," ","-") | =NF($B42,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B42,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C42,"Test","Luftwert","time",F42) | =VALUE(SUBSTITUTE(I42,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C42,"Test","mV N2","time",F42) | =VALUE(SUBSTITUTE(K42,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153757""" | =NF($B43,"ID") | =NF(B43,"ProductNumber") | =SUBSTITUTE(D43," ","-") | =NF($B43,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B43,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C43,"Test","Luftwert","time",F43) | =VALUE(SUBSTITUTE(I43,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C43,"Test","mV N2","time",F43) | =VALUE(SUBSTITUTE(K43,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153775""" | =NF($B44,"ID") | =NF(B44,"ProductNumber") | =SUBSTITUTE(D44," ","-") | =NF($B44,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B44,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C44,"Test","Luftwert","time",F44) | =VALUE(SUBSTITUTE(I44,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C44,"Test","mV N2","time",F44) | =VALUE(SUBSTITUTE(K44,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153776""" | =NF($B45,"ID") | =NF(B45,"ProductNumber") | =SUBSTITUTE(D45," ","-") | =NF($B45,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B45,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C45,"Test","Luftwert","time",F45) | =VALUE(SUBSTITUTE(I45,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C45,"Test","mV N2","time",F45) | =VALUE(SUBSTITUTE(K45,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153778""" | =NF($B46,"ID") | =NF(B46,"ProductNumber") | =SUBSTITUTE(D46," ","-") | =NF($B46,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B46,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C46,"Test","Luftwert","time",F46) | =VALUE(SUBSTITUTE(I46,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C46,"Test","mV N2","time",F46) | =VALUE(SUBSTITUTE(K46,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153779""" | =NF($B47,"ID") | =NF(B47,"ProductNumber") | =SUBSTITUTE(D47," ","-") | =NF($B47,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B47,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C47,"Test","Luftwert","time",F47) | =VALUE(SUBSTITUTE(I47,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C47,"Test","mV N2","time",F47) | =VALUE(SUBSTITUTE(K47,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153780""" | =NF($B48,"ID") | =NF(B48,"ProductNumber") | =SUBSTITUTE(D48," ","-") | =NF($B48,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B48,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C48,"Test","Luftwert","time",F48) | =VALUE(SUBSTITUTE(I48,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C48,"Test","mV N2","time",F48) | =VALUE(SUBSTITUTE(K48,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153781""" | =NF($B49,"ID") | =NF(B49,"ProductNumber") | =SUBSTITUTE(D49," ","-") | =NF($B49,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B49,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C49,"Test","Luftwert","time",F49) | =VALUE(SUBSTITUTE(I49,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C49,"Test","mV N2","time",F49) | =VALUE(SUBSTITUTE(K49,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153782""" | =NF($B50,"ID") | =NF(B50,"ProductNumber") | =SUBSTITUTE(D50," ","-") | =NF($B50,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B50,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C50,"Test","Luftwert","time",F50) | =VALUE(SUBSTITUTE(I50,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C50,"Test","mV N2","time",F50) | =VALUE(SUBSTITUTE(K50,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153783""" | =NF($B51,"ID") | =NF(B51,"ProductNumber") | =SUBSTITUTE(D51," ","-") | =NF($B51,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B51,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C51,"Test","Luftwert","time",F51) | =VALUE(SUBSTITUTE(I51,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C51,"Test","mV N2","time",F51) | =VALUE(SUBSTITUTE(K51,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153784""" | =NF($B52,"ID") | =NF(B52,"ProductNumber") | =SUBSTITUTE(D52," ","-") | =NF($B52,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B52,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C52,"Test","Luftwert","time",F52) | =VALUE(SUBSTITUTE(I52,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C52,"Test","mV N2","time",F52) | =VALUE(SUBSTITUTE(K52,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153785""" | =NF($B53,"ID") | =NF(B53,"ProductNumber") | =SUBSTITUTE(D53," ","-") | =NF($B53,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B53,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C53,"Test","Luftwert","time",F53) | =VALUE(SUBSTITUTE(I53,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C53,"Test","mV N2","time",F53) | =VALUE(SUBSTITUTE(K53,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153786""" | =NF($B54,"ID") | =NF(B54,"ProductNumber") | =SUBSTITUTE(D54," ","-") | =NF($B54,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B54,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C54,"Test","Luftwert","time",F54) | =VALUE(SUBSTITUTE(I54,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C54,"Test","mV N2","time",F54) | =VALUE(SUBSTITUTE(K54,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153787""" | =NF($B55,"ID") | =NF(B55,"ProductNumber") | =SUBSTITUTE(D55," ","-") | =NF($B55,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B55,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C55,"Test","Luftwert","time",F55) | =VALUE(SUBSTITUTE(I55,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C55,"Test","mV N2","time",F55) | =VALUE(SUBSTITUTE(K55,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153788""" | =NF($B56,"ID") | =NF(B56,"ProductNumber") | =SUBSTITUTE(D56," ","-") | =NF($B56,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B56,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C56,"Test","Luftwert","time",F56) | =VALUE(SUBSTITUTE(I56,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C56,"Test","mV N2","time",F56) | =VALUE(SUBSTITUTE(K56,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153789""" | =NF($B57,"ID") | =NF(B57,"ProductNumber") | =SUBSTITUTE(D57," ","-") | =NF($B57,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B57,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C57,"Test","Luftwert","time",F57) | =VALUE(SUBSTITUTE(I57,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C57,"Test","mV N2","time",F57) | =VALUE(SUBSTITUTE(K57,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153807""" | =NF($B58,"ID") | =NF(B58,"ProductNumber") | =SUBSTITUTE(D58," ","-") | =NF($B58,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B58,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C58,"Test","Luftwert","time",F58) | =VALUE(SUBSTITUTE(I58,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C58,"Test","mV N2","time",F58) | =VALUE(SUBSTITUTE(K58,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153808""" | =NF($B59,"ID") | =NF(B59,"ProductNumber") | =SUBSTITUTE(D59," ","-") | =NF($B59,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B59,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C59,"Test","Luftwert","time",F59) | =VALUE(SUBSTITUTE(I59,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C59,"Test","mV N2","time",F59) | =VALUE(SUBSTITUTE(K59,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153809""" | =NF($B60,"ID") | =NF(B60,"ProductNumber") | =SUBSTITUTE(D60," ","-") | =NF($B60,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B60,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C60,"Test","Luftwert","time",F60) | =VALUE(SUBSTITUTE(I60,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C60,"Test","mV N2","time",F60) | =VALUE(SUBSTITUTE(K60,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153810""" | =NF($B61,"ID") | =NF(B61,"ProductNumber") | =SUBSTITUTE(D61," ","-") | =NF($B61,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B61,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C61,"Test","Luftwert","time",F61) | =VALUE(SUBSTITUTE(I61,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C61,"Test","mV N2","time",F61) | =VALUE(SUBSTITUTE(K61,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153811""" | =NF($B62,"ID") | =NF(B62,"ProductNumber") | =SUBSTITUTE(D62," ","-") | =NF($B62,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B62,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C62,"Test","Luftwert","time",F62) | =VALUE(SUBSTITUTE(I62,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C62,"Test","mV N2","time",F62) | =VALUE(SUBSTITUTE(K62,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153812""" | =NF($B63,"ID") | =NF(B63,"ProductNumber") | =SUBSTITUTE(D63," ","-") | =NF($B63,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B63,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C63,"Test","Luftwert","time",F63) | =VALUE(SUBSTITUTE(I63,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C63,"Test","mV N2","time",F63) | =VALUE(SUBSTITUTE(K63,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153813""" | =NF($B64,"ID") | =NF(B64,"ProductNumber") | =SUBSTITUTE(D64," ","-") | =NF($B64,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B64,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C64,"Test","Luftwert","time",F64) | =VALUE(SUBSTITUTE(I64,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C64,"Test","mV N2","time",F64) | =VALUE(SUBSTITUTE(K64,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153814""" | =NF($B65,"ID") | =NF(B65,"ProductNumber") | =SUBSTITUTE(D65," ","-") | =NF($B65,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B65,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C65,"Test","Luftwert","time",F65) | =VALUE(SUBSTITUTE(I65,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C65,"Test","mV N2","time",F65) | =VALUE(SUBSTITUTE(K65,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153815""" | =NF($B66,"ID") | =NF(B66,"ProductNumber") | =SUBSTITUTE(D66," ","-") | =NF($B66,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B66,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C66,"Test","Luftwert","time",F66) | =VALUE(SUBSTITUTE(I66,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C66,"Test","mV N2","time",F66) | =VALUE(SUBSTITUTE(K66,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153816""" | =NF($B67,"ID") | =NF(B67,"ProductNumber") | =SUBSTITUTE(D67," ","-") | =NF($B67,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B67,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C67,"Test","Luftwert","time",F67) | =VALUE(SUBSTITUTE(I67,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C67,"Test","mV N2","time",F67) | =VALUE(SUBSTITUTE(K67,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153817""" | =NF($B68,"ID") | =NF(B68,"ProductNumber") | =SUBSTITUTE(D68," ","-") | =NF($B68,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B68,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C68,"Test","Luftwert","time",F68) | =VALUE(SUBSTITUTE(I68,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C68,"Test","mV N2","time",F68) | =VALUE(SUBSTITUTE(K68,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153818""" | =NF($B69,"ID") | =NF(B69,"ProductNumber") | =SUBSTITUTE(D69," ","-") | =NF($B69,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B69,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C69,"Test","Luftwert","time",F69) | =VALUE(SUBSTITUTE(I69,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C69,"Test","mV N2","time",F69) | =VALUE(SUBSTITUTE(K69,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153819""" | =NF($B70,"ID") | =NF(B70,"ProductNumber") | =SUBSTITUTE(D70," ","-") | =NF($B70,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B70,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C70,"Test","Luftwert","time",F70) | =VALUE(SUBSTITUTE(I70,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C70,"Test","mV N2","time",F70) | =VALUE(SUBSTITUTE(K70,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153820""" | =NF($B71,"ID") | =NF(B71,"ProductNumber") | =SUBSTITUTE(D71," ","-") | =NF($B71,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B71,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C71,"Test","Luftwert","time",F71) | =VALUE(SUBSTITUTE(I71,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C71,"Test","mV N2","time",F71) | =VALUE(SUBSTITUTE(K71,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153821""" | =NF($B72,"ID") | =NF(B72,"ProductNumber") | =SUBSTITUTE(D72," ","-") | =NF($B72,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B72,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C72,"Test","Luftwert","time",F72) | =VALUE(SUBSTITUTE(I72,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C72,"Test","mV N2","time",F72) | =VALUE(SUBSTITUTE(K72,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153823""" | =NF($B73,"ID") | =NF(B73,"ProductNumber") | =SUBSTITUTE(D73," ","-") | =NF($B73,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B73,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C73,"Test","Luftwert","time",F73) | =VALUE(SUBSTITUTE(I73,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C73,"Test","mV N2","time",F73) | =VALUE(SUBSTITUTE(K73,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153824""" | =NF($B74,"ID") | =NF(B74,"ProductNumber") | =SUBSTITUTE(D74," ","-") | =NF($B74,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B74,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C74,"Test","Luftwert","time",F74) | =VALUE(SUBSTITUTE(I74,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C74,"Test","mV N2","time",F74) | =VALUE(SUBSTITUTE(K74,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153825""" | =NF($B75,"ID") | =NF(B75,"ProductNumber") | =SUBSTITUTE(D75," ","-") | =NF($B75,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B75,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C75,"Test","Luftwert","time",F75) | =VALUE(SUBSTITUTE(I75,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C75,"Test","mV N2","time",F75) | =VALUE(SUBSTITUTE(K75,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153826""" | =NF($B76,"ID") | =NF(B76,"ProductNumber") | =SUBSTITUTE(D76," ","-") | =NF($B76,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B76,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C76,"Test","Luftwert","time",F76) | =VALUE(SUBSTITUTE(I76,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C76,"Test","mV N2","time",F76) | =VALUE(SUBSTITUTE(K76,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153827""" | =NF($B77,"ID") | =NF(B77,"ProductNumber") | =SUBSTITUTE(D77," ","-") | =NF($B77,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B77,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C77,"Test","Luftwert","time",F77) | =VALUE(SUBSTITUTE(I77,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C77,"Test","mV N2","time",F77) | =VALUE(SUBSTITUTE(K77,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153828""" | =NF($B78,"ID") | =NF(B78,"ProductNumber") | =SUBSTITUTE(D78," ","-") | =NF($B78,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B78,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C78,"Test","Luftwert","time",F78) | =VALUE(SUBSTITUTE(I78,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C78,"Test","mV N2","time",F78) | =VALUE(SUBSTITUTE(K78,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153829""" | =NF($B79,"ID") | =NF(B79,"ProductNumber") | =SUBSTITUTE(D79," ","-") | =NF($B79,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B79,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C79,"Test","Luftwert","time",F79) | =VALUE(SUBSTITUTE(I79,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C79,"Test","mV N2","time",F79) | =VALUE(SUBSTITUTE(K79,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153830""" | =NF($B80,"ID") | =NF(B80,"ProductNumber") | =SUBSTITUTE(D80," ","-") | =NF($B80,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B80,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C80,"Test","Luftwert","time",F80) | =VALUE(SUBSTITUTE(I80,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C80,"Test","mV N2","time",F80) | =VALUE(SUBSTITUTE(K80,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153831""" | =NF($B81,"ID") | =NF(B81,"ProductNumber") | =SUBSTITUTE(D81," ","-") | =NF($B81,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B81,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C81,"Test","Luftwert","time",F81) | =VALUE(SUBSTITUTE(I81,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C81,"Test","mV N2","time",F81) | =VALUE(SUBSTITUTE(K81,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153832""" | =NF($B82,"ID") | =NF(B82,"ProductNumber") | =SUBSTITUTE(D82," ","-") | =NF($B82,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B82,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C82,"Test","Luftwert","time",F82) | =VALUE(SUBSTITUTE(I82,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C82,"Test","mV N2","time",F82) | =VALUE(SUBSTITUTE(K82,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153833""" | =NF($B83,"ID") | =NF(B83,"ProductNumber") | =SUBSTITUTE(D83," ","-") | =NF($B83,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B83,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C83,"Test","Luftwert","time",F83) | =VALUE(SUBSTITUTE(I83,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C83,"Test","mV N2","time",F83) | =VALUE(SUBSTITUTE(K83,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153834""" | =NF($B84,"ID") | =NF(B84,"ProductNumber") | =SUBSTITUTE(D84," ","-") | =NF($B84,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B84,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C84,"Test","Luftwert","time",F84) | =VALUE(SUBSTITUTE(I84,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C84,"Test","mV N2","time",F84) | =VALUE(SUBSTITUTE(K84,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153835""" | =NF($B85,"ID") | =NF(B85,"ProductNumber") | =SUBSTITUTE(D85," ","-") | =NF($B85,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B85,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C85,"Test","Luftwert","time",F85) | =VALUE(SUBSTITUTE(I85,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C85,"Test","mV N2","time",F85) | =VALUE(SUBSTITUTE(K85,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153836""" | =NF($B86,"ID") | =NF(B86,"ProductNumber") | =SUBSTITUTE(D86," ","-") | =NF($B86,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B86,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C86,"Test","Luftwert","time",F86) | =VALUE(SUBSTITUTE(I86,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C86,"Test","mV N2","time",F86) | =VALUE(SUBSTITUTE(K86,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153837""" | =NF($B87,"ID") | =NF(B87,"ProductNumber") | =SUBSTITUTE(D87," ","-") | =NF($B87,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B87,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C87,"Test","Luftwert","time",F87) | =VALUE(SUBSTITUTE(I87,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C87,"Test","mV N2","time",F87) | =VALUE(SUBSTITUTE(K87,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153856""" | =NF($B88,"ID") | =NF(B88,"ProductNumber") | =SUBSTITUTE(D88," ","-") | =NF($B88,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B88,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C88,"Test","Luftwert","time",F88) | =VALUE(SUBSTITUTE(I88,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C88,"Test","mV N2","time",F88) | =VALUE(SUBSTITUTE(K88,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153857""" | =NF($B89,"ID") | =NF(B89,"ProductNumber") | =SUBSTITUTE(D89," ","-") | =NF($B89,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B89,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C89,"Test","Luftwert","time",F89) | =VALUE(SUBSTITUTE(I89,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C89,"Test","mV N2","time",F89) | =VALUE(SUBSTITUTE(K89,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153858""" | =NF($B90,"ID") | =NF(B90,"ProductNumber") | =SUBSTITUTE(D90," ","-") | =NF($B90,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B90,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C90,"Test","Luftwert","time",F90) | =VALUE(SUBSTITUTE(I90,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C90,"Test","mV N2","time",F90) | =VALUE(SUBSTITUTE(K90,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153859""" | =NF($B91,"ID") | =NF(B91,"ProductNumber") | =SUBSTITUTE(D91," ","-") | =NF($B91,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B91,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C91,"Test","Luftwert","time",F91) | =VALUE(SUBSTITUTE(I91,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C91,"Test","mV N2","time",F91) | =VALUE(SUBSTITUTE(K91,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153860""" | =NF($B92,"ID") | =NF(B92,"ProductNumber") | =SUBSTITUTE(D92," ","-") | =NF($B92,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B92,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C92,"Test","Luftwert","time",F92) | =VALUE(SUBSTITUTE(I92,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C92,"Test","mV N2","time",F92) | =VALUE(SUBSTITUTE(K92,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153861""" | =NF($B93,"ID") | =NF(B93,"ProductNumber") | =SUBSTITUTE(D93," ","-") | =NF($B93,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B93,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C93,"Test","Luftwert","time",F93) | =VALUE(SUBSTITUTE(I93,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C93,"Test","mV N2","time",F93) | =VALUE(SUBSTITUTE(K93,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153862""" | =NF($B94,"ID") | =NF(B94,"ProductNumber") | =SUBSTITUTE(D94," ","-") | =NF($B94,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B94,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C94,"Test","Luftwert","time",F94) | =VALUE(SUBSTITUTE(I94,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C94,"Test","mV N2","time",F94) | =VALUE(SUBSTITUTE(K94,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153863""" | =NF($B95,"ID") | =NF(B95,"ProductNumber") | =SUBSTITUTE(D95," ","-") | =NF($B95,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B95,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C95,"Test","Luftwert","time",F95) | =VALUE(SUBSTITUTE(I95,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C95,"Test","mV N2","time",F95) | =VALUE(SUBSTITUTE(K95,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153864""" | =NF($B96,"ID") | =NF(B96,"ProductNumber") | =SUBSTITUTE(D96," ","-") | =NF($B96,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B96,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C96,"Test","Luftwert","time",F96) | =VALUE(SUBSTITUTE(I96,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C96,"Test","mV N2","time",F96) | =VALUE(SUBSTITUTE(K96,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153865""" | =NF($B97,"ID") | =NF(B97,"ProductNumber") | =SUBSTITUTE(D97," ","-") | =NF($B97,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B97,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C97,"Test","Luftwert","time",F97) | =VALUE(SUBSTITUTE(I97,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C97,"Test","mV N2","time",F97) | =VALUE(SUBSTITUTE(K97,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153866""" | =NF($B98,"ID") | =NF(B98,"ProductNumber") | =SUBSTITUTE(D98," ","-") | =NF($B98,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B98,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C98,"Test","Luftwert","time",F98) | =VALUE(SUBSTITUTE(I98,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C98,"Test","mV N2","time",F98) | =VALUE(SUBSTITUTE(K98,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153867""" | =NF($B99,"ID") | =NF(B99,"ProductNumber") | =SUBSTITUTE(D99," ","-") | =NF($B99,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B99,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C99,"Test","Luftwert","time",F99) | =VALUE(SUBSTITUTE(I99,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C99,"Test","mV N2","time",F99) | =VALUE(SUBSTITUTE(K99,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153868""" | =NF($B100,"ID") | =NF(B100,"ProductNumber") | =SUBSTITUTE(D100," ","-") | =NF($B100,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B100,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C100,"Test","Luftwert","time",F100) | =VALUE(SUBSTITUTE(I100,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C100,"Test","mV N2","time",F100) | =VALUE(SUBSTITUTE(K100,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153869""" | =NF($B101,"ID") | =NF(B101,"ProductNumber") | =SUBSTITUTE(D101," ","-") | =NF($B101,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B101,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C101,"Test","Luftwert","time",F101) | =VALUE(SUBSTITUTE(I101,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C101,"Test","mV N2","time",F101) | =VALUE(SUBSTITUTE(K101,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153871""" | =NF($B102,"ID") | =NF(B102,"ProductNumber") | =SUBSTITUTE(D102," ","-") | =NF($B102,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B102,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C102,"Test","Luftwert","time",F102) | =VALUE(SUBSTITUTE(I102,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C102,"Test","mV N2","time",F102) | =VALUE(SUBSTITUTE(K102,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153872""" | =NF($B103,"ID") | =NF(B103,"ProductNumber") | =SUBSTITUTE(D103," ","-") | =NF($B103,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B103,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C103,"Test","Luftwert","time",F103) | =VALUE(SUBSTITUTE(I103,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C103,"Test","mV N2","time",F103) | =VALUE(SUBSTITUTE(K103,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153873""" | =NF($B104,"ID") | =NF(B104,"ProductNumber") | =SUBSTITUTE(D104," ","-") | =NF($B104,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B104,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C104,"Test","Luftwert","time",F104) | =VALUE(SUBSTITUTE(I104,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C104,"Test","mV N2","time",F104) | =VALUE(SUBSTITUTE(K104,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2153874""" | =NF($B105,"ID") | =NF(B105,"ProductNumber") | =SUBSTITUTE(D105," ","-") | =NF($B105,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B105,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C105,"Test","Luftwert","time",F105) | =VALUE(SUBSTITUTE(I105,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C105,"Test","mV N2","time",F105) | =VALUE(SUBSTITUTE(K105,".",","))*1000 |  |  | +