## Optionen (hidden)
Auto+Ausblenden+Werte+BlattAusblenden | Titel | Wert | Lookup
Option | Debitor | Vandagraph
Option | Debitornummer | D17401
Option | Seriennummer | S01 105601..S01 105700
Option | Referenz (VB-Nr.) | 116399
Option | Artikelnr. | *
Option | Artikel-Referenznr. | *

## Tabelle1
Auto+Ausblenden+Formulas=Tabelle2,Tabelle5,Tabelle6 | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen | Anpassen | Anpassen | Ausblenden | Anpassen | Ausblenden | Anpassen
[9 empty] | Vandagraph PART No. |  | 8010007
|  | ID | ProductNumber | Nav. Nr. | Datum | SENSORTYP | LABELNR | LUFTWERT1 | LUFTWERT1 | OFFSET1 | OFFSET1 | LUFTWERT2 | OFFSET2 | WERTUNG
[8 empty] | µV | µV | µV | µV | µV | µV
| "retrace Produktion","","product","ID","2157972" | 2157972 | 1001581 | 1001581 | 2015-02-10 15:20 | OOD103-1V | S01 105601 | 11.38E+0 | #VALUE! | 58.62E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2157983" | 2157983 | 1001581 | 1001581 | 2015-02-10 15:24 | OOD103-1V | S01 105602 | 9.94E+0 | #VALUE! | 66.43E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2157984" | 2157984 | 1001581 | 1001581 | 2015-02-10 15:24 | OOD103-1V | S01 105603 | 9.97E+0 | #VALUE! | 65.02E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2157985" | 2157985 | 1001581 | 1001581 | 2015-02-10 15:24 | OOD103-1V | S01 105604 | 10.41E+0 | #VALUE! | 56.77E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2157986" | 2157986 | 1001581 | 1001581 | 2015-02-10 15:24 | OOD103-1V | S01 105605 | 9.98E+0 | #VALUE! | 64.42E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2157987" | 2157987 | 1001581 | 1001581 | 2015-02-10 15:24 | OOD103-1V | S01 105606 | 10.25E+0 | #VALUE! | 61.83E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2157988" | 2157988 | 1001581 | 1001581 | 2015-02-10 15:24 | OOD103-1V | S01 105607 | 9.88E+0 | #VALUE! | 64.49E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2157989" | 2157989 | 1001581 | 1001581 | 2015-02-10 15:24 | OOD103-1V | S01 105608 | 10.09E+0 | #VALUE! | 56.81E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2157990" | 2157990 | 1001581 | 1001581 | 2015-02-10 15:24 | OOD103-1V | S01 105609 | 10.30E+0 | #VALUE! | 60.21E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2157991" | 2157991 | 1001581 | 1001581 | 2015-02-10 15:24 | OOD103-1V | S01 105610 | 9.87E+0 | #VALUE! | 61.53E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2157992" | 2157992 | 1001581 | 1001581 | 2015-02-10 15:24 | OOD103-1V | S01 105611 | 9.88E+0 | #VALUE! | 69.95E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2157993" | 2157993 | 1001581 | 1001581 | 2015-02-10 15:24 | OOD103-1V | S01 105612 | 10.34E+0 | #VALUE! | 97.62E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2157994" | 2157994 | 1001581 | 1001581 | 2015-02-10 15:24 | OOD103-1V | S01 105613 | 10.14E+0 | #VALUE! | 73.29E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2157995" | 2157995 | 1001581 | 1001581 | 2015-02-10 15:24 | OOD103-1V | S01 105614 | 9.90E+0 | #VALUE! | 62.26E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2157996" | 2157996 | 1001581 | 1001581 | 2015-02-10 15:24 | OOD103-1V | S01 105615 | 10.30E+0 | #VALUE! | 78.09E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2157999" | 2157999 | 1001581 | 1001581 | 2015-02-10 15:28 | OOD103-1V | S01 105616 | 9.91E+0 | #VALUE! | 76.13E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158000" | 2158000 | 1001581 | 1001581 | 2015-02-10 15:28 | OOD103-1V | S01 105617 | 11.46E+0 | #VALUE! | 70.31E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158001" | 2158001 | 1001581 | 1001581 | 2015-02-10 15:28 | OOD103-1V | S01 105618 | 10.09E+0 | #VALUE! | 61.77E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158003" | 2158003 | 1001581 | 1001581 | 2015-02-10 15:28 | OOD103-1V | S01 105619 | 10.00E+0 | #VALUE! | 84.24E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158004" | 2158004 | 1001581 | 1001581 | 2015-02-10 15:28 | OOD103-1V | S01 105620 | 10.52E+0 | #VALUE! | 78.84E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158005" | 2158005 | 1001581 | 1001581 | 2015-02-10 15:28 | OOD103-1V | S01 105621 | 9.81E+0 | #VALUE! | 71.78E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158006" | 2158006 | 1001581 | 1001581 | 2015-02-10 15:28 | OOD103-1V | S01 105622 | 9.70E+0 | #VALUE! | 65.68E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158007" | 2158007 | 1001581 | 1001581 | 2015-02-10 15:28 | OOD103-1V | S01 105623 | 9.76E+0 | #VALUE! | 64.57E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158008" | 2158008 | 1001581 | 1001581 | 2015-02-10 15:28 | OOD103-1V | S01 105624 | 9.79E+0 | #VALUE! | 70.39E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158009" | 2158009 | 1001581 | 1001581 | 2015-02-10 15:28 | OOD103-1V | S01 105625 | 9.85E+0 | #VALUE! | 65.62E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158010" | 2158010 | 1001581 | 1001581 | 2015-02-10 15:28 | OOD103-1V | S01 105626 | 9.81E+0 | #VALUE! | 68.18E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158011" | 2158011 | 1001581 | 1001581 | 2015-02-10 15:28 | OOD103-1V | S01 105627 | 11.30E+0 | #VALUE! | 53.86E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158012" | 2158012 | 1001581 | 1001581 | 2015-02-10 15:28 | OOD103-1V | S01 105628 | 10.43E+0 | #VALUE! | 71.18E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158013" | 2158013 | 1001581 | 1001581 | 2015-02-10 15:28 | OOD103-1V | S01 105629 | 9.81E+0 | #VALUE! | 75.12E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158015" | 2158015 | 1001581 | 1001581 | 2015-02-10 15:38 | OOD103-1V | S01 105630 | 9.89E+0 | #VALUE! | 68.97E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158016" | 2158016 | 1001581 | 1001581 | 2015-02-10 15:38 | OOD103-1V | S01 105631 | 9.89E+0 | #VALUE! | 62.74E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158017" | 2158017 | 1001581 | 1001581 | 2015-02-10 15:38 | OOD103-1V | S01 105632 | 10.45E+0 | #VALUE! | 61.21E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158018" | 2158018 | 1001581 | 1001581 | 2015-02-10 15:38 | OOD103-1V | S01 105633 | 9.93E+0 | #VALUE! | 68.69E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158019" | 2158019 | 1001581 | 1001581 | 2015-02-10 15:38 | OOD103-1V | S01 105634 | 10.16E+0 | #VALUE! | 56.26E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158020" | 2158020 | 1001581 | 1001581 | 2015-02-10 15:38 | OOD103-1V | S01 105635 | 9.76E+0 | #VALUE! | 78.67E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158021" | 2158021 | 1001581 | 1001581 | 2015-02-10 15:38 | OOD103-1V | S01 105636 | 10.32E+0 | #VALUE! | 78.00E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158022" | 2158022 | 1001581 | 1001581 | 2015-02-10 15:38 | OOD103-1V | S01 105637 | 9.84E+0 | #VALUE! | 64.77E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158023" | 2158023 | 1001581 | 1001581 | 2015-02-10 15:38 | OOD103-1V | S01 105638 | 9.87E+0 | #VALUE! | 61.84E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158024" | 2158024 | 1001581 | 1001581 | 2015-02-10 15:38 | OOD103-1V | S01 105639 | 10.88E+0 | #VALUE! | 70.94E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158025" | 2158025 | 1001581 | 1001581 | 2015-02-10 15:38 | OOD103-1V | S01 105640 | 9.86E+0 | #VALUE! | 58.53E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158026" | 2158026 | 1001581 | 1001581 | 2015-02-10 15:38 | OOD103-1V | S01 105641 | 9.96E+0 | #VALUE! | 67.64E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158027" | 2158027 | 1001581 | 1001581 | 2015-02-10 15:38 | OOD103-1V | S01 105642 | 10.78E+0 | #VALUE! | 71.41E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158028" | 2158028 | 1001581 | 1001581 | 2015-02-10 15:38 | OOD103-1V | S01 105643 | 9.86E+0 | #VALUE! | 77.29E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158029" | 2158029 | 1001581 | 1001581 | 2015-02-10 15:38 | OOD103-1V | S01 105644 | 9.87E+0 | #VALUE! | 77.92E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158031" | 2158031 | 1001581 | 1001581 | 2015-02-10 15:43 | OOD103-1V | S01 105645 | 10.88E+0 | #VALUE! | 54.54E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158032" | 2158032 | 1001581 | 1001581 | 2015-02-10 15:43 | OOD103-1V | S01 105646 | 10.22E+0 | #VALUE! | 67.51E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158033" | 2158033 | 1001581 | 1001581 | 2015-02-10 15:43 | OOD103-1V | S01 105647 | 10.41E+0 | #VALUE! | 58.89E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158034" | 2158034 | 1001581 | 1001581 | 2015-02-10 15:43 | OOD103-1V | S01 105648 | 10.12E+0 | #VALUE! | 66.54E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158035" | 2158035 | 1001581 | 1001581 | 2015-02-10 15:43 | OOD103-1V | S01 105649 | 9.90E+0 | #VALUE! | 67.14E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158036" | 2158036 | 1001581 | 1001581 | 2015-02-10 15:43 | OOD103-1V | S01 105650 | 9.98E+0 | #VALUE! | 62.17E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158037" | 2158037 | 1001581 | 1001581 | 2015-02-10 15:43 | OOD103-1V | S01 105651 | 9.97E+0 | #VALUE! | 62.84E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158038" | 2158038 | 1001581 | 1001581 | 2015-02-10 15:43 | OOD103-1V | S01 105652 | 10.42E+0 | #VALUE! | 64.39E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158039" | 2158039 | 1001581 | 1001581 | 2015-02-10 15:43 | OOD103-1V | S01 105653 | 10.02E+0 | #VALUE! | 71.07E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158040" | 2158040 | 1001581 | 1001581 | 2015-02-10 15:43 | OOD103-1V | S01 105654 | 10.00E+0 | #VALUE! | 61.89E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158041" | 2158041 | 1001581 | 1001581 | 2015-02-10 15:43 | OOD103-1V | S01 105655 | 9.75E+0 | #VALUE! | 67.76E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158042" | 2158042 | 1001581 | 1001581 | 2015-02-10 15:43 | OOD103-1V | S01 105656 | 9.79E+0 | #VALUE! | 68.34E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158044" | 2158044 | 1001581 | 1001581 | 2015-02-10 15:43 | OOD103-1V | S01 105657 | 9.91E+0 | #VALUE! | 73.15E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158045" | 2158045 | 1001581 | 1001581 | 2015-02-10 15:43 | OOD103-1V | S01 105658 | 9.77E+0 | #VALUE! | 73.02E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158047" | 2158047 | 1001581 | 1001581 | 2015-02-10 15:48 | OOD103-1V | S01 105659 | 10.12E+0 | #VALUE! | 68.36E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158048" | 2158048 | 1001581 | 1001581 | 2015-02-10 15:48 | OOD103-1V | S01 105660 | 9.81E+0 | #VALUE! | 57.29E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158049" | 2158049 | 1001581 | 1001581 | 2015-02-10 15:48 | OOD103-1V | S01 105661 | 10.42E+0 | #VALUE! | 59.28E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158050" | 2158050 | 1001581 | 1001581 | 2015-02-10 15:48 | OOD103-1V | S01 105662 | 10.14E+0 | #VALUE! | 71.94E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158051" | 2158051 | 1001581 | 1001581 | 2015-02-10 15:48 | OOD103-1V | S01 105663 | 9.86E+0 | #VALUE! | 66.24E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158053" | 2158053 | 1001581 | 1001581 | 2015-02-10 15:48 | OOD103-1V | S01 105664 | 10.51E+0 | #VALUE! | 58.85E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158054" | 2158054 | 1001581 | 1001581 | 2015-02-10 15:48 | OOD103-1V | S01 105665 | 10.22E+0 | #VALUE! | 70.44E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158055" | 2158055 | 1001581 | 1001581 | 2015-02-10 15:48 | OOD103-1V | S01 105666 | 10.08E+0 | #VALUE! | 59.98E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158056" | 2158056 | 1001581 | 1001581 | 2015-02-10 15:48 | OOD103-1V | S01 105667 | 11.17E+0 | #VALUE! | 71.19E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158057" | 2158057 | 1001581 | 1001581 | 2015-02-10 15:48 | OOD103-1V | S01 105668 | 11.39E+0 | #VALUE! | 57.94E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158058" | 2158058 | 1001581 | 1001581 | 2015-02-10 15:48 | OOD103-1V | S01 105669 | 10.32E+0 | #VALUE! | 64.47E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158059" | 2158059 | 1001581 | 1001581 | 2015-02-10 15:48 | OOD103-1V | S01 105670 | 11.59E+0 | #VALUE! | 83.73E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158060" | 2158060 | 1001581 | 1001581 | 2015-02-10 15:48 | OOD103-1V | S01 105671 | 10.49E+0 | #VALUE! | 79.67E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158061" | 2158061 | 1001581 | 1001581 | 2015-02-10 15:48 | OOD103-1V | S01 105672 | 10.65E+0 | #VALUE! | 63.68E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158063" | 2158063 | 1001581 | 1001581 | 2015-02-10 15:54 | OOD103-1V | S01 105673 | 10.88E+0 | #VALUE! | 71.99E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158064" | 2158064 | 1001581 | 1001581 | 2015-02-10 15:54 | OOD103-1V | S01 105674 | 10.02E+0 | #VALUE! | 59.13E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158065" | 2158065 | 1001581 | 1001581 | 2015-02-10 15:54 | OOD103-1V | S01 105675 | 11.49E+0 | #VALUE! | 63.18E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158066" | 2158066 | 1001581 | 1001581 | 2015-02-10 15:54 | OOD103-1V | S01 105676 | 10.14E+0 | #VALUE! | 67.21E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158067" | 2158067 | 1001581 | 1001581 | 2015-02-10 15:54 | OOD103-1V | S01 105677 | 11.34E+0 | #VALUE! | 68.28E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158068" | 2158068 | 1001581 | 1001581 | 2015-02-10 15:54 | OOD103-1V | S01 105678 | 10.88E+0 | #VALUE! | 74.11E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158069" | 2158069 | 1001581 | 1001581 | 2015-02-10 15:54 | OOD103-1V | S01 105679 | 10.20E+0 | #VALUE! | 70.81E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158070" | 2158070 | 1001581 | 1001581 | 2015-02-10 15:54 | OOD103-1V | S01 105680 | 10.55E+0 | #VALUE! | 63.66E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158071" | 2158071 | 1001581 | 1001581 | 2015-02-10 15:54 | OOD103-1V | S01 105681 | 10.83E+0 | #VALUE! | 68.41E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158072" | 2158072 | 1001581 | 1001581 | 2015-02-10 15:54 | OOD103-1V | S01 105682 | 11.31E+0 | #VALUE! | 69.56E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158073" | 2158073 | 1001581 | 1001581 | 2015-02-10 15:54 | OOD103-1V | S01 105683 | 11.38E+0 | #VALUE! | 59.66E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158074" | 2158074 | 1001581 | 1001581 | 2015-02-10 15:54 | OOD103-1V | S01 105684 | 10.55E+0 | #VALUE! | 65.14E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158075" | 2158075 | 1001581 | 1001581 | 2015-02-10 15:54 | OOD103-1V | S01 105685 | 10.19E+0 | #VALUE! | 70.25E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158076" | 2158076 | 1001581 | 1001581 | 2015-02-10 15:54 | OOD103-1V | S01 105686 | 10.80E+0 | #VALUE! | 74.90E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158077" | 2158077 | 1001581 | 1001581 | 2015-02-10 15:54 | OOD103-1V | S01 105687 | 10.71E+0 | #VALUE! | 61.66E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158079" | 2158079 | 1001581 | 1001581 | 2015-02-10 15:58 | OOD103-1V | S01 105688 | 10.56E+0 | #VALUE! | 61.37E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158080" | 2158080 | 1001581 | 1001581 | 2015-02-10 15:58 | OOD103-1V | S01 105689 | 11.53E+0 | #VALUE! | 66.34E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158081" | 2158081 | 1001581 | 1001581 | 2015-02-10 15:58 | OOD103-1V | S01 105690 | 10.22E+0 | #VALUE! | 91.60E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158082" | 2158082 | 1001581 | 1001581 | 2015-02-10 15:58 | OOD103-1V | S01 105691 | 10.22E+0 | #VALUE! | 68.19E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158083" | 2158083 | 1001581 | 1001581 | 2015-02-10 15:58 | OOD103-1V | S01 105692 | 10.56E+0 | #VALUE! | 73.14E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158084" | 2158084 | 1001581 | 1001581 | 2015-02-10 15:58 | OOD103-1V | S01 105693 | 10.54E+0 | #VALUE! | 78.33E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158085" | 2158085 | 1001581 | 1001581 | 2015-02-10 15:58 | OOD103-1V | S01 105694 | 11.35E+0 | #VALUE! | 61.71E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158086" | 2158086 | 1001581 | 1001581 | 2015-02-10 15:58 | OOD103-1V | S01 105695 | 11.06E+0 | #VALUE! | 69.34E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158087" | 2158087 | 1001581 | 1001581 | 2015-02-10 15:58 | OOD103-1V | S01 105696 | 10.06E+0 | #VALUE! | 58.65E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158088" | 2158088 | 1001581 | 1001581 | 2015-02-10 15:58 | OOD103-1V | S01 105697 | 11.61E+0 | #VALUE! | 68.69E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158089" | 2158089 | 1001581 | 1001581 | 2015-02-10 15:58 | OOD103-1V | S01 105698 | 10.36E+0 | #VALUE! | 63.02E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158090" | 2158090 | 1001581 | 1001581 | 2015-02-10 15:58 | OOD103-1V | S01 105699 | 10.51E+0 | #VALUE! | 69.02E-3 | #VALUE! |  |  | +
Auto | "retrace Produktion","","product","ID","2158091" | 2158091 | 1001581 | 1001581 | 2015-02-10 15:58 | OOD103-1V | S01 105700 | 11.49E+0 | #VALUE! | 73.02E-3 | #VALUE! |  |  | +

## Tabelle5 (hidden)
Auto+Ausblenden+Formulas=Tabelle5,Tabelle6+FormulasOnly | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen | Anpassen | Anpassen | Ausblenden | Anpassen | Ausblenden | Anpassen
[9 empty] | =CONCATENATE(Optionen!C2," PART No.") |  | =NL("Zeilen","Artikelreferenz","Referenznr.","Datenquelle=","Echtserver Wismar","Artikelnr.",E6,"Referenzartennr.",Optionen!C3,"Referenznr.",Optionen!C7)
|  | ID | ProductNumber | Nav. Nr. | Datum | SENSORTYP | LABELNR | LUFTWERT1 | LUFTWERT1 | OFFSET1 | OFFSET1 | LUFTWERT2 | OFFSET2 | WERTUNG
[8 empty] | µV | µV | µV | µV | µV | µV
| =NL("Zeilen","product",,"Datenquelle=","retrace Produktion","CustomerID",Optionen!C2,"ProductSerial",Optionen!C4,"Reference",Optionen!C5,"ProductNumber",Optionen!C6) | =NF($B6,"ID") | =NF(B6,"ProductNumber") | =SUBSTITUTE(D6," ","-") | =NF($B6,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B6,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C6,"Test","Luftwert","time",F6) | =VALUE(SUBSTITUTE(I6,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C6,"Test","mV N2","time",F6) | =VALUE(SUBSTITUTE(K6,".",","))*1000 |  |  | +

## Tabelle6 (hidden)
Auto+Ausblenden+Formulas=Tabelle5,Tabelle6+FormulasOnly | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen | Anpassen | Anpassen | Ausblenden | Anpassen | Ausblenden | Anpassen
[9 empty] | =VERKETTEN(Optionen!C2;" PART No.") |  | =NL("Zeilen";"Artikelreferenz";"Referenznr.";"Datenquelle=";"Echtserver Wismar";"Artikelnr.";E6;"Referenzartennr.";Optionen!C3;"Referenznr.";Optionen!C7)
|  | ID | ProductNumber | Nav. Nr. | Datum | SENSORTYP | LABELNR | LUFTWERT1 | LUFTWERT1 | OFFSET1 | OFFSET1 | LUFTWERT2 | OFFSET2 | WERTUNG
[8 empty] | µV | µV | µV | µV | µV | µV
| =NL("Zeilen";"product";;"Datenquelle=";"retrace Produktion";"CustomerID";Optionen!C2;"ProductSerial";Optionen!C4;"Reference";Optionen!C5;"ProductNumber";Optionen!C6) | =NF($B6;"ID") | =NF(B6;"ProductNumber") | =WECHSELN(D6;" ";"-") | =NF($B6;"Time") | =NL("Zeilen";"Artikel";"Beschreibung 2";"Datenquelle=";"Echtserver Wismar";"Nr.";$E$6) | =NF($B6;"ProductSerial") | =NL("Zeilen";"testprotocol";"Value";"Datenquelle=";"retrace Produktion";"ProductID";C6;"Test";"Luftwert";"time";F6) | =WERT(WECHSELN(I6;".";","))*1000 | =NL("Zeilen";"testprotocol";"Value";"Datenquelle=";"retrace Produktion";"ProductID";C6;"Test";"mV N2";"time";F6) | =WERT(WECHSELN(K6;".";","))*1000 |  |  | +

## Tabelle2 (hidden)
Auto+Ausblenden+Formulas=Tabelle2,Tabelle5,Tabelle6+FormulasOnly | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen | Anpassen | Anpassen | Ausblenden | Anpassen | Ausblenden | Anpassen
[9 empty] | =CONCATENATE(Optionen!C2," PART No.") |  | =NL("Zeilen","Artikelreferenz","Referenznr.","Datenquelle=","Echtserver Wismar","Artikelnr.",E6,"Referenzartennr.",Optionen!C3,"Referenznr.",Optionen!C7)
|  | ID | ProductNumber | Nav. Nr. | Datum | SENSORTYP | LABELNR | LUFTWERT1 | LUFTWERT1 | OFFSET1 | OFFSET1 | LUFTWERT2 | OFFSET2 | WERTUNG
[8 empty] | µV | µV | µV | µV | µV | µV
| =NL("Zeilen","product",,"Datenquelle=","retrace Produktion","CustomerID",Optionen!C2,"ProductSerial",Optionen!C4,"Reference",Optionen!C5,"ProductNumber",Optionen!C6) | =NF($B6,"ID") | =NF(B6,"ProductNumber") | =SUBSTITUTE(D6," ","-") | =NF($B6,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B6,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C6,"Test","Luftwert","time",F6) | =VALUE(SUBSTITUTE(I6,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C6,"Test","mV N2","time",F6) | =VALUE(SUBSTITUTE(K6,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2157983""" | =NF($B7,"ID") | =NF(B7,"ProductNumber") | =SUBSTITUTE(D7," ","-") | =NF($B7,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B7,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C7,"Test","Luftwert","time",F7) | =VALUE(SUBSTITUTE(I7,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C7,"Test","mV N2","time",F7) | =VALUE(SUBSTITUTE(K7,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2157984""" | =NF($B8,"ID") | =NF(B8,"ProductNumber") | =SUBSTITUTE(D8," ","-") | =NF($B8,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B8,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C8,"Test","Luftwert","time",F8) | =VALUE(SUBSTITUTE(I8,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C8,"Test","mV N2","time",F8) | =VALUE(SUBSTITUTE(K8,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2157985""" | =NF($B9,"ID") | =NF(B9,"ProductNumber") | =SUBSTITUTE(D9," ","-") | =NF($B9,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B9,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C9,"Test","Luftwert","time",F9) | =VALUE(SUBSTITUTE(I9,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C9,"Test","mV N2","time",F9) | =VALUE(SUBSTITUTE(K9,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2157986""" | =NF($B10,"ID") | =NF(B10,"ProductNumber") | =SUBSTITUTE(D10," ","-") | =NF($B10,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B10,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C10,"Test","Luftwert","time",F10) | =VALUE(SUBSTITUTE(I10,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C10,"Test","mV N2","time",F10) | =VALUE(SUBSTITUTE(K10,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2157987""" | =NF($B11,"ID") | =NF(B11,"ProductNumber") | =SUBSTITUTE(D11," ","-") | =NF($B11,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B11,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C11,"Test","Luftwert","time",F11) | =VALUE(SUBSTITUTE(I11,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C11,"Test","mV N2","time",F11) | =VALUE(SUBSTITUTE(K11,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2157988""" | =NF($B12,"ID") | =NF(B12,"ProductNumber") | =SUBSTITUTE(D12," ","-") | =NF($B12,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B12,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C12,"Test","Luftwert","time",F12) | =VALUE(SUBSTITUTE(I12,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C12,"Test","mV N2","time",F12) | =VALUE(SUBSTITUTE(K12,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2157989""" | =NF($B13,"ID") | =NF(B13,"ProductNumber") | =SUBSTITUTE(D13," ","-") | =NF($B13,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B13,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C13,"Test","Luftwert","time",F13) | =VALUE(SUBSTITUTE(I13,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C13,"Test","mV N2","time",F13) | =VALUE(SUBSTITUTE(K13,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2157990""" | =NF($B14,"ID") | =NF(B14,"ProductNumber") | =SUBSTITUTE(D14," ","-") | =NF($B14,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B14,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C14,"Test","Luftwert","time",F14) | =VALUE(SUBSTITUTE(I14,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C14,"Test","mV N2","time",F14) | =VALUE(SUBSTITUTE(K14,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2157991""" | =NF($B15,"ID") | =NF(B15,"ProductNumber") | =SUBSTITUTE(D15," ","-") | =NF($B15,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B15,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C15,"Test","Luftwert","time",F15) | =VALUE(SUBSTITUTE(I15,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C15,"Test","mV N2","time",F15) | =VALUE(SUBSTITUTE(K15,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2157992""" | =NF($B16,"ID") | =NF(B16,"ProductNumber") | =SUBSTITUTE(D16," ","-") | =NF($B16,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B16,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C16,"Test","Luftwert","time",F16) | =VALUE(SUBSTITUTE(I16,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C16,"Test","mV N2","time",F16) | =VALUE(SUBSTITUTE(K16,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2157993""" | =NF($B17,"ID") | =NF(B17,"ProductNumber") | =SUBSTITUTE(D17," ","-") | =NF($B17,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B17,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C17,"Test","Luftwert","time",F17) | =VALUE(SUBSTITUTE(I17,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C17,"Test","mV N2","time",F17) | =VALUE(SUBSTITUTE(K17,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2157994""" | =NF($B18,"ID") | =NF(B18,"ProductNumber") | =SUBSTITUTE(D18," ","-") | =NF($B18,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B18,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C18,"Test","Luftwert","time",F18) | =VALUE(SUBSTITUTE(I18,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C18,"Test","mV N2","time",F18) | =VALUE(SUBSTITUTE(K18,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2157995""" | =NF($B19,"ID") | =NF(B19,"ProductNumber") | =SUBSTITUTE(D19," ","-") | =NF($B19,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B19,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C19,"Test","Luftwert","time",F19) | =VALUE(SUBSTITUTE(I19,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C19,"Test","mV N2","time",F19) | =VALUE(SUBSTITUTE(K19,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2157996""" | =NF($B20,"ID") | =NF(B20,"ProductNumber") | =SUBSTITUTE(D20," ","-") | =NF($B20,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B20,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C20,"Test","Luftwert","time",F20) | =VALUE(SUBSTITUTE(I20,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C20,"Test","mV N2","time",F20) | =VALUE(SUBSTITUTE(K20,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2157999""" | =NF($B21,"ID") | =NF(B21,"ProductNumber") | =SUBSTITUTE(D21," ","-") | =NF($B21,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B21,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C21,"Test","Luftwert","time",F21) | =VALUE(SUBSTITUTE(I21,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C21,"Test","mV N2","time",F21) | =VALUE(SUBSTITUTE(K21,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158000""" | =NF($B22,"ID") | =NF(B22,"ProductNumber") | =SUBSTITUTE(D22," ","-") | =NF($B22,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B22,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C22,"Test","Luftwert","time",F22) | =VALUE(SUBSTITUTE(I22,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C22,"Test","mV N2","time",F22) | =VALUE(SUBSTITUTE(K22,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158001""" | =NF($B23,"ID") | =NF(B23,"ProductNumber") | =SUBSTITUTE(D23," ","-") | =NF($B23,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B23,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C23,"Test","Luftwert","time",F23) | =VALUE(SUBSTITUTE(I23,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C23,"Test","mV N2","time",F23) | =VALUE(SUBSTITUTE(K23,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158003""" | =NF($B24,"ID") | =NF(B24,"ProductNumber") | =SUBSTITUTE(D24," ","-") | =NF($B24,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B24,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C24,"Test","Luftwert","time",F24) | =VALUE(SUBSTITUTE(I24,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C24,"Test","mV N2","time",F24) | =VALUE(SUBSTITUTE(K24,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158004""" | =NF($B25,"ID") | =NF(B25,"ProductNumber") | =SUBSTITUTE(D25," ","-") | =NF($B25,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B25,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C25,"Test","Luftwert","time",F25) | =VALUE(SUBSTITUTE(I25,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C25,"Test","mV N2","time",F25) | =VALUE(SUBSTITUTE(K25,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158005""" | =NF($B26,"ID") | =NF(B26,"ProductNumber") | =SUBSTITUTE(D26," ","-") | =NF($B26,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B26,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C26,"Test","Luftwert","time",F26) | =VALUE(SUBSTITUTE(I26,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C26,"Test","mV N2","time",F26) | =VALUE(SUBSTITUTE(K26,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158006""" | =NF($B27,"ID") | =NF(B27,"ProductNumber") | =SUBSTITUTE(D27," ","-") | =NF($B27,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B27,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C27,"Test","Luftwert","time",F27) | =VALUE(SUBSTITUTE(I27,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C27,"Test","mV N2","time",F27) | =VALUE(SUBSTITUTE(K27,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158007""" | =NF($B28,"ID") | =NF(B28,"ProductNumber") | =SUBSTITUTE(D28," ","-") | =NF($B28,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B28,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C28,"Test","Luftwert","time",F28) | =VALUE(SUBSTITUTE(I28,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C28,"Test","mV N2","time",F28) | =VALUE(SUBSTITUTE(K28,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158008""" | =NF($B29,"ID") | =NF(B29,"ProductNumber") | =SUBSTITUTE(D29," ","-") | =NF($B29,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B29,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C29,"Test","Luftwert","time",F29) | =VALUE(SUBSTITUTE(I29,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C29,"Test","mV N2","time",F29) | =VALUE(SUBSTITUTE(K29,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158009""" | =NF($B30,"ID") | =NF(B30,"ProductNumber") | =SUBSTITUTE(D30," ","-") | =NF($B30,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B30,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C30,"Test","Luftwert","time",F30) | =VALUE(SUBSTITUTE(I30,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C30,"Test","mV N2","time",F30) | =VALUE(SUBSTITUTE(K30,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158010""" | =NF($B31,"ID") | =NF(B31,"ProductNumber") | =SUBSTITUTE(D31," ","-") | =NF($B31,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B31,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C31,"Test","Luftwert","time",F31) | =VALUE(SUBSTITUTE(I31,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C31,"Test","mV N2","time",F31) | =VALUE(SUBSTITUTE(K31,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158011""" | =NF($B32,"ID") | =NF(B32,"ProductNumber") | =SUBSTITUTE(D32," ","-") | =NF($B32,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B32,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C32,"Test","Luftwert","time",F32) | =VALUE(SUBSTITUTE(I32,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C32,"Test","mV N2","time",F32) | =VALUE(SUBSTITUTE(K32,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158012""" | =NF($B33,"ID") | =NF(B33,"ProductNumber") | =SUBSTITUTE(D33," ","-") | =NF($B33,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B33,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C33,"Test","Luftwert","time",F33) | =VALUE(SUBSTITUTE(I33,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C33,"Test","mV N2","time",F33) | =VALUE(SUBSTITUTE(K33,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158013""" | =NF($B34,"ID") | =NF(B34,"ProductNumber") | =SUBSTITUTE(D34," ","-") | =NF($B34,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B34,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C34,"Test","Luftwert","time",F34) | =VALUE(SUBSTITUTE(I34,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C34,"Test","mV N2","time",F34) | =VALUE(SUBSTITUTE(K34,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158015""" | =NF($B35,"ID") | =NF(B35,"ProductNumber") | =SUBSTITUTE(D35," ","-") | =NF($B35,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B35,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C35,"Test","Luftwert","time",F35) | =VALUE(SUBSTITUTE(I35,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C35,"Test","mV N2","time",F35) | =VALUE(SUBSTITUTE(K35,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158016""" | =NF($B36,"ID") | =NF(B36,"ProductNumber") | =SUBSTITUTE(D36," ","-") | =NF($B36,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B36,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C36,"Test","Luftwert","time",F36) | =VALUE(SUBSTITUTE(I36,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C36,"Test","mV N2","time",F36) | =VALUE(SUBSTITUTE(K36,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158017""" | =NF($B37,"ID") | =NF(B37,"ProductNumber") | =SUBSTITUTE(D37," ","-") | =NF($B37,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B37,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C37,"Test","Luftwert","time",F37) | =VALUE(SUBSTITUTE(I37,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C37,"Test","mV N2","time",F37) | =VALUE(SUBSTITUTE(K37,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158018""" | =NF($B38,"ID") | =NF(B38,"ProductNumber") | =SUBSTITUTE(D38," ","-") | =NF($B38,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B38,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C38,"Test","Luftwert","time",F38) | =VALUE(SUBSTITUTE(I38,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C38,"Test","mV N2","time",F38) | =VALUE(SUBSTITUTE(K38,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158019""" | =NF($B39,"ID") | =NF(B39,"ProductNumber") | =SUBSTITUTE(D39," ","-") | =NF($B39,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B39,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C39,"Test","Luftwert","time",F39) | =VALUE(SUBSTITUTE(I39,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C39,"Test","mV N2","time",F39) | =VALUE(SUBSTITUTE(K39,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158020""" | =NF($B40,"ID") | =NF(B40,"ProductNumber") | =SUBSTITUTE(D40," ","-") | =NF($B40,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B40,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C40,"Test","Luftwert","time",F40) | =VALUE(SUBSTITUTE(I40,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C40,"Test","mV N2","time",F40) | =VALUE(SUBSTITUTE(K40,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158021""" | =NF($B41,"ID") | =NF(B41,"ProductNumber") | =SUBSTITUTE(D41," ","-") | =NF($B41,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B41,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C41,"Test","Luftwert","time",F41) | =VALUE(SUBSTITUTE(I41,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C41,"Test","mV N2","time",F41) | =VALUE(SUBSTITUTE(K41,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158022""" | =NF($B42,"ID") | =NF(B42,"ProductNumber") | =SUBSTITUTE(D42," ","-") | =NF($B42,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B42,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C42,"Test","Luftwert","time",F42) | =VALUE(SUBSTITUTE(I42,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C42,"Test","mV N2","time",F42) | =VALUE(SUBSTITUTE(K42,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158023""" | =NF($B43,"ID") | =NF(B43,"ProductNumber") | =SUBSTITUTE(D43," ","-") | =NF($B43,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B43,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C43,"Test","Luftwert","time",F43) | =VALUE(SUBSTITUTE(I43,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C43,"Test","mV N2","time",F43) | =VALUE(SUBSTITUTE(K43,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158024""" | =NF($B44,"ID") | =NF(B44,"ProductNumber") | =SUBSTITUTE(D44," ","-") | =NF($B44,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B44,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C44,"Test","Luftwert","time",F44) | =VALUE(SUBSTITUTE(I44,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C44,"Test","mV N2","time",F44) | =VALUE(SUBSTITUTE(K44,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158025""" | =NF($B45,"ID") | =NF(B45,"ProductNumber") | =SUBSTITUTE(D45," ","-") | =NF($B45,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B45,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C45,"Test","Luftwert","time",F45) | =VALUE(SUBSTITUTE(I45,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C45,"Test","mV N2","time",F45) | =VALUE(SUBSTITUTE(K45,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158026""" | =NF($B46,"ID") | =NF(B46,"ProductNumber") | =SUBSTITUTE(D46," ","-") | =NF($B46,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B46,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C46,"Test","Luftwert","time",F46) | =VALUE(SUBSTITUTE(I46,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C46,"Test","mV N2","time",F46) | =VALUE(SUBSTITUTE(K46,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158027""" | =NF($B47,"ID") | =NF(B47,"ProductNumber") | =SUBSTITUTE(D47," ","-") | =NF($B47,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B47,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C47,"Test","Luftwert","time",F47) | =VALUE(SUBSTITUTE(I47,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C47,"Test","mV N2","time",F47) | =VALUE(SUBSTITUTE(K47,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158028""" | =NF($B48,"ID") | =NF(B48,"ProductNumber") | =SUBSTITUTE(D48," ","-") | =NF($B48,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B48,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C48,"Test","Luftwert","time",F48) | =VALUE(SUBSTITUTE(I48,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C48,"Test","mV N2","time",F48) | =VALUE(SUBSTITUTE(K48,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158029""" | =NF($B49,"ID") | =NF(B49,"ProductNumber") | =SUBSTITUTE(D49," ","-") | =NF($B49,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B49,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C49,"Test","Luftwert","time",F49) | =VALUE(SUBSTITUTE(I49,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C49,"Test","mV N2","time",F49) | =VALUE(SUBSTITUTE(K49,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158031""" | =NF($B50,"ID") | =NF(B50,"ProductNumber") | =SUBSTITUTE(D50," ","-") | =NF($B50,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B50,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C50,"Test","Luftwert","time",F50) | =VALUE(SUBSTITUTE(I50,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C50,"Test","mV N2","time",F50) | =VALUE(SUBSTITUTE(K50,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158032""" | =NF($B51,"ID") | =NF(B51,"ProductNumber") | =SUBSTITUTE(D51," ","-") | =NF($B51,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B51,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C51,"Test","Luftwert","time",F51) | =VALUE(SUBSTITUTE(I51,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C51,"Test","mV N2","time",F51) | =VALUE(SUBSTITUTE(K51,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158033""" | =NF($B52,"ID") | =NF(B52,"ProductNumber") | =SUBSTITUTE(D52," ","-") | =NF($B52,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B52,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C52,"Test","Luftwert","time",F52) | =VALUE(SUBSTITUTE(I52,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C52,"Test","mV N2","time",F52) | =VALUE(SUBSTITUTE(K52,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158034""" | =NF($B53,"ID") | =NF(B53,"ProductNumber") | =SUBSTITUTE(D53," ","-") | =NF($B53,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B53,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C53,"Test","Luftwert","time",F53) | =VALUE(SUBSTITUTE(I53,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C53,"Test","mV N2","time",F53) | =VALUE(SUBSTITUTE(K53,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158035""" | =NF($B54,"ID") | =NF(B54,"ProductNumber") | =SUBSTITUTE(D54," ","-") | =NF($B54,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B54,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C54,"Test","Luftwert","time",F54) | =VALUE(SUBSTITUTE(I54,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C54,"Test","mV N2","time",F54) | =VALUE(SUBSTITUTE(K54,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158036""" | =NF($B55,"ID") | =NF(B55,"ProductNumber") | =SUBSTITUTE(D55," ","-") | =NF($B55,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B55,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C55,"Test","Luftwert","time",F55) | =VALUE(SUBSTITUTE(I55,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C55,"Test","mV N2","time",F55) | =VALUE(SUBSTITUTE(K55,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158037""" | =NF($B56,"ID") | =NF(B56,"ProductNumber") | =SUBSTITUTE(D56," ","-") | =NF($B56,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B56,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C56,"Test","Luftwert","time",F56) | =VALUE(SUBSTITUTE(I56,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C56,"Test","mV N2","time",F56) | =VALUE(SUBSTITUTE(K56,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158038""" | =NF($B57,"ID") | =NF(B57,"ProductNumber") | =SUBSTITUTE(D57," ","-") | =NF($B57,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B57,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C57,"Test","Luftwert","time",F57) | =VALUE(SUBSTITUTE(I57,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C57,"Test","mV N2","time",F57) | =VALUE(SUBSTITUTE(K57,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158039""" | =NF($B58,"ID") | =NF(B58,"ProductNumber") | =SUBSTITUTE(D58," ","-") | =NF($B58,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B58,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C58,"Test","Luftwert","time",F58) | =VALUE(SUBSTITUTE(I58,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C58,"Test","mV N2","time",F58) | =VALUE(SUBSTITUTE(K58,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158040""" | =NF($B59,"ID") | =NF(B59,"ProductNumber") | =SUBSTITUTE(D59," ","-") | =NF($B59,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B59,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C59,"Test","Luftwert","time",F59) | =VALUE(SUBSTITUTE(I59,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C59,"Test","mV N2","time",F59) | =VALUE(SUBSTITUTE(K59,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158041""" | =NF($B60,"ID") | =NF(B60,"ProductNumber") | =SUBSTITUTE(D60," ","-") | =NF($B60,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B60,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C60,"Test","Luftwert","time",F60) | =VALUE(SUBSTITUTE(I60,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C60,"Test","mV N2","time",F60) | =VALUE(SUBSTITUTE(K60,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158042""" | =NF($B61,"ID") | =NF(B61,"ProductNumber") | =SUBSTITUTE(D61," ","-") | =NF($B61,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B61,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C61,"Test","Luftwert","time",F61) | =VALUE(SUBSTITUTE(I61,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C61,"Test","mV N2","time",F61) | =VALUE(SUBSTITUTE(K61,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158044""" | =NF($B62,"ID") | =NF(B62,"ProductNumber") | =SUBSTITUTE(D62," ","-") | =NF($B62,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B62,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C62,"Test","Luftwert","time",F62) | =VALUE(SUBSTITUTE(I62,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C62,"Test","mV N2","time",F62) | =VALUE(SUBSTITUTE(K62,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158045""" | =NF($B63,"ID") | =NF(B63,"ProductNumber") | =SUBSTITUTE(D63," ","-") | =NF($B63,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B63,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C63,"Test","Luftwert","time",F63) | =VALUE(SUBSTITUTE(I63,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C63,"Test","mV N2","time",F63) | =VALUE(SUBSTITUTE(K63,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158047""" | =NF($B64,"ID") | =NF(B64,"ProductNumber") | =SUBSTITUTE(D64," ","-") | =NF($B64,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B64,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C64,"Test","Luftwert","time",F64) | =VALUE(SUBSTITUTE(I64,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C64,"Test","mV N2","time",F64) | =VALUE(SUBSTITUTE(K64,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158048""" | =NF($B65,"ID") | =NF(B65,"ProductNumber") | =SUBSTITUTE(D65," ","-") | =NF($B65,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B65,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C65,"Test","Luftwert","time",F65) | =VALUE(SUBSTITUTE(I65,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C65,"Test","mV N2","time",F65) | =VALUE(SUBSTITUTE(K65,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158049""" | =NF($B66,"ID") | =NF(B66,"ProductNumber") | =SUBSTITUTE(D66," ","-") | =NF($B66,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B66,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C66,"Test","Luftwert","time",F66) | =VALUE(SUBSTITUTE(I66,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C66,"Test","mV N2","time",F66) | =VALUE(SUBSTITUTE(K66,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158050""" | =NF($B67,"ID") | =NF(B67,"ProductNumber") | =SUBSTITUTE(D67," ","-") | =NF($B67,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B67,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C67,"Test","Luftwert","time",F67) | =VALUE(SUBSTITUTE(I67,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C67,"Test","mV N2","time",F67) | =VALUE(SUBSTITUTE(K67,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158051""" | =NF($B68,"ID") | =NF(B68,"ProductNumber") | =SUBSTITUTE(D68," ","-") | =NF($B68,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B68,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C68,"Test","Luftwert","time",F68) | =VALUE(SUBSTITUTE(I68,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C68,"Test","mV N2","time",F68) | =VALUE(SUBSTITUTE(K68,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158053""" | =NF($B69,"ID") | =NF(B69,"ProductNumber") | =SUBSTITUTE(D69," ","-") | =NF($B69,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B69,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C69,"Test","Luftwert","time",F69) | =VALUE(SUBSTITUTE(I69,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C69,"Test","mV N2","time",F69) | =VALUE(SUBSTITUTE(K69,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158054""" | =NF($B70,"ID") | =NF(B70,"ProductNumber") | =SUBSTITUTE(D70," ","-") | =NF($B70,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B70,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C70,"Test","Luftwert","time",F70) | =VALUE(SUBSTITUTE(I70,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C70,"Test","mV N2","time",F70) | =VALUE(SUBSTITUTE(K70,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158055""" | =NF($B71,"ID") | =NF(B71,"ProductNumber") | =SUBSTITUTE(D71," ","-") | =NF($B71,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B71,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C71,"Test","Luftwert","time",F71) | =VALUE(SUBSTITUTE(I71,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C71,"Test","mV N2","time",F71) | =VALUE(SUBSTITUTE(K71,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158056""" | =NF($B72,"ID") | =NF(B72,"ProductNumber") | =SUBSTITUTE(D72," ","-") | =NF($B72,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B72,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C72,"Test","Luftwert","time",F72) | =VALUE(SUBSTITUTE(I72,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C72,"Test","mV N2","time",F72) | =VALUE(SUBSTITUTE(K72,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158057""" | =NF($B73,"ID") | =NF(B73,"ProductNumber") | =SUBSTITUTE(D73," ","-") | =NF($B73,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B73,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C73,"Test","Luftwert","time",F73) | =VALUE(SUBSTITUTE(I73,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C73,"Test","mV N2","time",F73) | =VALUE(SUBSTITUTE(K73,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158058""" | =NF($B74,"ID") | =NF(B74,"ProductNumber") | =SUBSTITUTE(D74," ","-") | =NF($B74,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B74,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C74,"Test","Luftwert","time",F74) | =VALUE(SUBSTITUTE(I74,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C74,"Test","mV N2","time",F74) | =VALUE(SUBSTITUTE(K74,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158059""" | =NF($B75,"ID") | =NF(B75,"ProductNumber") | =SUBSTITUTE(D75," ","-") | =NF($B75,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B75,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C75,"Test","Luftwert","time",F75) | =VALUE(SUBSTITUTE(I75,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C75,"Test","mV N2","time",F75) | =VALUE(SUBSTITUTE(K75,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158060""" | =NF($B76,"ID") | =NF(B76,"ProductNumber") | =SUBSTITUTE(D76," ","-") | =NF($B76,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B76,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C76,"Test","Luftwert","time",F76) | =VALUE(SUBSTITUTE(I76,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C76,"Test","mV N2","time",F76) | =VALUE(SUBSTITUTE(K76,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158061""" | =NF($B77,"ID") | =NF(B77,"ProductNumber") | =SUBSTITUTE(D77," ","-") | =NF($B77,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B77,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C77,"Test","Luftwert","time",F77) | =VALUE(SUBSTITUTE(I77,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C77,"Test","mV N2","time",F77) | =VALUE(SUBSTITUTE(K77,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158063""" | =NF($B78,"ID") | =NF(B78,"ProductNumber") | =SUBSTITUTE(D78," ","-") | =NF($B78,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B78,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C78,"Test","Luftwert","time",F78) | =VALUE(SUBSTITUTE(I78,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C78,"Test","mV N2","time",F78) | =VALUE(SUBSTITUTE(K78,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158064""" | =NF($B79,"ID") | =NF(B79,"ProductNumber") | =SUBSTITUTE(D79," ","-") | =NF($B79,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B79,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C79,"Test","Luftwert","time",F79) | =VALUE(SUBSTITUTE(I79,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C79,"Test","mV N2","time",F79) | =VALUE(SUBSTITUTE(K79,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158065""" | =NF($B80,"ID") | =NF(B80,"ProductNumber") | =SUBSTITUTE(D80," ","-") | =NF($B80,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B80,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C80,"Test","Luftwert","time",F80) | =VALUE(SUBSTITUTE(I80,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C80,"Test","mV N2","time",F80) | =VALUE(SUBSTITUTE(K80,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158066""" | =NF($B81,"ID") | =NF(B81,"ProductNumber") | =SUBSTITUTE(D81," ","-") | =NF($B81,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B81,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C81,"Test","Luftwert","time",F81) | =VALUE(SUBSTITUTE(I81,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C81,"Test","mV N2","time",F81) | =VALUE(SUBSTITUTE(K81,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158067""" | =NF($B82,"ID") | =NF(B82,"ProductNumber") | =SUBSTITUTE(D82," ","-") | =NF($B82,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B82,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C82,"Test","Luftwert","time",F82) | =VALUE(SUBSTITUTE(I82,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C82,"Test","mV N2","time",F82) | =VALUE(SUBSTITUTE(K82,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158068""" | =NF($B83,"ID") | =NF(B83,"ProductNumber") | =SUBSTITUTE(D83," ","-") | =NF($B83,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B83,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C83,"Test","Luftwert","time",F83) | =VALUE(SUBSTITUTE(I83,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C83,"Test","mV N2","time",F83) | =VALUE(SUBSTITUTE(K83,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158069""" | =NF($B84,"ID") | =NF(B84,"ProductNumber") | =SUBSTITUTE(D84," ","-") | =NF($B84,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B84,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C84,"Test","Luftwert","time",F84) | =VALUE(SUBSTITUTE(I84,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C84,"Test","mV N2","time",F84) | =VALUE(SUBSTITUTE(K84,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158070""" | =NF($B85,"ID") | =NF(B85,"ProductNumber") | =SUBSTITUTE(D85," ","-") | =NF($B85,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B85,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C85,"Test","Luftwert","time",F85) | =VALUE(SUBSTITUTE(I85,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C85,"Test","mV N2","time",F85) | =VALUE(SUBSTITUTE(K85,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158071""" | =NF($B86,"ID") | =NF(B86,"ProductNumber") | =SUBSTITUTE(D86," ","-") | =NF($B86,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B86,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C86,"Test","Luftwert","time",F86) | =VALUE(SUBSTITUTE(I86,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C86,"Test","mV N2","time",F86) | =VALUE(SUBSTITUTE(K86,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158072""" | =NF($B87,"ID") | =NF(B87,"ProductNumber") | =SUBSTITUTE(D87," ","-") | =NF($B87,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B87,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C87,"Test","Luftwert","time",F87) | =VALUE(SUBSTITUTE(I87,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C87,"Test","mV N2","time",F87) | =VALUE(SUBSTITUTE(K87,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158073""" | =NF($B88,"ID") | =NF(B88,"ProductNumber") | =SUBSTITUTE(D88," ","-") | =NF($B88,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B88,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C88,"Test","Luftwert","time",F88) | =VALUE(SUBSTITUTE(I88,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C88,"Test","mV N2","time",F88) | =VALUE(SUBSTITUTE(K88,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158074""" | =NF($B89,"ID") | =NF(B89,"ProductNumber") | =SUBSTITUTE(D89," ","-") | =NF($B89,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B89,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C89,"Test","Luftwert","time",F89) | =VALUE(SUBSTITUTE(I89,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C89,"Test","mV N2","time",F89) | =VALUE(SUBSTITUTE(K89,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158075""" | =NF($B90,"ID") | =NF(B90,"ProductNumber") | =SUBSTITUTE(D90," ","-") | =NF($B90,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B90,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C90,"Test","Luftwert","time",F90) | =VALUE(SUBSTITUTE(I90,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C90,"Test","mV N2","time",F90) | =VALUE(SUBSTITUTE(K90,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158076""" | =NF($B91,"ID") | =NF(B91,"ProductNumber") | =SUBSTITUTE(D91," ","-") | =NF($B91,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B91,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C91,"Test","Luftwert","time",F91) | =VALUE(SUBSTITUTE(I91,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C91,"Test","mV N2","time",F91) | =VALUE(SUBSTITUTE(K91,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158077""" | =NF($B92,"ID") | =NF(B92,"ProductNumber") | =SUBSTITUTE(D92," ","-") | =NF($B92,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B92,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C92,"Test","Luftwert","time",F92) | =VALUE(SUBSTITUTE(I92,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C92,"Test","mV N2","time",F92) | =VALUE(SUBSTITUTE(K92,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158079""" | =NF($B93,"ID") | =NF(B93,"ProductNumber") | =SUBSTITUTE(D93," ","-") | =NF($B93,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B93,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C93,"Test","Luftwert","time",F93) | =VALUE(SUBSTITUTE(I93,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C93,"Test","mV N2","time",F93) | =VALUE(SUBSTITUTE(K93,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158080""" | =NF($B94,"ID") | =NF(B94,"ProductNumber") | =SUBSTITUTE(D94," ","-") | =NF($B94,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B94,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C94,"Test","Luftwert","time",F94) | =VALUE(SUBSTITUTE(I94,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C94,"Test","mV N2","time",F94) | =VALUE(SUBSTITUTE(K94,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158081""" | =NF($B95,"ID") | =NF(B95,"ProductNumber") | =SUBSTITUTE(D95," ","-") | =NF($B95,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B95,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C95,"Test","Luftwert","time",F95) | =VALUE(SUBSTITUTE(I95,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C95,"Test","mV N2","time",F95) | =VALUE(SUBSTITUTE(K95,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158082""" | =NF($B96,"ID") | =NF(B96,"ProductNumber") | =SUBSTITUTE(D96," ","-") | =NF($B96,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B96,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C96,"Test","Luftwert","time",F96) | =VALUE(SUBSTITUTE(I96,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C96,"Test","mV N2","time",F96) | =VALUE(SUBSTITUTE(K96,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158083""" | =NF($B97,"ID") | =NF(B97,"ProductNumber") | =SUBSTITUTE(D97," ","-") | =NF($B97,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B97,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C97,"Test","Luftwert","time",F97) | =VALUE(SUBSTITUTE(I97,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C97,"Test","mV N2","time",F97) | =VALUE(SUBSTITUTE(K97,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158084""" | =NF($B98,"ID") | =NF(B98,"ProductNumber") | =SUBSTITUTE(D98," ","-") | =NF($B98,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B98,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C98,"Test","Luftwert","time",F98) | =VALUE(SUBSTITUTE(I98,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C98,"Test","mV N2","time",F98) | =VALUE(SUBSTITUTE(K98,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158085""" | =NF($B99,"ID") | =NF(B99,"ProductNumber") | =SUBSTITUTE(D99," ","-") | =NF($B99,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B99,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C99,"Test","Luftwert","time",F99) | =VALUE(SUBSTITUTE(I99,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C99,"Test","mV N2","time",F99) | =VALUE(SUBSTITUTE(K99,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158086""" | =NF($B100,"ID") | =NF(B100,"ProductNumber") | =SUBSTITUTE(D100," ","-") | =NF($B100,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B100,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C100,"Test","Luftwert","time",F100) | =VALUE(SUBSTITUTE(I100,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C100,"Test","mV N2","time",F100) | =VALUE(SUBSTITUTE(K100,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158087""" | =NF($B101,"ID") | =NF(B101,"ProductNumber") | =SUBSTITUTE(D101," ","-") | =NF($B101,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B101,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C101,"Test","Luftwert","time",F101) | =VALUE(SUBSTITUTE(I101,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C101,"Test","mV N2","time",F101) | =VALUE(SUBSTITUTE(K101,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158088""" | =NF($B102,"ID") | =NF(B102,"ProductNumber") | =SUBSTITUTE(D102," ","-") | =NF($B102,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B102,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C102,"Test","Luftwert","time",F102) | =VALUE(SUBSTITUTE(I102,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C102,"Test","mV N2","time",F102) | =VALUE(SUBSTITUTE(K102,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158089""" | =NF($B103,"ID") | =NF(B103,"ProductNumber") | =SUBSTITUTE(D103," ","-") | =NF($B103,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B103,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C103,"Test","Luftwert","time",F103) | =VALUE(SUBSTITUTE(I103,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C103,"Test","mV N2","time",F103) | =VALUE(SUBSTITUTE(K103,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158090""" | =NF($B104,"ID") | =NF(B104,"ProductNumber") | =SUBSTITUTE(D104," ","-") | =NF($B104,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B104,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C104,"Test","Luftwert","time",F104) | =VALUE(SUBSTITUTE(I104,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C104,"Test","mV N2","time",F104) | =VALUE(SUBSTITUTE(K104,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2158091""" | =NF($B105,"ID") | =NF(B105,"ProductNumber") | =SUBSTITUTE(D105," ","-") | =NF($B105,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B105,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C105,"Test","Luftwert","time",F105) | =VALUE(SUBSTITUTE(I105,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C105,"Test","mV N2","time",F105) | =VALUE(SUBSTITUTE(K105,".",","))*1000 |  |  | +