## Optionen (hidden)
Auto+Ausblenden+Werte+BlattAusblenden | Titel | Wert | Lookup
Option | Debitor | VIAMED
Option | Debitornummer | D10856
Option | Seriennummer | V0 2721..V0 2770
Option | Referenz (VB-Nr.) | 118531
Option | Artikelnr. | *
Option | Artikel-Referenznr. | 110040

## Tabelle1
Auto+Ausblenden+Formulas=Tabelle4,Tabelle2,Tabelle3 | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen | Anpassen | Anpassen | Ausblenden | Anpassen | Ausblenden | Anpassen
[9 empty] | VIAMED PART No. |  | 110040
|  | ID | ProductNumber | Nav. Nr. | Datum | SENSORTYP | LABELNR | LUFTWERT1 | LUFTWERT1 | OFFSET1 | OFFSET1 | LUFTWERT2 | OFFSET2 | WERTUNG
[8 empty] | µV | µV | µV | µV | µV | µV
| "retrace Produktion","","product","ID","2261263" | 2261263 | 01-00-0098 | 01-00-0098 | 2015-07-16 11:02 | OOM110 | V0 2721 | 10.581 | 10581000 | 0.019 | 19000 |  |  | +
Auto | "retrace Produktion","","product","ID","2261264" | 2261264 | 01-00-0098 | 01-00-0098 | 2015-07-16 11:02 | OOM110 | V0 2722 | 10.596 | 10596000 | 0.025 | 25000 |  |  | +
Auto | "retrace Produktion","","product","ID","2261265" | 2261265 | 01-00-0098 | 01-00-0098 | 2015-07-16 11:02 | OOM110 | V0 2723 | 10.602 | 10602000 | 0.020 | 20000 |  |  | +
Auto | "retrace Produktion","","product","ID","2261266" | 2261266 | 01-00-0098 | 01-00-0098 | 2015-07-16 11:02 | OOM110 | V0 2724 | 10.696 | 10696000 | 0.019 | 19000 |  |  | +
Auto | "retrace Produktion","","product","ID","2261267" | 2261267 | 01-00-0098 | 01-00-0098 | 2015-07-16 11:02 | OOM110 | V0 2725 | 10.628 | 10628000 | 0.021 | 21000 |  |  | +
Auto | "retrace Produktion","","product","ID","2261268" | 2261268 | 01-00-0098 | 01-00-0098 | 2015-07-16 11:02 | OOM110 | V0 2726 | 10.722 | 10722000 | 0.023 | 23000 |  |  | +
Auto | "retrace Produktion","","product","ID","2261269" | 2261269 | 01-00-0098 | 01-00-0098 | 2015-07-16 11:02 | OOM110 | V0 2727 | 10.740 | 10740000 | 0.021 | 21000 |  |  | +
Auto | "retrace Produktion","","product","ID","2261270" | 2261270 | 01-00-0098 | 01-00-0098 | 2015-07-16 11:02 | OOM110 | V0 2728 | 10.564 | 10564000 | 0.022 | 22000 |  |  | +
Auto | "retrace Produktion","","product","ID","2261287" | 2261287 | 01-00-0098 | 01-00-0098 | 2015-07-16 11:10 | OOM110 | V0 2729 | 10.581 | 10581000 | 0.019 | 19000 |  |  | +
Auto | "retrace Produktion","","product","ID","2261288" | 2261288 | 01-00-0098 | 01-00-0098 | 2015-07-16 11:10 | OOM110 | V0 2730 | 10.478 | 10478000 | 0.021 | 21000 |  |  | +
Auto | "retrace Produktion","","product","ID","2261289" | 2261289 | 01-00-0098 | 01-00-0098 | 2015-07-16 11:10 | OOM110 | V0 2731 | 10.630 | 10630000 | 0.022 | 22000 |  |  | +
Auto | "retrace Produktion","","product","ID","2261290" | 2261290 | 01-00-0098 | 01-00-0098 | 2015-07-16 11:10 | OOM110 | V0 2732 | 10.471 | 10471000 | 0.024 | 24000 |  |  | +
Auto | "retrace Produktion","","product","ID","2261291" | 2261291 | 01-00-0098 | 01-00-0098 | 2015-07-16 11:10 | OOM110 | V0 2733 | 10.609 | 10609000 | 0.019 | 19000 |  |  | +
Auto | "retrace Produktion","","product","ID","2261292" | 2261292 | 01-00-0098 | 01-00-0098 | 2015-07-16 11:10 | OOM110 | V0 2734 | 10.469 | 10469000 | 0.019 | 19000 |  |  | +
Auto | "retrace Produktion","","product","ID","2261293" | 2261293 | 01-00-0098 | 01-00-0098 | 2015-07-16 11:10 | OOM110 | V0 2735 | 10.674 | 10674000 | 0.020 | 20000 |  |  | +
Auto | "retrace Produktion","","product","ID","2261294" | 2261294 | 01-00-0098 | 01-00-0098 | 2015-07-16 11:10 | OOM110 | V0 2736 | 10.673 | 10673000 | 0.020 | 20000 |  |  | +
Auto | "retrace Produktion","","product","ID","2261295" | 2261295 | 01-00-0098 | 01-00-0098 | 2015-07-16 11:19 | OOM110 | V0 2737 | 10.734 | 10734000 | 0.017 | 17000 |  |  | +
Auto | "retrace Produktion","","product","ID","2261296" | 2261296 | 01-00-0098 | 01-00-0098 | 2015-07-16 11:19 | OOM110 | V0 2738 | 10.737 | 10737000 | 0.022 | 22000 |  |  | +
Auto | "retrace Produktion","","product","ID","2261297" | 2261297 | 01-00-0098 | 01-00-0098 | 2015-07-16 11:19 | OOM110 | V0 2739 | 10.851 | 10851000 | 0.028 | 28000 |  |  | +
Auto | "retrace Produktion","","product","ID","2261298" | 2261298 | 01-00-0098 | 01-00-0098 | 2015-07-16 11:19 | OOM110 | V0 2740 | 10.617 | 10617000 | 0.024 | 24000 |  |  | +
Auto | "retrace Produktion","","product","ID","2261299" | 2261299 | 01-00-0098 | 01-00-0098 | 2015-07-16 11:19 | OOM110 | V0 2741 | 10.816 | 10816000 | 0.021 | 21000 |  |  | +
Auto | "retrace Produktion","","product","ID","2261300" | 2261300 | 01-00-0098 | 01-00-0098 | 2015-07-16 11:19 | OOM110 | V0 2742 | 10.745 | 10745000 | 0.019 | 19000 |  |  | +
Auto | "retrace Produktion","","product","ID","2261301" | 2261301 | 01-00-0098 | 01-00-0098 | 2015-07-16 11:19 | OOM110 | V0 2743 | 10.809 | 10809000 | 0.018 | 18000 |  |  | +
Auto | "retrace Produktion","","product","ID","2261302" | 2261302 | 01-00-0098 | 01-00-0098 | 2015-07-16 11:19 | OOM110 | V0 2744 | 10.841 | 10841000 | 0.022 | 22000 |  |  | +
Auto | "retrace Produktion","","product","ID","2261319" | 2261319 | 01-00-0098 | 01-00-0098 | 2015-07-16 11:26 | OOM110 | V0 2745 | 10.925 | 10925000 | 0.019 | 19000 |  |  | +
Auto | "retrace Produktion","","product","ID","2261320" | 2261320 | 01-00-0098 | 01-00-0098 | 2015-07-16 11:26 | OOM110 | V0 2746 | 10.648 | 10648000 | 0.021 | 21000 |  |  | +
Auto | "retrace Produktion","","product","ID","2261321" | 2261321 | 01-00-0098 | 01-00-0098 | 2015-07-16 11:26 | OOM110 | V0 2747 | 10.742 | 10742000 | 0.022 | 22000 |  |  | +
Auto | "retrace Produktion","","product","ID","2261322" | 2261322 | 01-00-0098 | 01-00-0098 | 2015-07-16 11:26 | OOM110 | V0 2748 | 10.701 | 10701000 | 0.020 | 20000 |  |  | +
Auto | "retrace Produktion","","product","ID","2261323" | 2261323 | 01-00-0098 | 01-00-0098 | 2015-07-16 11:26 | OOM110 | V0 2749 | 10.700 | 10700000 | 0.022 | 22000 |  |  | +
Auto | "retrace Produktion","","product","ID","2261324" | 2261324 | 01-00-0098 | 01-00-0098 | 2015-07-16 11:26 | OOM110 | V0 2750 | 10.664 | 10664000 | 0.022 | 22000 |  |  | +
Auto | "retrace Produktion","","product","ID","2261325" | 2261325 | 01-00-0098 | 01-00-0098 | 2015-07-16 11:26 | OOM110 | V0 2751 | 10.783 | 10783000 | 0.020 | 20000 |  |  | +
Auto | "retrace Produktion","","product","ID","2261326" | 2261326 | 01-00-0098 | 01-00-0098 | 2015-07-16 11:26 | OOM110 | V0 2752 | 10.669 | 10669000 | 0.019 | 19000 |  |  | +
Auto | "retrace Produktion","","product","ID","2261327" | 2261327 | 01-00-0098 | 01-00-0098 | 2015-07-16 11:32 | OOM110 | V0 2753 | 10.634 | 10634000 | 0.018 | 18000 |  |  | +
Auto | "retrace Produktion","","product","ID","2261328" | 2261328 | 01-00-0098 | 01-00-0098 | 2015-07-16 11:32 | OOM110 | V0 2754 | 10.720 | 10720000 | 0.022 | 22000 |  |  | +
Auto | "retrace Produktion","","product","ID","2261329" | 2261329 | 01-00-0098 | 01-00-0098 | 2015-07-16 11:32 | OOM110 | V0 2755 | 10.692 | 10692000 | 0.022 | 22000 |  |  | +
Auto | "retrace Produktion","","product","ID","2261330" | 2261330 | 01-00-0098 | 01-00-0098 | 2015-07-16 11:32 | OOM110 | V0 2756 | 10.654 | 10654000 | 0.022 | 22000 |  |  | +
Auto | "retrace Produktion","","product","ID","2261331" | 2261331 | 01-00-0098 | 01-00-0098 | 2015-07-16 11:32 | OOM110 | V0 2757 | 10.623 | 10623000 | 0.020 | 20000 |  |  | +
Auto | "retrace Produktion","","product","ID","2261332" | 2261332 | 01-00-0098 | 01-00-0098 | 2015-07-16 11:32 | OOM110 | V0 2758 | 10.886 | 10886000 | 0.024 | 24000 |  |  | +
Auto | "retrace Produktion","","product","ID","2261333" | 2261333 | 01-00-0098 | 01-00-0098 | 2015-07-16 11:32 | OOM110 | V0 2759 | 10.693 | 10693000 | 0.019 | 19000 |  |  | +
Auto | "retrace Produktion","","product","ID","2261334" | 2261334 | 01-00-0098 | 01-00-0098 | 2015-07-16 11:32 | OOM110 | V0 2760 | 10.678 | 10678000 | 0.021 | 21000 |  |  | +
Auto | "retrace Produktion","","product","ID","2261335" | 2261335 | 01-00-0098 | 01-00-0098 | 2015-07-16 11:42 | OOM110 | V0 2761 | 10.589 | 10589000 | 0.014 | 14000 |  |  | +
Auto | "retrace Produktion","","product","ID","2261336" | 2261336 | 01-00-0098 | 01-00-0098 | 2015-07-16 11:42 | OOM110 | V0 2762 | 10.680 | 10680000 | 0.019 | 19000 |  |  | +
Auto | "retrace Produktion","","product","ID","2261337" | 2261337 | 01-00-0098 | 01-00-0098 | 2015-07-16 11:42 | OOM110 | V0 2763 | 10.830 | 10830000 | 0.021 | 21000 |  |  | +
Auto | "retrace Produktion","","product","ID","2261338" | 2261338 | 01-00-0098 | 01-00-0098 | 2015-07-16 11:42 | OOM110 | V0 2764 | 10.670 | 10670000 | 0.024 | 24000 |  |  | +
Auto | "retrace Produktion","","product","ID","2261339" | 2261339 | 01-00-0098 | 01-00-0098 | 2015-07-16 11:42 | OOM110 | V0 2765 | 10.761 | 10761000 | 0.023 | 23000 |  |  | +
Auto | "retrace Produktion","","product","ID","2261340" | 2261340 | 01-00-0098 | 01-00-0098 | 2015-07-16 11:42 | OOM110 | V0 2766 | 10.825 | 10825000 | 0.024 | 24000 |  |  | +
Auto | "retrace Produktion","","product","ID","2261341" | 2261341 | 01-00-0098 | 01-00-0098 | 2015-07-16 11:42 | OOM110 | V0 2767 | 10.642 | 10642000 | 0.020 | 20000 |  |  | +
Auto | "retrace Produktion","","product","ID","2261342" | 2261342 | 01-00-0098 | 01-00-0098 | 2015-07-16 11:42 | OOM110 | V0 2768 | 10.829 | 10829000 | 0.020 | 20000 |  |  | +
Auto | "retrace Produktion","","product","ID","2261359" | 2261359 | 01-00-0098 | 01-00-0098 | 2015-07-16 11:50 | OOM110 | V0 2769 | 10.621 | 10621000 | 0.015 | 15000 |  |  | +
Auto | "retrace Produktion","","product","ID","2261360" | 2261360 | 01-00-0098 | 01-00-0098 | 2015-07-16 11:50 | OOM110 | V0 2770 | 10.718 | 10718000 | 0.021 | 21000 |  |  | +

## Tabelle2 (hidden)
Auto+Ausblenden+Formulas=Tabelle2,Tabelle3+FormulasOnly | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen | Anpassen | Anpassen | Ausblenden | Anpassen | Ausblenden | Anpassen
[9 empty] | =CONCATENATE('R:\PRODUKT.001\PHA\Fertigungsunterlagen\Pruefungen\Angaben zur Endkontrolle\Lieferzertifikate\VIAMED & VANDAGRAPH\[Prüfprotokoll_Viamed& Vandagraph.xls]Optionen'!C2," PART No.") |  | =NL("Zeilen","Artikelreferenz","Referenznr.","Datenquelle=","Echtserver Wismar","Artikelnr.",E6,"Referenzartennr.",Optionen!C3,"Referenznr.",Optionen!C7)
|  | ID | ProductNumber | Nav. Nr. | Datum | SENSORTYP | LABELNR | LUFTWERT1 | LUFTWERT1 | OFFSET1 | OFFSET1 | LUFTWERT2 | OFFSET2 | WERTUNG
[8 empty] | µV | µV | µV | µV | µV | µV
| =NL("Zeilen","product",,"Datenquelle=","retrace Produktion","CustomerID",Optionen!C2,"ProductSerial",Optionen!C4,"Reference",Optionen!C5,"ProductNumber",Optionen!C6) | =NF($B6,"ID") | =NF(B6,"ProductNumber") | =SUBSTITUTE(D6," ","-") | =NF($B6,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B6,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C6,"Test","Luft","time",F6) | =VALUE(SUBSTITUTE(I6,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C6,"Test","N2","time",F6) | =VALUE(SUBSTITUTE(K6,".",","))*1000 |  |  | +

## Tabelle3 (hidden)
Auto+Ausblenden+Formulas=Tabelle2,Tabelle3+FormulasOnly | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen | Anpassen | Anpassen | Ausblenden | Anpassen | Ausblenden | Anpassen
[9 empty] | =VERKETTEN('R:\PRODUKT.001\PHA\Fertigungsunterlagen\Pruefungen\Angaben zur Endkontrolle\Lieferzertifikate\VIAMED & VANDAGRAPH\[Prüfprotokoll_Viamed& Vandagraph.xls]Optionen'!C2;" PART No.") |  | =NL("Zeilen";"Artikelreferenz";"Referenznr.";"Datenquelle=";"Echtserver Wismar";"Artikelnr.";E6;"Referenzartennr.";Optionen!C3;"Referenznr.";Optionen!C7)
|  | ID | ProductNumber | Nav. Nr. | Datum | SENSORTYP | LABELNR | LUFTWERT1 | LUFTWERT1 | OFFSET1 | OFFSET1 | LUFTWERT2 | OFFSET2 | WERTUNG
[8 empty] | µV | µV | µV | µV | µV | µV
| =NL("Zeilen";"product";;"Datenquelle=";"retrace Produktion";"CustomerID";Optionen!C2;"ProductSerial";Optionen!C4;"Reference";Optionen!C5;"ProductNumber";Optionen!C6) | =NF($B6;"ID") | =NF(B6;"ProductNumber") | =WECHSELN(D6;" ";"-") | =NF($B6;"Time") | =NL("Zeilen";"Artikel";"Beschreibung 2";"Datenquelle=";"Echtserver Wismar";"Nr.";$E$6) | =NF($B6;"ProductSerial") | =NL("Zeilen";"testprotocol";"Value";"Datenquelle=";"retrace Produktion";"ProductID";C6;"Test";"Luft";"time";F6) | =WERT(WECHSELN(I6;".";","))*1000 | =NL("Zeilen";"testprotocol";"Value";"Datenquelle=";"retrace Produktion";"ProductID";C6;"Test";"N2";"time";F6) | =WERT(WECHSELN(K6;".";","))*1000 |  |  | +

## Tabelle4 (hidden)
Auto+Ausblenden+Formulas=Tabelle4,Tabelle2,Tabelle3+FormulasOnly | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen | Anpassen | Anpassen | Ausblenden | Anpassen | Ausblenden | Anpassen
[9 empty] | =CONCATENATE(Optionen!C2," PART No.") |  | =NL("Zeilen","Artikelreferenz","Referenznr.","Datenquelle=","Echtserver Wismar","Artikelnr.",E6,"Referenzartennr.",Optionen!C3,"Referenznr.",Optionen!C7)
|  | ID | ProductNumber | Nav. Nr. | Datum | SENSORTYP | LABELNR | LUFTWERT1 | LUFTWERT1 | OFFSET1 | OFFSET1 | LUFTWERT2 | OFFSET2 | WERTUNG
[8 empty] | µV | µV | µV | µV | µV | µV
| =NL("Zeilen","product",,"Datenquelle=","retrace Produktion","CustomerID",Optionen!C2,"ProductSerial",Optionen!C4,"Reference",Optionen!C5,"ProductNumber",Optionen!C6) | =NF($B6,"ID") | =NF(B6,"ProductNumber") | =SUBSTITUTE(D6," ","-") | =NF($B6,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B6,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C6,"Test","Luft","time",F6) | =VALUE(SUBSTITUTE(I6,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C6,"Test","N2","time",F6) | =VALUE(SUBSTITUTE(K6,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2261264""" | =NF($B7,"ID") | =NF(B7,"ProductNumber") | =SUBSTITUTE(D7," ","-") | =NF($B7,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B7,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C7,"Test","Luft","time",F7) | =VALUE(SUBSTITUTE(I7,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C7,"Test","N2","time",F7) | =VALUE(SUBSTITUTE(K7,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2261265""" | =NF($B8,"ID") | =NF(B8,"ProductNumber") | =SUBSTITUTE(D8," ","-") | =NF($B8,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B8,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C8,"Test","Luft","time",F8) | =VALUE(SUBSTITUTE(I8,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C8,"Test","N2","time",F8) | =VALUE(SUBSTITUTE(K8,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2261266""" | =NF($B9,"ID") | =NF(B9,"ProductNumber") | =SUBSTITUTE(D9," ","-") | =NF($B9,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B9,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C9,"Test","Luft","time",F9) | =VALUE(SUBSTITUTE(I9,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C9,"Test","N2","time",F9) | =VALUE(SUBSTITUTE(K9,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2261267""" | =NF($B10,"ID") | =NF(B10,"ProductNumber") | =SUBSTITUTE(D10," ","-") | =NF($B10,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B10,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C10,"Test","Luft","time",F10) | =VALUE(SUBSTITUTE(I10,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C10,"Test","N2","time",F10) | =VALUE(SUBSTITUTE(K10,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2261268""" | =NF($B11,"ID") | =NF(B11,"ProductNumber") | =SUBSTITUTE(D11," ","-") | =NF($B11,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B11,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C11,"Test","Luft","time",F11) | =VALUE(SUBSTITUTE(I11,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C11,"Test","N2","time",F11) | =VALUE(SUBSTITUTE(K11,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2261269""" | =NF($B12,"ID") | =NF(B12,"ProductNumber") | =SUBSTITUTE(D12," ","-") | =NF($B12,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B12,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C12,"Test","Luft","time",F12) | =VALUE(SUBSTITUTE(I12,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C12,"Test","N2","time",F12) | =VALUE(SUBSTITUTE(K12,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2261270""" | =NF($B13,"ID") | =NF(B13,"ProductNumber") | =SUBSTITUTE(D13," ","-") | =NF($B13,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B13,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C13,"Test","Luft","time",F13) | =VALUE(SUBSTITUTE(I13,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C13,"Test","N2","time",F13) | =VALUE(SUBSTITUTE(K13,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2261287""" | =NF($B14,"ID") | =NF(B14,"ProductNumber") | =SUBSTITUTE(D14," ","-") | =NF($B14,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B14,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C14,"Test","Luft","time",F14) | =VALUE(SUBSTITUTE(I14,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C14,"Test","N2","time",F14) | =VALUE(SUBSTITUTE(K14,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2261288""" | =NF($B15,"ID") | =NF(B15,"ProductNumber") | =SUBSTITUTE(D15," ","-") | =NF($B15,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B15,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C15,"Test","Luft","time",F15) | =VALUE(SUBSTITUTE(I15,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C15,"Test","N2","time",F15) | =VALUE(SUBSTITUTE(K15,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2261289""" | =NF($B16,"ID") | =NF(B16,"ProductNumber") | =SUBSTITUTE(D16," ","-") | =NF($B16,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B16,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C16,"Test","Luft","time",F16) | =VALUE(SUBSTITUTE(I16,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C16,"Test","N2","time",F16) | =VALUE(SUBSTITUTE(K16,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2261290""" | =NF($B17,"ID") | =NF(B17,"ProductNumber") | =SUBSTITUTE(D17," ","-") | =NF($B17,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B17,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C17,"Test","Luft","time",F17) | =VALUE(SUBSTITUTE(I17,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C17,"Test","N2","time",F17) | =VALUE(SUBSTITUTE(K17,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2261291""" | =NF($B18,"ID") | =NF(B18,"ProductNumber") | =SUBSTITUTE(D18," ","-") | =NF($B18,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B18,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C18,"Test","Luft","time",F18) | =VALUE(SUBSTITUTE(I18,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C18,"Test","N2","time",F18) | =VALUE(SUBSTITUTE(K18,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2261292""" | =NF($B19,"ID") | =NF(B19,"ProductNumber") | =SUBSTITUTE(D19," ","-") | =NF($B19,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B19,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C19,"Test","Luft","time",F19) | =VALUE(SUBSTITUTE(I19,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C19,"Test","N2","time",F19) | =VALUE(SUBSTITUTE(K19,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2261293""" | =NF($B20,"ID") | =NF(B20,"ProductNumber") | =SUBSTITUTE(D20," ","-") | =NF($B20,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B20,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C20,"Test","Luft","time",F20) | =VALUE(SUBSTITUTE(I20,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C20,"Test","N2","time",F20) | =VALUE(SUBSTITUTE(K20,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2261294""" | =NF($B21,"ID") | =NF(B21,"ProductNumber") | =SUBSTITUTE(D21," ","-") | =NF($B21,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B21,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C21,"Test","Luft","time",F21) | =VALUE(SUBSTITUTE(I21,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C21,"Test","N2","time",F21) | =VALUE(SUBSTITUTE(K21,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2261295""" | =NF($B22,"ID") | =NF(B22,"ProductNumber") | =SUBSTITUTE(D22," ","-") | =NF($B22,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B22,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C22,"Test","Luft","time",F22) | =VALUE(SUBSTITUTE(I22,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C22,"Test","N2","time",F22) | =VALUE(SUBSTITUTE(K22,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2261296""" | =NF($B23,"ID") | =NF(B23,"ProductNumber") | =SUBSTITUTE(D23," ","-") | =NF($B23,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B23,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C23,"Test","Luft","time",F23) | =VALUE(SUBSTITUTE(I23,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C23,"Test","N2","time",F23) | =VALUE(SUBSTITUTE(K23,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2261297""" | =NF($B24,"ID") | =NF(B24,"ProductNumber") | =SUBSTITUTE(D24," ","-") | =NF($B24,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B24,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C24,"Test","Luft","time",F24) | =VALUE(SUBSTITUTE(I24,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C24,"Test","N2","time",F24) | =VALUE(SUBSTITUTE(K24,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2261298""" | =NF($B25,"ID") | =NF(B25,"ProductNumber") | =SUBSTITUTE(D25," ","-") | =NF($B25,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B25,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C25,"Test","Luft","time",F25) | =VALUE(SUBSTITUTE(I25,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C25,"Test","N2","time",F25) | =VALUE(SUBSTITUTE(K25,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2261299""" | =NF($B26,"ID") | =NF(B26,"ProductNumber") | =SUBSTITUTE(D26," ","-") | =NF($B26,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B26,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C26,"Test","Luft","time",F26) | =VALUE(SUBSTITUTE(I26,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C26,"Test","N2","time",F26) | =VALUE(SUBSTITUTE(K26,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2261300""" | =NF($B27,"ID") | =NF(B27,"ProductNumber") | =SUBSTITUTE(D27," ","-") | =NF($B27,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B27,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C27,"Test","Luft","time",F27) | =VALUE(SUBSTITUTE(I27,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C27,"Test","N2","time",F27) | =VALUE(SUBSTITUTE(K27,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2261301""" | =NF($B28,"ID") | =NF(B28,"ProductNumber") | =SUBSTITUTE(D28," ","-") | =NF($B28,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B28,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C28,"Test","Luft","time",F28) | =VALUE(SUBSTITUTE(I28,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C28,"Test","N2","time",F28) | =VALUE(SUBSTITUTE(K28,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2261302""" | =NF($B29,"ID") | =NF(B29,"ProductNumber") | =SUBSTITUTE(D29," ","-") | =NF($B29,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B29,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C29,"Test","Luft","time",F29) | =VALUE(SUBSTITUTE(I29,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C29,"Test","N2","time",F29) | =VALUE(SUBSTITUTE(K29,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2261319""" | =NF($B30,"ID") | =NF(B30,"ProductNumber") | =SUBSTITUTE(D30," ","-") | =NF($B30,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B30,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C30,"Test","Luft","time",F30) | =VALUE(SUBSTITUTE(I30,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C30,"Test","N2","time",F30) | =VALUE(SUBSTITUTE(K30,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2261320""" | =NF($B31,"ID") | =NF(B31,"ProductNumber") | =SUBSTITUTE(D31," ","-") | =NF($B31,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B31,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C31,"Test","Luft","time",F31) | =VALUE(SUBSTITUTE(I31,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C31,"Test","N2","time",F31) | =VALUE(SUBSTITUTE(K31,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2261321""" | =NF($B32,"ID") | =NF(B32,"ProductNumber") | =SUBSTITUTE(D32," ","-") | =NF($B32,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B32,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C32,"Test","Luft","time",F32) | =VALUE(SUBSTITUTE(I32,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C32,"Test","N2","time",F32) | =VALUE(SUBSTITUTE(K32,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2261322""" | =NF($B33,"ID") | =NF(B33,"ProductNumber") | =SUBSTITUTE(D33," ","-") | =NF($B33,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B33,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C33,"Test","Luft","time",F33) | =VALUE(SUBSTITUTE(I33,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C33,"Test","N2","time",F33) | =VALUE(SUBSTITUTE(K33,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2261323""" | =NF($B34,"ID") | =NF(B34,"ProductNumber") | =SUBSTITUTE(D34," ","-") | =NF($B34,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B34,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C34,"Test","Luft","time",F34) | =VALUE(SUBSTITUTE(I34,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C34,"Test","N2","time",F34) | =VALUE(SUBSTITUTE(K34,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2261324""" | =NF($B35,"ID") | =NF(B35,"ProductNumber") | =SUBSTITUTE(D35," ","-") | =NF($B35,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B35,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C35,"Test","Luft","time",F35) | =VALUE(SUBSTITUTE(I35,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C35,"Test","N2","time",F35) | =VALUE(SUBSTITUTE(K35,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2261325""" | =NF($B36,"ID") | =NF(B36,"ProductNumber") | =SUBSTITUTE(D36," ","-") | =NF($B36,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B36,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C36,"Test","Luft","time",F36) | =VALUE(SUBSTITUTE(I36,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C36,"Test","N2","time",F36) | =VALUE(SUBSTITUTE(K36,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2261326""" | =NF($B37,"ID") | =NF(B37,"ProductNumber") | =SUBSTITUTE(D37," ","-") | =NF($B37,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B37,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C37,"Test","Luft","time",F37) | =VALUE(SUBSTITUTE(I37,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C37,"Test","N2","time",F37) | =VALUE(SUBSTITUTE(K37,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2261327""" | =NF($B38,"ID") | =NF(B38,"ProductNumber") | =SUBSTITUTE(D38," ","-") | =NF($B38,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B38,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C38,"Test","Luft","time",F38) | =VALUE(SUBSTITUTE(I38,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C38,"Test","N2","time",F38) | =VALUE(SUBSTITUTE(K38,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2261328""" | =NF($B39,"ID") | =NF(B39,"ProductNumber") | =SUBSTITUTE(D39," ","-") | =NF($B39,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B39,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C39,"Test","Luft","time",F39) | =VALUE(SUBSTITUTE(I39,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C39,"Test","N2","time",F39) | =VALUE(SUBSTITUTE(K39,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2261329""" | =NF($B40,"ID") | =NF(B40,"ProductNumber") | =SUBSTITUTE(D40," ","-") | =NF($B40,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B40,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C40,"Test","Luft","time",F40) | =VALUE(SUBSTITUTE(I40,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C40,"Test","N2","time",F40) | =VALUE(SUBSTITUTE(K40,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2261330""" | =NF($B41,"ID") | =NF(B41,"ProductNumber") | =SUBSTITUTE(D41," ","-") | =NF($B41,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B41,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C41,"Test","Luft","time",F41) | =VALUE(SUBSTITUTE(I41,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C41,"Test","N2","time",F41) | =VALUE(SUBSTITUTE(K41,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2261331""" | =NF($B42,"ID") | =NF(B42,"ProductNumber") | =SUBSTITUTE(D42," ","-") | =NF($B42,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B42,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C42,"Test","Luft","time",F42) | =VALUE(SUBSTITUTE(I42,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C42,"Test","N2","time",F42) | =VALUE(SUBSTITUTE(K42,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2261332""" | =NF($B43,"ID") | =NF(B43,"ProductNumber") | =SUBSTITUTE(D43," ","-") | =NF($B43,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B43,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C43,"Test","Luft","time",F43) | =VALUE(SUBSTITUTE(I43,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C43,"Test","N2","time",F43) | =VALUE(SUBSTITUTE(K43,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2261333""" | =NF($B44,"ID") | =NF(B44,"ProductNumber") | =SUBSTITUTE(D44," ","-") | =NF($B44,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B44,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C44,"Test","Luft","time",F44) | =VALUE(SUBSTITUTE(I44,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C44,"Test","N2","time",F44) | =VALUE(SUBSTITUTE(K44,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2261334""" | =NF($B45,"ID") | =NF(B45,"ProductNumber") | =SUBSTITUTE(D45," ","-") | =NF($B45,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B45,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C45,"Test","Luft","time",F45) | =VALUE(SUBSTITUTE(I45,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C45,"Test","N2","time",F45) | =VALUE(SUBSTITUTE(K45,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2261335""" | =NF($B46,"ID") | =NF(B46,"ProductNumber") | =SUBSTITUTE(D46," ","-") | =NF($B46,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B46,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C46,"Test","Luft","time",F46) | =VALUE(SUBSTITUTE(I46,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C46,"Test","N2","time",F46) | =VALUE(SUBSTITUTE(K46,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2261336""" | =NF($B47,"ID") | =NF(B47,"ProductNumber") | =SUBSTITUTE(D47," ","-") | =NF($B47,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B47,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C47,"Test","Luft","time",F47) | =VALUE(SUBSTITUTE(I47,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C47,"Test","N2","time",F47) | =VALUE(SUBSTITUTE(K47,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2261337""" | =NF($B48,"ID") | =NF(B48,"ProductNumber") | =SUBSTITUTE(D48," ","-") | =NF($B48,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B48,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C48,"Test","Luft","time",F48) | =VALUE(SUBSTITUTE(I48,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C48,"Test","N2","time",F48) | =VALUE(SUBSTITUTE(K48,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2261338""" | =NF($B49,"ID") | =NF(B49,"ProductNumber") | =SUBSTITUTE(D49," ","-") | =NF($B49,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B49,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C49,"Test","Luft","time",F49) | =VALUE(SUBSTITUTE(I49,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C49,"Test","N2","time",F49) | =VALUE(SUBSTITUTE(K49,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2261339""" | =NF($B50,"ID") | =NF(B50,"ProductNumber") | =SUBSTITUTE(D50," ","-") | =NF($B50,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B50,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C50,"Test","Luft","time",F50) | =VALUE(SUBSTITUTE(I50,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C50,"Test","N2","time",F50) | =VALUE(SUBSTITUTE(K50,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2261340""" | =NF($B51,"ID") | =NF(B51,"ProductNumber") | =SUBSTITUTE(D51," ","-") | =NF($B51,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B51,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C51,"Test","Luft","time",F51) | =VALUE(SUBSTITUTE(I51,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C51,"Test","N2","time",F51) | =VALUE(SUBSTITUTE(K51,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2261341""" | =NF($B52,"ID") | =NF(B52,"ProductNumber") | =SUBSTITUTE(D52," ","-") | =NF($B52,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B52,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C52,"Test","Luft","time",F52) | =VALUE(SUBSTITUTE(I52,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C52,"Test","N2","time",F52) | =VALUE(SUBSTITUTE(K52,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2261342""" | =NF($B53,"ID") | =NF(B53,"ProductNumber") | =SUBSTITUTE(D53," ","-") | =NF($B53,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B53,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C53,"Test","Luft","time",F53) | =VALUE(SUBSTITUTE(I53,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C53,"Test","N2","time",F53) | =VALUE(SUBSTITUTE(K53,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2261359""" | =NF($B54,"ID") | =NF(B54,"ProductNumber") | =SUBSTITUTE(D54," ","-") | =NF($B54,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B54,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C54,"Test","Luft","time",F54) | =VALUE(SUBSTITUTE(I54,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C54,"Test","N2","time",F54) | =VALUE(SUBSTITUTE(K54,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2261360""" | =NF($B55,"ID") | =NF(B55,"ProductNumber") | =SUBSTITUTE(D55," ","-") | =NF($B55,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B55,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C55,"Test","Luft","time",F55) | =VALUE(SUBSTITUTE(I55,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C55,"Test","N2","time",F55) | =VALUE(SUBSTITUTE(K55,".",","))*1000 |  |  | +