## Optionen (hidden)
Auto+Ausblenden+Werte+BlattAusblenden | Titel | Wert | Lookup
Option | Debitor | Vandagraph
Option | Debitornummer | D17401
Option | Seriennummer | VMS 100661..VMS 100740
Option | Referenz (VB-Nr.) | 117838
Option | Artikelnr. | *
Option | Artikel-Referenznr. | 8010017

## Tabelle1
Auto+Ausblenden+Formulas=Tabelle2,Tabelle11,Tabelle12 | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen | Anpassen | Anpassen | Ausblenden | Anpassen | Ausblenden | Anpassen
[9 empty] | Vandagraph PART No. |  | 8010017
|  | ID | ProductNumber | Nav. Nr. | Datum | SENSORTYP | LABELNR | LUFTWERT1 | LUFTWERT1 | OFFSET1 | OFFSET1 | LUFTWERT2 | OFFSET2 | WERTUNG
[8 empty] | µV | µV | µV | µV | µV | µV
| "retrace Produktion","","product","ID","2228995" | 2228995 | 1001580 | 1001580 | 2015-06-01 13:31 | OOD103-1 | VMS 100661 | 11.678 | 11678000 | 0.058 | 58000 |  |  | +
Auto | "retrace Produktion","","product","ID","2228996" | 2228996 | 1001580 | 1001580 | 2015-06-01 13:31 | OOD103-1 | VMS 100662 | 11.637 | 11637000 | 0.044 | 44000 |  |  | +
Auto | "retrace Produktion","","product","ID","2228997" | 2228997 | 1001580 | 1001580 | 2015-06-01 13:31 | OOD103-1 | VMS 100663 | 11.679 | 11679000 | 0.051 | 51000 |  |  | +
Auto | "retrace Produktion","","product","ID","2228998" | 2228998 | 1001580 | 1001580 | 2015-06-01 13:31 | OOD103-1 | VMS 100664 | 11.636 | 11636000 | 0.053 | 53000 |  |  | +
Auto | "retrace Produktion","","product","ID","2228999" | 2228999 | 1001580 | 1001580 | 2015-06-01 13:31 | OOD103-1 | VMS 100665 | 11.473 | 11473000 | 0.051 | 51000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229000" | 2229000 | 1001580 | 1001580 | 2015-06-01 13:31 | OOD103-1 | VMS 100666 | 11.738 | 11738000 | 0.051 | 51000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229001" | 2229001 | 1001580 | 1001580 | 2015-06-01 13:31 | OOD103-1 | VMS 100667 | 11.459 | 11459000 | 0.048 | 48000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229002" | 2229002 | 1001580 | 1001580 | 2015-06-01 13:31 | OOD103-1 | VMS 100668 | 11.486 | 11486000 | 0.054 | 54000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229003" | 2229003 | 1001580 | 1001580 | 2015-06-01 13:31 | OOD103-1 | VMS 100669 | 11.462 | 11462000 | 0.053 | 53000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229004" | 2229004 | 1001580 | 1001580 | 2015-06-01 13:31 | OOD103-1 | VMS 100670 | 11.404 | 11404000 | 0.047 | 47000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229005" | 2229005 | 1001580 | 1001580 | 2015-06-01 13:31 | OOD103-1 | VMS 100671 | 11.558 | 11558000 | 0.043 | 43000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229006" | 2229006 | 1001580 | 1001580 | 2015-06-01 13:31 | OOD103-1 | VMS 100672 | 11.740 | 11740000 | 0.046 | 46000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229007" | 2229007 | 1001580 | 1001580 | 2015-06-01 13:31 | OOD103-1 | VMS 100673 | 11.644 | 11644000 | 0.054 | 54000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229008" | 2229008 | 1001580 | 1001580 | 2015-06-01 13:31 | OOD103-1 | VMS 100674 | 11.574 | 11574000 | 0.054 | 54000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229009" | 2229009 | 1001580 | 1001580 | 2015-06-01 13:31 | OOD103-1 | VMS 100675 | 11.468 | 11468000 | 0.048 | 48000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229010" | 2229010 | 1001580 | 1001580 | 2015-06-01 13:31 | OOD103-1 | VMS 100676 | 11.493 | 11493000 | 0.040 | 40000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229011" | 2229011 | 1001580 | 1001580 | 2015-06-01 13:34 | OOD103-1 | VMS 100677 | 12.010 | 12010000 | 0.054 | 54000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229012" | 2229012 | 1001580 | 1001580 | 2015-06-01 13:34 | OOD103-1 | VMS 100678 | 11.931 | 11931000 | 0.051 | 51000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229013" | 2229013 | 1001580 | 1001580 | 2015-06-01 13:34 | OOD103-1 | VMS 100679 | 11.897 | 11897000 | 0.052 | 52000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229014" | 2229014 | 1001580 | 1001580 | 2015-06-01 13:34 | OOD103-1 | VMS 100680 | 11.847 | 11847000 | 0.058 | 58000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229015" | 2229015 | 1001580 | 1001580 | 2015-06-01 13:34 | OOD103-1 | VMS 100681 | 11.342 | 11342000 | 0.049 | 49000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229016" | 2229016 | 1001580 | 1001580 | 2015-06-01 13:34 | OOD103-1 | VMS 100682 | 11.547 | 11547000 | 0.050 | 50000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229017" | 2229017 | 1001580 | 1001580 | 2015-06-01 13:34 | OOD103-1 | VMS 100683 | 11.873 | 11873000 | 0.049 | 49000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229018" | 2229018 | 1001580 | 1001580 | 2015-06-01 13:34 | OOD103-1 | VMS 100684 | 11.550 | 11550000 | 0.054 | 54000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229019" | 2229019 | 1001580 | 1001580 | 2015-06-01 13:34 | OOD103-1 | VMS 100685 | 11.815 | 11815000 | 0.049 | 49000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229020" | 2229020 | 1001580 | 1001580 | 2015-06-01 13:34 | OOD103-1 | VMS 100686 | 11.855 | 11855000 | 0.051 | 51000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229021" | 2229021 | 1001580 | 1001580 | 2015-06-01 13:34 | OOD103-1 | VMS 100687 | 11.612 | 11612000 | 0.048 | 48000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229022" | 2229022 | 1001580 | 1001580 | 2015-06-01 13:34 | OOD103-1 | VMS 100688 | 11.701 | 11701000 | 0.046 | 46000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229023" | 2229023 | 1001580 | 1001580 | 2015-06-01 13:34 | OOD103-1 | VMS 100689 | 11.630 | 11630000 | 0.047 | 47000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229024" | 2229024 | 1001580 | 1001580 | 2015-06-01 13:34 | OOD103-1 | VMS 100690 | 11.637 | 11637000 | 0.048 | 48000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229025" | 2229025 | 1001580 | 1001580 | 2015-06-01 13:34 | OOD103-1 | VMS 100691 | 11.653 | 11653000 | 0.048 | 48000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229026" | 2229026 | 1001580 | 1001580 | 2015-06-01 13:34 | OOD103-1 | VMS 100692 | 11.639 | 11639000 | 0.038 | 38000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229043" | 2229043 | 1001580 | 1001580 | 2015-06-01 13:39 | OOD103-1 | VMS 100693 | 11.597 | 11597000 | 0.055 | 55000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229044" | 2229044 | 1001580 | 1001580 | 2015-06-01 13:39 | OOD103-1 | VMS 100694 | 11.602 | 11602000 | 0.052 | 52000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229045" | 2229045 | 1001580 | 1001580 | 2015-06-01 13:39 | OOD103-1 | VMS 100695 | 11.852 | 11852000 | 0.050 | 50000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229046" | 2229046 | 1001580 | 1001580 | 2015-06-01 13:39 | OOD103-1 | VMS 100696 | 11.711 | 11711000 | 0.052 | 52000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229047" | 2229047 | 1001580 | 1001580 | 2015-06-01 13:39 | OOD103-1 | VMS 100697 | 11.515 | 11515000 | 0.096 | 96000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229048" | 2229048 | 1001580 | 1001580 | 2015-06-01 13:39 | OOD103-1 | VMS 100698 | 12.106 | 12106000 | 0.057 | 57000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229049" | 2229049 | 1001580 | 1001580 | 2015-06-01 13:39 | OOD103-1 | VMS 100699 | 11.339 | 11339000 | 0.053 | 53000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229050" | 2229050 | 1001580 | 1001580 | 2015-06-01 13:39 | OOD103-1 | VMS 100700 | 11.468 | 11468000 | 0.048 | 48000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229051" | 2229051 | 1001580 | 1001580 | 2015-06-01 13:39 | OOD103-1 | VMS 100701 | 11.763 | 11763000 | 0.046 | 46000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229052" | 2229052 | 1001580 | 1001580 | 2015-06-01 13:39 | OOD103-1 | VMS 100702 | 12.008 | 12008000 | 0.052 | 52000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229053" | 2229053 | 1001580 | 1001580 | 2015-06-01 13:39 | OOD103-1 | VMS 100703 | 11.994 | 11994000 | 0.047 | 47000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229054" | 2229054 | 1001580 | 1001580 | 2015-06-01 13:39 | OOD103-1 | VMS 100704 | 11.636 | 11636000 | 0.049 | 49000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229055" | 2229055 | 1001580 | 1001580 | 2015-06-01 13:39 | OOD103-1 | VMS 100705 | 11.626 | 11626000 | 0.055 | 55000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229057" | 2229057 | 1001580 | 1001580 | 2015-06-01 13:39 | OOD103-1 | VMS 100706 | 11.314 | 11314000 | 0.042 | 42000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229058" | 2229058 | 1001580 | 1001580 | 2015-06-01 13:39 | OOD103-1 | VMS 100707 | 11.855 | 11855000 | 0.056 | 56000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229059" | 2229059 | 1001580 | 1001580 | 2015-06-01 13:48 | OOD103-1 | VMS 100708 | 11.674 | 11674000 | 0.060 | 60000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229060" | 2229060 | 1001580 | 1001580 | 2015-06-01 13:48 | OOD103-1 | VMS 100709 | 11.688 | 11688000 | 0.050 | 50000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229061" | 2229061 | 1001580 | 1001580 | 2015-06-01 13:48 | OOD103-1 | VMS 100710 | 11.641 | 11641000 | 0.046 | 46000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229062" | 2229062 | 1001580 | 1001580 | 2015-06-01 13:48 | OOD103-1 | VMS 100711 | 11.577 | 11577000 | 0.050 | 50000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229063" | 2229063 | 1001580 | 1001580 | 2015-06-01 13:48 | OOD103-1 | VMS 100712 | 11.594 | 11594000 | 0.053 | 53000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229064" | 2229064 | 1001580 | 1001580 | 2015-06-01 13:48 | OOD103-1 | VMS 100713 | 11.903 | 11903000 | 0.052 | 52000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229065" | 2229065 | 1001580 | 1001580 | 2015-06-01 13:48 | OOD103-1 | VMS 100714 | 11.710 | 11710000 | 0.056 | 56000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229066" | 2229066 | 1001580 | 1001580 | 2015-06-01 13:48 | OOD103-1 | VMS 100715 | 11.547 | 11547000 | 0.054 | 54000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229067" | 2229067 | 1001580 | 1001580 | 2015-06-01 13:48 | OOD103-1 | VMS 100716 | 11.843 | 11843000 | 0.045 | 45000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229068" | 2229068 | 1001580 | 1001580 | 2015-06-01 13:48 | OOD103-1 | VMS 100717 | 11.776 | 11776000 | 0.043 | 43000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229069" | 2229069 | 1001580 | 1001580 | 2015-06-01 13:48 | OOD103-1 | VMS 100718 | 11.578 | 11578000 | 0.043 | 43000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229070" | 2229070 | 1001580 | 1001580 | 2015-06-01 13:48 | OOD103-1 | VMS 100719 | 11.678 | 11678000 | 0.046 | 46000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229071" | 2229071 | 1001580 | 1001580 | 2015-06-01 13:48 | OOD103-1 | VMS 100720 | 11.641 | 11641000 | 0.048 | 48000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229072" | 2229072 | 1001580 | 1001580 | 2015-06-01 13:48 | OOD103-1 | VMS 100721 | 11.857 | 11857000 | 0.050 | 50000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229073" | 2229073 | 1001580 | 1001580 | 2015-06-01 13:48 | OOD103-1 | VMS 100722 | 11.513 | 11513000 | 0.048 | 48000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229074" | 2229074 | 1001580 | 1001580 | 2015-06-01 13:48 | OOD103-1 | VMS 100723 | 11.453 | 11453000 | 0.034 | 34000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229091" | 2229091 | 1001580 | 1001580 | 2015-06-01 13:52 | OOD103-1 | VMS 100724 | 11.636 | 11636000 | 0.056 | 56000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229092" | 2229092 | 1001580 | 1001580 | 2015-06-01 13:52 | OOD103-1 | VMS 100725 | 11.694 | 11694000 | 0.052 | 52000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229093" | 2229093 | 1001580 | 1001580 | 2015-06-01 13:52 | OOD103-1 | VMS 100726 | 11.527 | 11527000 | 0.056 | 56000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229094" | 2229094 | 1001580 | 1001580 | 2015-06-01 13:52 | OOD103-1 | VMS 100727 | 11.718 | 11718000 | 0.058 | 58000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229095" | 2229095 | 1001580 | 1001580 | 2015-06-01 13:52 | OOD103-1 | VMS 100728 | 11.509 | 11509000 | 0.044 | 44000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229096" | 2229096 | 1001580 | 1001580 | 2015-06-01 13:52 | OOD103-1 | VMS 100729 | 11.962 | 11962000 | 0.054 | 54000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229097" | 2229097 | 1001580 | 1001580 | 2015-06-01 13:52 | OOD103-1 | VMS 100730 | 11.389 | 11389000 | 0.051 | 51000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229098" | 2229098 | 1001580 | 1001580 | 2015-06-01 13:52 | OOD103-1 | VMS 100731 | 11.440 | 11440000 | 0.053 | 53000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229099" | 2229099 | 1001580 | 1001580 | 2015-06-01 13:52 | OOD103-1 | VMS 100732 | 11.524 | 11524000 | 0.046 | 46000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229100" | 2229100 | 1001580 | 1001580 | 2015-06-01 13:52 | OOD103-1 | VMS 100733 | 11.746 | 11746000 | 0.051 | 51000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229101" | 2229101 | 1001580 | 1001580 | 2015-06-01 13:52 | OOD103-1 | VMS 100734 | 11.715 | 11715000 | 0.041 | 41000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229102" | 2229102 | 1001580 | 1001580 | 2015-06-01 13:52 | OOD103-1 | VMS 100735 | 11.654 | 11654000 | 0.043 | 43000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229103" | 2229103 | 1001580 | 1001580 | 2015-06-01 13:52 | OOD103-1 | VMS 100736 | 11.816 | 11816000 | 0.059 | 59000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229104" | 2229104 | 1001580 | 1001580 | 2015-06-01 13:52 | OOD103-1 | VMS 100737 | 11.379 | 11379000 | 0.052 | 52000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229105" | 2229105 | 1001580 | 1001580 | 2015-06-01 13:52 | OOD103-1 | VMS 100738 | 11.378 | 11378000 | 0.053 | 53000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229106" | 2229106 | 1001580 | 1001580 | 2015-06-01 13:52 | OOD103-1 | VMS 100739 | 11.714 | 11714000 | 0.052 | 52000 |  |  | +
Auto | "retrace Produktion","","product","ID","2229123" | 2229123 | 1001580 | 1001580 | 2015-06-01 14:01 | OOD103-1 | VMS 100740 | 11.975 | 11975000 | 0.059 | 59000 |  |  | +

## Tabelle11 (hidden)
Auto+Ausblenden+Formulas=Tabelle11,Tabelle12+FormulasOnly | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen | Anpassen | Anpassen | Ausblenden | Anpassen | Ausblenden | Anpassen
[9 empty] | =CONCATENATE(Optionen!C2," PART No.") |  | =NL("Zeilen","Artikelreferenz","Referenznr.","Datenquelle=","Echtserver Wismar","Artikelnr.",E6,"Referenzartennr.",Optionen!C3,"Referenznr.",Optionen!C7)
|  | ID | ProductNumber | Nav. Nr. | Datum | SENSORTYP | LABELNR | LUFTWERT1 | LUFTWERT1 | OFFSET1 | OFFSET1 | LUFTWERT2 | OFFSET2 | WERTUNG
[8 empty] | µV | µV | µV | µV | µV | µV
| =NL("Zeilen","product",,"Datenquelle=","retrace Produktion","CustomerID",Optionen!C2,"ProductSerial",Optionen!C4,"Reference",Optionen!C5,"ProductNumber",Optionen!C6) | =NF($B6,"ID") | =NF(B6,"ProductNumber") | =SUBSTITUTE(D6," ","-") | =NF($B6,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B6,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C6,"Test","Luft","time",F6) | =VALUE(SUBSTITUTE(I6,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C6,"Test","N2","time",F6) | =VALUE(SUBSTITUTE(K6,".",","))*1000 |  |  | +

## Tabelle12 (hidden)
Auto+Ausblenden+Formulas=Tabelle11,Tabelle12+FormulasOnly | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen | Anpassen | Anpassen | Ausblenden | Anpassen | Ausblenden | Anpassen
[9 empty] | =VERKETTEN(Optionen!C2;" PART No.") |  | =NL("Zeilen";"Artikelreferenz";"Referenznr.";"Datenquelle=";"Echtserver Wismar";"Artikelnr.";E6;"Referenzartennr.";Optionen!C3;"Referenznr.";Optionen!C7)
|  | ID | ProductNumber | Nav. Nr. | Datum | SENSORTYP | LABELNR | LUFTWERT1 | LUFTWERT1 | OFFSET1 | OFFSET1 | LUFTWERT2 | OFFSET2 | WERTUNG
[8 empty] | µV | µV | µV | µV | µV | µV
| =NL("Zeilen";"product";;"Datenquelle=";"retrace Produktion";"CustomerID";Optionen!C2;"ProductSerial";Optionen!C4;"Reference";Optionen!C5;"ProductNumber";Optionen!C6) | =NF($B6;"ID") | =NF(B6;"ProductNumber") | =WECHSELN(D6;" ";"-") | =NF($B6;"Time") | =NL("Zeilen";"Artikel";"Beschreibung 2";"Datenquelle=";"Echtserver Wismar";"Nr.";$E$6) | =NF($B6;"ProductSerial") | =NL("Zeilen";"testprotocol";"Value";"Datenquelle=";"retrace Produktion";"ProductID";C6;"Test";"Luft";"time";F6) | =WERT(WECHSELN(I6;".";","))*1000 | =NL("Zeilen";"testprotocol";"Value";"Datenquelle=";"retrace Produktion";"ProductID";C6;"Test";"N2";"time";F6) | =WERT(WECHSELN(K6;".";","))*1000 |  |  | +

## Tabelle2 (hidden)
Auto+Ausblenden+Formulas=Tabelle2,Tabelle11,Tabelle12+FormulasOnly | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen | Anpassen | Anpassen | Ausblenden | Anpassen | Ausblenden | Anpassen
[9 empty] | =CONCATENATE(Optionen!C2," PART No.") |  | =NL("Zeilen","Artikelreferenz","Referenznr.","Datenquelle=","Echtserver Wismar","Artikelnr.",E6,"Referenzartennr.",Optionen!C3,"Referenznr.",Optionen!C7)
|  | ID | ProductNumber | Nav. Nr. | Datum | SENSORTYP | LABELNR | LUFTWERT1 | LUFTWERT1 | OFFSET1 | OFFSET1 | LUFTWERT2 | OFFSET2 | WERTUNG
[8 empty] | µV | µV | µV | µV | µV | µV
| =NL("Zeilen","product",,"Datenquelle=","retrace Produktion","CustomerID",Optionen!C2,"ProductSerial",Optionen!C4,"Reference",Optionen!C5,"ProductNumber",Optionen!C6) | =NF($B6,"ID") | =NF(B6,"ProductNumber") | =SUBSTITUTE(D6," ","-") | =NF($B6,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B6,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C6,"Test","Luft","time",F6) | =VALUE(SUBSTITUTE(I6,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C6,"Test","N2","time",F6) | =VALUE(SUBSTITUTE(K6,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2228996""" | =NF($B7,"ID") | =NF(B7,"ProductNumber") | =SUBSTITUTE(D7," ","-") | =NF($B7,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B7,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C7,"Test","Luft","time",F7) | =VALUE(SUBSTITUTE(I7,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C7,"Test","N2","time",F7) | =VALUE(SUBSTITUTE(K7,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2228997""" | =NF($B8,"ID") | =NF(B8,"ProductNumber") | =SUBSTITUTE(D8," ","-") | =NF($B8,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B8,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C8,"Test","Luft","time",F8) | =VALUE(SUBSTITUTE(I8,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C8,"Test","N2","time",F8) | =VALUE(SUBSTITUTE(K8,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2228998""" | =NF($B9,"ID") | =NF(B9,"ProductNumber") | =SUBSTITUTE(D9," ","-") | =NF($B9,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B9,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C9,"Test","Luft","time",F9) | =VALUE(SUBSTITUTE(I9,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C9,"Test","N2","time",F9) | =VALUE(SUBSTITUTE(K9,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2228999""" | =NF($B10,"ID") | =NF(B10,"ProductNumber") | =SUBSTITUTE(D10," ","-") | =NF($B10,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B10,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C10,"Test","Luft","time",F10) | =VALUE(SUBSTITUTE(I10,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C10,"Test","N2","time",F10) | =VALUE(SUBSTITUTE(K10,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229000""" | =NF($B11,"ID") | =NF(B11,"ProductNumber") | =SUBSTITUTE(D11," ","-") | =NF($B11,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B11,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C11,"Test","Luft","time",F11) | =VALUE(SUBSTITUTE(I11,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C11,"Test","N2","time",F11) | =VALUE(SUBSTITUTE(K11,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229001""" | =NF($B12,"ID") | =NF(B12,"ProductNumber") | =SUBSTITUTE(D12," ","-") | =NF($B12,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B12,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C12,"Test","Luft","time",F12) | =VALUE(SUBSTITUTE(I12,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C12,"Test","N2","time",F12) | =VALUE(SUBSTITUTE(K12,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229002""" | =NF($B13,"ID") | =NF(B13,"ProductNumber") | =SUBSTITUTE(D13," ","-") | =NF($B13,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B13,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C13,"Test","Luft","time",F13) | =VALUE(SUBSTITUTE(I13,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C13,"Test","N2","time",F13) | =VALUE(SUBSTITUTE(K13,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229003""" | =NF($B14,"ID") | =NF(B14,"ProductNumber") | =SUBSTITUTE(D14," ","-") | =NF($B14,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B14,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C14,"Test","Luft","time",F14) | =VALUE(SUBSTITUTE(I14,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C14,"Test","N2","time",F14) | =VALUE(SUBSTITUTE(K14,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229004""" | =NF($B15,"ID") | =NF(B15,"ProductNumber") | =SUBSTITUTE(D15," ","-") | =NF($B15,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B15,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C15,"Test","Luft","time",F15) | =VALUE(SUBSTITUTE(I15,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C15,"Test","N2","time",F15) | =VALUE(SUBSTITUTE(K15,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229005""" | =NF($B16,"ID") | =NF(B16,"ProductNumber") | =SUBSTITUTE(D16," ","-") | =NF($B16,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B16,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C16,"Test","Luft","time",F16) | =VALUE(SUBSTITUTE(I16,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C16,"Test","N2","time",F16) | =VALUE(SUBSTITUTE(K16,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229006""" | =NF($B17,"ID") | =NF(B17,"ProductNumber") | =SUBSTITUTE(D17," ","-") | =NF($B17,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B17,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C17,"Test","Luft","time",F17) | =VALUE(SUBSTITUTE(I17,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C17,"Test","N2","time",F17) | =VALUE(SUBSTITUTE(K17,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229007""" | =NF($B18,"ID") | =NF(B18,"ProductNumber") | =SUBSTITUTE(D18," ","-") | =NF($B18,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B18,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C18,"Test","Luft","time",F18) | =VALUE(SUBSTITUTE(I18,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C18,"Test","N2","time",F18) | =VALUE(SUBSTITUTE(K18,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229008""" | =NF($B19,"ID") | =NF(B19,"ProductNumber") | =SUBSTITUTE(D19," ","-") | =NF($B19,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B19,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C19,"Test","Luft","time",F19) | =VALUE(SUBSTITUTE(I19,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C19,"Test","N2","time",F19) | =VALUE(SUBSTITUTE(K19,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229009""" | =NF($B20,"ID") | =NF(B20,"ProductNumber") | =SUBSTITUTE(D20," ","-") | =NF($B20,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B20,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C20,"Test","Luft","time",F20) | =VALUE(SUBSTITUTE(I20,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C20,"Test","N2","time",F20) | =VALUE(SUBSTITUTE(K20,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229010""" | =NF($B21,"ID") | =NF(B21,"ProductNumber") | =SUBSTITUTE(D21," ","-") | =NF($B21,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B21,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C21,"Test","Luft","time",F21) | =VALUE(SUBSTITUTE(I21,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C21,"Test","N2","time",F21) | =VALUE(SUBSTITUTE(K21,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229011""" | =NF($B22,"ID") | =NF(B22,"ProductNumber") | =SUBSTITUTE(D22," ","-") | =NF($B22,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B22,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C22,"Test","Luft","time",F22) | =VALUE(SUBSTITUTE(I22,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C22,"Test","N2","time",F22) | =VALUE(SUBSTITUTE(K22,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229012""" | =NF($B23,"ID") | =NF(B23,"ProductNumber") | =SUBSTITUTE(D23," ","-") | =NF($B23,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B23,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C23,"Test","Luft","time",F23) | =VALUE(SUBSTITUTE(I23,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C23,"Test","N2","time",F23) | =VALUE(SUBSTITUTE(K23,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229013""" | =NF($B24,"ID") | =NF(B24,"ProductNumber") | =SUBSTITUTE(D24," ","-") | =NF($B24,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B24,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C24,"Test","Luft","time",F24) | =VALUE(SUBSTITUTE(I24,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C24,"Test","N2","time",F24) | =VALUE(SUBSTITUTE(K24,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229014""" | =NF($B25,"ID") | =NF(B25,"ProductNumber") | =SUBSTITUTE(D25," ","-") | =NF($B25,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B25,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C25,"Test","Luft","time",F25) | =VALUE(SUBSTITUTE(I25,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C25,"Test","N2","time",F25) | =VALUE(SUBSTITUTE(K25,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229015""" | =NF($B26,"ID") | =NF(B26,"ProductNumber") | =SUBSTITUTE(D26," ","-") | =NF($B26,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B26,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C26,"Test","Luft","time",F26) | =VALUE(SUBSTITUTE(I26,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C26,"Test","N2","time",F26) | =VALUE(SUBSTITUTE(K26,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229016""" | =NF($B27,"ID") | =NF(B27,"ProductNumber") | =SUBSTITUTE(D27," ","-") | =NF($B27,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B27,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C27,"Test","Luft","time",F27) | =VALUE(SUBSTITUTE(I27,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C27,"Test","N2","time",F27) | =VALUE(SUBSTITUTE(K27,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229017""" | =NF($B28,"ID") | =NF(B28,"ProductNumber") | =SUBSTITUTE(D28," ","-") | =NF($B28,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B28,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C28,"Test","Luft","time",F28) | =VALUE(SUBSTITUTE(I28,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C28,"Test","N2","time",F28) | =VALUE(SUBSTITUTE(K28,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229018""" | =NF($B29,"ID") | =NF(B29,"ProductNumber") | =SUBSTITUTE(D29," ","-") | =NF($B29,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B29,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C29,"Test","Luft","time",F29) | =VALUE(SUBSTITUTE(I29,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C29,"Test","N2","time",F29) | =VALUE(SUBSTITUTE(K29,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229019""" | =NF($B30,"ID") | =NF(B30,"ProductNumber") | =SUBSTITUTE(D30," ","-") | =NF($B30,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B30,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C30,"Test","Luft","time",F30) | =VALUE(SUBSTITUTE(I30,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C30,"Test","N2","time",F30) | =VALUE(SUBSTITUTE(K30,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229020""" | =NF($B31,"ID") | =NF(B31,"ProductNumber") | =SUBSTITUTE(D31," ","-") | =NF($B31,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B31,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C31,"Test","Luft","time",F31) | =VALUE(SUBSTITUTE(I31,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C31,"Test","N2","time",F31) | =VALUE(SUBSTITUTE(K31,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229021""" | =NF($B32,"ID") | =NF(B32,"ProductNumber") | =SUBSTITUTE(D32," ","-") | =NF($B32,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B32,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C32,"Test","Luft","time",F32) | =VALUE(SUBSTITUTE(I32,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C32,"Test","N2","time",F32) | =VALUE(SUBSTITUTE(K32,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229022""" | =NF($B33,"ID") | =NF(B33,"ProductNumber") | =SUBSTITUTE(D33," ","-") | =NF($B33,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B33,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C33,"Test","Luft","time",F33) | =VALUE(SUBSTITUTE(I33,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C33,"Test","N2","time",F33) | =VALUE(SUBSTITUTE(K33,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229023""" | =NF($B34,"ID") | =NF(B34,"ProductNumber") | =SUBSTITUTE(D34," ","-") | =NF($B34,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B34,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C34,"Test","Luft","time",F34) | =VALUE(SUBSTITUTE(I34,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C34,"Test","N2","time",F34) | =VALUE(SUBSTITUTE(K34,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229024""" | =NF($B35,"ID") | =NF(B35,"ProductNumber") | =SUBSTITUTE(D35," ","-") | =NF($B35,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B35,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C35,"Test","Luft","time",F35) | =VALUE(SUBSTITUTE(I35,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C35,"Test","N2","time",F35) | =VALUE(SUBSTITUTE(K35,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229025""" | =NF($B36,"ID") | =NF(B36,"ProductNumber") | =SUBSTITUTE(D36," ","-") | =NF($B36,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B36,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C36,"Test","Luft","time",F36) | =VALUE(SUBSTITUTE(I36,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C36,"Test","N2","time",F36) | =VALUE(SUBSTITUTE(K36,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229026""" | =NF($B37,"ID") | =NF(B37,"ProductNumber") | =SUBSTITUTE(D37," ","-") | =NF($B37,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B37,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C37,"Test","Luft","time",F37) | =VALUE(SUBSTITUTE(I37,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C37,"Test","N2","time",F37) | =VALUE(SUBSTITUTE(K37,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229043""" | =NF($B38,"ID") | =NF(B38,"ProductNumber") | =SUBSTITUTE(D38," ","-") | =NF($B38,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B38,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C38,"Test","Luft","time",F38) | =VALUE(SUBSTITUTE(I38,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C38,"Test","N2","time",F38) | =VALUE(SUBSTITUTE(K38,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229044""" | =NF($B39,"ID") | =NF(B39,"ProductNumber") | =SUBSTITUTE(D39," ","-") | =NF($B39,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B39,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C39,"Test","Luft","time",F39) | =VALUE(SUBSTITUTE(I39,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C39,"Test","N2","time",F39) | =VALUE(SUBSTITUTE(K39,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229045""" | =NF($B40,"ID") | =NF(B40,"ProductNumber") | =SUBSTITUTE(D40," ","-") | =NF($B40,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B40,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C40,"Test","Luft","time",F40) | =VALUE(SUBSTITUTE(I40,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C40,"Test","N2","time",F40) | =VALUE(SUBSTITUTE(K40,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229046""" | =NF($B41,"ID") | =NF(B41,"ProductNumber") | =SUBSTITUTE(D41," ","-") | =NF($B41,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B41,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C41,"Test","Luft","time",F41) | =VALUE(SUBSTITUTE(I41,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C41,"Test","N2","time",F41) | =VALUE(SUBSTITUTE(K41,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229047""" | =NF($B42,"ID") | =NF(B42,"ProductNumber") | =SUBSTITUTE(D42," ","-") | =NF($B42,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B42,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C42,"Test","Luft","time",F42) | =VALUE(SUBSTITUTE(I42,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C42,"Test","N2","time",F42) | =VALUE(SUBSTITUTE(K42,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229048""" | =NF($B43,"ID") | =NF(B43,"ProductNumber") | =SUBSTITUTE(D43," ","-") | =NF($B43,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B43,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C43,"Test","Luft","time",F43) | =VALUE(SUBSTITUTE(I43,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C43,"Test","N2","time",F43) | =VALUE(SUBSTITUTE(K43,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229049""" | =NF($B44,"ID") | =NF(B44,"ProductNumber") | =SUBSTITUTE(D44," ","-") | =NF($B44,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B44,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C44,"Test","Luft","time",F44) | =VALUE(SUBSTITUTE(I44,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C44,"Test","N2","time",F44) | =VALUE(SUBSTITUTE(K44,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229050""" | =NF($B45,"ID") | =NF(B45,"ProductNumber") | =SUBSTITUTE(D45," ","-") | =NF($B45,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B45,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C45,"Test","Luft","time",F45) | =VALUE(SUBSTITUTE(I45,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C45,"Test","N2","time",F45) | =VALUE(SUBSTITUTE(K45,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229051""" | =NF($B46,"ID") | =NF(B46,"ProductNumber") | =SUBSTITUTE(D46," ","-") | =NF($B46,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B46,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C46,"Test","Luft","time",F46) | =VALUE(SUBSTITUTE(I46,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C46,"Test","N2","time",F46) | =VALUE(SUBSTITUTE(K46,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229052""" | =NF($B47,"ID") | =NF(B47,"ProductNumber") | =SUBSTITUTE(D47," ","-") | =NF($B47,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B47,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C47,"Test","Luft","time",F47) | =VALUE(SUBSTITUTE(I47,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C47,"Test","N2","time",F47) | =VALUE(SUBSTITUTE(K47,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229053""" | =NF($B48,"ID") | =NF(B48,"ProductNumber") | =SUBSTITUTE(D48," ","-") | =NF($B48,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B48,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C48,"Test","Luft","time",F48) | =VALUE(SUBSTITUTE(I48,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C48,"Test","N2","time",F48) | =VALUE(SUBSTITUTE(K48,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229054""" | =NF($B49,"ID") | =NF(B49,"ProductNumber") | =SUBSTITUTE(D49," ","-") | =NF($B49,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B49,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C49,"Test","Luft","time",F49) | =VALUE(SUBSTITUTE(I49,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C49,"Test","N2","time",F49) | =VALUE(SUBSTITUTE(K49,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229055""" | =NF($B50,"ID") | =NF(B50,"ProductNumber") | =SUBSTITUTE(D50," ","-") | =NF($B50,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B50,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C50,"Test","Luft","time",F50) | =VALUE(SUBSTITUTE(I50,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C50,"Test","N2","time",F50) | =VALUE(SUBSTITUTE(K50,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229057""" | =NF($B51,"ID") | =NF(B51,"ProductNumber") | =SUBSTITUTE(D51," ","-") | =NF($B51,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B51,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C51,"Test","Luft","time",F51) | =VALUE(SUBSTITUTE(I51,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C51,"Test","N2","time",F51) | =VALUE(SUBSTITUTE(K51,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229058""" | =NF($B52,"ID") | =NF(B52,"ProductNumber") | =SUBSTITUTE(D52," ","-") | =NF($B52,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B52,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C52,"Test","Luft","time",F52) | =VALUE(SUBSTITUTE(I52,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C52,"Test","N2","time",F52) | =VALUE(SUBSTITUTE(K52,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229059""" | =NF($B53,"ID") | =NF(B53,"ProductNumber") | =SUBSTITUTE(D53," ","-") | =NF($B53,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B53,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C53,"Test","Luft","time",F53) | =VALUE(SUBSTITUTE(I53,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C53,"Test","N2","time",F53) | =VALUE(SUBSTITUTE(K53,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229060""" | =NF($B54,"ID") | =NF(B54,"ProductNumber") | =SUBSTITUTE(D54," ","-") | =NF($B54,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B54,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C54,"Test","Luft","time",F54) | =VALUE(SUBSTITUTE(I54,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C54,"Test","N2","time",F54) | =VALUE(SUBSTITUTE(K54,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229061""" | =NF($B55,"ID") | =NF(B55,"ProductNumber") | =SUBSTITUTE(D55," ","-") | =NF($B55,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B55,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C55,"Test","Luft","time",F55) | =VALUE(SUBSTITUTE(I55,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C55,"Test","N2","time",F55) | =VALUE(SUBSTITUTE(K55,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229062""" | =NF($B56,"ID") | =NF(B56,"ProductNumber") | =SUBSTITUTE(D56," ","-") | =NF($B56,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B56,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C56,"Test","Luft","time",F56) | =VALUE(SUBSTITUTE(I56,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C56,"Test","N2","time",F56) | =VALUE(SUBSTITUTE(K56,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229063""" | =NF($B57,"ID") | =NF(B57,"ProductNumber") | =SUBSTITUTE(D57," ","-") | =NF($B57,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B57,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C57,"Test","Luft","time",F57) | =VALUE(SUBSTITUTE(I57,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C57,"Test","N2","time",F57) | =VALUE(SUBSTITUTE(K57,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229064""" | =NF($B58,"ID") | =NF(B58,"ProductNumber") | =SUBSTITUTE(D58," ","-") | =NF($B58,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B58,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C58,"Test","Luft","time",F58) | =VALUE(SUBSTITUTE(I58,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C58,"Test","N2","time",F58) | =VALUE(SUBSTITUTE(K58,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229065""" | =NF($B59,"ID") | =NF(B59,"ProductNumber") | =SUBSTITUTE(D59," ","-") | =NF($B59,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B59,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C59,"Test","Luft","time",F59) | =VALUE(SUBSTITUTE(I59,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C59,"Test","N2","time",F59) | =VALUE(SUBSTITUTE(K59,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229066""" | =NF($B60,"ID") | =NF(B60,"ProductNumber") | =SUBSTITUTE(D60," ","-") | =NF($B60,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B60,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C60,"Test","Luft","time",F60) | =VALUE(SUBSTITUTE(I60,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C60,"Test","N2","time",F60) | =VALUE(SUBSTITUTE(K60,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229067""" | =NF($B61,"ID") | =NF(B61,"ProductNumber") | =SUBSTITUTE(D61," ","-") | =NF($B61,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B61,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C61,"Test","Luft","time",F61) | =VALUE(SUBSTITUTE(I61,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C61,"Test","N2","time",F61) | =VALUE(SUBSTITUTE(K61,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229068""" | =NF($B62,"ID") | =NF(B62,"ProductNumber") | =SUBSTITUTE(D62," ","-") | =NF($B62,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B62,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C62,"Test","Luft","time",F62) | =VALUE(SUBSTITUTE(I62,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C62,"Test","N2","time",F62) | =VALUE(SUBSTITUTE(K62,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229069""" | =NF($B63,"ID") | =NF(B63,"ProductNumber") | =SUBSTITUTE(D63," ","-") | =NF($B63,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B63,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C63,"Test","Luft","time",F63) | =VALUE(SUBSTITUTE(I63,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C63,"Test","N2","time",F63) | =VALUE(SUBSTITUTE(K63,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229070""" | =NF($B64,"ID") | =NF(B64,"ProductNumber") | =SUBSTITUTE(D64," ","-") | =NF($B64,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B64,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C64,"Test","Luft","time",F64) | =VALUE(SUBSTITUTE(I64,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C64,"Test","N2","time",F64) | =VALUE(SUBSTITUTE(K64,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229071""" | =NF($B65,"ID") | =NF(B65,"ProductNumber") | =SUBSTITUTE(D65," ","-") | =NF($B65,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B65,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C65,"Test","Luft","time",F65) | =VALUE(SUBSTITUTE(I65,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C65,"Test","N2","time",F65) | =VALUE(SUBSTITUTE(K65,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229072""" | =NF($B66,"ID") | =NF(B66,"ProductNumber") | =SUBSTITUTE(D66," ","-") | =NF($B66,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B66,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C66,"Test","Luft","time",F66) | =VALUE(SUBSTITUTE(I66,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C66,"Test","N2","time",F66) | =VALUE(SUBSTITUTE(K66,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229073""" | =NF($B67,"ID") | =NF(B67,"ProductNumber") | =SUBSTITUTE(D67," ","-") | =NF($B67,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B67,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C67,"Test","Luft","time",F67) | =VALUE(SUBSTITUTE(I67,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C67,"Test","N2","time",F67) | =VALUE(SUBSTITUTE(K67,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229074""" | =NF($B68,"ID") | =NF(B68,"ProductNumber") | =SUBSTITUTE(D68," ","-") | =NF($B68,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B68,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C68,"Test","Luft","time",F68) | =VALUE(SUBSTITUTE(I68,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C68,"Test","N2","time",F68) | =VALUE(SUBSTITUTE(K68,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229091""" | =NF($B69,"ID") | =NF(B69,"ProductNumber") | =SUBSTITUTE(D69," ","-") | =NF($B69,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B69,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C69,"Test","Luft","time",F69) | =VALUE(SUBSTITUTE(I69,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C69,"Test","N2","time",F69) | =VALUE(SUBSTITUTE(K69,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229092""" | =NF($B70,"ID") | =NF(B70,"ProductNumber") | =SUBSTITUTE(D70," ","-") | =NF($B70,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B70,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C70,"Test","Luft","time",F70) | =VALUE(SUBSTITUTE(I70,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C70,"Test","N2","time",F70) | =VALUE(SUBSTITUTE(K70,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229093""" | =NF($B71,"ID") | =NF(B71,"ProductNumber") | =SUBSTITUTE(D71," ","-") | =NF($B71,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B71,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C71,"Test","Luft","time",F71) | =VALUE(SUBSTITUTE(I71,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C71,"Test","N2","time",F71) | =VALUE(SUBSTITUTE(K71,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229094""" | =NF($B72,"ID") | =NF(B72,"ProductNumber") | =SUBSTITUTE(D72," ","-") | =NF($B72,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B72,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C72,"Test","Luft","time",F72) | =VALUE(SUBSTITUTE(I72,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C72,"Test","N2","time",F72) | =VALUE(SUBSTITUTE(K72,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229095""" | =NF($B73,"ID") | =NF(B73,"ProductNumber") | =SUBSTITUTE(D73," ","-") | =NF($B73,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B73,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C73,"Test","Luft","time",F73) | =VALUE(SUBSTITUTE(I73,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C73,"Test","N2","time",F73) | =VALUE(SUBSTITUTE(K73,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229096""" | =NF($B74,"ID") | =NF(B74,"ProductNumber") | =SUBSTITUTE(D74," ","-") | =NF($B74,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B74,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C74,"Test","Luft","time",F74) | =VALUE(SUBSTITUTE(I74,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C74,"Test","N2","time",F74) | =VALUE(SUBSTITUTE(K74,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229097""" | =NF($B75,"ID") | =NF(B75,"ProductNumber") | =SUBSTITUTE(D75," ","-") | =NF($B75,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B75,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C75,"Test","Luft","time",F75) | =VALUE(SUBSTITUTE(I75,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C75,"Test","N2","time",F75) | =VALUE(SUBSTITUTE(K75,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229098""" | =NF($B76,"ID") | =NF(B76,"ProductNumber") | =SUBSTITUTE(D76," ","-") | =NF($B76,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B76,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C76,"Test","Luft","time",F76) | =VALUE(SUBSTITUTE(I76,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C76,"Test","N2","time",F76) | =VALUE(SUBSTITUTE(K76,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229099""" | =NF($B77,"ID") | =NF(B77,"ProductNumber") | =SUBSTITUTE(D77," ","-") | =NF($B77,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B77,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C77,"Test","Luft","time",F77) | =VALUE(SUBSTITUTE(I77,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C77,"Test","N2","time",F77) | =VALUE(SUBSTITUTE(K77,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229100""" | =NF($B78,"ID") | =NF(B78,"ProductNumber") | =SUBSTITUTE(D78," ","-") | =NF($B78,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B78,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C78,"Test","Luft","time",F78) | =VALUE(SUBSTITUTE(I78,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C78,"Test","N2","time",F78) | =VALUE(SUBSTITUTE(K78,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229101""" | =NF($B79,"ID") | =NF(B79,"ProductNumber") | =SUBSTITUTE(D79," ","-") | =NF($B79,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B79,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C79,"Test","Luft","time",F79) | =VALUE(SUBSTITUTE(I79,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C79,"Test","N2","time",F79) | =VALUE(SUBSTITUTE(K79,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229102""" | =NF($B80,"ID") | =NF(B80,"ProductNumber") | =SUBSTITUTE(D80," ","-") | =NF($B80,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B80,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C80,"Test","Luft","time",F80) | =VALUE(SUBSTITUTE(I80,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C80,"Test","N2","time",F80) | =VALUE(SUBSTITUTE(K80,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229103""" | =NF($B81,"ID") | =NF(B81,"ProductNumber") | =SUBSTITUTE(D81," ","-") | =NF($B81,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B81,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C81,"Test","Luft","time",F81) | =VALUE(SUBSTITUTE(I81,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C81,"Test","N2","time",F81) | =VALUE(SUBSTITUTE(K81,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229104""" | =NF($B82,"ID") | =NF(B82,"ProductNumber") | =SUBSTITUTE(D82," ","-") | =NF($B82,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B82,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C82,"Test","Luft","time",F82) | =VALUE(SUBSTITUTE(I82,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C82,"Test","N2","time",F82) | =VALUE(SUBSTITUTE(K82,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229105""" | =NF($B83,"ID") | =NF(B83,"ProductNumber") | =SUBSTITUTE(D83," ","-") | =NF($B83,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B83,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C83,"Test","Luft","time",F83) | =VALUE(SUBSTITUTE(I83,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C83,"Test","N2","time",F83) | =VALUE(SUBSTITUTE(K83,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229106""" | =NF($B84,"ID") | =NF(B84,"ProductNumber") | =SUBSTITUTE(D84," ","-") | =NF($B84,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B84,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C84,"Test","Luft","time",F84) | =VALUE(SUBSTITUTE(I84,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C84,"Test","N2","time",F84) | =VALUE(SUBSTITUTE(K84,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2229123""" | =NF($B85,"ID") | =NF(B85,"ProductNumber") | =SUBSTITUTE(D85," ","-") | =NF($B85,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B85,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C85,"Test","Luft","time",F85) | =VALUE(SUBSTITUTE(I85,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C85,"Test","N2","time",F85) | =VALUE(SUBSTITUTE(K85,".",","))*1000 |  |  | +
| "retrace Produktion","","product","ID","2228451" | 2228451 | 1001721 | =SUBSTITUTE(D86," ","-") | 42153.4958333333 | OOD103-2V | JJ 106724 | 11.433 | =VALUE(SUBSTITUTE(I86,".",","))*1000 | 0.047 | =VALUE(SUBSTITUTE(K86,".",","))*1000 |  |  | +