## Optionen (hidden)
Auto+Ausblenden+Werte+BlattAusblenden | Titel | Wert | Lookup
Option | Debitor | Vandagraph
Option | Debitornummer | D17401
Option | Seriennummer | S01 106201..S01 106300
Option | Referenz (VB-Nr.) | 117801
Option | Artikelnr. | *
Option | Artikel-Referenznr. | 8010007

## Tabelle1
Auto+Ausblenden+Formulas=Tabelle3,Tabelle11,Tabelle12 | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen | Anpassen | Anpassen | Ausblenden | Anpassen | Ausblenden | Anpassen
[9 empty] | Vandagraph PART No. |  | 8010007
|  | ID | ProductNumber | Nav. Nr. | Datum | SENSORTYP | LABELNR | LUFTWERT1 | LUFTWERT1 | OFFSET1 | OFFSET1 | LUFTWERT2 | OFFSET2 | WERTUNG
[8 empty] | µV | µV | µV | µV | µV | µV
Auto | "retrace Produktion","","product","ID","2236807" | 2236807 | 1001581 | 1001581 | 2015-06-11 08:08 | OOD103-1V | S01 106201 | 11.588 | 11588000 | 0.057 | 57000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236808" | 2236808 | 1001581 | 1001581 | 2015-06-11 08:08 | OOD103-1V | S01 106202 | 11.458 | 11458000 | 0.058 | 58000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236809" | 2236809 | 1001581 | 1001581 | 2015-06-11 08:08 | OOD103-1V | S01 106203 | 11.466 | 11466000 | 0.044 | 44000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236810" | 2236810 | 1001581 | 1001581 | 2015-06-11 08:08 | OOD103-1V | S01 106204 | 11.067 | 11067000 | 0.052 | 52000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236811" | 2236811 | 1001581 | 1001581 | 2015-06-11 08:08 | OOD103-1V | S01 106205 | 11.373 | 11373000 | 0.049 | 49000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236812" | 2236812 | 1001581 | 1001581 | 2015-06-11 08:08 | OOD103-1V | S01 106206 | 11.163 | 11163000 | 0.051 | 51000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236814" | 2236814 | 1001581 | 1001581 | 2015-06-11 08:08 | OOD103-1V | S01 106207 | 11.129 | 11129000 | 0.040 | 40000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236815" | 2236815 | 1001581 | 1001581 | 2015-06-11 08:08 | OOD103-1V | S01 106208 | 11.382 | 11382000 | 0.048 | 48000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236816" | 2236816 | 1001581 | 1001581 | 2015-06-11 08:08 | OOD103-1V | S01 106209 | 11.343 | 11343000 | 0.054 | 54000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236817" | 2236817 | 1001581 | 1001581 | 2015-06-11 08:08 | OOD103-1V | S01 106210 | 11.300 | 11300000 | 0.054 | 54000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236818" | 2236818 | 1001581 | 1001581 | 2015-06-11 08:08 | OOD103-1V | S01 106211 | 11.421 | 11421000 | 0.046 | 46000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236819" | 2236819 | 1001581 | 1001581 | 2015-06-11 08:08 | OOD103-1V | S01 106212 | 11.317 | 11317000 | 0.041 | 41000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236820" | 2236820 | 1001581 | 1001581 | 2015-06-11 08:08 | OOD103-1V | S01 106213 | 10.766 | 10766000 | 0.048 | 48000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236821" | 2236821 | 1001581 | 1001581 | 2015-06-11 08:08 | OOD103-1V | S01 106214 | 10.865 | 10865000 | 0.052 | 52000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236839" | 2236839 | 1001581 | 1001581 | 2015-06-11 08:24 | OOD103-1V | S01 106215 | 11.127 | 11127000 | 0.050 | 50000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236840" | 2236840 | 1001581 | 1001581 | 2015-06-11 08:24 | OOD103-1V | S01 106216 | 11.366 | 11366000 | 0.047 | 47000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236841" | 2236841 | 1001581 | 1001581 | 2015-06-11 08:24 | OOD103-1V | S01 106217 | 10.971 | 10971000 | 0.038 | 38000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236842" | 2236842 | 1001581 | 1001581 | 2015-06-11 08:24 | OOD103-1V | S01 106218 | 11.541 | 11541000 | 0.057 | 57000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236843" | 2236843 | 1001581 | 1001581 | 2015-06-11 08:24 | OOD103-1V | S01 106219 | 11.341 | 11341000 | 0.049 | 49000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236844" | 2236844 | 1001581 | 1001581 | 2015-06-11 08:24 | OOD103-1V | S01 106220 | 11.314 | 11314000 | 0.052 | 52000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236845" | 2236845 | 1001581 | 1001581 | 2015-06-11 08:24 | OOD103-1V | S01 106221 | 11.050 | 11050000 | 0.046 | 46000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236846" | 2236846 | 1001581 | 1001581 | 2015-06-11 08:24 | OOD103-1V | S01 106222 | 11.462 | 11462000 | 0.047 | 47000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236847" | 2236847 | 1001581 | 1001581 | 2015-06-11 08:24 | OOD103-1V | S01 106223 | 11.116 | 11116000 | 0.050 | 50000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236848" | 2236848 | 1001581 | 1001581 | 2015-06-11 08:24 | OOD103-1V | S01 106224 | 11.104 | 11104000 | 0.047 | 47000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236849" | 2236849 | 1001581 | 1001581 | 2015-06-11 08:24 | OOD103-1V | S01 106225 | 11.199 | 11199000 | 0.048 | 48000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236850" | 2236850 | 1001581 | 1001581 | 2015-06-11 08:24 | OOD103-1V | S01 106226 | 11.265 | 11265000 | 0.046 | 46000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236851" | 2236851 | 1001581 | 1001581 | 2015-06-11 08:24 | OOD103-1V | S01 106227 | 11.314 | 11314000 | 0.052 | 52000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236852" | 2236852 | 1001581 | 1001581 | 2015-06-11 08:24 | OOD103-1V | S01 106228 | 11.293 | 11293000 | 0.052 | 52000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236853" | 2236853 | 1001581 | 1001581 | 2015-06-11 08:24 | OOD103-1V | S01 106229 | 11.371 | 11371000 | 0.048 | 48000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236871" | 2236871 | 1001581 | 1001581 | 2015-06-11 08:41 | OOD103-1V | S01 106230 | 11.565 | 11565000 | 0.047 | 47000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236872" | 2236872 | 1001581 | 1001581 | 2015-06-11 08:41 | OOD103-1V | S01 106231 | 11.175 | 11175000 | 0.051 | 51000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236873" | 2236873 | 1001581 | 1001581 | 2015-06-11 08:41 | OOD103-1V | S01 106232 | 11.339 | 11339000 | 0.039 | 39000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236874" | 2236874 | 1001581 | 1001581 | 2015-06-11 08:41 | OOD103-1V | S01 106233 | 11.269 | 11269000 | 0.057 | 57000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236875" | 2236875 | 1001581 | 1001581 | 2015-06-11 08:41 | OOD103-1V | S01 106234 | 11.474 | 11474000 | 0.048 | 48000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236876" | 2236876 | 1001581 | 1001581 | 2015-06-11 08:41 | OOD103-1V | S01 106235 | 11.300 | 11300000 | 0.048 | 48000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236877" | 2236877 | 1001581 | 1001581 | 2015-06-11 08:41 | OOD103-1V | S01 106236 | 11.327 | 11327000 | 0.053 | 53000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236878" | 2236878 | 1001581 | 1001581 | 2015-06-11 08:41 | OOD103-1V | S01 106237 | 11.324 | 11324000 | 0.044 | 44000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236879" | 2236879 | 1001581 | 1001581 | 2015-06-11 08:41 | OOD103-1V | S01 106238 | 11.059 | 11059000 | 0.051 | 51000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236880" | 2236880 | 1001581 | 1001581 | 2015-06-11 08:41 | OOD103-1V | S01 106239 | 11.454 | 11454000 | 0.048 | 48000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236881" | 2236881 | 1001581 | 1001581 | 2015-06-11 08:41 | OOD103-1V | S01 106240 | 11.027 | 11027000 | 0.047 | 47000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236882" | 2236882 | 1001581 | 1001581 | 2015-06-11 08:41 | OOD103-1V | S01 106241 | 11.313 | 11313000 | 0.052 | 52000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236883" | 2236883 | 1001581 | 1001581 | 2015-06-11 08:41 | OOD103-1V | S01 106242 | 11.359 | 11359000 | 0.053 | 53000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236884" | 2236884 | 1001581 | 1001581 | 2015-06-11 08:41 | OOD103-1V | S01 106243 | 11.000 | 11000000 | 0.051 | 51000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236885" | 2236885 | 1001581 | 1001581 | 2015-06-11 08:41 | OOD103-1V | S01 106244 | 11.456 | 11456000 | 0.055 | 55000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236903" | 2236903 | 1001581 | 1001581 | 2015-06-11 09:03 | OOD103-1V | S01 106245 | 11.345 | 11345000 | 0.053 | 53000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236904" | 2236904 | 1001581 | 1001581 | 2015-06-11 09:03 | OOD103-1V | S01 106246 | 11.256 | 11256000 | 0.050 | 50000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236905" | 2236905 | 1001581 | 1001581 | 2015-06-11 09:03 | OOD103-1V | S01 106247 | 11.254 | 11254000 | 0.044 | 44000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236906" | 2236906 | 1001581 | 1001581 | 2015-06-11 09:03 | OOD103-1V | S01 106248 | 11.323 | 11323000 | 0.053 | 53000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236907" | 2236907 | 1001581 | 1001581 | 2015-06-11 09:03 | OOD103-1V | S01 106249 | 11.431 | 11431000 | 0.049 | 49000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236908" | 2236908 | 1001581 | 1001581 | 2015-06-11 09:03 | OOD103-1V | S01 106250 | 11.249 | 11249000 | 0.044 | 44000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236909" | 2236909 | 1001581 | 1001581 | 2015-06-11 09:03 | OOD103-1V | S01 106251 | 11.019 | 11019000 | 0.042 | 42000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236910" | 2236910 | 1001581 | 1001581 | 2015-06-11 09:03 | OOD103-1V | S01 106252 | 11.333 | 11333000 | 0.038 | 38000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236911" | 2236911 | 1001581 | 1001581 | 2015-06-11 09:03 | OOD103-1V | S01 106253 | 11.439 | 11439000 | 0.057 | 57000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236912" | 2236912 | 1001581 | 1001581 | 2015-06-11 09:03 | OOD103-1V | S01 106254 | 10.930 | 10930000 | 0.051 | 51000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236914" | 2236914 | 1001581 | 1001581 | 2015-06-11 09:03 | OOD103-1V | S01 106255 | 11.325 | 11325000 | 0.055 | 55000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236915" | 2236915 | 1001581 | 1001581 | 2015-06-11 09:03 | OOD103-1V | S01 106256 | 11.374 | 11374000 | 0.055 | 55000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236916" | 2236916 | 1001581 | 1001581 | 2015-06-11 09:03 | OOD103-1V | S01 106257 | 10.926 | 10926000 | 0.057 | 57000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236917" | 2236917 | 1001581 | 1001581 | 2015-06-11 09:03 | OOD103-1V | S01 106258 | 11.285 | 11285000 | 0.046 | 46000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236924" | 2236924 | 1001581 | 1001581 | 2015-06-11 09:12 | OOD103-1V | S01 106259 | 11.100 | 11100000 | 0.040 | 40000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236925" | 2236925 | 1001581 | 1001581 | 2015-06-11 09:12 | OOD103-1V | S01 106260 | 11.200 | 11200000 | 0.039 | 39000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236926" | 2236926 | 1001581 | 1001581 | 2015-06-11 09:12 | OOD103-1V | S01 106261 | 11.519 | 11519000 | 0.047 | 47000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236927" | 2236927 | 1001581 | 1001581 | 2015-06-11 09:12 | OOD103-1V | S01 106262 | 11.162 | 11162000 | 0.047 | 47000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236928" | 2236928 | 1001581 | 1001581 | 2015-06-11 09:12 | OOD103-1V | S01 106263 | 11.192 | 11192000 | 0.046 | 46000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236929" | 2236929 | 1001581 | 1001581 | 2015-06-11 09:12 | OOD103-1V | S01 106264 | 11.171 | 11171000 | 0.047 | 47000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236930" | 2236930 | 1001581 | 1001581 | 2015-06-11 09:12 | OOD103-1V | S01 106265 | 11.036 | 11036000 | 0.046 | 46000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236931" | 2236931 | 1001581 | 1001581 | 2015-06-11 09:12 | OOD103-1V | S01 106266 | 11.110 | 11110000 | 0.039 | 39000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236932" | 2236932 | 1001581 | 1001581 | 2015-06-11 09:12 | OOD103-1V | S01 106267 | 11.586 | 11586000 | 0.035 | 35000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236933" | 2236933 | 1001581 | 1001581 | 2015-06-11 09:12 | OOD103-1V | S01 106268 | 11.487 | 11487000 | 0.047 | 47000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236934" | 2236934 | 1001581 | 1001581 | 2015-06-11 09:12 | OOD103-1V | S01 106269 | 11.105 | 11105000 | 0.049 | 49000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236935" | 2236935 | 1001581 | 1001581 | 2015-06-11 09:12 | OOD103-1V | S01 106270 | 11.262 | 11262000 | 0.043 | 43000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236936" | 2236936 | 1001581 | 1001581 | 2015-06-11 09:12 | OOD103-1V | S01 106271 | 11.135 | 11135000 | 0.042 | 42000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236937" | 2236937 | 1001581 | 1001581 | 2015-06-11 09:12 | OOD103-1V | S01 106272 | 11.102 | 11102000 | 0.046 | 46000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236938" | 2236938 | 1001581 | 1001581 | 2015-06-11 09:12 | OOD103-1V | S01 106273 | 11.371 | 11371000 | 0.047 | 47000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236940" | 2236940 | 1001581 | 1001581 | 2015-06-11 09:20 | OOD103-1V | S01 106274 | 11.115 | 11115000 | 0.048 | 48000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236941" | 2236941 | 1001581 | 1001581 | 2015-06-11 09:20 | OOD103-1V | S01 106275 | 11.186 | 11186000 | 0.046 | 46000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236942" | 2236942 | 1001581 | 1001581 | 2015-06-11 09:20 | OOD103-1V | S01 106276 | 10.904 | 10904000 | 0.045 | 45000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236943" | 2236943 | 1001581 | 1001581 | 2015-06-11 09:20 | OOD103-1V | S01 106277 | 11.886 | 11886000 | 0.053 | 53000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236944" | 2236944 | 1001581 | 1001581 | 2015-06-11 09:20 | OOD103-1V | S01 106278 | 11.340 | 11340000 | 0.054 | 54000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236945" | 2236945 | 1001581 | 1001581 | 2015-06-11 09:20 | OOD103-1V | S01 106279 | 11.156 | 11156000 | 0.048 | 48000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236946" | 2236946 | 1001581 | 1001581 | 2015-06-11 09:20 | OOD103-1V | S01 106280 | 11.299 | 11299000 | 0.043 | 43000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236947" | 2236947 | 1001581 | 1001581 | 2015-06-11 09:20 | OOD103-1V | S01 106281 | 11.244 | 11244000 | 0.047 | 47000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236948" | 2236948 | 1001581 | 1001581 | 2015-06-11 09:20 | OOD103-1V | S01 106282 | 11.357 | 11357000 | 0.048 | 48000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236949" | 2236949 | 1001581 | 1001581 | 2015-06-11 09:20 | OOD103-1V | S01 106283 | 11.409 | 11409000 | 0.042 | 42000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236950" | 2236950 | 1001581 | 1001581 | 2015-06-11 09:20 | OOD103-1V | S01 106284 | 11.347 | 11347000 | 0.043 | 43000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236951" | 2236951 | 1001581 | 1001581 | 2015-06-11 09:20 | OOD103-1V | S01 106285 | 11.108 | 11108000 | 0.049 | 49000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236952" | 2236952 | 1001581 | 1001581 | 2015-06-11 09:20 | OOD103-1V | S01 106286 | 11.088 | 11088000 | 0.044 | 44000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236953" | 2236953 | 1001581 | 1001581 | 2015-06-11 09:20 | OOD103-1V | S01 106287 | 11.514 | 11514000 | 0.053 | 53000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236962" | 2236962 | 1001581 | 1001581 | 2015-06-11 09:40 | OOD103-1V | S01 106288 | 11.322 | 11322000 | 0.035 | 35000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236963" | 2236963 | 1001581 | 1001581 | 2015-06-11 09:40 | OOD103-1V | S01 106289 | 11.311 | 11311000 | 0.041 | 41000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236965" | 2236965 | 1001581 | 1001581 | 2015-06-11 09:40 | OOD103-1V | S01 106290 | 11.166 | 11166000 | 0.039 | 39000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236966" | 2236966 | 1001581 | 1001581 | 2015-06-11 09:40 | OOD103-1V | S01 106291 | 11.416 | 11416000 | 0.047 | 47000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236967" | 2236967 | 1001581 | 1001581 | 2015-06-11 09:40 | OOD103-1V | S01 106292 | 10.662 | 10662000 | 0.043 | 43000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236968" | 2236968 | 1001581 | 1001581 | 2015-06-11 09:40 | OOD103-1V | S01 106293 | 11.258 | 11258000 | 0.034 | 34000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236969" | 2236969 | 1001581 | 1001581 | 2015-06-11 09:40 | OOD103-1V | S01 106294 | 11.270 | 11270000 | 0.032 | 32000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236970" | 2236970 | 1001581 | 1001581 | 2015-06-11 09:40 | OOD103-1V | S01 106295 | 11.292 | 11292000 | 0.041 | 41000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236971" | 2236971 | 1001581 | 1001581 | 2015-06-11 09:40 | OOD103-1V | S01 106296 | 11.448 | 11448000 | 0.039 | 39000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236972" | 2236972 | 1001581 | 1001581 | 2015-06-11 09:40 | OOD103-1V | S01 106297 | 11.084 | 11084000 | 0.040 | 40000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236973" | 2236973 | 1001581 | 1001581 | 2015-06-11 09:40 | OOD103-1V | S01 106298 | 11.438 | 11438000 | 0.039 | 39000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236974" | 2236974 | 1001581 | 1001581 | 2015-06-11 09:40 | OOD103-1V | S01 106299 | 11.404 | 11404000 | 0.048 | 48000 |  |  | +
Auto | "retrace Produktion","","product","ID","2236975" | 2236975 | 1001581 | 1001581 | 2015-06-11 09:40 | OOD103-1V | S01 106300 | 11.112 | 11112000 | 0.049 | 49000 |  |  | +

## Tabelle11 (hidden)
Auto+Ausblenden+Formulas=Tabelle11,Tabelle12+FormulasOnly | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen | Anpassen | Anpassen | Ausblenden | Anpassen | Ausblenden | Anpassen
[9 empty] | =CONCATENATE(Optionen!C2," PART No.") |  | =NL("Zeilen","Artikelreferenz","Referenznr.","Datenquelle=","Echtserver Wismar","Artikelnr.",E6,"Referenzartennr.",Optionen!C3,"Referenznr.",Optionen!C7)
|  | ID | ProductNumber | Nav. Nr. | Datum | SENSORTYP | LABELNR | LUFTWERT1 | LUFTWERT1 | OFFSET1 | OFFSET1 | LUFTWERT2 | OFFSET2 | WERTUNG
[8 empty] | µV | µV | µV | µV | µV | µV
| =NL("Zeilen","product",,"Datenquelle=","retrace Produktion","CustomerID",Optionen!C2,"ProductSerial",Optionen!C4,"Reference",Optionen!C5,"ProductNumber",Optionen!C6) | =NF($B6,"ID") | =NF(B6,"ProductNumber") | =SUBSTITUTE(D6," ","-") | =NF($B6,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B6,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C6,"Test","Luft","time",F6) | =VALUE(SUBSTITUTE(I6,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C6,"Test","N2","time",F6) | =VALUE(SUBSTITUTE(K6,".",","))*1000 |  |  | +

## Tabelle12 (hidden)
Auto+Ausblenden+Formulas=Tabelle11,Tabelle12+FormulasOnly | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen | Anpassen | Anpassen | Ausblenden | Anpassen | Ausblenden | Anpassen
[9 empty] | =VERKETTEN(Optionen!C2;" PART No.") |  | =NL("Zeilen";"Artikelreferenz";"Referenznr.";"Datenquelle=";"Echtserver Wismar";"Artikelnr.";E6;"Referenzartennr.";Optionen!C3;"Referenznr.";Optionen!C7)
|  | ID | ProductNumber | Nav. Nr. | Datum | SENSORTYP | LABELNR | LUFTWERT1 | LUFTWERT1 | OFFSET1 | OFFSET1 | LUFTWERT2 | OFFSET2 | WERTUNG
[8 empty] | µV | µV | µV | µV | µV | µV
| =NL("Zeilen";"product";;"Datenquelle=";"retrace Produktion";"CustomerID";Optionen!C2;"ProductSerial";Optionen!C4;"Reference";Optionen!C5;"ProductNumber";Optionen!C6) | =NF($B6;"ID") | =NF(B6;"ProductNumber") | =WECHSELN(D6;" ";"-") | =NF($B6;"Time") | =NL("Zeilen";"Artikel";"Beschreibung 2";"Datenquelle=";"Echtserver Wismar";"Nr.";$E$6) | =NF($B6;"ProductSerial") | =NL("Zeilen";"testprotocol";"Value";"Datenquelle=";"retrace Produktion";"ProductID";C6;"Test";"Luft";"time";F6) | =WERT(WECHSELN(I6;".";","))*1000 | =NL("Zeilen";"testprotocol";"Value";"Datenquelle=";"retrace Produktion";"ProductID";C6;"Test";"N2";"time";F6) | =WERT(WECHSELN(K6;".";","))*1000 |  |  | +

## Tabelle3 (hidden)
Auto+Ausblenden+Formulas=Tabelle3,Tabelle11,Tabelle12+FormulasOnly | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen | Anpassen | Anpassen | Ausblenden | Anpassen | Ausblenden | Anpassen
[9 empty] | =CONCATENATE(Optionen!C2," PART No.") |  | =NL("Zeilen","Artikelreferenz","Referenznr.","Datenquelle=","Echtserver Wismar","Artikelnr.",E6,"Referenzartennr.",Optionen!C3,"Referenznr.",Optionen!C7)
|  | ID | ProductNumber | Nav. Nr. | Datum | SENSORTYP | LABELNR | LUFTWERT1 | LUFTWERT1 | OFFSET1 | OFFSET1 | LUFTWERT2 | OFFSET2 | WERTUNG
[8 empty] | µV | µV | µV | µV | µV | µV
| =NL("Zeilen","product",,"Datenquelle=","retrace Produktion","CustomerID",Optionen!C2,"ProductSerial",Optionen!C4,"Reference",Optionen!C5,"ProductNumber",Optionen!C6) | =NF($B6,"ID") | =NF(B6,"ProductNumber") | =SUBSTITUTE(D6," ","-") | =NF($B6,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B6,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C6,"Test","Luft","time",F6) | =VALUE(SUBSTITUTE(I6,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C6,"Test","N2","time",F6) | =VALUE(SUBSTITUTE(K6,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236787""" | =NF($B7,"ID") | =NF(B7,"ProductNumber") | =SUBSTITUTE(D7," ","-") | =NF($B7,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B7,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C7,"Test","Luft","time",F7) | =VALUE(SUBSTITUTE(I7,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C7,"Test","N2","time",F7) | =VALUE(SUBSTITUTE(K7,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236794""" | =NF($B8,"ID") | =NF(B8,"ProductNumber") | =SUBSTITUTE(D8," ","-") | =NF($B8,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B8,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C8,"Test","Luft","time",F8) | =VALUE(SUBSTITUTE(I8,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C8,"Test","N2","time",F8) | =VALUE(SUBSTITUTE(K8,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236807""" | =NF($B9,"ID") | =NF(B9,"ProductNumber") | =SUBSTITUTE(D9," ","-") | =NF($B9,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B9,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C9,"Test","Luft","time",F9) | =VALUE(SUBSTITUTE(I9,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C9,"Test","N2","time",F9) | =VALUE(SUBSTITUTE(K9,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236808""" | =NF($B10,"ID") | =NF(B10,"ProductNumber") | =SUBSTITUTE(D10," ","-") | =NF($B10,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B10,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C10,"Test","Luft","time",F10) | =VALUE(SUBSTITUTE(I10,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C10,"Test","N2","time",F10) | =VALUE(SUBSTITUTE(K10,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236809""" | =NF($B11,"ID") | =NF(B11,"ProductNumber") | =SUBSTITUTE(D11," ","-") | =NF($B11,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B11,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C11,"Test","Luft","time",F11) | =VALUE(SUBSTITUTE(I11,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C11,"Test","N2","time",F11) | =VALUE(SUBSTITUTE(K11,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236810""" | =NF($B12,"ID") | =NF(B12,"ProductNumber") | =SUBSTITUTE(D12," ","-") | =NF($B12,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B12,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C12,"Test","Luft","time",F12) | =VALUE(SUBSTITUTE(I12,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C12,"Test","N2","time",F12) | =VALUE(SUBSTITUTE(K12,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236811""" | =NF($B13,"ID") | =NF(B13,"ProductNumber") | =SUBSTITUTE(D13," ","-") | =NF($B13,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B13,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C13,"Test","Luft","time",F13) | =VALUE(SUBSTITUTE(I13,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C13,"Test","N2","time",F13) | =VALUE(SUBSTITUTE(K13,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236812""" | =NF($B14,"ID") | =NF(B14,"ProductNumber") | =SUBSTITUTE(D14," ","-") | =NF($B14,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B14,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C14,"Test","Luft","time",F14) | =VALUE(SUBSTITUTE(I14,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C14,"Test","N2","time",F14) | =VALUE(SUBSTITUTE(K14,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236814""" | =NF($B15,"ID") | =NF(B15,"ProductNumber") | =SUBSTITUTE(D15," ","-") | =NF($B15,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B15,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C15,"Test","Luft","time",F15) | =VALUE(SUBSTITUTE(I15,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C15,"Test","N2","time",F15) | =VALUE(SUBSTITUTE(K15,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236815""" | =NF($B16,"ID") | =NF(B16,"ProductNumber") | =SUBSTITUTE(D16," ","-") | =NF($B16,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B16,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C16,"Test","Luft","time",F16) | =VALUE(SUBSTITUTE(I16,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C16,"Test","N2","time",F16) | =VALUE(SUBSTITUTE(K16,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236816""" | =NF($B17,"ID") | =NF(B17,"ProductNumber") | =SUBSTITUTE(D17," ","-") | =NF($B17,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B17,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C17,"Test","Luft","time",F17) | =VALUE(SUBSTITUTE(I17,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C17,"Test","N2","time",F17) | =VALUE(SUBSTITUTE(K17,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236817""" | =NF($B18,"ID") | =NF(B18,"ProductNumber") | =SUBSTITUTE(D18," ","-") | =NF($B18,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B18,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C18,"Test","Luft","time",F18) | =VALUE(SUBSTITUTE(I18,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C18,"Test","N2","time",F18) | =VALUE(SUBSTITUTE(K18,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236818""" | =NF($B19,"ID") | =NF(B19,"ProductNumber") | =SUBSTITUTE(D19," ","-") | =NF($B19,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B19,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C19,"Test","Luft","time",F19) | =VALUE(SUBSTITUTE(I19,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C19,"Test","N2","time",F19) | =VALUE(SUBSTITUTE(K19,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236819""" | =NF($B20,"ID") | =NF(B20,"ProductNumber") | =SUBSTITUTE(D20," ","-") | =NF($B20,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B20,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C20,"Test","Luft","time",F20) | =VALUE(SUBSTITUTE(I20,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C20,"Test","N2","time",F20) | =VALUE(SUBSTITUTE(K20,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236820""" | =NF($B21,"ID") | =NF(B21,"ProductNumber") | =SUBSTITUTE(D21," ","-") | =NF($B21,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B21,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C21,"Test","Luft","time",F21) | =VALUE(SUBSTITUTE(I21,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C21,"Test","N2","time",F21) | =VALUE(SUBSTITUTE(K21,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236821""" | =NF($B22,"ID") | =NF(B22,"ProductNumber") | =SUBSTITUTE(D22," ","-") | =NF($B22,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B22,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C22,"Test","Luft","time",F22) | =VALUE(SUBSTITUTE(I22,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C22,"Test","N2","time",F22) | =VALUE(SUBSTITUTE(K22,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236839""" | =NF($B23,"ID") | =NF(B23,"ProductNumber") | =SUBSTITUTE(D23," ","-") | =NF($B23,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B23,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C23,"Test","Luft","time",F23) | =VALUE(SUBSTITUTE(I23,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C23,"Test","N2","time",F23) | =VALUE(SUBSTITUTE(K23,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236840""" | =NF($B24,"ID") | =NF(B24,"ProductNumber") | =SUBSTITUTE(D24," ","-") | =NF($B24,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B24,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C24,"Test","Luft","time",F24) | =VALUE(SUBSTITUTE(I24,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C24,"Test","N2","time",F24) | =VALUE(SUBSTITUTE(K24,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236841""" | =NF($B25,"ID") | =NF(B25,"ProductNumber") | =SUBSTITUTE(D25," ","-") | =NF($B25,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B25,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C25,"Test","Luft","time",F25) | =VALUE(SUBSTITUTE(I25,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C25,"Test","N2","time",F25) | =VALUE(SUBSTITUTE(K25,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236842""" | =NF($B26,"ID") | =NF(B26,"ProductNumber") | =SUBSTITUTE(D26," ","-") | =NF($B26,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B26,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C26,"Test","Luft","time",F26) | =VALUE(SUBSTITUTE(I26,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C26,"Test","N2","time",F26) | =VALUE(SUBSTITUTE(K26,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236843""" | =NF($B27,"ID") | =NF(B27,"ProductNumber") | =SUBSTITUTE(D27," ","-") | =NF($B27,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B27,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C27,"Test","Luft","time",F27) | =VALUE(SUBSTITUTE(I27,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C27,"Test","N2","time",F27) | =VALUE(SUBSTITUTE(K27,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236844""" | =NF($B28,"ID") | =NF(B28,"ProductNumber") | =SUBSTITUTE(D28," ","-") | =NF($B28,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B28,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C28,"Test","Luft","time",F28) | =VALUE(SUBSTITUTE(I28,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C28,"Test","N2","time",F28) | =VALUE(SUBSTITUTE(K28,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236845""" | =NF($B29,"ID") | =NF(B29,"ProductNumber") | =SUBSTITUTE(D29," ","-") | =NF($B29,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B29,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C29,"Test","Luft","time",F29) | =VALUE(SUBSTITUTE(I29,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C29,"Test","N2","time",F29) | =VALUE(SUBSTITUTE(K29,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236846""" | =NF($B30,"ID") | =NF(B30,"ProductNumber") | =SUBSTITUTE(D30," ","-") | =NF($B30,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B30,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C30,"Test","Luft","time",F30) | =VALUE(SUBSTITUTE(I30,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C30,"Test","N2","time",F30) | =VALUE(SUBSTITUTE(K30,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236847""" | =NF($B31,"ID") | =NF(B31,"ProductNumber") | =SUBSTITUTE(D31," ","-") | =NF($B31,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B31,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C31,"Test","Luft","time",F31) | =VALUE(SUBSTITUTE(I31,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C31,"Test","N2","time",F31) | =VALUE(SUBSTITUTE(K31,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236848""" | =NF($B32,"ID") | =NF(B32,"ProductNumber") | =SUBSTITUTE(D32," ","-") | =NF($B32,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B32,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C32,"Test","Luft","time",F32) | =VALUE(SUBSTITUTE(I32,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C32,"Test","N2","time",F32) | =VALUE(SUBSTITUTE(K32,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236849""" | =NF($B33,"ID") | =NF(B33,"ProductNumber") | =SUBSTITUTE(D33," ","-") | =NF($B33,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B33,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C33,"Test","Luft","time",F33) | =VALUE(SUBSTITUTE(I33,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C33,"Test","N2","time",F33) | =VALUE(SUBSTITUTE(K33,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236850""" | =NF($B34,"ID") | =NF(B34,"ProductNumber") | =SUBSTITUTE(D34," ","-") | =NF($B34,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B34,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C34,"Test","Luft","time",F34) | =VALUE(SUBSTITUTE(I34,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C34,"Test","N2","time",F34) | =VALUE(SUBSTITUTE(K34,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236851""" | =NF($B35,"ID") | =NF(B35,"ProductNumber") | =SUBSTITUTE(D35," ","-") | =NF($B35,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B35,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C35,"Test","Luft","time",F35) | =VALUE(SUBSTITUTE(I35,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C35,"Test","N2","time",F35) | =VALUE(SUBSTITUTE(K35,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236852""" | =NF($B36,"ID") | =NF(B36,"ProductNumber") | =SUBSTITUTE(D36," ","-") | =NF($B36,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B36,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C36,"Test","Luft","time",F36) | =VALUE(SUBSTITUTE(I36,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C36,"Test","N2","time",F36) | =VALUE(SUBSTITUTE(K36,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236853""" | =NF($B37,"ID") | =NF(B37,"ProductNumber") | =SUBSTITUTE(D37," ","-") | =NF($B37,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B37,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C37,"Test","Luft","time",F37) | =VALUE(SUBSTITUTE(I37,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C37,"Test","N2","time",F37) | =VALUE(SUBSTITUTE(K37,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236871""" | =NF($B38,"ID") | =NF(B38,"ProductNumber") | =SUBSTITUTE(D38," ","-") | =NF($B38,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B38,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C38,"Test","Luft","time",F38) | =VALUE(SUBSTITUTE(I38,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C38,"Test","N2","time",F38) | =VALUE(SUBSTITUTE(K38,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236872""" | =NF($B39,"ID") | =NF(B39,"ProductNumber") | =SUBSTITUTE(D39," ","-") | =NF($B39,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B39,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C39,"Test","Luft","time",F39) | =VALUE(SUBSTITUTE(I39,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C39,"Test","N2","time",F39) | =VALUE(SUBSTITUTE(K39,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236873""" | =NF($B40,"ID") | =NF(B40,"ProductNumber") | =SUBSTITUTE(D40," ","-") | =NF($B40,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B40,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C40,"Test","Luft","time",F40) | =VALUE(SUBSTITUTE(I40,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C40,"Test","N2","time",F40) | =VALUE(SUBSTITUTE(K40,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236874""" | =NF($B41,"ID") | =NF(B41,"ProductNumber") | =SUBSTITUTE(D41," ","-") | =NF($B41,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B41,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C41,"Test","Luft","time",F41) | =VALUE(SUBSTITUTE(I41,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C41,"Test","N2","time",F41) | =VALUE(SUBSTITUTE(K41,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236875""" | =NF($B42,"ID") | =NF(B42,"ProductNumber") | =SUBSTITUTE(D42," ","-") | =NF($B42,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B42,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C42,"Test","Luft","time",F42) | =VALUE(SUBSTITUTE(I42,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C42,"Test","N2","time",F42) | =VALUE(SUBSTITUTE(K42,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236876""" | =NF($B43,"ID") | =NF(B43,"ProductNumber") | =SUBSTITUTE(D43," ","-") | =NF($B43,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B43,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C43,"Test","Luft","time",F43) | =VALUE(SUBSTITUTE(I43,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C43,"Test","N2","time",F43) | =VALUE(SUBSTITUTE(K43,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236877""" | =NF($B44,"ID") | =NF(B44,"ProductNumber") | =SUBSTITUTE(D44," ","-") | =NF($B44,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B44,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C44,"Test","Luft","time",F44) | =VALUE(SUBSTITUTE(I44,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C44,"Test","N2","time",F44) | =VALUE(SUBSTITUTE(K44,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236878""" | =NF($B45,"ID") | =NF(B45,"ProductNumber") | =SUBSTITUTE(D45," ","-") | =NF($B45,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B45,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C45,"Test","Luft","time",F45) | =VALUE(SUBSTITUTE(I45,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C45,"Test","N2","time",F45) | =VALUE(SUBSTITUTE(K45,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236879""" | =NF($B46,"ID") | =NF(B46,"ProductNumber") | =SUBSTITUTE(D46," ","-") | =NF($B46,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B46,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C46,"Test","Luft","time",F46) | =VALUE(SUBSTITUTE(I46,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C46,"Test","N2","time",F46) | =VALUE(SUBSTITUTE(K46,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236880""" | =NF($B47,"ID") | =NF(B47,"ProductNumber") | =SUBSTITUTE(D47," ","-") | =NF($B47,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B47,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C47,"Test","Luft","time",F47) | =VALUE(SUBSTITUTE(I47,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C47,"Test","N2","time",F47) | =VALUE(SUBSTITUTE(K47,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236881""" | =NF($B48,"ID") | =NF(B48,"ProductNumber") | =SUBSTITUTE(D48," ","-") | =NF($B48,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B48,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C48,"Test","Luft","time",F48) | =VALUE(SUBSTITUTE(I48,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C48,"Test","N2","time",F48) | =VALUE(SUBSTITUTE(K48,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236882""" | =NF($B49,"ID") | =NF(B49,"ProductNumber") | =SUBSTITUTE(D49," ","-") | =NF($B49,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B49,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C49,"Test","Luft","time",F49) | =VALUE(SUBSTITUTE(I49,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C49,"Test","N2","time",F49) | =VALUE(SUBSTITUTE(K49,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236883""" | =NF($B50,"ID") | =NF(B50,"ProductNumber") | =SUBSTITUTE(D50," ","-") | =NF($B50,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B50,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C50,"Test","Luft","time",F50) | =VALUE(SUBSTITUTE(I50,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C50,"Test","N2","time",F50) | =VALUE(SUBSTITUTE(K50,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236884""" | =NF($B51,"ID") | =NF(B51,"ProductNumber") | =SUBSTITUTE(D51," ","-") | =NF($B51,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B51,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C51,"Test","Luft","time",F51) | =VALUE(SUBSTITUTE(I51,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C51,"Test","N2","time",F51) | =VALUE(SUBSTITUTE(K51,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236885""" | =NF($B52,"ID") | =NF(B52,"ProductNumber") | =SUBSTITUTE(D52," ","-") | =NF($B52,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B52,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C52,"Test","Luft","time",F52) | =VALUE(SUBSTITUTE(I52,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C52,"Test","N2","time",F52) | =VALUE(SUBSTITUTE(K52,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236903""" | =NF($B53,"ID") | =NF(B53,"ProductNumber") | =SUBSTITUTE(D53," ","-") | =NF($B53,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B53,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C53,"Test","Luft","time",F53) | =VALUE(SUBSTITUTE(I53,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C53,"Test","N2","time",F53) | =VALUE(SUBSTITUTE(K53,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236904""" | =NF($B54,"ID") | =NF(B54,"ProductNumber") | =SUBSTITUTE(D54," ","-") | =NF($B54,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B54,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C54,"Test","Luft","time",F54) | =VALUE(SUBSTITUTE(I54,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C54,"Test","N2","time",F54) | =VALUE(SUBSTITUTE(K54,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236905""" | =NF($B55,"ID") | =NF(B55,"ProductNumber") | =SUBSTITUTE(D55," ","-") | =NF($B55,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B55,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C55,"Test","Luft","time",F55) | =VALUE(SUBSTITUTE(I55,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C55,"Test","N2","time",F55) | =VALUE(SUBSTITUTE(K55,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236906""" | =NF($B56,"ID") | =NF(B56,"ProductNumber") | =SUBSTITUTE(D56," ","-") | =NF($B56,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B56,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C56,"Test","Luft","time",F56) | =VALUE(SUBSTITUTE(I56,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C56,"Test","N2","time",F56) | =VALUE(SUBSTITUTE(K56,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236907""" | =NF($B57,"ID") | =NF(B57,"ProductNumber") | =SUBSTITUTE(D57," ","-") | =NF($B57,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B57,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C57,"Test","Luft","time",F57) | =VALUE(SUBSTITUTE(I57,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C57,"Test","N2","time",F57) | =VALUE(SUBSTITUTE(K57,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236908""" | =NF($B58,"ID") | =NF(B58,"ProductNumber") | =SUBSTITUTE(D58," ","-") | =NF($B58,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B58,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C58,"Test","Luft","time",F58) | =VALUE(SUBSTITUTE(I58,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C58,"Test","N2","time",F58) | =VALUE(SUBSTITUTE(K58,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236909""" | =NF($B59,"ID") | =NF(B59,"ProductNumber") | =SUBSTITUTE(D59," ","-") | =NF($B59,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B59,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C59,"Test","Luft","time",F59) | =VALUE(SUBSTITUTE(I59,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C59,"Test","N2","time",F59) | =VALUE(SUBSTITUTE(K59,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236910""" | =NF($B60,"ID") | =NF(B60,"ProductNumber") | =SUBSTITUTE(D60," ","-") | =NF($B60,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B60,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C60,"Test","Luft","time",F60) | =VALUE(SUBSTITUTE(I60,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C60,"Test","N2","time",F60) | =VALUE(SUBSTITUTE(K60,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236911""" | =NF($B61,"ID") | =NF(B61,"ProductNumber") | =SUBSTITUTE(D61," ","-") | =NF($B61,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B61,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C61,"Test","Luft","time",F61) | =VALUE(SUBSTITUTE(I61,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C61,"Test","N2","time",F61) | =VALUE(SUBSTITUTE(K61,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236912""" | =NF($B62,"ID") | =NF(B62,"ProductNumber") | =SUBSTITUTE(D62," ","-") | =NF($B62,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B62,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C62,"Test","Luft","time",F62) | =VALUE(SUBSTITUTE(I62,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C62,"Test","N2","time",F62) | =VALUE(SUBSTITUTE(K62,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236914""" | =NF($B63,"ID") | =NF(B63,"ProductNumber") | =SUBSTITUTE(D63," ","-") | =NF($B63,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B63,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C63,"Test","Luft","time",F63) | =VALUE(SUBSTITUTE(I63,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C63,"Test","N2","time",F63) | =VALUE(SUBSTITUTE(K63,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236915""" | =NF($B64,"ID") | =NF(B64,"ProductNumber") | =SUBSTITUTE(D64," ","-") | =NF($B64,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B64,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C64,"Test","Luft","time",F64) | =VALUE(SUBSTITUTE(I64,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C64,"Test","N2","time",F64) | =VALUE(SUBSTITUTE(K64,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236916""" | =NF($B65,"ID") | =NF(B65,"ProductNumber") | =SUBSTITUTE(D65," ","-") | =NF($B65,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B65,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C65,"Test","Luft","time",F65) | =VALUE(SUBSTITUTE(I65,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C65,"Test","N2","time",F65) | =VALUE(SUBSTITUTE(K65,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236917""" | =NF($B66,"ID") | =NF(B66,"ProductNumber") | =SUBSTITUTE(D66," ","-") | =NF($B66,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B66,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C66,"Test","Luft","time",F66) | =VALUE(SUBSTITUTE(I66,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C66,"Test","N2","time",F66) | =VALUE(SUBSTITUTE(K66,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236924""" | =NF($B67,"ID") | =NF(B67,"ProductNumber") | =SUBSTITUTE(D67," ","-") | =NF($B67,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B67,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C67,"Test","Luft","time",F67) | =VALUE(SUBSTITUTE(I67,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C67,"Test","N2","time",F67) | =VALUE(SUBSTITUTE(K67,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236925""" | =NF($B68,"ID") | =NF(B68,"ProductNumber") | =SUBSTITUTE(D68," ","-") | =NF($B68,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B68,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C68,"Test","Luft","time",F68) | =VALUE(SUBSTITUTE(I68,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C68,"Test","N2","time",F68) | =VALUE(SUBSTITUTE(K68,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236926""" | =NF($B69,"ID") | =NF(B69,"ProductNumber") | =SUBSTITUTE(D69," ","-") | =NF($B69,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B69,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C69,"Test","Luft","time",F69) | =VALUE(SUBSTITUTE(I69,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C69,"Test","N2","time",F69) | =VALUE(SUBSTITUTE(K69,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236927""" | =NF($B70,"ID") | =NF(B70,"ProductNumber") | =SUBSTITUTE(D70," ","-") | =NF($B70,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B70,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C70,"Test","Luft","time",F70) | =VALUE(SUBSTITUTE(I70,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C70,"Test","N2","time",F70) | =VALUE(SUBSTITUTE(K70,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236928""" | =NF($B71,"ID") | =NF(B71,"ProductNumber") | =SUBSTITUTE(D71," ","-") | =NF($B71,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B71,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C71,"Test","Luft","time",F71) | =VALUE(SUBSTITUTE(I71,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C71,"Test","N2","time",F71) | =VALUE(SUBSTITUTE(K71,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236929""" | =NF($B72,"ID") | =NF(B72,"ProductNumber") | =SUBSTITUTE(D72," ","-") | =NF($B72,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B72,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C72,"Test","Luft","time",F72) | =VALUE(SUBSTITUTE(I72,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C72,"Test","N2","time",F72) | =VALUE(SUBSTITUTE(K72,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236930""" | =NF($B73,"ID") | =NF(B73,"ProductNumber") | =SUBSTITUTE(D73," ","-") | =NF($B73,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B73,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C73,"Test","Luft","time",F73) | =VALUE(SUBSTITUTE(I73,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C73,"Test","N2","time",F73) | =VALUE(SUBSTITUTE(K73,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236931""" | =NF($B74,"ID") | =NF(B74,"ProductNumber") | =SUBSTITUTE(D74," ","-") | =NF($B74,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B74,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C74,"Test","Luft","time",F74) | =VALUE(SUBSTITUTE(I74,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C74,"Test","N2","time",F74) | =VALUE(SUBSTITUTE(K74,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236932""" | =NF($B75,"ID") | =NF(B75,"ProductNumber") | =SUBSTITUTE(D75," ","-") | =NF($B75,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B75,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C75,"Test","Luft","time",F75) | =VALUE(SUBSTITUTE(I75,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C75,"Test","N2","time",F75) | =VALUE(SUBSTITUTE(K75,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236933""" | =NF($B76,"ID") | =NF(B76,"ProductNumber") | =SUBSTITUTE(D76," ","-") | =NF($B76,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B76,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C76,"Test","Luft","time",F76) | =VALUE(SUBSTITUTE(I76,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C76,"Test","N2","time",F76) | =VALUE(SUBSTITUTE(K76,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236934""" | =NF($B77,"ID") | =NF(B77,"ProductNumber") | =SUBSTITUTE(D77," ","-") | =NF($B77,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B77,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C77,"Test","Luft","time",F77) | =VALUE(SUBSTITUTE(I77,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C77,"Test","N2","time",F77) | =VALUE(SUBSTITUTE(K77,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236935""" | =NF($B78,"ID") | =NF(B78,"ProductNumber") | =SUBSTITUTE(D78," ","-") | =NF($B78,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B78,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C78,"Test","Luft","time",F78) | =VALUE(SUBSTITUTE(I78,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C78,"Test","N2","time",F78) | =VALUE(SUBSTITUTE(K78,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236936""" | =NF($B79,"ID") | =NF(B79,"ProductNumber") | =SUBSTITUTE(D79," ","-") | =NF($B79,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B79,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C79,"Test","Luft","time",F79) | =VALUE(SUBSTITUTE(I79,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C79,"Test","N2","time",F79) | =VALUE(SUBSTITUTE(K79,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236937""" | =NF($B80,"ID") | =NF(B80,"ProductNumber") | =SUBSTITUTE(D80," ","-") | =NF($B80,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B80,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C80,"Test","Luft","time",F80) | =VALUE(SUBSTITUTE(I80,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C80,"Test","N2","time",F80) | =VALUE(SUBSTITUTE(K80,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236938""" | =NF($B81,"ID") | =NF(B81,"ProductNumber") | =SUBSTITUTE(D81," ","-") | =NF($B81,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B81,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C81,"Test","Luft","time",F81) | =VALUE(SUBSTITUTE(I81,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C81,"Test","N2","time",F81) | =VALUE(SUBSTITUTE(K81,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236940""" | =NF($B82,"ID") | =NF(B82,"ProductNumber") | =SUBSTITUTE(D82," ","-") | =NF($B82,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B82,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C82,"Test","Luft","time",F82) | =VALUE(SUBSTITUTE(I82,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C82,"Test","N2","time",F82) | =VALUE(SUBSTITUTE(K82,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236941""" | =NF($B83,"ID") | =NF(B83,"ProductNumber") | =SUBSTITUTE(D83," ","-") | =NF($B83,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B83,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C83,"Test","Luft","time",F83) | =VALUE(SUBSTITUTE(I83,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C83,"Test","N2","time",F83) | =VALUE(SUBSTITUTE(K83,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236942""" | =NF($B84,"ID") | =NF(B84,"ProductNumber") | =SUBSTITUTE(D84," ","-") | =NF($B84,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B84,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C84,"Test","Luft","time",F84) | =VALUE(SUBSTITUTE(I84,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C84,"Test","N2","time",F84) | =VALUE(SUBSTITUTE(K84,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236943""" | =NF($B85,"ID") | =NF(B85,"ProductNumber") | =SUBSTITUTE(D85," ","-") | =NF($B85,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B85,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C85,"Test","Luft","time",F85) | =VALUE(SUBSTITUTE(I85,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C85,"Test","N2","time",F85) | =VALUE(SUBSTITUTE(K85,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236944""" | =NF($B86,"ID") | =NF(B86,"ProductNumber") | =SUBSTITUTE(D86," ","-") | =NF($B86,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B86,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C86,"Test","Luft","time",F86) | =VALUE(SUBSTITUTE(I86,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C86,"Test","N2","time",F86) | =VALUE(SUBSTITUTE(K86,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236945""" | =NF($B87,"ID") | =NF(B87,"ProductNumber") | =SUBSTITUTE(D87," ","-") | =NF($B87,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B87,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C87,"Test","Luft","time",F87) | =VALUE(SUBSTITUTE(I87,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C87,"Test","N2","time",F87) | =VALUE(SUBSTITUTE(K87,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236946""" | =NF($B88,"ID") | =NF(B88,"ProductNumber") | =SUBSTITUTE(D88," ","-") | =NF($B88,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B88,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C88,"Test","Luft","time",F88) | =VALUE(SUBSTITUTE(I88,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C88,"Test","N2","time",F88) | =VALUE(SUBSTITUTE(K88,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236947""" | =NF($B89,"ID") | =NF(B89,"ProductNumber") | =SUBSTITUTE(D89," ","-") | =NF($B89,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B89,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C89,"Test","Luft","time",F89) | =VALUE(SUBSTITUTE(I89,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C89,"Test","N2","time",F89) | =VALUE(SUBSTITUTE(K89,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236948""" | =NF($B90,"ID") | =NF(B90,"ProductNumber") | =SUBSTITUTE(D90," ","-") | =NF($B90,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B90,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C90,"Test","Luft","time",F90) | =VALUE(SUBSTITUTE(I90,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C90,"Test","N2","time",F90) | =VALUE(SUBSTITUTE(K90,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236949""" | =NF($B91,"ID") | =NF(B91,"ProductNumber") | =SUBSTITUTE(D91," ","-") | =NF($B91,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B91,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C91,"Test","Luft","time",F91) | =VALUE(SUBSTITUTE(I91,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C91,"Test","N2","time",F91) | =VALUE(SUBSTITUTE(K91,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236950""" | =NF($B92,"ID") | =NF(B92,"ProductNumber") | =SUBSTITUTE(D92," ","-") | =NF($B92,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B92,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C92,"Test","Luft","time",F92) | =VALUE(SUBSTITUTE(I92,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C92,"Test","N2","time",F92) | =VALUE(SUBSTITUTE(K92,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236951""" | =NF($B93,"ID") | =NF(B93,"ProductNumber") | =SUBSTITUTE(D93," ","-") | =NF($B93,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B93,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C93,"Test","Luft","time",F93) | =VALUE(SUBSTITUTE(I93,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C93,"Test","N2","time",F93) | =VALUE(SUBSTITUTE(K93,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236952""" | =NF($B94,"ID") | =NF(B94,"ProductNumber") | =SUBSTITUTE(D94," ","-") | =NF($B94,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B94,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C94,"Test","Luft","time",F94) | =VALUE(SUBSTITUTE(I94,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C94,"Test","N2","time",F94) | =VALUE(SUBSTITUTE(K94,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236953""" | =NF($B95,"ID") | =NF(B95,"ProductNumber") | =SUBSTITUTE(D95," ","-") | =NF($B95,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B95,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C95,"Test","Luft","time",F95) | =VALUE(SUBSTITUTE(I95,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C95,"Test","N2","time",F95) | =VALUE(SUBSTITUTE(K95,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236962""" | =NF($B96,"ID") | =NF(B96,"ProductNumber") | =SUBSTITUTE(D96," ","-") | =NF($B96,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B96,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C96,"Test","Luft","time",F96) | =VALUE(SUBSTITUTE(I96,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C96,"Test","N2","time",F96) | =VALUE(SUBSTITUTE(K96,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236963""" | =NF($B97,"ID") | =NF(B97,"ProductNumber") | =SUBSTITUTE(D97," ","-") | =NF($B97,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B97,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C97,"Test","Luft","time",F97) | =VALUE(SUBSTITUTE(I97,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C97,"Test","N2","time",F97) | =VALUE(SUBSTITUTE(K97,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236965""" | =NF($B98,"ID") | =NF(B98,"ProductNumber") | =SUBSTITUTE(D98," ","-") | =NF($B98,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B98,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C98,"Test","Luft","time",F98) | =VALUE(SUBSTITUTE(I98,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C98,"Test","N2","time",F98) | =VALUE(SUBSTITUTE(K98,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236966""" | =NF($B99,"ID") | =NF(B99,"ProductNumber") | =SUBSTITUTE(D99," ","-") | =NF($B99,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B99,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C99,"Test","Luft","time",F99) | =VALUE(SUBSTITUTE(I99,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C99,"Test","N2","time",F99) | =VALUE(SUBSTITUTE(K99,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236967""" | =NF($B100,"ID") | =NF(B100,"ProductNumber") | =SUBSTITUTE(D100," ","-") | =NF($B100,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B100,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C100,"Test","Luft","time",F100) | =VALUE(SUBSTITUTE(I100,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C100,"Test","N2","time",F100) | =VALUE(SUBSTITUTE(K100,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236968""" | =NF($B101,"ID") | =NF(B101,"ProductNumber") | =SUBSTITUTE(D101," ","-") | =NF($B101,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B101,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C101,"Test","Luft","time",F101) | =VALUE(SUBSTITUTE(I101,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C101,"Test","N2","time",F101) | =VALUE(SUBSTITUTE(K101,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236969""" | =NF($B102,"ID") | =NF(B102,"ProductNumber") | =SUBSTITUTE(D102," ","-") | =NF($B102,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B102,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C102,"Test","Luft","time",F102) | =VALUE(SUBSTITUTE(I102,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C102,"Test","N2","time",F102) | =VALUE(SUBSTITUTE(K102,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236970""" | =NF($B103,"ID") | =NF(B103,"ProductNumber") | =SUBSTITUTE(D103," ","-") | =NF($B103,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B103,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C103,"Test","Luft","time",F103) | =VALUE(SUBSTITUTE(I103,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C103,"Test","N2","time",F103) | =VALUE(SUBSTITUTE(K103,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236971""" | =NF($B104,"ID") | =NF(B104,"ProductNumber") | =SUBSTITUTE(D104," ","-") | =NF($B104,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B104,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C104,"Test","Luft","time",F104) | =VALUE(SUBSTITUTE(I104,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C104,"Test","N2","time",F104) | =VALUE(SUBSTITUTE(K104,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236972""" | =NF($B105,"ID") | =NF(B105,"ProductNumber") | =SUBSTITUTE(D105," ","-") | =NF($B105,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B105,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C105,"Test","Luft","time",F105) | =VALUE(SUBSTITUTE(I105,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C105,"Test","N2","time",F105) | =VALUE(SUBSTITUTE(K105,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236973""" | =NF($B106,"ID") | =NF(B106,"ProductNumber") | =SUBSTITUTE(D106," ","-") | =NF($B106,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B106,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C106,"Test","Luft","time",F106) | =VALUE(SUBSTITUTE(I106,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C106,"Test","N2","time",F106) | =VALUE(SUBSTITUTE(K106,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236974""" | =NF($B107,"ID") | =NF(B107,"ProductNumber") | =SUBSTITUTE(D107," ","-") | =NF($B107,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B107,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C107,"Test","Luft","time",F107) | =VALUE(SUBSTITUTE(I107,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C107,"Test","N2","time",F107) | =VALUE(SUBSTITUTE(K107,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2236975""" | =NF($B108,"ID") | =NF(B108,"ProductNumber") | =SUBSTITUTE(D108," ","-") | =NF($B108,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B108,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C108,"Test","Luft","time",F108) | =VALUE(SUBSTITUTE(I108,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C108,"Test","N2","time",F108) | =VALUE(SUBSTITUTE(K108,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2237346""" | =NF($B109,"ID") | =NF(B109,"ProductNumber") | =SUBSTITUTE(D109," ","-") | =NF($B109,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B109,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C109,"Test","Luft","time",F109) | =VALUE(SUBSTITUTE(I109,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C109,"Test","N2","time",F109) | =VALUE(SUBSTITUTE(K109,".",","))*1000 |  |  | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2237347""" | =NF($B110,"ID") | =NF(B110,"ProductNumber") | =SUBSTITUTE(D110," ","-") | =NF($B110,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B110,"ProductSerial") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C110,"Test","Luft","time",F110) | =VALUE(SUBSTITUTE(I110,".",","))*1000 | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ProductID",C110,"Test","N2","time",F110) | =VALUE(SUBSTITUTE(K110,".",","))*1000 |  |  | +