## Optionen (hidden)
Auto+Ausblenden+Werte+BlattAusblenden | Titel | Wert | Lookup
Option | Debitor | Viamed
Option | Debitornummer | 10856
Option | Seriennummer | V0 1901..V0 1950
Option | Referenz (VB-Nr.) | 119024
Option | Artikel-Referenznr. | 110047

## Tabelle1
Auto+Ausblenden+Formulas=Tabelle5,Tabelle2,Tabelle3 | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen | Anpassen | Anpassen | Ausblenden | Ausblenden | Anpassen | Ausblenden | Ausblenden | Anpassen | Ausblenden | Ausblenden | Anpassen | Ausblenden | Ausblenden | Anpassen | Anpassen
[10 empty] | Viamed PART No. |  |  | 110047
|  | ID | ProductNumber | Nav. Nr. | Datum | SENSORTYP | LABELNR | ID | LUFTWERT1 | LUFTWERT1 | ID | OFFSET1 | OFFSET1 | ID | LUFTWERT2 | LUFTWERT2 | ID | OFFSET1 | OFFSET2 | WERTUNG
[9 empty] | µV | µV |  | µV | µV |  | µV | µV |  | µV | µV
| "retrace Produktion","","product","ID","2396304" | 2396304 | 01-00-0097 | 01-00-0097 | 2015-09-08 08:05 | OOM204 | V0 1901 | 11313008 | 11.490 | 11490000 | 11313010 | 0.139 | 139000 | 11313014 | 10.595 | 10595000 | 11313010 | 0.139 | 139000 | +
Auto | "retrace Produktion","","product","ID","2396305" | 2396305 | 01-00-0097 | 01-00-0097 | 2015-09-08 08:05 | OOM204 | V0 1902 | 11313019 | 11.106 | 11106000 | 11313021 | 0.150 | 150000 | 11313025 | 11.496 | 11496000 | 11313021 | 0.150 | 150000 | +
Auto | "retrace Produktion","","product","ID","2396306" | 2396306 | 01-00-0097 | 01-00-0097 | 2015-09-08 08:05 | OOM204 | V0 1903 | 11313030 | 11.049 | 11049000 | 11313032 | 0.162 | 162000 | 11313036 | 11.234 | 11234000 | 11313032 | 0.162 | 162000 | +
Auto | "retrace Produktion","","product","ID","2396307" | 2396307 | 01-00-0097 | 01-00-0097 | 2015-09-08 08:05 | OOM204 | V0 1904 | 11313041 | 11.166 | 11166000 | 11313043 | 0.155 | 155000 | 11313047 | 11.681 | 11681000 | 11313043 | 0.155 | 155000 | +
Auto | "retrace Produktion","","product","ID","2396308" | 2396308 | 01-00-0097 | 01-00-0097 | 2015-09-08 08:05 | OOM204 | V0 1905 | 11313052 | 11.425 | 11425000 | 11313054 | 0.149 | 149000 | 11313058 | 11.081 | 11081000 | 11313054 | 0.149 | 149000 | +
Auto | "retrace Produktion","","product","ID","2396309" | 2396309 | 01-00-0097 | 01-00-0097 | 2015-09-08 08:05 | OOM204 | V0 1906 | 11313063 | 11.700 | 11700000 | 11313065 | 0.178 | 178000 | 11313069 | 11.253 | 11253000 | 11313065 | 0.178 | 178000 | +
Auto | "retrace Produktion","","product","ID","2396310" | 2396310 | 01-00-0097 | 01-00-0097 | 2015-09-08 08:05 | OOM204 | V0 1907 | 11313074 | 10.956 | 10956000 | 11313076 | 0.138 | 138000 | 11313080 | 11.355 | 11355000 | 11313076 | 0.138 | 138000 | +
Auto | "retrace Produktion","","product","ID","2396311" | 2396311 | 01-00-0097 | 01-00-0097 | 2015-09-08 08:05 | OOM204 | V0 1908 | 11313085 | 10.810 | 10810000 | 11313087 | 0.155 | 155000 | 11313091 | 11.551 | 11551000 | 11313087 | 0.155 | 155000 | +
Auto | "retrace Produktion","","product","ID","2396335" | 2396335 | 01-00-0097 | 01-00-0097 | 2015-09-08 08:10 | OOM204 | V0 1909 | 11313218 | 10.849 | 10849000 | 11313220 | 0.194 | 194000 | 11313224 | 10.716 | 10716000 | 11313220 | 0.194 | 194000 | +
Auto | "retrace Produktion","","product","ID","2396336" | 2396336 | 01-00-0097 | 01-00-0097 | 2015-09-08 08:10 | OOM204 | V0 1910 | 11313229 | 11.713 | 11713000 | 11313231 | 0.148 | 148000 | 11313235 | 11.110 | 11110000 | 11313231 | 0.148 | 148000 | +
Auto | "retrace Produktion","","product","ID","2396337" | 2396337 | 01-00-0097 | 01-00-0097 | 2015-09-08 08:10 | OOM204 | V0 1911 | 11313240 | 11.776 | 11776000 | 11313242 | 0.175 | 175000 | 11313246 | 11.170 | 11170000 | 11313242 | 0.175 | 175000 | +
Auto | "retrace Produktion","","product","ID","2396338" | 2396338 | 01-00-0097 | 01-00-0097 | 2015-09-08 08:10 | OOM204 | V0 1912 | 11313251 | 10.944 | 10944000 | 11313253 | 0.146 | 146000 | 11313257 | 11.660 | 11660000 | 11313253 | 0.146 | 146000 | +
Auto | "retrace Produktion","","product","ID","2396339" | 2396339 | 01-00-0097 | 01-00-0097 | 2015-09-08 08:10 | OOM204 | V0 1913 | 11313262 | 11.531 | 11531000 | 11313264 | 0.145 | 145000 | 11313268 | 11.804 | 11804000 | 11313264 | 0.145 | 145000 | +
Auto | "retrace Produktion","","product","ID","2396340" | 2396340 | 01-00-0097 | 01-00-0097 | 2015-09-08 08:10 | OOM204 | V0 1914 | 11313273 | 11.680 | 11680000 | 11313275 | 0.151 | 151000 | 11313279 | 11.813 | 11813000 | 11313275 | 0.151 | 151000 | +
Auto | "retrace Produktion","","product","ID","2396341" | 2396341 | 01-00-0097 | 01-00-0097 | 2015-09-08 08:10 | OOM204 | V0 1915 | 11313284 | 11.738 | 11738000 | 11313286 | 0.164 | 164000 | 11313290 | 11.143 | 11143000 | 11313286 | 0.164 | 164000 | +
Auto | "retrace Produktion","","product","ID","2396342" | 2396342 | 01-00-0097 | 01-00-0097 | 2015-09-08 08:10 | OOM204 | V0 1916 | 11313295 | 11.611 | 11611000 | 11313297 | 0.155 | 155000 | 11313301 | 11.370 | 11370000 | 11313297 | 0.155 | 155000 | +
Auto | "retrace Produktion","","product","ID","2396368" | 2396368 | 01-00-0097 | 01-00-0097 | 2015-09-08 08:15 | OOM204 | V0 1917 | 11313432 | 10.445 | 10445000 | 11313434 | 0.147 | 147000 | 11313438 | 10.772 | 10772000 | 11313434 | 0.147 | 147000 | +
Auto | "retrace Produktion","","product","ID","2396369" | 2396369 | 01-00-0097 | 01-00-0097 | 2015-09-08 08:15 | OOM204 | V0 1918 | 11313443 | 11.083 | 11083000 | 11313445 | 0.169 | 169000 | 11313449 | 11.839 | 11839000 | 11313445 | 0.169 | 169000 | +
Auto | "retrace Produktion","","product","ID","2396370" | 2396370 | 01-00-0097 | 01-00-0097 | 2015-09-08 08:15 | OOM204 | V0 1919 | 11313454 | 10.919 | 10919000 | 11313456 | 0.162 | 162000 | 11313460 | 11.781 | 11781000 | 11313456 | 0.162 | 162000 | +
Auto | "retrace Produktion","","product","ID","2396371" | 2396371 | 01-00-0097 | 01-00-0097 | 2015-09-08 08:15 | OOM204 | V0 1920 | 11313465 | 11.037 | 11037000 | 11313467 | 0.147 | 147000 | 11313471 | 11.281 | 11281000 | 11313467 | 0.147 | 147000 | +
Auto | "retrace Produktion","","product","ID","2396372" | 2396372 | 01-00-0097 | 01-00-0097 | 2015-09-08 08:15 | OOM204 | V0 1921 | 11313476 | 11.461 | 11461000 | 11313478 | 0.157 | 157000 | 11313482 | 10.954 | 10954000 | 11313478 | 0.157 | 157000 | +
Auto | "retrace Produktion","","product","ID","2396373" | 2396373 | 01-00-0097 | 01-00-0097 | 2015-09-08 08:15 | OOM204 | V0 1922 | 11313487 | 11.794 | 11794000 | 11313489 | 0.154 | 154000 | 11313493 | 11.170 | 11170000 | 11313489 | 0.154 | 154000 | +
Auto | "retrace Produktion","","product","ID","2396374" | 2396374 | 01-00-0097 | 01-00-0097 | 2015-09-08 08:15 | OOM204 | V0 1923 | 11313498 | 11.755 | 11755000 | 11313500 | 0.149 | 149000 | 11313504 | 11.738 | 11738000 | 11313500 | 0.149 | 149000 | +
Auto | "retrace Produktion","","product","ID","2396375" | 2396375 | 01-00-0097 | 01-00-0097 | 2015-09-08 08:15 | OOM204 | V0 1924 | 11313509 | 10.030 | 10030000 | 11313511 | 0.141 | 141000 | 11313515 | 11.093 | 11093000 | 11313511 | 0.141 | 141000 | +
Auto | "retrace Produktion","","product","ID","2396400" | 2396400 | 01-00-0097 | 01-00-0097 | 2015-09-08 08:21 | OOM204 | V0 1925 | 11313646 | 11.174 | 11174000 | 11313648 | 0.141 | 141000 | 11313652 | 11.078 | 11078000 | 11313648 | 0.141 | 141000 | +
Auto | "retrace Produktion","","product","ID","2396401" | 2396401 | 01-00-0097 | 01-00-0097 | 2015-09-08 08:21 | OOM204 | V0 1926 | 11313657 | 11.332 | 11332000 | 11313659 | 0.144 | 144000 | 11313663 | 10.605 | 10605000 | 11313659 | 0.144 | 144000 | +
Auto | "retrace Produktion","","product","ID","2396402" | 2396402 | 01-00-0097 | 01-00-0097 | 2015-09-08 08:21 | OOM204 | V0 1927 | 11313668 | 11.331 | 11331000 | 11313670 | 0.147 | 147000 | 11313674 | 11.234 | 11234000 | 11313670 | 0.147 | 147000 | +
Auto | "retrace Produktion","","product","ID","2396403" | 2396403 | 01-00-0097 | 01-00-0097 | 2015-09-08 08:21 | OOM204 | V0 1928 | 11313679 | 11.801 | 11801000 | 11313681 | 0.151 | 151000 | 11313685 | 11.734 | 11734000 | 11313681 | 0.151 | 151000 | +
Auto | "retrace Produktion","","product","ID","2396405" | 2396405 | 01-00-0097 | 01-00-0097 | 2015-09-08 08:21 | OOM204 | V0 1929 | 11313701 | 10.786 | 10786000 | 11313703 | 0.180 | 180000 | 11313707 | 11.174 | 11174000 | 11313703 | 0.180 | 180000 | +
Auto | "retrace Produktion","","product","ID","2396407" | 2396407 | 01-00-0097 | 01-00-0097 | 2015-09-08 08:21 | OOM204 | V0 1930 | 11313723 | 11.115 | 11115000 | 11313725 | 0.134 | 134000 | 11313729 | 10.861 | 10861000 | 11313725 | 0.134 | 134000 | +
Auto | "retrace Produktion","","product","ID","2396429" | 2396429 | 01-00-0097 | 01-00-0097 | 2015-09-08 08:25 | OOM204 | V0 1931 | 11313848 | 10.479 | 10479000 | 11313850 | 0.132 | 132000 | 11313854 | 10.504 | 10504000 | 11313850 | 0.132 | 132000 | +
Auto | "retrace Produktion","","product","ID","2396430" | 2396430 | 01-00-0097 | 01-00-0097 | 2015-09-08 08:25 | OOM204 | V0 1932 | 11313859 | 11.372 | 11372000 | 11313861 | 0.156 | 156000 | 11313865 | 11.287 | 11287000 | 11313861 | 0.156 | 156000 | +
Auto | "retrace Produktion","","product","ID","2396432" | 2396432 | 01-00-0097 | 01-00-0097 | 2015-09-08 08:25 | OOM204 | V0 1933 | 11313881 | 11.670 | 11670000 | 11313883 | 0.154 | 154000 | 11313887 | 10.983 | 10983000 | 11313883 | 0.154 | 154000 | +
Auto | "retrace Produktion","","product","ID","2396433" | 2396433 | 01-00-0097 | 01-00-0097 | 2015-09-08 08:25 | OOM204 | V0 1934 | 11313892 | 11.316 | 11316000 | 11313894 | 0.165 | 165000 | 11313898 | 10.896 | 10896000 | 11313894 | 0.165 | 165000 | +
Auto | "retrace Produktion","","product","ID","2396434" | 2396434 | 01-00-0097 | 01-00-0097 | 2015-09-08 08:25 | OOM204 | V0 1935 | 11313903 | 11.710 | 11710000 | 11313905 | 0.177 | 177000 | 11313909 | 11.088 | 11088000 | 11313905 | 0.177 | 177000 | +
Auto | "retrace Produktion","","product","ID","2396435" | 2396435 | 01-00-0097 | 01-00-0097 | 2015-09-08 08:25 | OOM204 | V0 1936 | 11313914 | 10.966 | 10966000 | 11313916 | 0.157 | 157000 | 11313920 | 10.983 | 10983000 | 11313916 | 0.157 | 157000 | +
Auto | "retrace Produktion","","product","ID","2396436" | 2396436 | 01-00-0097 | 01-00-0097 | 2015-09-08 08:25 | OOM204 | V0 1937 | 11313925 | 11.199 | 11199000 | 11313927 | 0.152 | 152000 | 11313931 | 10.797 | 10797000 | 11313927 | 0.152 | 152000 | +
Auto | "retrace Produktion","","product","ID","2396488" | 2396488 | 01-00-0097 | 01-00-0097 | 2015-09-08 08:38 | OOM204 | V0 1938 | 11314208 | 11.002 | 11002000 | 11314210 | 0.169 | 169000 | 11314214 | 10.926 | 10926000 | 11314210 | 0.169 | 169000 | +
Auto | "retrace Produktion","","product","ID","2396489" | 2396489 | 01-00-0097 | 01-00-0097 | 2015-09-08 08:38 | OOM204 | V0 1939 | 11314219 | 10.940 | 10940000 | 11314221 | 0.145 | 145000 | 11314225 | 11.610 | 11610000 | 11314221 | 0.145 | 145000 | +
Auto | "retrace Produktion","","product","ID","2396490" | 2396490 | 01-00-0097 | 01-00-0097 | 2015-09-08 08:38 | OOM204 | V0 1940 | 11314230 | 11.009 | 11009000 | 11314232 | 0.119 | 119000 | 11314236 | 11.168 | 11168000 | 11314232 | 0.119 | 119000 | +
Auto | "retrace Produktion","","product","ID","2396491" | 2396491 | 01-00-0097 | 01-00-0097 | 2015-09-08 08:38 | OOM204 | V0 1941 | 11314241 | 10.896 | 10896000 | 11314243 | 0.131 | 131000 | 11314247 | 11.235 | 11235000 | 11314243 | 0.131 | 131000 | +
Auto | "retrace Produktion","","product","ID","2396492" | 2396492 | 01-00-0097 | 01-00-0097 | 2015-09-08 08:38 | OOM204 | V0 1942 | 11314252 | 11.114 | 11114000 | 11314254 | 0.129 | 129000 | 11314258 | 11.163 | 11163000 | 11314254 | 0.129 | 129000 | +
Auto | "retrace Produktion","","product","ID","2396493" | 2396493 | 01-00-0097 | 01-00-0097 | 2015-09-08 08:38 | OOM204 | V0 1943 | 11314263 | 11.385 | 11385000 | 11314265 | 0.139 | 139000 | 11314269 | 11.730 | 11730000 | 11314265 | 0.139 | 139000 | +
Auto | "retrace Produktion","","product","ID","2396546" | 2396546 | 01-00-0097 | 01-00-0097 | 2015-09-08 09:00 | OOM204 | V0 1944 | 11314506 | 10.670 | 10670000 | 11314508 | 0.138 | 138000 | 11314512 | 10.872 | 10872000 | 11314508 | 0.138 | 138000 | +
Auto | "retrace Produktion","","product","ID","2396547" | 2396547 | 01-00-0097 | 01-00-0097 | 2015-09-08 09:00 | OOM204 | V0 1945 | 11314517 | 10.990 | 10990000 | 11314519 | 0.134 | 134000 | 11314523 | 11.810 | 11810000 | 11314519 | 0.134 | 134000 | +
Auto | "retrace Produktion","","product","ID","2396548" | 2396548 | 01-00-0097 | 01-00-0097 | 2015-09-08 09:00 | OOM204 | V0 1946 | 11314528 | 10.985 | 10985000 | 11314530 | 0.153 | 153000 | 11314534 | 11.196 | 11196000 | 11314530 | 0.153 | 153000 | +
Auto | "retrace Produktion","","product","ID","2396549" | 2396549 | 01-00-0097 | 01-00-0097 | 2015-09-08 09:00 | OOM204 | V0 1947 | 11314539 | 10.985 | 10985000 | 11314541 | 0.142 | 142000 | 11314545 | 11.616 | 11616000 | 11314541 | 0.142 | 142000 | +
Auto | "retrace Produktion","","product","ID","2396550" | 2396550 | 01-00-0097 | 01-00-0097 | 2015-09-08 09:00 | OOM204 | V0 1948 | 11314550 | 11.116 | 11116000 | 11314552 | 0.148 | 148000 | 11314556 | 11.584 | 11584000 | 11314552 | 0.148 | 148000 | +
Auto | "retrace Produktion","","product","ID","2396551" | 2396551 | 01-00-0097 | 01-00-0097 | 2015-09-08 09:00 | OOM204 | V0 1949 | 11314561 | 11.268 | 11268000 | 11314563 | 0.154 | 154000 | 11314567 | 11.648 | 11648000 | 11314563 | 0.154 | 154000 | +
Auto | "retrace Produktion","","product","ID","2396552" | 2396552 | 01-00-0097 | 01-00-0097 | 2015-09-08 09:00 | OOM204 | V0 1950 | 11314572 | 11.145 | 11145000 | 11314574 | 0.140 | 140000 | 11314578 | 11.181 | 11181000 | 11314574 | 0.140 | 140000 | +

## Tabelle2 (hidden)
Auto+Ausblenden+Formulas=Tabelle2,Tabelle3+FormulasOnly | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen | Anpassen | Anpassen | Ausblenden | Ausblenden | Anpassen | Ausblenden | Ausblenden | Anpassen | Ausblenden | Ausblenden | Anpassen | Ausblenden | Ausblenden | Anpassen | Anpassen
[10 empty] | =CONCATENATE(Optionen!C2," PART No.") |  |  | =NL("Zeilen","Artikelreferenz","Referenznr.","Datenquelle=","Echtserver Wismar","Artikelnr.",E6,"Referenzartennr.",Optionen!C3,"Referenznr.",Optionen!C6)
|  | ID | ProductNumber | Nav. Nr. | Datum | SENSORTYP | LABELNR | ID | LUFTWERT1 | LUFTWERT1 | ID | OFFSET1 | OFFSET1 | ID | LUFTWERT2 | LUFTWERT2 | ID | OFFSET1 | OFFSET2 | WERTUNG
[9 empty] | µV | µV |  | µV | µV |  | µV | µV |  | µV | µV
| =NL("Zeilen","product",,"Datenquelle=","retrace Produktion","CustomerID",Optionen!C2,"ProductSerial",Optionen!C4,"Reference",Optionen!C5) | =NF($B6,"ID") | =NF(B6,"ProductNumber") | =SUBSTITUTE(D6," ","-") | =NF($B6,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B6,"ProductSerial") | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C6,"Test","Luft K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",I6) | =VALUE(SUBSTITUTE(J6,".",","))*1000 | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C6,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",L6) | =VALUE(SUBSTITUTE(M6,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C6,"Test","Luft K2") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",O6) | =VALUE(SUBSTITUTE(P6,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C6,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",R6) | =VALUE(SUBSTITUTE(S6,".",","))*1000 | +

## Tabelle3 (hidden)
Auto+Ausblenden+Formulas=Tabelle2,Tabelle3+FormulasOnly | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen | Anpassen | Anpassen | Ausblenden | Ausblenden | Anpassen | Ausblenden | Ausblenden | Anpassen | Ausblenden | Ausblenden | Anpassen | Ausblenden | Ausblenden | Anpassen | Anpassen
[10 empty] | =VERKETTEN(Optionen!C2;" PART No.") |  |  | =NL("Zeilen";"Artikelreferenz";"Referenznr.";"Datenquelle=";"Echtserver Wismar";"Artikelnr.";E6;"Referenzartennr.";Optionen!C3;"Referenznr.";Optionen!C6)
|  | ID | ProductNumber | Nav. Nr. | Datum | SENSORTYP | LABELNR | ID | LUFTWERT1 | LUFTWERT1 | ID | OFFSET1 | OFFSET1 | ID | LUFTWERT2 | LUFTWERT2 | ID | OFFSET1 | OFFSET2 | WERTUNG
[9 empty] | µV | µV |  | µV | µV |  | µV | µV |  | µV | µV
| =NL("Zeilen";"product";;"Datenquelle=";"retrace Produktion";"CustomerID";Optionen!C2;"ProductSerial";Optionen!C4;"Reference";Optionen!C5) | =NF($B6;"ID") | =NF(B6;"ProductNumber") | =WECHSELN(D6;" ";"-") | =NF($B6;"Time") | =NL("Zeilen";"Artikel";"Beschreibung 2";"Datenquelle=";"Echtserver Wismar";"Nr.";$E$6) | =NF($B6;"ProductSerial") | =NL("First";"testprotocol";"ID";"Datenquelle=";"retrace Produktion";"ProductID";C6;"Test";"Luft K1") | =NL("Zeilen";"testprotocol";"Value";"Datenquelle=";"retrace Produktion";"ID";I6) | =WERT(WECHSELN(J6;".";","))*1000 | =NL("First";"testprotocol";"ID";"Datenquelle=";"retrace Produktion";"ProductID";C6;"Test";"N2 K1") | =NL("Zeilen";"testprotocol";"Value";"Datenquelle=";"retrace Produktion";"ID";L6) | =WERT(WECHSELN(M6;".";","))*1000 | =NL("Last";"testprotocol";"ID";"Datenquelle=";"retrace Produktion";"ProductID";C6;"Test";"Luft K2") | =NL("Zeilen";"testprotocol";"Value";"Datenquelle=";"retrace Produktion";"ID";O6) | =WERT(WECHSELN(P6;".";","))*1000 | =NL("Last";"testprotocol";"ID";"Datenquelle=";"retrace Produktion";"ProductID";C6;"Test";"N2 K1") | =NL("Zeilen";"testprotocol";"Value";"Datenquelle=";"retrace Produktion";"ID";R6) | =WERT(WECHSELN(S6;".";","))*1000 | +

## Tabelle5 (hidden)
Auto+Ausblenden+Formulas=Tabelle5,Tabelle2,Tabelle3+FormulasOnly | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen+Ausblenden | Anpassen | Anpassen | Anpassen | Ausblenden | Ausblenden | Anpassen | Ausblenden | Ausblenden | Anpassen | Ausblenden | Ausblenden | Anpassen | Ausblenden | Ausblenden | Anpassen | Anpassen
[10 empty] | =CONCATENATE(Optionen!C2," PART No.") |  |  | =NL("Zeilen","Artikelreferenz","Referenznr.","Datenquelle=","Echtserver Wismar","Artikelnr.",E6,"Referenzartennr.",Optionen!C3,"Referenznr.",Optionen!C6)
|  | ID | ProductNumber | Nav. Nr. | Datum | SENSORTYP | LABELNR | ID | LUFTWERT1 | LUFTWERT1 | ID | OFFSET1 | OFFSET1 | ID | LUFTWERT2 | LUFTWERT2 | ID | OFFSET1 | OFFSET2 | WERTUNG
[9 empty] | µV | µV |  | µV | µV |  | µV | µV |  | µV | µV
| =NL("Zeilen","product",,"Datenquelle=","retrace Produktion","CustomerID",Optionen!C2,"ProductSerial",Optionen!C4,"Reference",Optionen!C5) | =NF($B6,"ID") | =NF(B6,"ProductNumber") | =SUBSTITUTE(D6," ","-") | =NF($B6,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B6,"ProductSerial") | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C6,"Test","Luft K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",I6) | =VALUE(SUBSTITUTE(J6,".",","))*1000 | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C6,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",L6) | =VALUE(SUBSTITUTE(M6,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C6,"Test","Luft K2") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",O6) | =VALUE(SUBSTITUTE(P6,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C6,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",R6) | =VALUE(SUBSTITUTE(S6,".",","))*1000 | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2396305""" | =NF($B7,"ID") | =NF(B7,"ProductNumber") | =SUBSTITUTE(D7," ","-") | =NF($B7,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B7,"ProductSerial") | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C7,"Test","Luft K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",I7) | =VALUE(SUBSTITUTE(J7,".",","))*1000 | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C7,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",L7) | =VALUE(SUBSTITUTE(M7,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C7,"Test","Luft K2") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",O7) | =VALUE(SUBSTITUTE(P7,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C7,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",R7) | =VALUE(SUBSTITUTE(S7,".",","))*1000 | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2396306""" | =NF($B8,"ID") | =NF(B8,"ProductNumber") | =SUBSTITUTE(D8," ","-") | =NF($B8,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B8,"ProductSerial") | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C8,"Test","Luft K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",I8) | =VALUE(SUBSTITUTE(J8,".",","))*1000 | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C8,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",L8) | =VALUE(SUBSTITUTE(M8,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C8,"Test","Luft K2") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",O8) | =VALUE(SUBSTITUTE(P8,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C8,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",R8) | =VALUE(SUBSTITUTE(S8,".",","))*1000 | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2396307""" | =NF($B9,"ID") | =NF(B9,"ProductNumber") | =SUBSTITUTE(D9," ","-") | =NF($B9,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B9,"ProductSerial") | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C9,"Test","Luft K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",I9) | =VALUE(SUBSTITUTE(J9,".",","))*1000 | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C9,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",L9) | =VALUE(SUBSTITUTE(M9,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C9,"Test","Luft K2") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",O9) | =VALUE(SUBSTITUTE(P9,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C9,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",R9) | =VALUE(SUBSTITUTE(S9,".",","))*1000 | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2396308""" | =NF($B10,"ID") | =NF(B10,"ProductNumber") | =SUBSTITUTE(D10," ","-") | =NF($B10,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B10,"ProductSerial") | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C10,"Test","Luft K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",I10) | =VALUE(SUBSTITUTE(J10,".",","))*1000 | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C10,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",L10) | =VALUE(SUBSTITUTE(M10,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C10,"Test","Luft K2") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",O10) | =VALUE(SUBSTITUTE(P10,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C10,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",R10) | =VALUE(SUBSTITUTE(S10,".",","))*1000 | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2396309""" | =NF($B11,"ID") | =NF(B11,"ProductNumber") | =SUBSTITUTE(D11," ","-") | =NF($B11,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B11,"ProductSerial") | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C11,"Test","Luft K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",I11) | =VALUE(SUBSTITUTE(J11,".",","))*1000 | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C11,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",L11) | =VALUE(SUBSTITUTE(M11,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C11,"Test","Luft K2") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",O11) | =VALUE(SUBSTITUTE(P11,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C11,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",R11) | =VALUE(SUBSTITUTE(S11,".",","))*1000 | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2396310""" | =NF($B12,"ID") | =NF(B12,"ProductNumber") | =SUBSTITUTE(D12," ","-") | =NF($B12,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B12,"ProductSerial") | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C12,"Test","Luft K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",I12) | =VALUE(SUBSTITUTE(J12,".",","))*1000 | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C12,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",L12) | =VALUE(SUBSTITUTE(M12,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C12,"Test","Luft K2") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",O12) | =VALUE(SUBSTITUTE(P12,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C12,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",R12) | =VALUE(SUBSTITUTE(S12,".",","))*1000 | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2396311""" | =NF($B13,"ID") | =NF(B13,"ProductNumber") | =SUBSTITUTE(D13," ","-") | =NF($B13,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B13,"ProductSerial") | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C13,"Test","Luft K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",I13) | =VALUE(SUBSTITUTE(J13,".",","))*1000 | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C13,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",L13) | =VALUE(SUBSTITUTE(M13,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C13,"Test","Luft K2") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",O13) | =VALUE(SUBSTITUTE(P13,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C13,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",R13) | =VALUE(SUBSTITUTE(S13,".",","))*1000 | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2396335""" | =NF($B14,"ID") | =NF(B14,"ProductNumber") | =SUBSTITUTE(D14," ","-") | =NF($B14,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B14,"ProductSerial") | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C14,"Test","Luft K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",I14) | =VALUE(SUBSTITUTE(J14,".",","))*1000 | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C14,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",L14) | =VALUE(SUBSTITUTE(M14,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C14,"Test","Luft K2") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",O14) | =VALUE(SUBSTITUTE(P14,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C14,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",R14) | =VALUE(SUBSTITUTE(S14,".",","))*1000 | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2396336""" | =NF($B15,"ID") | =NF(B15,"ProductNumber") | =SUBSTITUTE(D15," ","-") | =NF($B15,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B15,"ProductSerial") | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C15,"Test","Luft K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",I15) | =VALUE(SUBSTITUTE(J15,".",","))*1000 | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C15,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",L15) | =VALUE(SUBSTITUTE(M15,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C15,"Test","Luft K2") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",O15) | =VALUE(SUBSTITUTE(P15,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C15,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",R15) | =VALUE(SUBSTITUTE(S15,".",","))*1000 | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2396337""" | =NF($B16,"ID") | =NF(B16,"ProductNumber") | =SUBSTITUTE(D16," ","-") | =NF($B16,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B16,"ProductSerial") | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C16,"Test","Luft K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",I16) | =VALUE(SUBSTITUTE(J16,".",","))*1000 | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C16,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",L16) | =VALUE(SUBSTITUTE(M16,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C16,"Test","Luft K2") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",O16) | =VALUE(SUBSTITUTE(P16,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C16,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",R16) | =VALUE(SUBSTITUTE(S16,".",","))*1000 | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2396338""" | =NF($B17,"ID") | =NF(B17,"ProductNumber") | =SUBSTITUTE(D17," ","-") | =NF($B17,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B17,"ProductSerial") | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C17,"Test","Luft K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",I17) | =VALUE(SUBSTITUTE(J17,".",","))*1000 | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C17,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",L17) | =VALUE(SUBSTITUTE(M17,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C17,"Test","Luft K2") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",O17) | =VALUE(SUBSTITUTE(P17,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C17,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",R17) | =VALUE(SUBSTITUTE(S17,".",","))*1000 | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2396339""" | =NF($B18,"ID") | =NF(B18,"ProductNumber") | =SUBSTITUTE(D18," ","-") | =NF($B18,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B18,"ProductSerial") | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C18,"Test","Luft K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",I18) | =VALUE(SUBSTITUTE(J18,".",","))*1000 | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C18,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",L18) | =VALUE(SUBSTITUTE(M18,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C18,"Test","Luft K2") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",O18) | =VALUE(SUBSTITUTE(P18,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C18,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",R18) | =VALUE(SUBSTITUTE(S18,".",","))*1000 | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2396340""" | =NF($B19,"ID") | =NF(B19,"ProductNumber") | =SUBSTITUTE(D19," ","-") | =NF($B19,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B19,"ProductSerial") | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C19,"Test","Luft K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",I19) | =VALUE(SUBSTITUTE(J19,".",","))*1000 | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C19,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",L19) | =VALUE(SUBSTITUTE(M19,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C19,"Test","Luft K2") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",O19) | =VALUE(SUBSTITUTE(P19,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C19,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",R19) | =VALUE(SUBSTITUTE(S19,".",","))*1000 | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2396341""" | =NF($B20,"ID") | =NF(B20,"ProductNumber") | =SUBSTITUTE(D20," ","-") | =NF($B20,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B20,"ProductSerial") | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C20,"Test","Luft K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",I20) | =VALUE(SUBSTITUTE(J20,".",","))*1000 | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C20,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",L20) | =VALUE(SUBSTITUTE(M20,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C20,"Test","Luft K2") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",O20) | =VALUE(SUBSTITUTE(P20,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C20,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",R20) | =VALUE(SUBSTITUTE(S20,".",","))*1000 | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2396342""" | =NF($B21,"ID") | =NF(B21,"ProductNumber") | =SUBSTITUTE(D21," ","-") | =NF($B21,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B21,"ProductSerial") | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C21,"Test","Luft K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",I21) | =VALUE(SUBSTITUTE(J21,".",","))*1000 | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C21,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",L21) | =VALUE(SUBSTITUTE(M21,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C21,"Test","Luft K2") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",O21) | =VALUE(SUBSTITUTE(P21,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C21,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",R21) | =VALUE(SUBSTITUTE(S21,".",","))*1000 | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2396368""" | =NF($B22,"ID") | =NF(B22,"ProductNumber") | =SUBSTITUTE(D22," ","-") | =NF($B22,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B22,"ProductSerial") | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C22,"Test","Luft K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",I22) | =VALUE(SUBSTITUTE(J22,".",","))*1000 | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C22,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",L22) | =VALUE(SUBSTITUTE(M22,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C22,"Test","Luft K2") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",O22) | =VALUE(SUBSTITUTE(P22,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C22,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",R22) | =VALUE(SUBSTITUTE(S22,".",","))*1000 | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2396369""" | =NF($B23,"ID") | =NF(B23,"ProductNumber") | =SUBSTITUTE(D23," ","-") | =NF($B23,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B23,"ProductSerial") | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C23,"Test","Luft K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",I23) | =VALUE(SUBSTITUTE(J23,".",","))*1000 | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C23,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",L23) | =VALUE(SUBSTITUTE(M23,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C23,"Test","Luft K2") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",O23) | =VALUE(SUBSTITUTE(P23,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C23,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",R23) | =VALUE(SUBSTITUTE(S23,".",","))*1000 | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2396370""" | =NF($B24,"ID") | =NF(B24,"ProductNumber") | =SUBSTITUTE(D24," ","-") | =NF($B24,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B24,"ProductSerial") | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C24,"Test","Luft K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",I24) | =VALUE(SUBSTITUTE(J24,".",","))*1000 | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C24,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",L24) | =VALUE(SUBSTITUTE(M24,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C24,"Test","Luft K2") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",O24) | =VALUE(SUBSTITUTE(P24,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C24,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",R24) | =VALUE(SUBSTITUTE(S24,".",","))*1000 | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2396371""" | =NF($B25,"ID") | =NF(B25,"ProductNumber") | =SUBSTITUTE(D25," ","-") | =NF($B25,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B25,"ProductSerial") | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C25,"Test","Luft K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",I25) | =VALUE(SUBSTITUTE(J25,".",","))*1000 | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C25,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",L25) | =VALUE(SUBSTITUTE(M25,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C25,"Test","Luft K2") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",O25) | =VALUE(SUBSTITUTE(P25,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C25,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",R25) | =VALUE(SUBSTITUTE(S25,".",","))*1000 | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2396372""" | =NF($B26,"ID") | =NF(B26,"ProductNumber") | =SUBSTITUTE(D26," ","-") | =NF($B26,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B26,"ProductSerial") | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C26,"Test","Luft K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",I26) | =VALUE(SUBSTITUTE(J26,".",","))*1000 | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C26,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",L26) | =VALUE(SUBSTITUTE(M26,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C26,"Test","Luft K2") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",O26) | =VALUE(SUBSTITUTE(P26,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C26,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",R26) | =VALUE(SUBSTITUTE(S26,".",","))*1000 | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2396373""" | =NF($B27,"ID") | =NF(B27,"ProductNumber") | =SUBSTITUTE(D27," ","-") | =NF($B27,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B27,"ProductSerial") | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C27,"Test","Luft K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",I27) | =VALUE(SUBSTITUTE(J27,".",","))*1000 | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C27,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",L27) | =VALUE(SUBSTITUTE(M27,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C27,"Test","Luft K2") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",O27) | =VALUE(SUBSTITUTE(P27,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C27,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",R27) | =VALUE(SUBSTITUTE(S27,".",","))*1000 | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2396374""" | =NF($B28,"ID") | =NF(B28,"ProductNumber") | =SUBSTITUTE(D28," ","-") | =NF($B28,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B28,"ProductSerial") | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C28,"Test","Luft K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",I28) | =VALUE(SUBSTITUTE(J28,".",","))*1000 | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C28,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",L28) | =VALUE(SUBSTITUTE(M28,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C28,"Test","Luft K2") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",O28) | =VALUE(SUBSTITUTE(P28,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C28,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",R28) | =VALUE(SUBSTITUTE(S28,".",","))*1000 | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2396375""" | =NF($B29,"ID") | =NF(B29,"ProductNumber") | =SUBSTITUTE(D29," ","-") | =NF($B29,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B29,"ProductSerial") | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C29,"Test","Luft K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",I29) | =VALUE(SUBSTITUTE(J29,".",","))*1000 | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C29,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",L29) | =VALUE(SUBSTITUTE(M29,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C29,"Test","Luft K2") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",O29) | =VALUE(SUBSTITUTE(P29,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C29,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",R29) | =VALUE(SUBSTITUTE(S29,".",","))*1000 | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2396400""" | =NF($B30,"ID") | =NF(B30,"ProductNumber") | =SUBSTITUTE(D30," ","-") | =NF($B30,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B30,"ProductSerial") | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C30,"Test","Luft K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",I30) | =VALUE(SUBSTITUTE(J30,".",","))*1000 | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C30,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",L30) | =VALUE(SUBSTITUTE(M30,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C30,"Test","Luft K2") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",O30) | =VALUE(SUBSTITUTE(P30,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C30,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",R30) | =VALUE(SUBSTITUTE(S30,".",","))*1000 | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2396401""" | =NF($B31,"ID") | =NF(B31,"ProductNumber") | =SUBSTITUTE(D31," ","-") | =NF($B31,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B31,"ProductSerial") | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C31,"Test","Luft K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",I31) | =VALUE(SUBSTITUTE(J31,".",","))*1000 | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C31,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",L31) | =VALUE(SUBSTITUTE(M31,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C31,"Test","Luft K2") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",O31) | =VALUE(SUBSTITUTE(P31,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C31,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",R31) | =VALUE(SUBSTITUTE(S31,".",","))*1000 | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2396402""" | =NF($B32,"ID") | =NF(B32,"ProductNumber") | =SUBSTITUTE(D32," ","-") | =NF($B32,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B32,"ProductSerial") | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C32,"Test","Luft K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",I32) | =VALUE(SUBSTITUTE(J32,".",","))*1000 | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C32,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",L32) | =VALUE(SUBSTITUTE(M32,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C32,"Test","Luft K2") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",O32) | =VALUE(SUBSTITUTE(P32,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C32,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",R32) | =VALUE(SUBSTITUTE(S32,".",","))*1000 | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2396403""" | =NF($B33,"ID") | =NF(B33,"ProductNumber") | =SUBSTITUTE(D33," ","-") | =NF($B33,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B33,"ProductSerial") | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C33,"Test","Luft K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",I33) | =VALUE(SUBSTITUTE(J33,".",","))*1000 | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C33,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",L33) | =VALUE(SUBSTITUTE(M33,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C33,"Test","Luft K2") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",O33) | =VALUE(SUBSTITUTE(P33,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C33,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",R33) | =VALUE(SUBSTITUTE(S33,".",","))*1000 | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2396405""" | =NF($B34,"ID") | =NF(B34,"ProductNumber") | =SUBSTITUTE(D34," ","-") | =NF($B34,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B34,"ProductSerial") | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C34,"Test","Luft K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",I34) | =VALUE(SUBSTITUTE(J34,".",","))*1000 | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C34,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",L34) | =VALUE(SUBSTITUTE(M34,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C34,"Test","Luft K2") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",O34) | =VALUE(SUBSTITUTE(P34,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C34,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",R34) | =VALUE(SUBSTITUTE(S34,".",","))*1000 | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2396407""" | =NF($B35,"ID") | =NF(B35,"ProductNumber") | =SUBSTITUTE(D35," ","-") | =NF($B35,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B35,"ProductSerial") | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C35,"Test","Luft K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",I35) | =VALUE(SUBSTITUTE(J35,".",","))*1000 | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C35,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",L35) | =VALUE(SUBSTITUTE(M35,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C35,"Test","Luft K2") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",O35) | =VALUE(SUBSTITUTE(P35,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C35,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",R35) | =VALUE(SUBSTITUTE(S35,".",","))*1000 | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2396429""" | =NF($B36,"ID") | =NF(B36,"ProductNumber") | =SUBSTITUTE(D36," ","-") | =NF($B36,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B36,"ProductSerial") | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C36,"Test","Luft K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",I36) | =VALUE(SUBSTITUTE(J36,".",","))*1000 | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C36,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",L36) | =VALUE(SUBSTITUTE(M36,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C36,"Test","Luft K2") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",O36) | =VALUE(SUBSTITUTE(P36,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C36,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",R36) | =VALUE(SUBSTITUTE(S36,".",","))*1000 | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2396430""" | =NF($B37,"ID") | =NF(B37,"ProductNumber") | =SUBSTITUTE(D37," ","-") | =NF($B37,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B37,"ProductSerial") | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C37,"Test","Luft K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",I37) | =VALUE(SUBSTITUTE(J37,".",","))*1000 | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C37,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",L37) | =VALUE(SUBSTITUTE(M37,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C37,"Test","Luft K2") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",O37) | =VALUE(SUBSTITUTE(P37,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C37,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",R37) | =VALUE(SUBSTITUTE(S37,".",","))*1000 | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2396432""" | =NF($B38,"ID") | =NF(B38,"ProductNumber") | =SUBSTITUTE(D38," ","-") | =NF($B38,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B38,"ProductSerial") | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C38,"Test","Luft K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",I38) | =VALUE(SUBSTITUTE(J38,".",","))*1000 | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C38,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",L38) | =VALUE(SUBSTITUTE(M38,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C38,"Test","Luft K2") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",O38) | =VALUE(SUBSTITUTE(P38,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C38,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",R38) | =VALUE(SUBSTITUTE(S38,".",","))*1000 | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2396433""" | =NF($B39,"ID") | =NF(B39,"ProductNumber") | =SUBSTITUTE(D39," ","-") | =NF($B39,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B39,"ProductSerial") | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C39,"Test","Luft K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",I39) | =VALUE(SUBSTITUTE(J39,".",","))*1000 | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C39,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",L39) | =VALUE(SUBSTITUTE(M39,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C39,"Test","Luft K2") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",O39) | =VALUE(SUBSTITUTE(P39,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C39,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",R39) | =VALUE(SUBSTITUTE(S39,".",","))*1000 | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2396434""" | =NF($B40,"ID") | =NF(B40,"ProductNumber") | =SUBSTITUTE(D40," ","-") | =NF($B40,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B40,"ProductSerial") | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C40,"Test","Luft K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",I40) | =VALUE(SUBSTITUTE(J40,".",","))*1000 | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C40,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",L40) | =VALUE(SUBSTITUTE(M40,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C40,"Test","Luft K2") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",O40) | =VALUE(SUBSTITUTE(P40,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C40,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",R40) | =VALUE(SUBSTITUTE(S40,".",","))*1000 | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2396435""" | =NF($B41,"ID") | =NF(B41,"ProductNumber") | =SUBSTITUTE(D41," ","-") | =NF($B41,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B41,"ProductSerial") | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C41,"Test","Luft K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",I41) | =VALUE(SUBSTITUTE(J41,".",","))*1000 | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C41,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",L41) | =VALUE(SUBSTITUTE(M41,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C41,"Test","Luft K2") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",O41) | =VALUE(SUBSTITUTE(P41,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C41,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",R41) | =VALUE(SUBSTITUTE(S41,".",","))*1000 | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2396436""" | =NF($B42,"ID") | =NF(B42,"ProductNumber") | =SUBSTITUTE(D42," ","-") | =NF($B42,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B42,"ProductSerial") | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C42,"Test","Luft K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",I42) | =VALUE(SUBSTITUTE(J42,".",","))*1000 | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C42,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",L42) | =VALUE(SUBSTITUTE(M42,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C42,"Test","Luft K2") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",O42) | =VALUE(SUBSTITUTE(P42,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C42,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",R42) | =VALUE(SUBSTITUTE(S42,".",","))*1000 | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2396488""" | =NF($B43,"ID") | =NF(B43,"ProductNumber") | =SUBSTITUTE(D43," ","-") | =NF($B43,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B43,"ProductSerial") | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C43,"Test","Luft K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",I43) | =VALUE(SUBSTITUTE(J43,".",","))*1000 | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C43,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",L43) | =VALUE(SUBSTITUTE(M43,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C43,"Test","Luft K2") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",O43) | =VALUE(SUBSTITUTE(P43,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C43,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",R43) | =VALUE(SUBSTITUTE(S43,".",","))*1000 | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2396489""" | =NF($B44,"ID") | =NF(B44,"ProductNumber") | =SUBSTITUTE(D44," ","-") | =NF($B44,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B44,"ProductSerial") | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C44,"Test","Luft K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",I44) | =VALUE(SUBSTITUTE(J44,".",","))*1000 | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C44,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",L44) | =VALUE(SUBSTITUTE(M44,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C44,"Test","Luft K2") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",O44) | =VALUE(SUBSTITUTE(P44,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C44,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",R44) | =VALUE(SUBSTITUTE(S44,".",","))*1000 | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2396490""" | =NF($B45,"ID") | =NF(B45,"ProductNumber") | =SUBSTITUTE(D45," ","-") | =NF($B45,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B45,"ProductSerial") | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C45,"Test","Luft K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",I45) | =VALUE(SUBSTITUTE(J45,".",","))*1000 | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C45,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",L45) | =VALUE(SUBSTITUTE(M45,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C45,"Test","Luft K2") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",O45) | =VALUE(SUBSTITUTE(P45,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C45,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",R45) | =VALUE(SUBSTITUTE(S45,".",","))*1000 | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2396491""" | =NF($B46,"ID") | =NF(B46,"ProductNumber") | =SUBSTITUTE(D46," ","-") | =NF($B46,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B46,"ProductSerial") | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C46,"Test","Luft K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",I46) | =VALUE(SUBSTITUTE(J46,".",","))*1000 | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C46,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",L46) | =VALUE(SUBSTITUTE(M46,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C46,"Test","Luft K2") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",O46) | =VALUE(SUBSTITUTE(P46,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C46,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",R46) | =VALUE(SUBSTITUTE(S46,".",","))*1000 | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2396492""" | =NF($B47,"ID") | =NF(B47,"ProductNumber") | =SUBSTITUTE(D47," ","-") | =NF($B47,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B47,"ProductSerial") | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C47,"Test","Luft K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",I47) | =VALUE(SUBSTITUTE(J47,".",","))*1000 | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C47,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",L47) | =VALUE(SUBSTITUTE(M47,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C47,"Test","Luft K2") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",O47) | =VALUE(SUBSTITUTE(P47,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C47,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",R47) | =VALUE(SUBSTITUTE(S47,".",","))*1000 | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2396493""" | =NF($B48,"ID") | =NF(B48,"ProductNumber") | =SUBSTITUTE(D48," ","-") | =NF($B48,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B48,"ProductSerial") | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C48,"Test","Luft K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",I48) | =VALUE(SUBSTITUTE(J48,".",","))*1000 | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C48,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",L48) | =VALUE(SUBSTITUTE(M48,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C48,"Test","Luft K2") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",O48) | =VALUE(SUBSTITUTE(P48,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C48,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",R48) | =VALUE(SUBSTITUTE(S48,".",","))*1000 | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2396546""" | =NF($B49,"ID") | =NF(B49,"ProductNumber") | =SUBSTITUTE(D49," ","-") | =NF($B49,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B49,"ProductSerial") | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C49,"Test","Luft K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",I49) | =VALUE(SUBSTITUTE(J49,".",","))*1000 | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C49,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",L49) | =VALUE(SUBSTITUTE(M49,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C49,"Test","Luft K2") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",O49) | =VALUE(SUBSTITUTE(P49,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C49,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",R49) | =VALUE(SUBSTITUTE(S49,".",","))*1000 | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2396547""" | =NF($B50,"ID") | =NF(B50,"ProductNumber") | =SUBSTITUTE(D50," ","-") | =NF($B50,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B50,"ProductSerial") | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C50,"Test","Luft K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",I50) | =VALUE(SUBSTITUTE(J50,".",","))*1000 | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C50,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",L50) | =VALUE(SUBSTITUTE(M50,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C50,"Test","Luft K2") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",O50) | =VALUE(SUBSTITUTE(P50,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C50,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",R50) | =VALUE(SUBSTITUTE(S50,".",","))*1000 | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2396548""" | =NF($B51,"ID") | =NF(B51,"ProductNumber") | =SUBSTITUTE(D51," ","-") | =NF($B51,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B51,"ProductSerial") | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C51,"Test","Luft K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",I51) | =VALUE(SUBSTITUTE(J51,".",","))*1000 | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C51,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",L51) | =VALUE(SUBSTITUTE(M51,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C51,"Test","Luft K2") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",O51) | =VALUE(SUBSTITUTE(P51,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C51,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",R51) | =VALUE(SUBSTITUTE(S51,".",","))*1000 | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2396549""" | =NF($B52,"ID") | =NF(B52,"ProductNumber") | =SUBSTITUTE(D52," ","-") | =NF($B52,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B52,"ProductSerial") | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C52,"Test","Luft K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",I52) | =VALUE(SUBSTITUTE(J52,".",","))*1000 | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C52,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",L52) | =VALUE(SUBSTITUTE(M52,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C52,"Test","Luft K2") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",O52) | =VALUE(SUBSTITUTE(P52,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C52,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",R52) | =VALUE(SUBSTITUTE(S52,".",","))*1000 | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2396550""" | =NF($B53,"ID") | =NF(B53,"ProductNumber") | =SUBSTITUTE(D53," ","-") | =NF($B53,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B53,"ProductSerial") | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C53,"Test","Luft K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",I53) | =VALUE(SUBSTITUTE(J53,".",","))*1000 | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C53,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",L53) | =VALUE(SUBSTITUTE(M53,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C53,"Test","Luft K2") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",O53) | =VALUE(SUBSTITUTE(P53,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C53,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",R53) | =VALUE(SUBSTITUTE(S53,".",","))*1000 | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2396551""" | =NF($B54,"ID") | =NF(B54,"ProductNumber") | =SUBSTITUTE(D54," ","-") | =NF($B54,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B54,"ProductSerial") | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C54,"Test","Luft K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",I54) | =VALUE(SUBSTITUTE(J54,".",","))*1000 | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C54,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",L54) | =VALUE(SUBSTITUTE(M54,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C54,"Test","Luft K2") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",O54) | =VALUE(SUBSTITUTE(P54,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C54,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",R54) | =VALUE(SUBSTITUTE(S54,".",","))*1000 | +
Auto | ="""retrace Produktion"","""",""product"",""ID"",""2396552""" | =NF($B55,"ID") | =NF(B55,"ProductNumber") | =SUBSTITUTE(D55," ","-") | =NF($B55,"Time") | =NL("Zeilen","Artikel","Beschreibung 2","Datenquelle=","Echtserver Wismar","Nr.",$E$6) | =NF($B55,"ProductSerial") | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C55,"Test","Luft K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",I55) | =VALUE(SUBSTITUTE(J55,".",","))*1000 | =NL("First","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C55,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",L55) | =VALUE(SUBSTITUTE(M55,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C55,"Test","Luft K2") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",O55) | =VALUE(SUBSTITUTE(P55,".",","))*1000 | =NL("Last","testprotocol","ID","Datenquelle=","retrace Produktion","ProductID",C55,"Test","N2 K1") | =NL("Zeilen","testprotocol","Value","Datenquelle=","retrace Produktion","ID",R55) | =VALUE(SUBSTITUTE(S55,".",","))*1000 | +