This device range is not PPE Equipment

Derek Lamb

11 /08 / 2015

04 / 09 / 2017 Derek Lamb

BSI Report SMO 8536431 Final Assessment E-Report

Observation 1511849-201709-O2

“

While the device is correctly identified as not having applied Personal

Protective Equipment Directive 89/686/EEC, no rationale for why this is the

case is provided.

”

Notified body agrees Protective Equipment Directive does not apply