SECTION 1 - INTRODUCTION

## 1.1 About This Manual

Welcome to use UT4000A portable multi-parameter patient monitor! This operator’s manual contains detailed information about the performance specifications, operation and maintenance of UT4000A. Before using the patient monitor, please read this manual carefully and thoroughly in order to use the monitor correctly and make sure the monitor performs according to the specifications and in conformity with the safety standards.

## 1.2 Warranty

The warranty does not apply if the product:

- has been damaged from improper operation (misuse) .

- has been damaged because of improper connection to other equipment.

- has been damaged by accident.

- has been modified without written authorization of the Company.

- has had the serial number removed or defaced.

## 1.3 Unpacking

##   After unpacking the system, keeping the packing materials properly for future

## return for service when necessary.

  Check carefully the main unit and the accessories against the packing list and

check if there is any damage.

  Please fill in the product warranty card carefully and mail it to our service center.

## 1.4 Product Support

To open a service call or obtain product support, Please contact your representative

or distributor. Have the following information available before calling:

 part number of the defective part, or

 model and serial number of  the equipment,

 part number/name of the assembly where the item is used,

 item name.

## 1.5 General Information

 This manual is an integral part of the product and describes its intended use. It

should always be kept close to the equipment. Observance of the manual is a

prerequisite for proper product performance and correct operation and ensures

patient and operator safety.

  GOLDWAY quality management system complies with the international standards

ISO 9001 and EN 46001, and the CE mark is valid for MDD 93/42/EEC.

  The address of the manufacturer:  GOLDWAY INC. 5F Bldg.10, Zhongxing Gongye

Town, Chuangye Road, Nanshan District, Shenzhen, Guangdong 518054, P.R.China

 Authorized EC-representative:

Shanghai International Holding GmbH ( Europe )

Eiffestrasse 80, 20537 Hamburg, Germany