Microstim Design

The Microstim was originally designed by MRI Manchester Royal Infirmary by a team of Medical Physics Technicians headed by Malcolm Purnell BSc.

CE marking did not exist.
ISO9000 (BS5750) was not in operation and it was not until the mid-1990s that MRI & Viamed achieved ISO9000 for design.

The current Microstim file can therefore only be re-written as a product that has already been designed and manufactured with a 10 year track record before the current legislation.

We can only update the files as long as we do not falsify information and only originally existing data and information can legally be used.

Firmware can be upgraded.

Essential requirements can acquire more documentation.

Further changes to design etc. can be added.

Risk assessments can be re-written assuming this is a new product being designed now and arrived at the current design.

There appears to be no requirement for this in the current MDD.

New information can continually be added to the file, so long as it adds value to the files and does not have the effect of reducing product credibility, or performance.

Product withdrawal and re-design are probably not economic. This is addressed in the MDD.

There will be no changes to the proven design of the Microstim DBS unless driven by the end user. There is a possibility of changes due to future standards

John S. Lamb
20/09/17