VM3COP51.40 Resus Cabinet QA

| - Check Viamed logo label is located on the front of the cabinet and above the door. The label must be central and straight. - Check the ‘Support door’ label is located on the front of the cabinet door. This must be central, straight and at the top of the door. |  |
| --- | --- |
| - Check the serial number label is located to the lower right-hand side of the cabinet as shown. This must be central and straight. |  |
| - Check the Caution label is on the inside of the door. The must be straight and on the right-side corner. |  |
| - Check the rubber door stoppers to either side of the door opening are present. |  |
| - Check the rails are in place. The rails can be fitted in several positions to suit customer requirements. The standard positions are: Top – short rail One below middle – Long rail Bottom – Long rail |  |
| - Check the mattress is present and stored on top of the bed. |  |
| - Check the three plastic storage bins are stored in the top right corner. |  |
| - Ensure that the door closes with the bed in place. - Check both catches latch and sufficiently prevent the door from opening. |  |